## Basic (hidden)
Package Name | NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
Package Code | NMMT Package CC-01
Specification No. | Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1
Rev0

## Cover
Price Schedules | NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. |  | NMMT Package CC-01_R1
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3, Sch-4a, Sch-4b, Sch-5, Sch-7 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Installation Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4a (Training Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4b (Maintenance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  | Sole Bidder | 1
|  |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 0
1
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner
Address of other Partner
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 31
Place
Click for Sch-1

## Sch-1
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [13 empty] | Schedule - 1 |  |  |  |  | Direct Total | 0 | Sole Bidder | `
[19 empty] | BO Total | #REF! | 0
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To:
Contracts Services, 3rd Floor
Name : | [11 empty] | Power Grid Corporation of India Ltd., | [8 empty] | &
Address : | [11 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted | [19 empty] | Direct
[14 empty] | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘ 6 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST Tax as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14= 12 x 13 | 15
Navi Mumbai EV Charging Station
1 | 7000016024 | 20 | ELECTRICAL SUPPLY ITEMS | 1000056762 | 85041090 |  | 5% |  | 3.3 KW BHARAT AC001 3 CONNECTOR GUN BASED EV CHARGER INCLUDING CANOPY | SET | 60 |  | Included | 0 | 0 | 0 | 0 | 0
2 | 7000016024 | 30 | ELECTRICAL SUPPLY ITEMS | 1000056737 | 85041090 |  | 5% |  | 15 KW BHARAT DC001 SINGLE GUN EV CHARGER INCLUDING CANOPY | SET | 20 |  | Included | 0 | 0 | 0 | 0 | 0
3 | 7000016024 | 40 | ELECTRICAL SUPPLY ITEMS | 1000056736 | 85041090 |  | 5% |  | 122 KW EV CHARGER WITH CCS II/50 KW, CHADEMO/50 KW & AC TYPE 2/22 KWCONNECTORS INCLUDING CANOPY | SET | 40 |  | Included | 0 | 0 | 0 | 0 | 0
4 | 7000016024 | 50 | ELECTRICAL SUPPLY ITEMS | 1000030537 | 85042100 |  | 18% |  | 400KVA, 11/0.433KV TRANSFORMER | EA | 18 |  | Included | 0 | 0 | 0 | 0 | 0
5 | 7000016126 | 10 | ELECTRICAL SUPPLY ITEMS | 1000056760 | 85042100 |  | 18% |  | 400kVA, 22/0.433kV Transformer | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0
6 | 7000016024 | 250 | ELECTRICAL SUPPLY ITEMS | 1000055846 | 85441990 |  | 18% |  | SINGLE BREAK 11 KV GO SWITCH FOR TRANSFORMER | NO | 18 |  | Included | 0 | 0 | 0 | 0 | 0
7 | 7000016126 | 70 | ELECTRICAL SUPPLY ITEMS | 1000056888 | 85441990 |  | 18% |  | SINGLE BREAK 22 KV GOAB SWITCH FOR TRANSFORMER | NO | 2 |  | Included | 0 | 0 | 0 | 0 | 0
8 | 7000016024 | 80 | ELECTRICAL SUPPLY ITEMS | 1000050004 | 85351010 |  | 18% |  | 11KV HG FUSE INCLUDING ALL ACCESSORIES | EA | 18 |  | Included | 0 | 0 | 0 | 0 | 0
9 | 7000016126 | 30 | ELECTRICAL SUPPLY ITEMS | 1000056739 | 85351010 |  | 18% |  | 22 KV HORN GAP FUSE INCLUDING ALL ACCESSORIES | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0
10 | 7000016126 | 60 | ELECTRICAL SUPPLY ITEMS | 1000057035 | 85354010 |  | 18% |  | 11 KV Distribution Lightening Arrestor(Set Of 3) | SET | 18 |  | Included | 0 | 0 | 0 | 0 | 0
11 | 7000016126 | 40 | ELECTRICAL SUPPLY ITEMS | 1000056738 | 85354010 |  | 18% |  | 22 KV Distribution Lightening Arrestor(Set Of 3) | SET | 2 |  | Included | 0 | 0 | 0 | 0 | 0
12 | 7000016024 | 270 | ELECTRICAL SUPPLY ITEMS | 1000055840 | 90283090 |  | 18% |  | 0.2 S Class HT CT Meter Including 11 KVCT & PT, Meter Box | NO | 18 |  | Included | 0 | 0 | 0 | 0 | 0
13 | 7000016126 | 50 | ELECTRICAL SUPPLY ITEMS | 1000056734 | 90283090 |  | 18% |  | 0.2 S CLASS HT CT METER INCLUDING 22 KV CT, PT AND METER BOX | NO | 2 |  | Included | 0 | 0 | 0 | 0 | 0
14 | 7000016024 | 120 | ELECTRICAL SUPPLY ITEMS | 1000056735 | 90283090 |  | 18% |  | 0.5 CLASS SINGLE PHASE WHOLE CURRENT METER ALONG WITH METER BOX | SET | 40 |  | Included | 0 | 0 | 0 | 0 | 0
15 | 7000016126 | 80 | ELECTRICAL SUPPLY ITEMS | 1000057543 | 76141000 |  | 18% |  | 11 KV OVERHEAD LINE INCLUDING STEEL TUBULAR POLES, STAY SETS,CONDUCTORS, INSULATORS AND ALL HARDWARE ACCESSORIES. | M | 5500 |  | Included | 0 | 0 | 0 | 0 | 0
16 | 7000016024 | 140 | ELECTRICAL SUPPLY ITEMS | 1000056764 | 85446020 |  | 18% |  | 3.5 CORE, 25 SQMM 11 KV XLPE ARMOURED CABLE | M | 4000 |  | Included | 0 | 0 | 0 | 0 | 0
17 | 7000016024 | 150 | ELECTRICAL SUPPLY ITEMS | 1000056765 | 85446020 |  | 18% |  | 3.5 CORE, 25 SQMM 22 KV XLPE ARMOURED CABLE | M | 200 |  | Included | 0 | 0 | 0 | 0 | 0
18 | 7000016024 | 160 | ELECTRICAL SUPPLY ITEMS | 1000056763 | 85446020 |  | 18% |  | 3.5 CORE, 185 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 1000 |  | Included | 0 | 0 | 0 | 0 | 0
19 | 7000016024 | 170 | ELECTRICAL SUPPLY ITEMS | 1000056766 | 85446020 |  | 18% |  | 3.5 CORE, 25 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 3000 |  | Included | 0 | 0 | 0 | 0 | 0
20 | 7000016024 | 180 | ELECTRICAL SUPPLY ITEMS | 1000056761 | 85446020 |  | 18% |  | 2CORE, 16 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 1000 |  | Included | 0 | 0 | 0 | 0 | 0
21 | 7000016024 | 190 | ELECTRICAL SUPPLY ITEMS | 1000056770 | 85446020 |  | 18% |  | CABLE SUPPORT STRUCTURE FOR HT CABLE | SET | 32 |  | Included | 0 | 0 | 0 | 0 | 0
22 | 7000016024 | 280 | ELECTRICAL SUPPLY ITEMS | 1000054299 | 85369030 |  | 18% |  | L.T. DISTRIBUTION BOX WITH MCCB. ALUMINIUM BUSBAR FOR SINGLE BAY WITHKIT KAT FUSE FOR 25KVA S/S | EA | 20 |  | Included | 0 | 0 | 0 | 0 | 0
23 | 7000016024 | 200 | ELECTRICAL SUPPLY ITEMS | 1000056879 | 85369030 |  | 18% |  | DISTRIBUTION BOX (DB) FOR ELECTRICAL SUPPLY & ILLUMINATION OF TOILET | SET | 20 |  | Included | 0 | 0 | 0 | 0 | 0
24 | 7000016024 | 210 | ELECTRICAL SUPPLY ITEMS | 1000056878 | 85369030 |  | 18% |  | DISTRIBUTION BOX (DB) FOR ELECTRICAL SUPPLY & ILLUMINATION OF EVCHARGING STATION | SET | 20 |  | Included | 0 | 0 | 0 | 0 | 0
25 | 7000016024 | 220 | ELECTRICAL SUPPLY ITEMS | 1000056882 | 94059900 |  | 18% |  | ILLUMINATION SYSTEM FOR EVCS INCLUDING WIRING & LUMINAIRES | SET | 20 |  | Included | 0 | 0 | 0 | 0 | 0
26 | 7000016024 | 230 | ELECTRICAL SUPPLY ITEMS | 1000017401 | 85258030 |  | 18% |  | PTZ Camera for Video Monitoring System | EA | 40 |  | Included | 0 | 0 | 0 | 0 | 0
27 | 7000016024 | 240 | ELECTRICAL SUPPLY ITEMS | 1000012022 | 84241000 |  | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 20 |  | Included | 0 | 0 | 0 | 0 | 0
0
[7 empty] | Total Ex-works Price | [5 empty] | 0 |  | 0 |  |  | 0
[7 empty] | Total Type Test charges as per Schedule-7 | [5 empty] | 0
[7 empty] | Total Ex-works Price including Type Test charges | [5 empty] | 0
[7 empty] | Total GST Tax as confirmed by Bidder | [5 empty] | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --
Place : | [10 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-1 dis (hidden)
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Sole Bidder | `
[10 empty] | BO Total | #REF! | 0
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., | [7 empty] | &
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-2
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [8 empty] | Schedule - 2
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To:
Contracts Services, 3rd Floor
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Local Transportation, In-transit insurance, loading and unloading
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 4 | 5 | 6 | 7 | 8= 6 x 7
Navi Mumbai EV Charging Station
1 | 7000016024 | 20 | ELECTRICAL SUPPLY ITEMS | 1000056762 | 3.3 KW BHARAT AC001 3 CONNECTOR GUN BASED EV CHARGER INCLUDING CANOPY | SET | 60 |  | Included | 0
2 | 7000016024 | 30 | ELECTRICAL SUPPLY ITEMS | 1000056737 | 15 KW BHARAT DC001 SINGLE GUN EV CHARGER INCLUDING CANOPY | SET | 20 |  | Included | 0
3 | 7000016024 | 40 | ELECTRICAL SUPPLY ITEMS | 1000056736 | 122 KW EV CHARGER WITH CCS II/50 KW, CHADEMO/50 KW & AC TYPE 2/22 KWCONNECTORS INCLUDING CANOPY | SET | 40 |  | Included | 0
4 | 7000016024 | 50 | ELECTRICAL SUPPLY ITEMS | 1000030537 | 400KVA, 11/0.433KV TRANSFORMER | EA | 18 |  | Included | 0
5 | 7000016126 | 10 | ELECTRICAL SUPPLY ITEMS | 1000056760 | 400kVA, 22/0.433kV Transformer | EA | 2 |  | Included | 0
6 | 7000016024 | 250 | ELECTRICAL SUPPLY ITEMS | 1000055846 | SINGLE BREAK 11 KV GO SWITCH FOR TRANSFORMER | NO | 18 |  | Included | 0
7 | 7000016126 | 70 | ELECTRICAL SUPPLY ITEMS | 1000056888 | SINGLE BREAK 22 KV GOAB SWITCH FOR TRANSFORMER | NO | 2 |  | Included | 0
8 | 7000016024 | 80 | ELECTRICAL SUPPLY ITEMS | 1000050004 | 11KV HG FUSE INCLUDING ALL ACCESSORIES | EA | 18 |  | Included | 0
9 | 7000016126 | 30 | ELECTRICAL SUPPLY ITEMS | 1000056739 | 22 KV HORN GAP FUSE INCLUDING ALL ACCESSORIES | EA | 2 |  | Included | 0
10 | 7000016126 | 60 | ELECTRICAL SUPPLY ITEMS | 1000057035 | 11 KV Distribution Lightening Arrestor(Set Of 3) | SET | 18 |  | Included | 0
11 | 7000016126 | 40 | ELECTRICAL SUPPLY ITEMS | 1000056738 | 22 KV Distribution Lightening Arrestor(Set Of 3) | SET | 2 |  | Included | 0
12 | 7000016024 | 270 | ELECTRICAL SUPPLY ITEMS | 1000055840 | 0.2 S Class HT CT Meter Including 11 KVCT & PT, Meter Box | NO | 18 |  | Included | 0
13 | 7000016126 | 50 | ELECTRICAL SUPPLY ITEMS | 1000056734 | 0.2 S CLASS HT CT METER INCLUDING 22 KV CT, PT AND METER BOX | NO | 2 |  | Included | 0
14 | 7000016024 | 120 | ELECTRICAL SUPPLY ITEMS | 1000056735 | 0.5 CLASS SINGLE PHASE WHOLE CURRENT METER ALONG WITH METER BOX | SET | 40 |  | Included | 0
15 | 7000016126 | 80 | ELECTRICAL SUPPLY ITEMS | 1000057543 | 11 KV OVERHEAD LINE INCLUDING STEEL TUBULAR POLES, STAY SETS,CONDUCTORS, INSULATORS AND ALL HARDWARE ACCESSORIES. | M | 5500 |  | Included | 0
16 | 7000016024 | 140 | ELECTRICAL SUPPLY ITEMS | 1000056764 | 3.5 CORE, 25 SQMM 11 KV XLPE ARMOURED CABLE | M | 4000 |  | Included | 0
17 | 7000016024 | 150 | ELECTRICAL SUPPLY ITEMS | 1000056765 | 3.5 CORE, 25 SQMM 22 KV XLPE ARMOURED CABLE | M | 200 |  | Included | 0
18 | 7000016024 | 160 | ELECTRICAL SUPPLY ITEMS | 1000056763 | 3.5 CORE, 185 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 1000 |  | Included | 0
19 | 7000016024 | 170 | ELECTRICAL SUPPLY ITEMS | 1000056766 | 3.5 CORE, 25 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 3000 |  | Included | 0
20 | 7000016024 | 180 | ELECTRICAL SUPPLY ITEMS | 1000056761 | 2CORE, 16 SQMM, 1.1 KV PVC UNARMOURED CABLE | M | 1000 |  | Included | 0
21 | 7000016024 | 190 | ELECTRICAL SUPPLY ITEMS | 1000056770 | CABLE SUPPORT STRUCTURE FOR HT CABLE | SET | 32 |  | Included | 0
22 | 7000016024 | 280 | ELECTRICAL SUPPLY ITEMS | 1000054299 | L.T. DISTRIBUTION BOX WITH MCCB. ALUMINIUM BUSBAR FOR SINGLE BAY WITHKIT KAT FUSE FOR 25KVA S/S | EA | 20 |  | Included | 0
23 | 7000016024 | 200 | ELECTRICAL SUPPLY ITEMS | 1000056879 | DISTRIBUTION BOX (DB) FOR ELECTRICAL SUPPLY & ILLUMINATION OF TOILET | SET | 20 |  | Included | 0
24 | 7000016024 | 210 | ELECTRICAL SUPPLY ITEMS | 1000056878 | DISTRIBUTION BOX (DB) FOR ELECTRICAL SUPPLY & ILLUMINATION OF EVCHARGING STATION | SET | 20 |  | Included | 0
25 | 7000016024 | 220 | ELECTRICAL SUPPLY ITEMS | 1000056882 | ILLUMINATION SYSTEM FOR EVCS INCLUDING WIRING & LUMINAIRES | SET | 20 |  | Included | 0
26 | 7000016024 | 230 | ELECTRICAL SUPPLY ITEMS | 1000017401 | PTZ Camera for Video Monitoring System | EA | 40 |  | Included | 0
27 | 7000016024 | 240 | ELECTRICAL SUPPLY ITEMS | 1000012022 | 4.5 kg CO2 type Portable Fire extinguisher | EA | 20 |  | Included | 0
[5 empty] | Total F&I Price |  |  |  | 0 | 0
# | Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date: | --
Place: | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  |  | Schedule - 2 Dis
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | "Saudamini", Plot No.-2
|  |  |  | Sector-29, |  | Multipackage Discount |  | 0%
Gurgaon (Haryana) - 122001
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | --
Place : |  |  | Printed Name :
Designation :
Click for Sch-3

## Sch-3
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [14 empty] | Schedule - 3
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [19 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [19 empty] | AS per Percent |  | #REF!
[20 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To: | [7 empty] | As per Percent on Sch-3 |  | #REF!
[12 empty] | Contracts Services, 3rd Floor | [7 empty] | Total Discount |  | #REF!
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | "Saudamini", Plot No.-2
[12 empty] | Sector-29, | [7 empty] | Multipackage lum-sum |  | 0%
Gurgaon (Haryana) - 122001
Installation Charges : | [20 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Charges | Total Charges | Total GST as confirmed by Bidder |  |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17 |  |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
Navi Mumbai EV Charging Station
1 | 7000016024 | 10 | 20 | 10 | ELECTRICAL INSTALLATION | 100017967 | 995461 |  | 18% |  | Installation of 3.3 kW Bharat AC001 3 connector gun based EV charger including canopy | SET | 60 |  | Included | 0 | 0 | 0 | 0
2 | 7000016024 | 10 | 20 | 20 | ELECTRICAL INSTALLATION | 100017968 | 995461 |  | 18% |  | Installation of 15 kW Bharat DC001 single gun EV charger including canopy | SET | 20 |  | Included | 0 | 0 | 0 | 0
3 | 7000016024 | 10 | 20 | 30 | ELECTRICAL INSTALLATION | 100017969 | 995461 |  | 18% |  | Installation of 122 kW EV charger with CCS II/50 kW, CHAdeMO/50 kW & AC Type 2/22 kW connectors including canopy | SET | 40 |  | Included | 0 | 0 | 0 | 0
4 | 7000016024 | 10 | 20 | 40 | ELECTRICAL INSTALLATION | 100002602 | 998736 |  | 18% |  | Installation of 400KVA, 11/0.433KVTransformer | EA | 18 |  | Included | 0 | 0 | 0 | 0
5 | 7000016024 | 10 | 20 | 280 | ELECTRICAL INSTALLATION | 100017949 | 995461 |  | 18% |  | Installation of 400KVA, 22/0.433KVTransformer | EA | 2 |  | Included | 0 | 0 | 0 | 0
6 | 7000016024 | 10 | 20 | 60 | ELECTRICAL INSTALLATION | 100017089 | 995461 |  | 18% |  | INSTALLATION OF SINGLE BREAK 11 KV GO SWITCH FOR TRANSFORMER | NO | 18 |  | Included | 0 | 0 | 0 | 0
7 | 7000016024 | 10 | 20 | 290 | ELECTRICAL INSTALLATION | 100017970 | 995461 |  | 18% |  | Installation of Single Break 22 kV GOAB Switch for transformer | NO | 2 |  | Included | 0 | 0 | 0 | 0
8 | 7000016024 | 10 | 20 | 80 | ELECTRICAL INSTALLATION | 100017088 | 998736 |  | 18% |  | INSTALLATION OF HORN GAP FUSE 11 KV | NO | 18 |  | Included | 0 | 0 | 0 | 0
9 | 7000016024 | 10 | 20 | 300 | ELECTRICAL INSTALLATION | 100017974 | 998736 |  | 18% |  | Installation of 22 kV Horn Gap Fuse including all accessories | NO | 2 |  | Included | 0 | 0 | 0 | 0
10 | 7000016024 | 10 | 20 | 330 | ELECTRICAL INSTALLATION | 100018002 | 998736 |  | 18% |  | Installation of 11 KV DistributionLightening Arrestor (Set Of 3) | SET | 18 |  | Included | 0 | 0 | 0 | 0
11 | 7000016024 | 10 | 20 | 310 | ELECTRICAL INSTALLATION | 100017960 | 998736 |  | 18% |  | Installation of 22 kV DistributionLightening Arrestor (Set of 3) | SET | 2 |  | Included | 0 | 0 | 0 | 0
12 | 7000016024 | 10 | 20 | 360 | ELECTRICAL INSTALLATION | 100017082 | 995461 |  | 18% |  | Installation of 0.2 S Class HT CT MeterIncluding 11 kV CT & PT, Meter Box | SET | 18 |  | Included | 0 | 0 | 0 | 0
13 | 7000016024 | 10 | 20 | 320 | ELECTRICAL INSTALLATION | 100017976 | 995461 |  | 18% |  | Installation of 0.2 S Class HT CT Meter including 22 kV CT, PT and meter Box | SET | 2 |  | Included | 0 | 0 | 0 | 0
14 | 7000016024 | 10 | 20 | 140 | ELECTRICAL INSTALLATION | 100017977 | 995461 |  | 18% |  | Installation of 0.5 Class single phase whole current meter along with meter box | SET | 40 |  | Included | 0 | 0 | 0 | 0
15 | 7000016024 | 10 | 20 | 340 | ELECTRICAL INSTALLATION | 100018029 | 998736 |  | 18% |  | Erection of 11 KV Overhead lineincluding Steel tubular poles, StaySets, Conductors, Insulators and allHardware accessories. | M | 5500 |  | Included | 0 | 0 | 0 | 0
16 | 7000016024 | 10 | 20 | 160 | ELECTRICAL INSTALLATION | 100017961 | 995461 |  | 18% |  | Laying of 3.5 core, 25 sqmm 11 kV XLPEarmoured cable | M | 4000 |  | Included | 0 | 0 | 0 | 0
17 | 7000016024 | 10 | 20 | 170 | ELECTRICAL INSTALLATION | 100017962 | 995461 |  | 18% |  | Laying of 3.5 core, 25 sqmm 22 kV XLPEarmoured cable | M | 200 |  | Included | 0 | 0 | 0 | 0
18 | 7000016024 | 10 | 20 | 180 | ELECTRICAL INSTALLATION | 100017963 | 995461 |  | 18% |  | Installation of 3.5 core, 185 sqmm, 1.1 kV PVC unarmoured cable | M | 1000 |  | Included | 0 | 0 | 0 | 0
19 | 7000016024 | 10 | 20 | 190 | ELECTRICAL INSTALLATION | 100017964 | 995461 |  | 18% |  | Installation of 3.5 core, 25 sqmm, 1.1 kV PVC unarmoured cable | M | 3000 |  | Included | 0 | 0 | 0 | 0
20 | 7000016024 | 10 | 20 | 200 | ELECTRICAL INSTALLATION | 100017965 | 995461 |  | 18% |  | Installation of 2 core, 16 sqmm, 1.1 kV PVC unarmoured cable | M | 1000 |  | Included | 0 | 0 | 0 | 0
21 | 7000016024 | 10 | 20 | 210 | ELECTRICAL INSTALLATION | 100017966 | 995461 |  | 18% |  | Installation of Cable Support Structure for HT cable | SET | 32 |  | Included | 0 | 0 | 0 | 0
22 | 7000016024 | 10 | 20 | 220 | ELECTRICAL INSTALLATION | 100017078 | 995461 |  | 18% |  | INSTALLATION OF LT DISTRIBUTION BOX (ONE INCOMER WITH 100A 3P MCCB AND 2 OUTGOING WITH 3 P, 100A MCCBS & 2 OUTGOING WITH 1P 16 AMCB) WITH COPPER BUS BAR HAVING 300A CAPACITY AND REQUIRED ACCESSORIES | AU | 20 |  | Included | 0 | 0 | 0 | 0
23 | 7000016024 | 10 | 20 | 230 | ELECTRICAL INSTALLATION | 100017971 | 995461 |  | 18% |  | Installation of Distribution Box (DB) for Electrical supply & Illumination of Toilet | SET | 20 |  | Included | 0 | 0 | 0 | 0
24 | 7000016024 | 10 | 20 | 240 | ELECTRICAL INSTALLATION | 100017972 | 995461 |  | 18% |  | Installation of Distribution Box (DB) for Electrical Supply & Illumination of EV Charging Station | SET | 20 |  | Included | 0 | 0 | 0 | 0
25 | 7000016024 | 10 | 20 | 250 | ELECTRICAL INSTALLATION | 100017973 | 995461 |  | 18% |  | Installation of Illumination System for EVCS including wiring & luminaires | SET | 20 |  | Included | 0 | 0 | 0 | 0
26 | 7000016024 | 10 | 20 | 260 | ELECTRICAL INSTALLATION | 100017079 | 995461 |  | 18% |  | INSTALLATION OF PTZ SECURITY CAMERA WITH SD CARD | NO | 40 |  | Included | 0 | 0 | 0 | 0
27 | 7000016024 | 10 | 20 | 270 | ELECTRICAL INSTALLATION | 100017087 | 995461 |  | 18% |  | INSTALLATION OF CARBON DIOXIDE EXTINGUISHERS (CO2) FOR FIRE FIGHTING (CLASS B, 4.5 KG, IS 15683) | AU | 20 |  | Included | 0 | 0 | 0 | 0
28 | 7000016024 | 290 | 30 | 10 | CIVIL | 100001391 | 995477 |  | 18% |  | New chain Link Fencing excluding concrete | M | 400 |  | Included | 0 | 0 | 0 | 0
29 | 7000016024 | 290 | 30 | 20 | CIVIL | 120003280 | 995428 |  | 18% |  | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light trafficparking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour &pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sandbedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as perrequired size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. - 80 mmthick C.C. paver block of M-30 grade with approved color design and pattern. | M2 | 1280 |  | Included | 0 | 0 | 0 | 0
30 | 7000016024 | 290 | 30 | 30 | CIVIL | 100001324 | 995433 |  | 18% |  | Excavation in all types of soil and rock including backfilling disposal etc. for all leads and lifts | M3 | 584 |  | Included | 0 | 0 | 0 | 0
31 | 7000016024 | 290 | 30 | 40 | CIVIL | 120003121 | 995443 |  | 18% |  | Surface dressing of the ground including MINORCUTTING/FILLING up to +/-150mm and dressing surface shall be maintained true to levelslope,shape and pattern indicated by the Engineer -in-charge including removing vegetation and in -equalities not exceeding 15cmdeep and disposa of rubbish,load uo to 50m and lift up to 1.5m.All kind of soil | M2 | 100 |  | Included | 0 | 0 | 0 | 0
32 | 7000016024 | 290 | 30 | 50 | CIVIL | 100001326 | 995454 |  | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 68 |  | Included | 0 | 0 | 0 | 0
33 | 7000016024 | 290 | 30 | 60 | CIVIL | 100001325 | 995454 |  | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 208 |  | Included | 0 | 0 | 0 | 0
34 | 7000016024 | 290 | 30 | 70 | CIVIL | 100001754 | 995454 |  | 18% |  | Providing and laying of Reinforced Cement Concrete 1:1.5:3 including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 563 |  | Included | 0 | 0 | 0 | 0
35 | 7000016024 | 290 | 30 | 80 | CIVIL | 100001329 | 995454 |  | 18% |  | Steel Reinforcement | MT | 40 |  | Included | 0 | 0 | 0 | 0
36 | 7000016024 | 290 | 30 | 90 | CIVIL | 100017975 | 998736 |  | 18% |  | All civil works of toilets as per drawing and specifications complete, including - brickwork, finishing (external and internal),windows/ ventilators, Plumbing & Sanitary work, sanitary fixture, internal electrical work including conduting, electrical fixture,exhaust fans, plinth protection, septic tank, RWP etc. complete in all respect. However, excavation, PCC, RCC and reinforcementshall be paid separately as per BPS. | M2 | 200 |  | Included | 0 | 0 | 0 | 0
37 | 7000016024 | 290 | 30 | 100 | CIVIL | 100003730 | 995421 |  | 18% |  | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM)specification including premixing the material with water at OMC in for all leads & lifts,laying in uniform layers in sub- base /base course/ below foudnations on well prepared surface and compacting to achieve the desired density, complete as perspecifications and directions of Engineer-in-Charge. | M3 | 256 |  | Included | 0 | 0 | 0 | 0
38 | 7000016024 | 290 | 30 | 110 | CIVIL | 120001832 | 995421 |  | 18% |  | 16.62 Providing and applying 2.5mm thick road marking strips (retro-reflective) of specified shade/ colour using hot thermoplasticmaterial by fully/ semiautomatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propanetank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P,cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-chargeand accordance with applicable specifications. | M2 | 200 |  | Included | 0 | 0 | 0 | 0
39 | 7000016024 | 290 | 30 | 120 | CIVIL | 120002731 | 995424 |  | 18% |  | 19.32.1 Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100mm diameter, 1.8 m long complete as per standard design. : With common burnt clay F.P.S. (non modular) bricks of class designation7.5 | EA | 20 |  | Included | 0 | 0 | 0 | 0
[11 empty] | Total Installation Charges |  |  |  | 0 |  |  | 0 | 0
[11 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0 |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  | --
Place : | [11 empty] | Printed Name :
Designation :
Click for Sch-4

## Sch-3 Dis (hidden)
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  |  | Schedule - 3
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  |  | As per Percent on Sch-3 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | "Saudamini", Plot No.-2
|  |  |  | Sector-29, |  |  |  | Multipackage lum-sum |  | 0%
Gurgaon (Haryana) - 122001
[5 empty] | All Prices are in Indian Rupees. |  |  |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  |  |  |  | (a) | Detailed Soil Investigation
| #REF! | #REF! | #REF! | #REF! | #REF! | (b) | All kinds of soil except fissured rock & hard rock
| #REF! | #REF! | #REF! | #REF! | #REF! | (e) | River Crossing Location
| #REF! | #REF! | #REF! | #REF! | #REF! | (f)
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| Total Erection Price (A+B) |  |  |  | #REF!
Date : | --
Place : |  |  | Printed Name :
Designation :
Click for Sch-4

## Sch-4a
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [15 empty] | Schedule - 4a
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Training Charges for Training to be imparted
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Training Charges excluding GST | Total Training Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
1 | 7000011284 | 10 | 30 | 10 | Training | 170000735 | 998336 |  | 18% |  | Training at Manufacturer's Works | MND | 100 |  | Included | 0 | 0 | 0 | 0
NOT APPLICABLE
[9 empty] | Total Training Charges | [5 empty] | 0 |  |  | 0 | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0 |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [12 empty] | Printed Name :
Place : | [13 empty] | Designation :
Click for Sch-5

## Sch-4b
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [15 empty] | Schedule - 4b
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Maintenance Charges after Defect Liability Period
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Total Maintenance Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
Navi Mumbai EV Charging Station
1 | 7000016024 | 300 | 40 | 79 | COMPREHENSIVE MAINTENANCE | 140000160 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 1 | YR | 1 |  | Included | 0 | 0 | 0
2 | 7000016024 | 300 | 40 | 80 | COMPREHENSIVE MAINTENANCE | 140000170 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 2 | YR | 1 |  | Included | 0 | 0 | 0
3 | 7000016024 | 300 | 40 | 90 | COMPREHENSIVE MAINTENANCE | 140000171 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 3 | YR | 1 |  | Included | 0 | 0 | 0
4 | 7000016024 | 300 | 40 | 100 | COMPREHENSIVE MAINTENANCE | 140000172 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 4 | YR | 1 |  | Included | 0 | 0 | 0
5 | 7000016024 | 300 | 40 | 110 | COMPREHENSIVE MAINTENANCE | 140000173 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 5 | YR | 1 |  | Included | 0 | 0 | 0
6 | 7000016024 | 300 | 40 | 120 | COMPREHENSIVE MAINTENANCE | 140000174 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 6 | YR | 1 |  | Included | 0 | 0 | 0
7 | 7000016024 | 300 | 40 | 130 | COMPREHENSIVE MAINTENANCE | 140000175 | 998719 |  | 18% |  | Comprehensive Maintenance after expiry of Warranty Year 7 | YR | 1 |  | Included | 0 | 0 | 0
[9 empty] | Total Maintenance Charges during and after Defect Liability Period | [5 empty] | 0 |  |  | #REF!
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [12 empty] | Printed Name :
Place : | [13 empty] | Designation :
Click for Sch-5

## Sch-5
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  | Schedule - 5
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON SERVICES |  |  |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges after Defect Liability Period(Schedule-4b) |  | 0 |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL [1+2] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  | Schedule - 5
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | 0
Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b)
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  | Schedule - 6
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4a | TOTAL SCHEDULE NO. 4a |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges after Defect Liability Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 After Discount
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  | Schedule - 6 After Discount
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4a | TOTAL SCHEDULE NO. 4a |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges after Defect Liability Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 | [11 empty] | Schedule 7
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To: | [5 empty] | As per Percent on Sch-7 |  | #REF!
[10 empty] | Contracts Services, 3rd Floor | [5 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | "Saudamini", Plot No.-2
[10 empty] | Sector-29, | [5 empty] | Multipackage Discount |  | 0%
Gurgaon (Haryana) - 122001
Type tests Charges:
SL. NO. | PR No | Line Item No | Code | HSN Code | Whether HSN in column ‘2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) | Total GST as confirmed by Bidder | Revaluation of M column | Tax Calculation |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 = 10 x 11 | 14
1 | [11 empty] | Included | 0 | 0 | 0
2 | [11 empty] | Included | 0 | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | -- |  |  |  |  | Printed Name :
Place : | [8 empty] | Designation :
Note : |  |  |  | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
Bidder’s Name and Address (Sole Bidder) :
[8 empty] | 0 | 0
Name : | [8 empty] | 0
Address : | [8 empty] | 0
0
0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | "Saudamini", Plot No.-2
|  |  |  | Sector-29, |  |  | Multipackage Discount |  | 0%
Gurgaon (Haryana) - 122001
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | #REF!
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | -- | Printed Name :
Place : |  | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4a, Sch-4b & Sch-7] In Rs. |  |  |  | 0 | 0%
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4a, Sch-4b & Sch-7] In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : Ex-Works Price | 0%
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | 0%
|  | Schedule-3 : Erection Charges |  | In Rs. |  | 0 | 0% | Schedule-3 : Erection Charges | 0%
|  | Schedule-4a : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4a : Training Charges | 0%
|  | Schedule-4b : Maintenance Charges during and after Defect Liability Period |  | In Rs. |  | 0 | 0% | Schedule-4b : Maintenance Charges | 0%
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-7 : Type Test Charges | 0%
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4a : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4b : Maintenance Charges during and after Defect Liability Period |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | -- | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1 |  |  |  |  | Bid Form 2nd Envelope | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | -- | [8 empty] | 6 | th | #VALUE! | 6 | June
[10 empty] | 7 | th | #VALUE! | 7 | July
To: | [9 empty] | 8 | th | #VALUE! | 8 | August
Contracts Services, 3rd Floor | [9 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [9 empty] | 11 | th |  | 11 | November
Sector-29, | [9 empty] | 12 | th |  | 12 | December
Gurgaon (Haryana) - 122001 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : |  | NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. | [7 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [6 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [6 empty] | 22 | th
| Schedule 3 |  | Installation Charges. | [6 empty] | 23 | th
| Schedule 4a |  | Training charges for training to be imparted. | [6 empty] | 24 | th
| Schedule 4b |  | Maintenance Charges after Defect Liability Period.
| Schedule 5 |  | Taxes and Duties not included in Schedule 1 | [6 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 5] | [6 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted (NOT APPLICABLE) | [6 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3, Charges for Training to be imparted specified in Schedule No. 4a and Maintenance Charges during & after Defect Laibility Period specified in Schedule No. 4b of the Price Schedule in this Second Envelope by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | -- |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | 0 |  | 0
| B) CENTRAL SALES TAX | 0 |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | 0
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| Excise Duty % as |  |  |  | Excise Duty
| CST % as |  |  |  | CST
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | Specification No: 5002002038/OTHERS/DOM/A00 - CC CS -1

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0 | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | 0 |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
NMMT Package CC-01: Supply, Erection, Commissioning and AMC of EV Chargers and upstream electrical infrastructure along with civil works for 20 nos. of EV Charging Stations for “Setting up of Electric Vehicles Charging Stations in Navi Mumbai under FAME India Scheme Phase-II”. |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred