BOQ

Subject: Retro fitment & Reconditioning of MSB & ACDB panel (Auxiliary system) at Ballabgarh Substation.

| S.No | Description | Unit | Qry. | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | MCCB, 25KA, TMD, 32A/63A/100A | EA | 44 | BIDDERS SHALL BE QUOTED IN SRM PORTAL |  |
| 2 | MCCB, 36KA, TMD, 400A | EA | 16 |  |  |
| 3 | ACB, 50KA, EDO, 800A, Without protection/Isolator | EA | 01 |  |  |
| 4 | CB, 50KA, E DO, 1000A, Without protection/Isolator | EA | 03 |  |  |
| 5 | Astro timer 24hrs | EA | 10 |  |  |
| 6 | MLTP & LDB panel front door fabrication, 1.6MM CRCA, Siemens Grey 7035 | JOB | 01 |  |  |
| 7 | Ferrule Numbers, Cable Ties, Tie Base, Copper PVC Control Wire, Power Wire, Copper Thimbles, AL Bus Bar, Round Type Thimble, MCB Chanel, Pvc Chanel, Connector Chanel, Connectors, Nut Bolts, Door lock, door hinz, Door handle etc. | JOB | 01 |  |  |
| 8 | Labour charges | JOB | 01 |  |  |
|  | Total Rs. = |  |  |  |  |
|  | Add GST @ 18% = |  |  |  |  |
|  | Gross Total Amount (in Rs.) including GST = |  |  |  |  |