| Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| Volume-II: Technical Specifications |  |  |  |  |
|  | Price schedule-Sl no 1 & Section project cl 2.1.(i) | Price schedule-80 MVAr, 765√3, 1-phase Shunt Reactor (as per technical specification) (excluding Insulating oil) & Section Project-2.1(i)-30 (Thirty) nos, 80 MVAR ,765 kV, 1-Phase Reactors excluding Insulating Oil & HV bushing. | We understand the item sl no 1 in Price Schedule -80 MVAR 80 MVAR, 765 kV, 1-Phase Reactors is without insulating oil & without HV Bushings as bushings are called separately (item sl. no 6&7). Accordingly, item 1- description should be "80 MVAR ,765 kV, 1-Phase Reactors excluding HV Bushings and excluding Insulating oil" kindly confirm. | Bidder may please refer Clause no. 2.1 (i) of Section Project for description of item at Sl no.1 of BPS Sch 1 & 3. Bidder shall quote meeting the requirement of bidding documents. |