## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package SS01
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Names of Bidder :
| ● | Select from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Bidder
| ● | Fill up date in dd-mmm-yyyy format
Sch-1 (MODIFICATION OF BOUNDARY WALL PRICES) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-2 (WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY PRICES) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch -3 (Grand-Total) :
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Bid from of price bid :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3
| ● | Fill up names & Designation bid signing authority
| ● | Fill up additional information as required.
* * *

## Names of Bidder
Modification (Height Raise) of NH/Front Side Boundary Wall & Construction of Watch Tower (03 Nos.) along-with Peripheral pathway at 400/220kV Binaguri Substation
Spcn No: ER2/NT/W-CIVIL/DOM/E00/26/01626/I-5571/RFX-5002005076 | Proprietorship | 1
| Partnership | 2
Enter following details of the bidder | Company
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address of Registered Office
Email
Mobile
2016-02-21
Printed Name |  | 2958465
Designation
Date
Place

## Schedule-1
Schedule-1 (MODIFICATION OF BOUNDARY WALL)
Modification (Height Raise) of NH/Front Side Boundary Wall & Construction of Watch Tower (03 Nos.) along-with Peripheral pathway at 400/220kV Binaguri Substation
Spcn No: ER2/NT/W-CIVIL/DOM/E00/26/01626/I-5571/RFX-5002005076
To:
|  |  | Name: | 0 |  |  | Contract Services
|  |  | Address: | 0 |  |  | Power Grid Corporation of India Ltd.
|  |  |  | 0 |  |  | ER-II, RHQ
|  |  |  | 0 |  |  | CF-17, Action Area-1C
New Town, Kolkata-700156
SAC (Service Accounting Codes) | GST Rate (in%) | Sr. No. | DSR 2023/PG SOR MAR'24 | Description | Unit | Quantity | Unit Rate (In INR) | Amount Excluding GST in INR) | GST Amount (In INR)
MODIFICATION OF BOUNDARY WALL
|  | 1 | 15.56 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | SQM | 300 |  | 0 | 0
|  | 2 | 15.7.4 | Demolishing brick work manually/by mechanical means including stacking of serviceable material & disposal of unserviceable material within 50 meters lead as per direction of Engineer-in-charge.: In cement mortar | CUM | 99.0353 |  | 0 | 0
|  | 3 | 15.36 | Dismantling barbed wire or flexible wire rope in fencing including making rolls & stacking within 50 meters lead. | KG | 357.396 |  | 0 | 0
|  | 4 | 15.17.2 | Dismantling steel in sections including dismenbering & stacking within 50metres lead in: Channels, angles, tees & flats | KG | 1395.219 |  | 0 | 0
|  | 5 | 2.8.1 | Earth Work in Excavation by mechanical means(Hydraulic excavator)/manual means over areas (exceeding 30cm in epth, 1.5m in width as well as 10sqm on plan) including dressing of sides & ramming of bottoms, for all lift, including getting out & disposal of surplus excavated soil as directed, within a lead of 50m.: All kind of soil. | CUM | 13.5056 |  | 0 | 0
|  | 6 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:2:4 (1 Cement : 2 coarse samnd (zone-III) derived from natural source : 4 graded stone aggregate 20mm nominal size derived from natural source) | CUM | 8.0185 |  | 0 | 0
|  | 7 | 4.1.6 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:3:6 (1 Cement : 3 coarse samnd (zone-III) derived from natural source : 6 graded stone aggregate 20mm nominal size derived from natural source) | CUM | 0.6075 |  | 0 | 0
|  | 8 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing & reinforcement- All work upto plinth level: 1:1.5:3 (1 Cement: 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20nn nominal size derived from natural source) | CUM | 22.7829 |  | 0 | 0
|  | 9 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position & binding all complete upto/above plinth level: Thermo-Mechanically Treated bars of grade Fe-500D or more. | KG | 2625.0681 |  | 0 | 0
|  | 10 | 5.9.1 | Centering and shuttering including strutting, propping etc. for Footing | SQM | 10.2 |  | 0 | 0
|  | 11 | 5.9.6 | Centering and shuttering including strutting, propping etc. For Column | SQM | 64.35 |  | 0 | 0
|  | 12 | 5.9.5 | Centering and shuttering including strutting, propping etc. For Beam | SQM | 183.28 |  | 0 | 0
|  | 13 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 Cement : 6 Coarse sand) | CUM | 237.6603 |  | 0 | 0
|  | 14 | 13.1.1 | 12mm cement plaster of mix: 1:4(1 cement : 4 fine sand) | SQM | 1349.0763 |  | 0 | 0
|  | 15 | 13.2.1 | 15mm cement plaster of mix: 1:4(1 cement : 4 fine sand) | SQM | 1049.0763 |  | 0 | 0
|  | 16 | 13.88 (Modified) | Removing white or colour wash or synthetic paints by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | SQM | 1707.3975 |  | 0 | 0
|  | 17 | 13.50.3 | Applying priming coat: With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works | SQM | 72.06 |  | 0 | 0
|  | 18 | 13.99.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work. | SQM | 72.06 |  | 0 | 0
|  | 19 | 13.46.1 | Finishing wall with premium acrylic smooth exterior paint with silicone addictives of required shade: New/Old work (Two or more coats applied @ 1.67ltr/10sqm over and including priming coat of exterior primer applied @ 0.90 litre/10sqm) | SQM | 3823.2208 |  | 0 | 0
|  | 20 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | KG | 391.5 |  | 0 | 0
|  | 21 | 10.1 (Modified) | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete (Material will be supplied by POWERGRID) | KG | 1004.85 |  | 0 | 0
|  | 22 | 16.53 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | Metre | 229.1 |  | 0 | 0
|  | 23 | 16.53 (Modified) | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) (Material (i.e. Concertina coil) will be supplied by POWERGRID) | Metre | 229.1 |  | 0 | 0
|  | 24 | 15.2.1 | Demolishing cement concrete manually by mechanical means including disposal of materisl within 50 meters lead as per directionof engineer-in-chaNominal concrete 1:3:6 or richer mix (including equivalent desin mix) | cum | 8.0185 |  | 0 | 0
TOTAL CONTRACT PRICE FOR MODIFICATION OF BOUNDARY WALL | [7 empty] | 0 | 0
GRAND TOTAL INCLUDING GST | [7 empty] | 0

## Schedule- 2
Schedule-2 (WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY)
Modification (Height Raise) of NH/Front Side Boundary Wall & Construction of Watch Tower (03 Nos.) along-with Peripheral pathway at 400/220kV Binaguri Substation
Spcn No: ER2/NT/W-CIVIL/DOM/E00/26/01626/I-5571/RFX-5002005076
To:
|  |  | Name: | 0 |  |  | Contract Services
|  |  | Address: | 0 |  |  | Power Grid Corporation of India Ltd.
|  |  |  | 0 |  |  | ER-II, RHQ
|  |  |  | 0 |  |  | CF-17, Action Area-1C
New Town, Kolkata-700156
HSN/SAC Code | GST Rate (in%) | Sr. No. | Elec. DSR-22_ Ref | Description | Unit | Quantity | Unit Rate (In INR) | Amount Excluding GST in INR) | GST Amount (In INR)
|  | A |  | CIVIL WORKS-WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY
|  | 1 | 2.6.1 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | Cum | 52.13 |  | 0 | 0
|  | 2 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 36.479 |  | 0 | 0
|  | 3 | 11.2 | Dry brick on edge flooring in required pattern with bricks of class designation 7.5 on a bed of 12 mm mud morter,including filling joints with jamuna sand, with common burnt clay non modulars brick | Sqm | 45 |  | 0 | 0
|  | 4 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | CUM | 4.5 |  | 0 | 0
|  | 5 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 7.385 |  | 0 | 0
|  | 6 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | Cum | 9.076 |  | 0 | 0
|  | 7 | 5.2.2 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cum | 14.916 |  | 0 | 0
|  | 8 | 6.45.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand | Sqm | 30.375 |  | 0 | 0
|  | 9 |  | Centering and shuttering including strutting, propping etc. and removal of form for : |  |  |  | 0 | 0
|  | 9.1 | 5.9.1 | Foundations, footings, bases of columns, etc. | Sqm | 19.721 |  | 0 | 0
|  | 9.2 | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform, lintel & chajjas | Sqm | 49.388 |  | 0 | 0
|  | 9.3 | 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Sqm | 74.025 |  | 0 | 0
|  | 9.4 | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 84.3 |  | 0 | 0
|  | 9.5 | 5.9.7 | Stairs, (excluding landings) except spiral-staircases | Sqm | 24.87 |  | 0 | 0
|  | 10 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | kg | 2785.586 |  | 0 | 0
|  | 11 | 13.1.2 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | Sqm | 268.226 |  | 0 | 0
|  | 12 | 13.16.1 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | Sqm | 42.975 |  | 0 | 0
|  | 13 | 13.46.1 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | Sqm | 208.89 |  | 0 | 0
|  | 14 | 13.41.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : 13.41.1 New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | Sqm | 39.825 |  | 0 | 0
|  | 15 | 11.3.1 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | Sqm | 7.922 |  | 0 | 0
|  | 16 | 13.18 | Neat cement punning. | Sqm | 62.49 |  | 0 | 0
|  | 17 | 10.26.1 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer:M.S. tube | kg | 228.237 |  | 0 | 0
|  | 18 | 13.61.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | Sqm | 32.375 |  | 0 | 0
|  | 19 | 10.13.1 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | Kg | 401.3 |  | 0 | 0
|  | 20 | 10.30.1 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : 4.0 mm thick glass panes | Sqm | 12.51 |  | 0 | 0
|  | B |  | ELECTRICAL PORTION-WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY |  |  |  | 0 | 0
|  | 1 | 1.5 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | Metre | 150 |  | 0 | 0
|  | 2 | 2.10.2 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in MCB DB complete with connections, testing and commissioning etc. as required. Single pole and neutral. | each | 3 |  | 0 | 0
|  | 3 | 1.10.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | point | 9 |  | 0 | 0
|  | 4 | 1.24.1 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.: 5/6 A switch | each | 9 |  | 0 | 0
TOTAL CONTRACT PRICE FOR WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY (A+B) | [7 empty] | 0 | 0
GRAND TOTAL INCLUDING GST | [7 empty] | 0

## Schedule-3
Schedule-3 (Grand Summary)
Modification (Height Raise) of NH/Front Side Boundary Wall & Construction of Watch Tower (03 Nos.) along-with Peripheral pathway at 400/220kV Binaguri Substation
Spcn No: ER2/NT/W-CIVIL/DOM/E00/26/01626/I-5571/RFX-5002005076
To:
Name: | 0 | Contract Services
Address: | 0 | Power Grid Corporation of India Ltd.
| 0 | ER-II, RHQ
| 0 | CF-17, Action Area-1C
New Town, Kolkata-700156
Sl. No. | Description | Total Price Excluding GST (INR) | GST (INR)
1 | TOTAL SCHEDULE NO. 1 | 0 | 0
MODIFICATION OF BOUNDARY WALL
2 | TOTAL SCHEDULE NO. 2 | 0 | 0
WATCH TOWERS (03 nos) & PERIPHERAL PATHWAY
3 | TOTAL CONTRACT PRICE | 0 | 0
| GRAND TOTAL INCLUDING GST | 0
NOTE: | The filled soft copy of the price schedules, in excel format must be uploaded on section “Price Attachments” of Rfx response on SRM (PRANIT) portal. Lumpsum prices above against different heads (i.e. Total Installation/Service Amount and Total GST on Services) as arrived at Sl. No. 3 are to be mentioned on the PRANIT portal for the purposes of Bid Price Summary

## Bid Form
Spcn No: ER2/NT/W-CIVIL/DOM/E00/26/01626/I-5571/RFX-5002005076 |  |  |  |  | Bid Form
BID FORM (Price bid)
Bid Proposal Ref. No.
Date : | 0
To:
Contract Services
Power Grid Corporation of India Ltd.
ER-II, RHQ
CF-17, Action Area-1C
New Town, Kolkata-700156
Name of Contract : |  | Modification (Height Raise) of NH/Front Side Boundary Wall & Construction of Watch Tower (03 Nos.) along-with Peripheral pathway at 400/220kV Binaguri Substation
Dear Ladies and/or Gentlemen,
1 | In continuation of Techno commercial part of our Bid, we hereby submit the price schedules of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, under the above-named package in full conformity with the said Bidding Documents as may be determined in accordance with the terms and conditions of the Bidding Documents.
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
Schedule 1
Schedule 2
| Schedule 3 |  | Grand Total [Schedule 1 to 2]
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be in line with the bid documents & Contract Agreement.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment to be incorporated into the Facilities of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | 0 |  |  | Printed Name : | 0
Place : | 0 |  |  | Designation : | 0
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *