## Clarifications-1
Clarifications-2 dated 16.08.2019 to Bidding Documents forSubstation Package-SS01 for extension of 400(GIS)/220(AIS)kV Dhalkebar(NEA) Substation under Transmission system associated with Arun-3 HEP in Nepal under consultancy services to ‘SJVN Arun-3 Power Development Company Pvt. Ltd.’ (SAPDC) Spec. No CC-CS/921-CC/GIS-3967/3/G7
S.No. | Section | Existing Clause as per Bidding Documents | Query/Clarification sought by bidders | POWERGRID's Clarification
1 | Clause 10.3, GCC(SCC),Vol-I | For CIP Entry Border Point Contract: In case of Supply of Goods and Services from Abroad (i.e. outside Nepal), taxes and duties shall be as follows: If any plant and equipment required to complete the facilities, is manufactured outside the Employer’s Country, the Contractor shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Employer’s Country. ................................................ .................................................. | As mentioned in the Clause No SCC 5 /GCC 2.1.1, three separate contract shall be awarded for Offshore Supply, Onshore supply & Onshore services. We understand that withholding taxes of 5% is not applicable of the First Contract or the Offshore supply contract. Kindly confirm our understanding. | While making the payments, the TDS provisions as per prevailing laws of Nepal will be applicable. However, as per section 89 (3) of Nepal Income Tax Act TDS @ 5% is applicable in case of import.
2 | Clause 5.3, GCC(SCC),Vol-I | The Contractor shall acquire in its name all permits, approvals and/or licenses from all local, state or national government authorities or public service undertakings in the country where the Site is located that are necessary for the performance of the Contract, including, without limitation, visas for the Contractor’s and Subcontractor’s personnel and entry permits for all imported Contractor’s Equipment. The Contractor shall acquire all other permits, approvals and/or licenses that are not the responsibility of the Employer under GCC Sub-Clause 6.3 hereof and that are necessary for the performance of the Contract. Wherever required, the Contractor has to open Project office/site/Liaison office/Bank Account in Nepal complying with all applicable laws and regulations of Government of Nepal | As per Sl.No. 11, SCC, Clause No. GCC 5.3, please confirm the whether the company registration need to take in Nepal in the name of JV or in the name of Lead bidder. Also, please confirm whether the Bank Account in Nepal need to open in the name of JV or in the name of Lead bidder. | The company registration need to take in Nepal in the name of JV. Further bank account in Nepal is required to be opened in the name of JV.
3 | Clause 10 of GCC (SCC), Vol-I of the Bidding Documents | 10. Taxes and Duties | We understand that no withholding tax is applicable for offshore supply payments. However, if it is applicable, please confirm the rate of With holding tax. | While making the payments, the TDS provisions as per prevailing laws of Nepal will be applicable. However, as per section 89 (3) of Nepal Income Tax Act TDS @ 5% is applicable in case of import.
4 | General | Land availaibility | We presume that land for 400kV extension work is acquired by client and will be available immediately after award of contract. ROW issues if any will be compensated by client. | SAPDC shall make all out effort for obstruction free land. Also refer clause no. XXXI (iii) of Section-Project, Vol-II and any other provisions in the contract. The said land as made available to SAPDC by GoN will be handed over to the contractor before start of field activities
5 | General | General | During Site visit , we have observed that lots of houses ,trees ,factories are present in the land which is under aquisition by Employer. We understand that encumbrance free land after clearing all existing establishment and trees will be handed over to successful bidder. Please confirm. Please also confirm that zero date shall start after handover of encumbrance land. | SAPDC shall make all out efforts for obstruction free land. Also refer clause no. XXXI (iii) of Section-Project, Vol-II and any other provisions in the Contract. “Effective Date” shall start as per the provisions of the Contract.
6 | General |  | We conducted the site visit and request you to confirm the land is acquired by SJVN. The identified land as mentioned in the drawing is now has residential & crop land. Kindly confirm that the land is acquired and encumbrance free land will be handed over contractor for executing the said package. | SAPDC shall make all out efforts for obstruction free land. Also refer clause no. XXXI (iii) of Section-Project, Vol-II and any other provisions in the contract.
7 | General |  | We also understand that buildings/crops etc. of the newly acquired land shall be cleared and handed over to contractor. We do not envisage any such dismantling or clearing of buildings in contractors scope of work. Kindly confirm the same. | SAPDC shall make all out efforts for obstruction free land. Also refer clause no. XXXI (iii) of Section-Project, Vol-II and any other provisions in the contract.

## Clarifcations-Sample (hidden)
Clarifications No-1 dated 12.4.13 for REQUEST FOR PROPOSAL (RFP) for EMPANELMENT OF SYSTEM INTEGRATORS, LAST MILE PROVIDERS AND MARKETING PARTNERS for MARKETING & SELLING OF POWERGRID MPLS SERVICES. Spec. No NRTCC/C&M/12-13/639
S.No. | Section | RFP text | Query/Clarification sought by bidders | Powergrid response
1 | Chapter-3-3.8,Clause-ii, Page-20 | Have experience of Turnkey implementation of last mile connection on wireless (supply, configuration and maintenance) at least 10 POPs, 07 POPs & 05 POPs in 2 projects each in last two years for A- pan-India, B- Regional & C-State category respectively. Completion certificate, Performance certificate and purchase orders copy from client should be attached as documentary support. | Need more clarification on the clause, and the definition of POP. | Mentioned number of last mile connectivities should have been implemented in at least 2 different projects. PoP is customer location where CPE has been installed.
2 | Chapter-3-3.9, Clause-vi, Page-21 | The bidder must not be having its own MPLS network or already offering MPLS services on its network under any telecom license. | This clause will prevent participation MPLS service providers, who are also experienced in System/Network integration to participate. This would also bring benefit of single ownership of the end to end SLA for the connectivity and delivering commitments and timelines. Hence we would like this clause to be deleted. | No change
3 | Chapter-4-4.1,Clause-i, Page-24 | POWERGRID shall be responsible for billing to the customer and the System Integrator partner shall be responsible for payment Collection & Realization as per SLA and obtaining Certificates in this regard from customer. However the payment shall be made in POWERGRID’s account. | Partner's payment should come from only a single point and that is POWERGRID, not from individual customers, we request that payment to partner to be made by PGCIL, against installation reports and invoices, within 30 days of submission. | Partner's payment shall come through POWERGRID only. While liasioning in Payment collection will be responsibility of partner's.
4 | Chapter-4-4.3, Clause-ii, Page-26 | The payment to the selected partner for any particular deal shall be made on cost plus basis. | Needs more elaboration and clarity on the payment terms. | One time charges for service provisioning may be paid as quoted during bid with in empanelled vendors.
5 | Chapter-4-4.5, Clause-iii, Page-28 | Applications must be accompanied by Empanelment fee as per the clause 4.5 (i & ii), through a Demand Draft in favour in "POWERGRID CORPORATION OF INDIA LIMITED” payable at New Delhi. | Request PGCIL to accept empanelment fees as bank guarantee instead of Demand Draft. As almost all bids are accepted with bid security in the form of BID security. | No change
6 | Chapter-4-4.5, Clause-v, Page-28 | The Empanelment fee shall be refunded to the unsuccessful applicants after deducting a processing fee of 10% (without any interest). | Request PGCIL to waive off the deduction of processing fees as same is not practiced in any of Government Bids. | No change
7 | Chapter-3-3.9,Clause-iii,Page-20 | The firm should have at least one National Operating Centre with help of which it can monitor all the connections deployed by it. A declaration in this regard on company’s letter head along with Address , capacity details of NOC, sealed & signed by authorized signatory is to be submitted as a documentary evidence. | Suggest PGCIL to rephrase the same as almost all case like RAILTEL & BSNL SI's provides support engineers at NOC, which is first point of contact available in the NOC to maintain the network security guideline. | No change
8 | Chapter-4-4.1,Clause-i, Page-24 | POWERGRID shall be responsible for billing to the customer and the System Integrator partner shall be responsible for payment Collection & Realization as per SLA and obtaining Certificates in this regard from customer. However the payment shall be made in POWERGRID’s account. | Request POWERGRID to clarify that expenditure by SI during the payment collection ( Travel, TA/DA etc.) will be taken care by PGCIL or can be included in the invoice raised by SI for the work done. | No separate TA/DA will be paid by POWERGRID.
9 | Chapter-4-4.5,Clause-i,Page-27 | The empanelment fee in each service category (I, II, III) is Rs. 5 Lakh for pan-India, Rs. 3 Lakh for Region and Rs. 1 Lakh for State level empanelment. | Empanelment fee in the form of D/D will get blocked for the entire duration of this agreement . So, Empanelment fee should be allowed to be submitted in the form of Bank Guarantee as per standard practice. | No change
| Chapter-4-4.5,Clause-iii,Page28 | Applications must be accompanied by Empanelment fee as per the clause 4.5 (i & ii), through a Demand Draft in favour in "POWERGRID CORPORATION OF INDIA LIMITED” payable at New Delhi.
10 | Chapter-2, Clause f,Page 16 | MoU(Memorandum of Understanding) or MAF(Manufacturer Authorization Letter) with OEM if applicable, clearly indicating the commitment of OEM to extend all types of support for 7 Years from date of commissioning for their equipment | This is only empanelment, BOQ will vary from case to case, hence not possible to submit the MAFs can be submitted only at the time of RFP release. Request you to kindly delete this requirement. | This document may be submitted at the time of award of LOA on case to case basis.
11 | Chapter-2,Clause-f,Page-16 | MoU(Memorandum of Understanding) or MAF(Manufacturer Authorization Letter) with OEM if applicable, clearly indicating the commitment of OEM to extend all types of support for 7 Years from date of commissioning for their equipment | Request PGCIL to kindly clarify with regard to the requirement of material so as to provide for MOU or MAF from the respective manufacturer as a stipulated requirement to the tender. | Requirement will be decided on case to case basis.
12 | Chapter-3,Para-2, Page18 | The Owner may assess the capacity and capability of the Applicant, to successfully execute the work. This assessment shall inter-alia include (i) document verification; (ii) Applicant works/manufacturing facilities visit ; (iii) manufacturing capacity, details of works executed , works in hand, anticipated in future & the balance capacity available; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place ; (vi) past experience and performance ; (vii) customer feedback ; (viii) banker’s feedback etc. | Following components are not applicable to this (no manufacturing is involved): Applicant works/manufacturing facilities visit ; manufacturing capacity details of Plant and machinery, manufacturing and testing facilities. | The assesment shall be carried out on as applicable for such empanelment.
13 | Clause-i of Chapter-3-3.8,3.9&3.10 | Average Annual Turnover of best of 3 years in last 5 years from the last date of submission of this RFP must be Rs. 35 cr in A- National category, Rs.20 cr. in B – Regional Category and Rs. 10 cr. in C- State Category. Audited Balance sheets duly signed by statutory auditor for the best 3 years in last 5 years are to be enclosed as supporting document. | The qualifying requirement (Annual Turnover) of bidders for all the three categories (last mile, System Integration and Marketing) have been kept same and at the same time if a bidder is qualifying for marketing he is atomically qualifying for other two categories also. In order to ensure healthy competition and participation of capable small scale State level companies, the annual turnover requirement should be bifurcated as per category and brought down to 1 to 2 Crores instead of 10 crores for last mile and system integrators. | No change

## Ammendments-Sample (hidden)
Amendment No-1 dated 12.4.13 for REQUEST FOR PROPOSAL (RFP) for EMPANELMENT OF SYSTEM INTEGRATORS, LAST MILE PROVIDERS AND MARKETING PARTNERS for MARKETING & SELLING OF POWERGRID MPLS SERVICES. Spec. No NRTCC/C&M/12-13/639
S.No. | Section | RFP text (Existing Provision) | Proposed Amendment
1 | Chapter-2, Clause f,Page 16 | MoU(Memorandum of Understanding) or MAF(Manufacturer Authorization Letter) with OEM if applicable, clearly indicating the commitment of OEM to extend all types of support for 7 Years from date of commissioning for their equipment | Remove existing Item
2 | Chapter-3,Para-2, Page18 | The Owner may assess the capacity and capability of the Applicant, to successfully execute the work. This assessment shall inter-alia include (i) document verification; (ii) Applicant works/manufacturing facilities visit ; (iii) manufacturing capacity, details of works executed , works in hand, anticipated in future & the balance capacity available; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place ; (vi) past experience and performance ; (vii) customer feedback ; (viii) banker’s feedback etc. | Replace With The Owner may assess the capacity and capability of the Applicant, to successfully execute the work. This assessment shall inter-alia include (i) document verification; (ii) capacity, details of works executed , works in hand, anticipated in future & the balance capacity available; (iii) manpower and financial resources; (iv) details of quality systems in place ; (v) past experience and performance ; (vi) customer feedback ; (vii) banker’s feedback etc.

## QR (hidden)
Point wise response of POWERGRID REQUEST FOR PROPOSAL (RFP) for PROCURING Operation Support System (OSS) for Transmission & IP/MPLS Network Package-O under augmentation of Telecom Network for NTAMC Spec. No CC-CS/430-NR1/TELE-3565/3/G4
S.No. | Type of Query | Section | RFP text | Query/Clarification sought by bidders | Proposed Clarification / Amendment | Amendment/Clarification | Powergrid response | Party | Reason for query | Modified clause
1 | QR | Vol-I, Annexure-A to BDS Clause-2.1, Page-1 | Bidder should have supplied, installed and commissioned at least 1000 network elements of optical transport domain (SDH/DWDM/PTN/Routers) in at least one (1) Telecom Project during last seven(7) years as on originally scheduled date of bid opening i.e 18.01.2017. | 3. Considering the fact that OSS Tender of PGCIL is Software-intensive project & doesn’t have mass deployments of large numbers of equipments, System Integrators’ role in executing this project is minimal. Clause 2.1 of Annexure-A to BDS document, wherein technical experience is sought for supply & installation of 1000 optical Network element, seems to favour ‘System Integrators’ in comparison to ‘Software firms’. In order to have a level playing field for Software Development Firms Suggestion by DCOT: a. Clause 2.1 of Annexure-A to BDS may be removed. Or b. Hardware for the OSS Software may be separately procured. | To be discussed | CS |  | CDOT
2 | QR | Vol I , Annexure A to BDS, Clause 2.1,Page-1 | Bidder should have supplied, installed and commissioned at least 1000 network elements of optical transport domain (SDH/DWDM/PTN/Routers) in at least one (1) Telecom Project during last seven(7) years as on originally scheduled date of bid opening i.e 18.01.2017. | We understand that the experience of Supply, installation and commissioning of 1000 network elements - in optical transport domain (SDH/DWDM/PTN) or Routers - is acceptable against this criteria. Please confirm. | Provisions of Bidding Documents remain unchanged. | CS |  | Sify
3 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Bidder should have supplied, installed and commissioned at least 1000 network elements of optical transport domain (SDH/DWDM/PTN/Routers) in at least one (1) Telecom Project during last seven(7) years as on originally scheduled date of bid opening. | OEM/Bidder should have supplied, installed and commissioned at least 1000 network elements of optical transport domain (SDH/DWDM/PTN/Routers) in at least one (1) Telecom Project during last seven(7) years as on originally scheduled date of bid opening. | Provisions of Bidding Documents remain unchanged. Only bidder has been mentioned in QR, bidder may be an SI or an OEM. |  |  | Unknown
4 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | 7. C-DOT is a registered society (No. S/14839 of 1984) under the SOCIETIES REGISTRATION ACT, XXI of 1860. C-DOT qualifies as ‘Domestic Manufacturer’ as per guidelines dated 16-nov-2015 issued by Diety for PMA implementation. Is C-DOT eligible to participate in the bid? | To be discussed | CS |  | CDOT
5 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | 1. OSS Tender of PGCIL is Software-intensive project. In order to effectively implement PMA policy in the Tender, PGCIL is requested to devise a way/formula to qualify OSS software as ‘domestically developed’. Annexure B of BDS Document does not state a formula by which one can calculate value addition percentage for Software. In absence of any formula, Tender process will end up purchasing Foreign Software delivered by an Indian Agent & security of network shall be compromised. Suggestion by CDOT: PGCIL may ask for bidder’s self-certification, declaring that IPR or Source code of OSS Software is wholly owned by the bidder & it shall not be sold/transferred to any foreign firm in future. | To be discussed | CS |  | CDOT
6 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | 2. Please specify the percentage of Minimum PMA percentage, Minimum Domestic Value Addition percentage, formula to calculate domestic value addition required for the OSS Software. | To be discussed | CS |  | CDOT
7 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | To kindly clarify whether the OSS tender follows guidelines issued in recently released DOT notification dated 11th Jan 2017 regarding PMA policy implementation. | To be discussed With refernece to PMA guidliens from DOT on 5th Oct 2012 notifications the NMS (Network Management System) category is included,however even OSS is now well proven product in the industry as per leading rating agency ( Gartner) , OSS has not been specifically brought out in DOT's latest PMA guidlines issued on 11th Jan 2017. As per latest rating (Report Attached) for OSS products , CDOT product has been recognised by Gartner. |  |  | CDOT
8 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | To Kindly make suitable changes in tender's conditions in order to ensure that DOT's PMA notification dated 5th Oct 2012 and clause 7(vi) stated therein is followed and at least one firm having minimum 60% domestic value addition becomes eligible to bid. | To be discussed |  |  | CDOT
9 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | To kindly clarify whether the OSS software of the tender is telecom product notified under SI.No. 21 of table -A: Network Management System in DOT's PMA notification dated 5.10.2012. In case answer is yes, Since OSS tender is largely a OSS software it is required to achieve 100% PMA as per policy, therefore tender conditions should ensure that at least one domestic manufacturer becomes eligible to bid. | No |  |  | CDOT
10 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | To Kindly mention those categories of BoM components which may be used to calculate domestic value addition for software mentioned in the tender. | To be discussed |  |  | CDOT
11 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | To Kindly provide CDOT an opportunity to demonstrate 'C-DOT's NMS/OSS system live in NOFN network to PGCIL concerned officials. | To be discussed |  |  | CDOT
12 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | Bidder should be CMMI (Capability Maturity Model Integration) 5 level organization having ISO 20000 certifcate. | Provisions of Bidding Documents remain unchanged. Most of the prospective bidders (SI/OEM) are CMMI 5 level organizations. |  |  | Unknown
13 | QR | Vol-I, Annexure-A to BDS, Page-1-2 | Qualification Criteria & Technical Experience | Bidder should have minimum 10 OEM certified engineers for the quoted solution | Provisions of Bidding Documents remain unchanged. |  |  | Unknown
14 | QR | Vol-I, Annexure-A to BDS, Clause-3.0, Page-2 | Net Worth of the Bidder for last 3 financial years should be positive. | Central PSUs may be exempted from net worth requirement | Provisions of Bidding Documents remain unchanged. | Clarification |  | ITI
15 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | TCTS the 100% owned Subsidiary of TCL intends to be the primary Bidder. The experience as asked in the clause 2 is done by TCL for its own operation which includes OSS application from different providers. TCTS has done the Integration of all the OSS and its subsystem and is also responsible for the operations of the same. As per the clause 2, its seems that TCTS cannot be the primary bidder. will request you to clarify and Accommodate TCTS request to be the primary bibber | Provisions of Bidding Documents remain unchanged. | CS |  | TCTS
16 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | It is suggested that to limit the number of Systems Integrator (SI) who can proposal the same OSS/NMS product. This would ensure that the SI gets due weight age and control over the bid and not the OSS/NMS product vendor. As per the current specifications the OSS/NMS vendor can partner with any number of SIs, which should not be the scenario in this case as its an SI project and not software supply and installation project. Hence we strongly suggest the following: "No OSS/NMS COTS product supplier can partner with more than 1 (SI) prime bidder." | Provisions of Bidding Documents remain unchanged. | CS |  | IBM
17 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | It is suggested that the following should be included in relevant section: "The prime bidder (SI) must have successfully implemented and program managed, the proposed OSS/NMS solution in India." This is to ensure that due weight age is given to the SI and its proposed OSS/NMS product implementation reference and capability/experience. | Provisions of Bidding Documents remain unchanged. | CS |  | IBM
18 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | It is suggested that the selection criteria be QCBS and not L1, since this is a complex SI project and due weight age needs to be provisioned for other/critical facets including technical capability, experience, etc. and not just cost. | Provisions of Bidding Documents remain unchanged. | CS |  | IBM
19 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | Since OSS tender is largely a software project OSS tender should encourage 'software development firms' to bid. The qualifying experience ( clause 2.1 of Annexre-B to BDS) of supply and installation of 1000 optical network element favours ( 'system integrators' and 'restricts software firms'. | Provisions of Bidding Documents remain unchanged. |  |  | CDOT
20 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | Prior Experience stated in Clause 2.2.2 of Annexure-B to BDS has made tender's eligibility condition very specific to few vendors, thus making any 'domestic developers' ineligible to bid. | Provisions of Bidding Documents remain unchanged. |  |  | CDOT
21 | QR | Vol-I Annexure-A to BDS, Clause -2 | Technical Experience | C-DOT is a registered society (No. S/14839 of 1984) under the SOCIETIES REGISTRATION ACT, XXI of 1860. But bid is open to only those firms who are registered under companies act, 1956. In order to have level playing field, tender should be open to all firms registered with any registering authority for the manufacture/supply of the tendered good/services. | To be discussed |  |  | CDOT
22 | QR | Vol III , 32_Attachments_First Envelope-N.xls , Attachment 3 - QR | No. of add-drop nodes executed in last 7 years No. of add-drop nodes in operation in last 2 years | As per QR specified in Volume I - Annexure A to BDS, the bidder should have supplied, installed and commissioned at least 1000 network elements. The Attachment format however seeks details of "No. of add-drop nodes". We request to omit this clause. | Provisions of Bidding Documents remain unchanged. | CS |  | Sify
23 | QR | Vol-1 Section-VI Forms,2,Page-3 | Bid security Form In case the bid is submitted by a Joint Venture, the bid security shall be in the name of the Joint Venture and not in the name of the Lead Partner or any other Partner(s) of the Joint Venture. | In view of the above points 3 &4, formation of JV can be deleted and Consortium can be formed instead of JV. In case of consortium, the Bid Security will be arranged in the name of the lead Partner. Pl.Calrify. | Provisions of Bidding Documents remain unchanged. | Clarification |  | ITI
24 | QR | Vol-I Section-VI Forms, Clause-4, 14 & 15,Page-9,150,153 | FORM OF CONTRACT AGREEMENT, FORM OF POWER OF ATTORNEY FOR JOINT VENTURE, FORM OF UNDERTAKING BY THE JOINT VENTURE PARTNERS | Considering the scope and the project value, we feel that the project can be executed with a Consortium (with agreement) and JV is not required. It may be noted that JV’s are executed for long term and high value opportunities. Hence Consortium may be permitted to participate in this RFP, delete JV requirement please . | Provisions of Bidding Documents remain unchanged. | CS |  | ITI
25 | QR | Vol-III 32_Attachment_First Envelope,Attachement-3(QR) Clause-3.0 & 4.0 B,Page-4 & 5 | Networth ( Paid Up Capital + Free Reserves and surplus + Misc expenses to the extent not written off) | Central PSUs may be exempted from net worth requirement | Provisions of Bidding Documents remain unchanged. | Clarification |  | ITI
26 | QR | Vol-III Attachement-3(QR), Clause -5.0 (ii),Page-6 | Joint Venture (JV) Firms | Considering the scope and the project value, we feel that the project can be executed with a Consortium (with agreement) and JV is not required. It may be noted that JV’s are executed for long term and high value opportunities. Hence Consortium may be permitted to participate in this RFP, delete JV requirement please . | Provisions of Bidding Documents remain unchanged. | Clarification |  | ITI