| S. No. | Section Ref | Bidder Query | Clarification |
| --- | --- | --- | --- |
| Volume-II |  |  |  |
| 1 | Section-GTR, Revision-15 9.0 TYPE TESTING & CLEARANCE CERTIFICATE | We request acceptance of type test validity of 15 years for HGIS Revision-15 as per latest CEA guidelines. | Bidder may refer clause no. A.5 of Annexure-II_ Specific Requirement wherein it is mentioned that Validity of Type test for HGIS is 15 years |
| 2 | Section - GIS, Rev - 5A 20. Type Test | Reactor Switching test is done as per IEC 62271-110 specified value. We request acceptance of Reactor Switching test as per IEC specified values. | Bidder may refer clause no. B.14 of Annexure-II_ Specific Requirement of Section Project |
| 3 | Section Project 9.9 of Specific Requirement | We request to acceptance of type test of HGIS for leakage rate at ≤ 0.5% per year. | Bidder to quote meeting the requirement of TS |