| S.No | TS clause no./Page no | Existing Provision | Amended Provision |
| --- | --- | --- | --- |
| 400kV Extn. S/s at Hosur (AIS) |  |  |  |
| 1 | Bid Price Schedules-1,2 & 3, Section Project Bid Price Schedule, Cl. No. 2.2.1.4 e) Pg No. 4 of 30 | S.No; PR No.; Activity descrip; Material /Service code; Item Description; unit; Qty. 198; 7000009236; Civil Works; 100003437; Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing (external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS.; M2; 25. 118; 7000009236; Mechanical Auxiliaries; 100006283; Air Conditioning System for Switch yard Panel Room of 3m length; SET; 1. 159; 7000009236; Installation of Mechanical Auxiliaries; 100001883; Air Conditioning System for Switch yard Panel Room of 3m length; SET; 1. 124; 7000009236; Illumination System; 100081813; Illumination System for Switch yard Panel Room; SET; 1. 167; 7000009236; Installation of Illumination System; 100081117; Illumination System for Switch yard Panel Room; SET; 1. | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 198; 7000009236; Civil Works; 100003437; Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing (external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS.; M2; 0. 118; 7000009236; Mechanical Auxiliaries; 100006283; Air Conditioning System for Switch yard Panel Room of 3m length; SET; 0. 124; 7000009236; Illumination System; 100018813; Illumination System for Switch yard Panel Room; SET; 0. 124; 7000009236; Illumination System; 100081813; Illumination System for Switch yard Panel Room; SET; 1. 167; 7000009236; Installation of Illumination System; 100081117; Illumination System for Switch yard Panel Room; SET; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 2 | Bid Price Schedules-1, 2 & 3 | Structures & Installation of Structures New item added | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 7000009236; Structures; 1000030005; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. 7000009236; Installation of Structures; 100002452; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400kV Extn. S/s at Madhugiri S/s |  |  |  |
| 3. | Bid Price Schedules-1, 2 & 3 | Substation Automation System (Augument.) New item added | S.No.; PR No.; Activity descrip; Material /Service Code; Item Description; unit; Qty. 7000009236; Substation Automation System (Augument); 1000003409; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. 7000009236; Substation Automation System (Augument); 1000002069; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 4 | Bid Price Schedules-1,2 & 3 | Structures & Installation of Structures New item added | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 7000009236; Structures; 1000030005; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. 7000009236; Installation of Structures; 100002452; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400kV Extn S/s at Dharmapuri |  |  |  |
| 5. | Bid Price Schedules-1,2 & 3 | Substation Automation System (Augument.) New item added | S.No.; PR No.; Activity descrip; Material /Service Code; Item Description; unit; Qty. 7000009236; Substation Automation System (Augument); 1000003409; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. 7000009236; Substation Automation System (Augument); 1000002069; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400kV Extn S/s at Hiriyur S/s |  |  |  |
| 6 | Bid Price Schedules-1,2 & 3 | Structures & Installation of Structures New item added | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 7000009236; Installation of Structures; 1000030005; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. 7000009236; Installation of Structures; 100002452; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |

| 400kV Extn S/s at Pugalur SS |  |  |  |
| --- | --- | --- | --- |
| 7 | Bid Price Schedules-1,2 & 3 | Substation Automation System (Augument.) New item added | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 7000009236; Substation Automation System (Augument); 1000003409; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. 7000009236; Substation Automation System (Augument); 1000002069; Augmentation of Substation automation System for 400kV Main bay as per Technical Specification; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 8 | Bid Price Schedules-1,2 & 3 | Structures & Installation of Structures New item added | S.No.; PR No.; Activity descrip; Material /Service Code; Item Description; unit; Qty. 7000009236; Installation of Structures; 1000030005; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. 7000009236; Installation of Structures; 100002452; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400kV Pugalur HVDC (GIS) SS extn. |  |  |  |
| 9 | Bid Price Schedules-1,2 & 3 | Structures & Installation of Structures New item added | S.No.; PR No.; Activity descrip; Material/ Service Code; Item Description; unit; Qty. 7000009236; Installation of Structures; 1000030005; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. 7000009236; Installation of Structures; 100002452; Lightening Mast(LM)-40m complete with foundation bolts/nuts platforms etc.; EA; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400kV Kozhikode Extn. S/s |  |  |  |
| 10 | Bid Price Schedules-1,2 & 3 | VENDOR ASSESSED QUANTITY New item added | Activity Description Material code 1000011320 Service code 100000339 Erection Hardware for 400kV I type layout-Any feeder Extn. on existing half dia. as per technical specification EA 1 Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 220kV Kochi Extn: |  |  |  |
| 11 | Bid Price Schedules-1 & 2 | PLCC equipments at remote end (to be added in Schedule 1 & 2, already covered in schedule 3) | PLCC equipments at other end of Kochi Extn: 1000010638; Digital Protection Coupler; EA; 2. 1000010014; Coupling device for PLCC; SET; 2. 1000000046; Carrier Equipment Analog type (for Speech+Data & Speech+Protection); EA; 2. 1000017887; Protection Coupler for PLCC; EA; 2. 1000009250; HF Cable 75 ohms for PLCC; M; 500. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 400/220kV Gazuwaka S/s Extn |  |  |  |
| 12 | Bid Price Schedules-1, 2 & 3 | LT Switchgear(DCDB Extn) & Installation of LT Switchgear(DCDB Extn) New item added | S.No.; PR No.; Activity descrip; Material /Service Code; Item Description; unit; Qty. 7000009236; LT Switchgear (DCDB Extn); 1000001145; 220V DCDB (Extn.); SET; 1. 7000009236; LT Switchgear (DCDB Extn); 100000903; 220V DCDB (Extn.); SET; 1. Revised Second Envelope is enclosed as “08_2nd Envelope _Price Schedule_SS22_ rev1” |
| 13 | Section project | New drawings added In Annexure I (list of drawing) of Section project | H. Extension of 400KV Kozhikode Substation 3; 1TEIEA1610007XX; Earthmat layout. 4; 1TEIEA1610007XX; Cable trench layout. 5; 1TEIEA1610002XX; Existing layout plan & section. 6; YN1M303098-CZP; SAS System Archtecture. Revised Drawings for earthmat layout & cable trench layout at Sl. No. 3 & 4 are included , which supercedes the earlier drgs. |
| 14 | Section project | New drawings added In Annexure I (List of drawing) of Section project | - Extension of 220kV Kochi Substation 5; --; Earthmat layout. 6; --; Cable trench layout. 7; --; SAS System Archtecture. |