## Sheet1
Breakup of Mandatory spares REV_00
Sr No | Description | Unit | Quantity
1 | 220 kV SF6 Circuit Breaker
| One Pole of 245kV, 2500A, 50KA SF6 circuit breaker including pole column, interrupter, operating mechanism and Marshalling Box but without support structure | No | 1
| Rubber gasket, O rings and seals for SF6 gas (complete replacement for one 245kV SF6 Circuit Breaker) | set | 1
| Trip Coil Assy For 245kV SF6 CB 245kV SF6 Circuit Breaker | No | 2
| Closing Coil Assy For 245kV SF6 Circuit Breaker | No | 1
| Terminal pad for 245kV SF6 Circuit Breaker | No | 3
| Molecular filter for 245kV SF6 Circuit Breaker | SET | 3
| Corona rings (1 No of each type) for 245kV Circuit Breaker | set | 1
| Relays, Power contactors, SFU, limit switches, push buttons, timers &MCB etc. (1 No of each type) for 245kV Circuit Breaker | set | 1
| Pressure switches (1 No. of each type) for 245kV SF6 Circuit Breaker | set | 1
| Aux. Switch/contact assembly for 245kV SF6 Circuit Breaker | set | 1
| SF6 gas (40% of the total quantity) | Lot | 1
2 | 245 kV HORIZONTAL CENTRE BREAK Isolators
| One complete pole including support Insulator, motor operating mechanism (MOM) and terminal connector but excluding structure(For HCB tandem) | No | 1
| Copper contact fingers for male & female contacts | set | 2
| Open / Close contactor assembly, timers, key interlock push button switch & auxiliary switches | set | 1
| Limit switch | set | 2
| Terminal Pads and connectors | No | 2
| Corona shield rings | No | 3
3 | 245 kV DOUBLE BREAK ISOLATORS
| 1 Pole-245kV, 2500A, 40kA DB Isolator+1E | No | 1
| 1 Pole-245kV, 2500A, 40kA DB Isolator+2E | No | 1
| Copper contact fingers for male & female contacts | set | 2
| Open / Close contactor assembly, timers, key interlock push button switch & auxiliary switches | set | 1
| Limit switch | set | 2
| Terminal Pads and connectors | No | 2
| Corona shield rings | No | 3
4 | 245 kV CurrentTransformer
| 245 kV, 2500A, 50KA, 1-Phase CurrentTransformer with 150% extended-Complete CT with Terminal connector & stool structure | EA | 2
5 | 245 kV Capacitive Voltage Transformer
| 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase)-Complete CVT (each rating & not make) with terminal connectors & stool structure | EA | 2
6 | 216kV Surge Arrester
| 216kV Surge Arrester (1-phase)-Complete L.A. (each rating & not make) with insulating base and Terminal connector & stool structure | EA | 2
| Surge counter/monitor | EA | 5
7 | Relay & protection Panels (with automation)
| IEC 61850 based Numerical distance relay (Main-I) with inbuilt DR and fault locator, OV prot., software | EA | 1
| IEC 61850 based Numerical distance relay (Main-II) with inbuilt DR and fault locator, OV prot., software | EA | 1
8 | Substation Automation System
| Ethernet Switch | Set | 1