| Sl. No. | Clause ref. | Existing Provision of the Bidding Document |  | Amended Provision of the Bidding Document |
| --- | --- | --- | --- | --- |
| 1 | 1.3.1, Section-IA, Technical specification | The scope of works includes destringing of conductor, earthwire & OPGW, removal of hardware fittings, insulators, conductor, earthwire & OPGW accessories, etc. and dismantling of tower from some sections of existing 220kV/400kV line and transporting of dismantled materials to designated POWERGRID stores. The Employer shall arrange shut down of charged sections of existing transmission lines, if required, before carrying out destringing & dismantling works as per program finalized in co-ordination with site. Appropriate safety measures along with necessary safety tools and equipments to carry out destringing and stringing operations under the above conditions including mechanical/ structural safety of the towers shall be the responsibility of the contractor. The entire quantity of dismantled line materials viz. tower parts, conductor, earthwire, OPGW, hardware fittings, insulators and conductor, earthwire & OPGW accessories removed from the existing line shall be transported to the designated POWERGRID stores by the contractor at his own cost. The Bidder shall submit his offer taking into consideration transportation cost of the dismantled material. |  | The scope of works includes destringing of conductor, earthwire & OPGW, removal of hardware fittings, insulators, conductor, earthwire & OPGW accessories, etc. and member wise dismantling of tower, stacking of dismantled tower members from some sections of existing 220kV/400kV line and transporting of dismantled materials to designated POWERGRID stores. The dismantled tower members shall be suitable for re-use. Dismantled Conductor/Earthwire/OPGW shall be cut and coiled in length of approximately 100m. The Employer shall arrange shut down of charged sections of existing transmission lines, if required, before carrying out destringing & dismantling works as per program finalized in co-ordination with site. Appropriate safety measures along with necessary safety tools and equipments to carry out destringing and stringing operations under the above conditions including mechanical/ structural safety of the towers shall be the responsibility of the contractor. The entire quantity of dismantled line materials viz. tower parts, conductor, earthwire, OPGW, hardware fittings, insulators and conductor, earthwire & OPGW accessories removed from the existing line shall be transported to the designated POWERGRID stores by the contractor at his own cost. The Bidder shall submit his offer taking into consideration transportation cost of the dismantled material. handed over to Employer in as is where is condition. |
| 2 | 1.3.2, Section-IA, Technical specification | The contractor shall inspect the affected stretch of transmission lines and shall accordingly devise appropriate methodology/procedure of carrying out the destringing/restringing works during detailed engineering & execution stage in consultation with the site-in-charge. |  | The contractor shall inspect the affected stretch of transmission lines and shall accordingly devise appropriate methodology/procedure of carrying out the destringing/restringing works during detailed engineering & execution stage, in consultation with the site-in-charge. |
| 3 | 1.3.3, Section-IA, Technical specification | New Clause Added. |  | The dismantling of Existing Stub (as covered under BPS), shall also include breaking of chimney & cutting of reinforcement upto 1.5 Meter length of Existing Stub, backfilling of excavated earth upto natural ground level & levelling along with disposal of dismantled material. |
| 4. | Schedule-3, Price Schedule | SR. NO.; Activity Description; SERVICE CODE; Item Description; Unit; Qty.. A; Diversion of 400kV Sundergarh-Raigarh D/C line Ckt. 2&4. 28; Stringing; 100001308; Destringing of existing 400kV D/C line and transportation to store; KM; 8.92. 33; Dismantling of tower and stub; 100005605; Dismantling of existing 400 kV tower including transportation and stacking of dismantled material at specified location; MT; 394.736. B; Diversion of 400kV Sundergarh-Raigarh D/C line Ckt. 1&3. 59; Stringing; 100001308; Destringing of existing 400kV D/C line and transportation to store; KM; 6.152. 61; Dismantling of tower and stub; 100005605; Dismantling of existing 400 kV tower including transportation and stacking of dismantled material at specified location; MT; 286.146. C; Diversion of 220kV Budhipadar-Korba S/C Line Ckt3. 86; Stringing; 100005433; DESTRINGING-220KV S/C LINE; KM; 9.394. 90; Dismantling of tower and stub; 100001309; Dismantling of existing tower and transportation to stores; MT; 99.428. | SR. NO.; Activity Description; SERVICE CODE; Item Description; Unit; Qty.. A; Diversion of 400kV Sundergarh-Raigarh D/C line Ckt. 2&4. 28; Stringing; 100001308 100057891; Destringing of existing 400kV D/C line and transportation to store Destringing of existing 400kV D/C line excluding transportation to store.; KM; 8.92. 33; Dismantling of tower and stub; 100005605 100057893; Dismantling of existing 400 kV tower including transportation and stacking of dismantled material at specified location Dismantling of existing 400 kV tower including stacking of dismantled material but excluding transportation to store.; MT; 394.736. B; Diversion of 400kV Sundergarh-Raigarh D/C line Ckt. 1&3. 59; Stringing; 100001308 100057891; Destringing of existing 400kV D/C line and transportation to store Destringing of existing 400kV D/C line excluding transportation to store.; KM; 6.152. 61; Dismantling of tower and stub; 100005605 100057893; Dismantling of existing 400 kV tower including transportation and stacking of dismantled material at specified location Dismantling of existing 400 kV tower including stacking of dismantled material but excluding transportation to store.; MT; 286.146. C; Diversion of 220kV Budhipadar-Korba S/C Line Ckt3. 86; Stringing; 100005433 100057892; DESTRINGING-220KV S/C LINE Destringing of existing 220kV S/C line excluding transportation to store.; KM; 9.394. 90; Dismantling of tower and stub; 100001309 100057894; Dismantling of existing tower and transportation to stores Dismantling of existing 220 kV tower including stacking of dismantled material but excluding transportation to store.; MT; 99.428. |
| 5 | Price_schedule, Volume-III |  | In view of above, the existing file “Price_schedule” stands replaced with “Price_schedule_Rev01”, and is attached herewith. Note: Bidders are requested to consider the revised excel file “Price_schedule_Rev01” for bid preparation/submission. It may be noted that while submitting the bid, bidders are requested to keep the excel file name as “Price_schedule_Rev01”. (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid) |  |