| S. No. | Clause/ Drg. Sl. NO | Existing provision | Amended provision |
| --- | --- | --- | --- |
| 1 | Technical Specification - Sub-station Automation System Revision – 04A | Annexure_SAS_X: The specification of NGFW | Deleted |  |
| 2 | Technical Specification - Sub-station Automation System Revision – 04A | As per Clause no 4.1.6 ……………………….. The substation routers shall have the following features: - Routing protocols such as OSPF and support for IPv4 and IPv6 - 8 Ethernet interfaces of 10/100 Mbps - 2 E1 interfaces - Hot standby operation with a similar router - Support IEEE 802.3u, 802.1p, 802.1Q, 802.1d, 802.1w, - Traffic prioritization for routed IP flows/ports ……………………….. | As per Clause no 4.1.6 ……………………….. The substation routers shall have the following features: - Routing protocols such as OSPF and support for IPv4 and IPv6 - 8 Ethernet interfaces of 10/100 Mbps - Hot standby operation with a similar router - Support IEEE 802.3u, 802.1p, 802.1Q, 802.1d, 802.1w, - Traffic prioritization for routed IP flows/ports ……………………….. |  |
| 3 | Price Schedule-Sch-1 & Sch-2, Sl.No. I.5 of PROCESS BUS BALLABHGARH -CONSULTANCY TO DTL | Material Code; Description; Qty. 1000010638; Digital Protection Coupler; 8. | Deleted |  |
| 4 | Price Schedule-Sch-3, Sl.No. I.5 of PROCESS BUS BALLABHGARH -CONSULTANCY TO DTL | Service Code; Description; Qty. 100000891; Digital Protection Coupler; 8. | Deleted |  |
| 5 |  | Section -Project (R0) | Revised Section-Project (R1) |  |
| 6. | Price Schedule, Volume-III of the Bidding Documents | Note: Bidders are requested to consider the revised excel file “Price_schedule_rev01” for bid preparation/submission. It may be noted that while submitting the bid, bidders are requested to keep the excel file name as “Price_schedule_rev01”. (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid) |  |  |