## Sch-3A2 Road drain (Sch-Civil)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ VADODARA
BILL OF QUANTITIES FOR Construction of Road, Drain & Culvert, UGT, Water supply and sewrage system at 400/220 kV Dehgam Substation
Name of Package: Construction of Community center, roads, Drains and Culverts, UGT, water supply & Sewerage system at 400/220 kV Dehgam Substation
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To:
Name : | [11 empty] | Contract Services
Address : | [11 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Installation Charges-Sch-3A2- Schedule Items for Construction of Road, Drain & Culvert, UGT, Water supply and sewrage system at 400/220 kV Dehgam Substation
Sl. No. | Activity Header / Substation Name | Service Code | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) |  | Description (DSR'23 Items- Civil Works) |  | Unit | Quantity | Unit Erection Charges | Deduction of GST factor considered in DSR | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST @ 18% | Total Erection Charges incl. GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | 9 | 10 | 11 | 12 | 13 | 14=10x13 | 15 | 16
PART -A : Schedule Items as per DSR 2023
1 | 400/220kV Dehgam S/S | 120000345 | 995433 |  | 18% |  | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. | CuM | 4176.46 | 177.5 | 0.18 | 150.4237 | 628238.6864 | 113082.9636 | 741321.65
[7 empty] | 2.6.1 | All kinds of soil
[5 empty] | 0% |  |  |  |  | 0 |  | 0 | 0% | 0% | 0% | 0%
2 | 400/220kV Dehgam S/S | 120000349 | 995433 |  | 18% |  | 2.8 | Earth work in excavtion by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 mtr. In width or 10 sqm on plan) including dressing of sides and ramming of bottoms lift up to 1.5 mtr. Including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 mtr. | CuM | 366.2 | 260.3 | 0.18 | 220.5932 | 80781.2373 | 14540.6227 | 95321.86
[7 empty] | 2.8.1 | All kind of soil
3 | 400/220kV Dehgam S/S | [5 empty] | 2.10 | Excavation trenches of required width for pipes, cables, etc. including excavation for sockets, and dressing of sides, rammingof bottoms, depth up to 1.5 M including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 M
[7 empty] | 2.10.1 | All kinds of soil
|  | 120000353 | 995433 |  | 18% |  | 2.10.1.1 | Pipes, cables, etc. not exceeding 80 mm dia. | Rm | 350 | 215.6 | 0.18 | 182.7119 | 63949.1525 | 11510.8475 | 75460
|  | 120000354 | 995433 |  | 18% |  | 2.10.1.2 | Pipes, cables, etc. exceeding 80 mmdia. But not exceeding 300 mm dia. | Rm | 430 | 352.15 | 0.18 | 298.4322 | 128325.8475 | 23098.6525 | 151424.5
4 | 400/220kV Dehgam S/S | 120000391 | 995433 |  | 18% |  | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides, of the foundation etc. in layers not exceeding 20 cms in depth, consolidating each deposited layer by ramming and watering, lead upto 50 mtrs and lift upto 1.5 mtrs. | CuM | 654.9 | 196 | 0.18 | 166.1017 | 108780 | 19580.4 | 128360.4
0%
5 | 400/220kV Dehgam S/S | 120000392 | 995433 |  | 18% |  | 2.26 | Extra for every additional lift of 1.5 m or part thereof in excavation/banking excavated or stacked materials. | CuM | 522.8 | 126.8 | 0.18 | 107.4576 | 56178.8475 | 10112.1925 | 66291.04
[7 empty] | 2.26.1 | All kinds of Soil
6 (A) | 400/220kV Dehgam S/S | 120000437 | 995454 |  | 18% |  | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering : All works upto plinth level. | CuM | 38.87 | 7878.5 | 0.18 | 6676.6949 | 259523.1314 | 46714.1636 | 306237.295
[7 empty] | 4.1.3 | 1:2:4 ( 1 cement :2 coarse sand :4 graded stone aggregate 20 mm nominal size)
6 (B) | 400/220kV Dehgam S/S | 120000442 | 995454 |  | 18% |  | 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | CuM | 317.22 | 6812 | 0.18 | 5772.8814 | 1831273.4237 | 329629.2163 | 2160902.64
7 | 400/220kV Dehgam S/S | [5 empty] | 4.2 | Providing and laying cement concrete in retaining walls, return walls, walls ( any thickness ) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc. up to floor five level, excluding the cost of centering, shuttering and finishing :
|  | 120000449 | 995454 |  | 18% |  | 4.2.2 | 1: 1.5 :3 ( 1 cement : 1.5 course sand : 3 graded stone aggregate 20 mm nominal size.) | Cum | 0.8 | 10357.55 | 0.18 | 8777.5847 | 7022.0678 | 1263.9722 | 8286.04
8 | 400/220kV Dehgam S/S | 120000456 | 995457 |  | 18% |  | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : | SqM | 239.45 | 392.15 | 0.18 | 332.3305 | 79576.5403 | 14323.7772 | 93900.3175
[7 empty] | 4.3.1 | Foundations, footings, bases for columns
[5 empty] | 0% |  |  |  |  | 0 |  | 0 | 0% | 0% | 0% | 0%
9 | 400/220kV Dehgam S/S | 120000471 | 995454 |  | 18% |  | 4.11 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | SqM | 13 | 495.75 | 0.18 | 420.1271 | 5461.6525 | 983.0975 | 6444.75
10 | 400/220kV Dehgam S/S | 12000472 | 995454 |  | 18% |  | 4.12 | Extra for providing and mixing water proofing material in cement concrete work @1 k.g. per 50 k.g. of cement. | per bag of 50kg cement used | 5.6846 | 18.15 | 0.18 | 15.3814 | 87.4369 | 15.7386 | 103.1755
11 (A) | 400/220kV Dehgam S/S |  |  |  | 18% |  | 5.9 | Centring and shuttering including strutting propping etc. and removal of form for : | SqM | 107.76 | 392.15 | 0.18 | 332.3305 | 35811.9356 | 6446.1484 | 42258.084
A |  | 120000499 | 995457 |  |  |  | 5.9.1 | Foundations, footings, bases of columns etc. for mass concrete.
11 (B) | 400/220kV Dehgam S/S | 120000500 | 995457 |  | 18% |  | 5.9.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | SqM | 895.64 | 842.5 | 0.18 | 713.9831 | 639471.7797 | 115104.9203 | 754576.7
11 (C ) | 400/220kV Dehgam S/S | 120000501 | 995457 |  | 18% |  | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform | SqM | 305 | 927.25 | 0.18 | 785.8051 | 239670.5508 | 43140.6992 | 282811.25
Edges of slabs and breaks in floors and walls.
11 (D) | 400/220kV Dehgam S/S | 120000514 | 995457 |  | 18% |  | 5.9.16.1 | Under 20 cm wide | SqM | 296 | 208.55 | 0.18 | 176.7373 | 52314.2373 | 9416.5627 | 61730.8
11 (E ) | 400/220kV Dehgam S/S | 120000518 | 995457 |  | 18% |  | 5.9.19 | Weather shade, chajjas, corbels etc. including edges. | SqM | 1.5 | 951.1 | 0.18 | 806.0169 | 1209.0254 | 217.6246 | 1426.65
[7 empty] | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete up to plinth level.
| 400/220kV Dehgam S/S |  |  |  | 18% |  | 5.22.6 | Thermo-Mechanically Treated bars of grade FE-500D or more. | Kg | 30879.13 | 107.85 | 0.18 | 91.3983 | 2822300.1445 | 508014.026 | 3330314.1705
[7 empty] | 5.22A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
| 400/220kV Dehgam S/S |  |  |  | 18% |  | 5.22A.6 | Thermo-Mechanically Treated bars of grade FE-500D or more. | Kg | 1458.09 | 107.85 | 0.18 | 91.3983 | 133266.9547 | 23988.0518 | 157255.0065
12 | 400/220kV Dehgam S/S | [5 empty] | 5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
A |  | 120003381 | 995421 |  | 18% |  | 5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum upto plinth level | Cum | 279.16 | 9504.75 | 0.18 | 8054.8729 | 2248598.3136 | 404747.6964 | 2653346.01
B |  | 120003383 | 995421 |  | 18% |  | 5.33.2.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum above plinth level and upto floor V level | Cum | 5.07 | 9860.4 | 0.18 | 8356.2712 | 42366.2949 | 7625.9331 | 49992.228
13 | 400/220kV Dehgam S/S | 120000568 | 995454 |  | 18% |  | 5.35 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 210.865 | 733.5 | 0.18 | 621.6102 | 131075.8284 | 23593.6491 | 154669.4775
14 | 400/220kV Dehgam S/S | [5 empty] | 6.1 | Brick work with common burnt clay F .P .S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
|  | 120000601 | 995456 |  | 18% |  | 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 112.29 | 7132.25 | 0.18 | 6044.2797 | 678712.1631 | 122168.1894 | 800880.3525
15 | 400/220kV Dehgam S/S | [5 empty] | 6.32 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in :
|  | 120000644 | 995456 |  | 18% |  | 6.32.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 9.33 | 9095.05 | 0.18 | 7707.6695 | 71912.5564 | 12944.2601 | 84856.8165
16 | 400/220kV Dehgam S/S | [5 empty] | 7.1 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with :
|  | 120000657 | 995456 |  | 18% |  | 7.1.1 | Cement mortar 1:6 (1 cement: 6 coarse sand) | Cum | 5 | 7311.25 | 0.18 | 6195.9746 | 30979.8729 | 5576.3771 | 36556.25
17 | 400/220kV Dehgam S/S | 120000644 | 995456 |  | 18% |  | 9.48 | Providing and fixing M. S. grills of required pattern in frames of windows etc. with M. S. flats, square or round bars etc. all complete. |  | 95.08 | 219.1 | 0.18 | 185.678 | 17654.261 | 3177.767 | 20832.028
[7 empty] | 9.48.1 | Fixed to steel windows by welding
KG
18 | 400/220kV Dehgam S/S | 120000987 | 995476 |  | 18% |  | 9.96 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with nuts and screws etc. complete. | Each | 8 | 260.6 | 0.18 | 220.8475 | 1766.7797 | 318.0203 | 2084.8
[5 empty] | 18% |  | 9.96.2 | 250 X 16 mm
19 (A) | 400/220kV Dehgam S/S | 120000990 | 995476 |  | 18% |  | 9.97 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete | Each | 2 | 115.15 | 0.18 | 97.5847 | 195.1695 | 35.1305 | 230.3
[7 empty] | 9.97.2 | 250 X 10 mm
19 (B) | 400/220kV Dehgam S/S | 120000992 | 995476 |  | 18% |  | 9.97.4 | 150 X 10 mm | Each | 8 | 82.55 | 0.18 | 69.9576 | 559.661 | 100.739 | 660.4
20 | 400/220kV Itarasi S/S | 170000820 | 995414 |  | 18% |  | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 50 | 133.7 | 0.18 | 113.3051 | 5665.2542 | 1019.7458 | 6685
21 | 400/220kV Itarasi S/S |  |  |  | 18% |  | 10.5 | Providing and fixing 1 mm thick M. S. sheet door with frame of 40X40X6 mm angle iron and 3 mm M. S.gusset plates at the juntions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | SqM | 8.82 | 5804.35 | 0.18 | 4918.9407 | 43385.0568 | 7809.3102 | 51194.367
| 400/220kV Itarasi S/S | 120001119 | 995476 |  |  |  | 10.5.1 | Using M. S. angles 40 X40 X 6 mm for diagonal braces.
22 | 400/220kV Itarasi S/S | 120001147 | 995476 |  | 18% |  | 10.18 | Providing and fixing circular /Hexagonal cast iron or M. S. sheet box for ceiling fan clamp of internal dia 140 mm, 73 mm height, top lid of 1.5 mmthick M. S.sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron / M. S. sheet box by means of 3.3 mm dia. round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M. S. bar bent to shape as per standard drawing. | Each | 4 | 220.65 | 0.18 | 186.9915 | 747.9661 | 134.6339 | 882.6
23 | 400/220kV Itarasi S/S | 120001170 | 995474 |  | 18% |  | 11.3 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry , but excluding the cost of nosing of steps etc. complete. | SqM | 24 | 614.2 | 0.18 | 520.5085 | 12492.2034 | 2248.5966 | 14740.8
[7 empty] | 11.3.1 | 40 mm thick with 20 mm nominal size stone aggregate
24 | 400/220kV Itarasi S/S | 120001173 | 995474 |  | 18% |  | 11.6 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | Sqm | 4.8 | 662.05 | 0.18 | 561.0593 | 2693.0847 | 484.7553 | 3177.84
[7 empty] | 11.6.1 | 18 mm thick
25 | 400/220kV Itarasi S/S | 120001200 | 995474 |  | 18% |  | 11.13 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | Metre | 16 | 91.75 | 0.18 | 77.7542 | 1244.0678 | 223.9322 | 1468
[7 empty] | 11.13.1 | 40 mm wide and 4 mm thick
26 | 400/220kV Itarasi S/S | 120001153 | 995476 |  | 18% |  | 11.37A | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 163.2 | 1112.7 | 0.18 | 942.9661 | 153892.0678 | 27700.5722 | 181592.64
27 | 400/220kV Itarasi Substation | 120001249 | 995474 |  | 18% |  | 11.40 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory , Grey , Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 132 | 1439.4 | 0.18 | 1219.8305 | 161017.6271 | 28983.1729 | 190000.8
28 | 400/220kV Dehgam S/S | [5 empty] | 12.41 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | Metre
A |  | 120001350 | 995453 |  | 18% |  | 12.41.1 | 75 mm diameter |  | 122.48 | 248.8 | 0.18 | 210.8475 | 25824.5966 | 4648.4274 | 30473.024
( to be operated in weep holes of drain)
B |  | 120001351 | 995453 |  | 18% |  | 12.41.2 | 110 mm diameter | Metre | 10 | 377.4 | 0.18 | 319.8305 | 3198.3051 | 575.6949 | 3774
29 | 400/220kV Dehgam S/S | [5 empty] | 12.42 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
[7 empty] | 12.42.1 | Coupler
|  | 120001353 | 995453 |  | 18% |  | 12.42.1.2 | 110 mm | Each | 2 | 136.15 | 0.18 | 115.3814 | 230.7627 | 41.5373 | 272.3
30 | 400/220kV Dehgam S/S | [5 empty] | 12.42.5 | Bend 87.5°
|  | 120001361 | 995453 |  | 18% |  | 12.42.5.2 | 110 mm bend | Each | 2 | 150.35 | 0.18 | 127.4153 | 254.8305 | 45.8695 | 300.7
31 | 400/220kV Dehgam S/S | [5 empty] | 12.42.6 | Shoe (Plain)
|  | 120001363 | 995453 |  | 18% |  | 12.42.6.2 | 1 10 mm Shoe | Each | 2 | 131.85 | 0.18 | 111.7373 | 223.4746 | 40.2254 | 263.7
32 | 400/220kV Dehgam S/S | [5 empty] | 12.43 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.
|  | 120001365 | 995453 |  | 18% |  | 12.43.2 | 110 mm | Each | 8 | 371.3 | 0.18 | 314.661 | 2517.2881 | 453.1119 | 2970.4
33 | 400/220kV Dehgam S/S | 120001408 | 995472 |  | 18% |  | 13.5 | 15 mm cement plaster on rough side of single or half brick masonry wall of mix : | SqM | 176.98 | 395.35 | 0.18 | 335.0424 | 59295.7992 | 10673.2438 | 69969.043
[7 empty] | 13.5.2 | 1:6 ( 1 cement : 6 coarse sand)
34 | 400/220kV Dehgam S/S | [5 empty] | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement mix:
A |  | 120001411 | 995472 |  | 18% |  | 13.7.1 | 1:3 ( 1 cement : 3 fine sand) | Sqm | 121 | 439.25 | 0.18 | 372.2458 | 45041.7373 | 8107.5127 | 53149.25
B |  | 120001412 | 995472 |  | 18% |  | 13.7.2 | 1:4 ( 1 cement : 4 fine sand) | Sqm | 920 | 425.55 | 0.18 | 360.6356 | 331784.7458 | 59721.2542 | 391506
35 | 400/220kV Dehgam S/S | 120001418 | 995472 |  | 18% |  | 13.11 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 Cement : 5 Coarse sand) finished with top layer 6 mm thick cement plaster 1:6 (1 Cement : 6 Fine sand) | SqM | 192.9 | 518.55 | 0.18 | 439.4492 | 84769.7415 | 15258.5535 | 100028.295
36 | 400/220kV Dehgam S/S | 120001423 | 995472 |  | 18% |  | 13.16 | 6 mm cement plaster of mix : | SqM | 60 | 300.45 | 0.18 | 254.6186 | 15277.1186 | 2749.8814 | 18027
[7 empty] | 13.16.1 | 1:3 (1 cement : 3 fine sand)
37 | 400/220kV Dehgam S/S | [5 empty] | 13.33 | Pointing on stone work with cement mortar 1:3 ( 1 cement : 3 fine sand)
|  | 120001452 | 995474 |  | 18% |  | 13.33.2 | Raised and cut pointing | Sqm | 30 | 701.05 | 0.18 | 594.1102 | 17823.3051 | 3208.1949 | 21031.5
38 | 400/220kV Dehgam S/S | 120001456 | 995474 |  | 18% |  | 13.37 | White washing with lime to give an even shade : | Sqm | 236.98 | 39.05 | 0.18 | 33.0932 | 7842.4314 | 1411.6376 | 9254.069
[7 empty] | 13.37.1 | New work (three or more coats )
39 | 400/220kV Dehgam S/S | 120001464 | 995473 |  | 18% |  | 13.44 | Finishing walls with water proofing cement paint of required shade: | Sqm | 30 | 116.90 | 0.18 | 99.0678 | 2972.0339 | 534.9661 | 3507
[7 empty] | 13.44.1 | New Work ( two or more coats applied @ 3.84 kg/10 sqm)
40 | 400/220kV Itarasi S/S | 120001466 | 995473 |  | 18% |  | 13.46 | Finishing walls with Acrylic Smooth exterior paint of required shade : | Sqm | 192.9 | 160.60 | 0.18 | 136.1017 | 26254.0169 | 4725.7231 | 30979.74
[7 empty] | 13.46.1 | New work ( two or more coats applied @ 1.67 Ltrs. / 10 Sqm over and including priming coat of exterior primer applied @0.90litre/10 sqm)
41 | 400/220kV Dehgam S/S | 120001490 | 995473 |  | 18% |  | 13.62 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. | SqM | 408.82 | 226.25 | 0.18 | 191.7373 | 78386.0381 | 14109.4869 | 92495.525
[7 empty] | 13.62.1 | Two or more coats on new work over and under coat of suitable shade with ordinary paint of approved brand and manufacture
42 | 400/220kV Dehgam S/S | 120001520 | 995473 |  | 18% |  | 16.1 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | SqM | 2350 | 218.9 | 0.18 | 185.5085 | 435944.9153 | 78470.0847 | 514415
43 | 400/220kV Dehgam S/S | 120001752 | 995428 |  | 18% |  | 16.11 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | Sqm | 30 | 883.15 | 0.18 | 748.4322 | 22452.9661 | 4041.5339 | 26494.5
44 | 400/220kV Dehgam S/S | 100004492 | 995421 |  | 18% |  | 16.45 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | Per cm depth per cm width per Mtr length | 4260 | 5.3 | 0.18 | 4.4915 | 19133.8983 | 3444.1017 | 22578
0%
45 | 400/220kV Dehgam S/S | 120001866 | 995428 |  | 18% |  | 16.46 | Providing and laying in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads/pavments all complete as per direction of Engineer-in-charge. | Per cm depth per cm width per Mtr length | 852 | 8.65 | 0.18 | 7.3305 | 6245.5932 | 1124.2068 | 7369.8
[7 empty] | 16.46.1 | Providing and laying in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads/pavments all complete as per direction of Engineer-in-charge.
[7 empty] | 16.68 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | Sqm | 875 | 972 | 0.18 | 823.7288 | 720762.7119 | 129737.2881 | 850500
46 | 400/220kV Dehgam S/S | 120001839 | 995421 |  | 18% |  | 16.69 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | Cum | 30 | 10117.60 | 0.18 | 8574.2373 | 257227.1186 | 46300.8814 | 303528
| 400/220kV Dehgam S/S |  |  |  | 18% |  | 16.75 | NS-6 Providing and laying C.C. pavement of mix M-25 with ready mixed concrete from batching plant. The ready mixed concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-incharge. (The panel shuttering work shall be paid for separately). (Note1:- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/ recoverable separately. Note2: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.) | Cum | 137.5 | 9823.80 | 0.18 | 8325.2542 | 1144722.4576 | 206050.0424 | 1350772.5
47 | 400/220kV Dehgam S/S |  |  |  | 18% |  | 16.91 | Providing and laying factory made coloured chamfered edge Cement Concrete paver blocks of required strength, thickness & size/shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of fine sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with jamuna sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc. complete as per manufacturer's specifications & direction of Engineerin-Charge. 60mm thick C.C. paver block of M-35 grade with approved colour, design & pattern.
|  | 120003067 | 995428 |  | 18% |  | 16.91.1 | 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern. | Sqm | 50 | 1045.65 | 0.18 | 886.1441 | 44307.2034 | 7975.2966 | 52282.5
48 | 400/220kV Dehgam S/S | [5 empty] | 17.56 | Providing and fixing terminal guard :
[7 empty] | 17.56.1 | 100 mm
|  | 170002372 | 995478 |  | 18% |  | 17.56.1.2 | Sand cast iron S & S as per IS : 3989 | Each | 6 | 506.00 | 0.18 | 428.8136 | 2572.8814 | 463.1186 | 3036
49 | 400/220kV Dehgam S/S | [5 empty] | 18.9 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. ( External work )
A |  | 120002114 | 995424 |  | 18% |  | 18.9.3 | 25 mm dia. Nominal bore | Metre | 25 | 355.40 | 0.18 | 301.1864 | 7529.661 | 1355.339 | 8885
B |  | 120002115 | 995424 |  | 18% |  | 18.9.4 | 32 mm dia nominal bore | Metre | 25 | 438.60 | 0.18 | 371.6949 | 9292.3729 | 1672.6271 | 10965
C |  | 120002117 | 995424 |  | 18% |  | 18.9.6 | 50 mm dia. Nominal bore | Metre | 50 | 794.25 | 0.18 | 673.0932 | 33654.661 | 6057.839 | 39712.5
D |  | 120002119 | 995424 |  | 18% |  | 18.9.8 | 80 mm dia nominal bore | Metre | 50 | 2166.35 | 0.18 | 1835.8898 | 91794.4915 | 16523.0085 | 108317.5
50 | 400/220kV Dehgam S/S | [5 empty] | 18.13 | Making connection of G. I. distribution branch with G. I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete.
|  | 120002138 | 995424 |  | 18% |  | 18.13.1 | 25 to 40 mm nominal bore | Each | 2 | 911.90 | 0.18 | 772.7966 | 1545.5932 | 278.2068 | 1823.8
|  | 120002139 | 995424 |  | 18% |  | 18.13.2 | 50 to 80 mm nominal bore | Each | 2 | 1785.35 | 0.18 | 1513.0085 | 3026.0169 | 544.6831 | 3570.7
51 | 400/220kV Dehgam S/S | [5 empty] | 18.17 | Providing and fixing gun metal gate valve with C. I. wheel of approved quality ( screwed end ) :
A |  | 120002102 | 995424 |  | 18% |  | 18.17.1 | 25 mm nominal bore | Each | 2 | 622.40 | 0.18 | 527.4576 | 1054.9153 | 189.8847 | 1244.8
B |  | 120002103 | 995424 |  | 18% |  | 18.17.2 | 32 mm nominal bore | Each | 2 | 689.60 | 0.18 | 584.4068 | 1168.8136 | 210.3864 | 1379.2
C |  | 120002105 | 995424 |  | 18% |  | 18.17.4 | 50 mm nominal bore | Each | 2 | 1026.65 | 0.18 | 870.0424 | 1740.0847 | 313.2153 | 2053.3
D |  | 120002107 | 995424 |  | 18% |  | 18.17.6 | 80 mm nominal bore | Each | 2 | 2604.55 | 0.18 | 2207.2458 | 4414.4915 | 794.6085 | 5209.1
52 | 400/220kV Dehgam S/S | [5 empty] | 18.19 | Providing and fixing gun metal non -return valve of approved quality ( screwed end ) :
[7 empty] | 18.19.6 | 80 mm nominal bore
|  | 120002164 | 995424 |  | 18% |  | 18.19.6.1 | Horizontal | Each | 2 | 3664.75 | 0.18 | 3105.7203 | 6211.4407 | 1118.0593 | 7329.5
53 | 400/220kV Dehgam S/S | 120002168 | 995424 |  |  |  | 18.20 | Providing and fixing brass ferrule with C. I. mouth cover including boring and tapping the main :
[5 empty] | 18% |  | 18.20.3 | 25 mm nominal bore | Each | 5 | 486.80 | 0.18 | 412.5424 | 2062.7119 | 371.2881 | 2434
54 | 400/220kV Dehgam S/S | [5 empty] | 18.31 | Providing and fixing C. I. sluice valves ( with cap ) complete with bolts, nuts, rubber insertions etc. ( the tail pieces if required will be paid separately ) :
[7 empty] | 18.31.1 | 100 mm diameter
|  | 120002217 | 995424 |  | 18% |  | 18.31.1.2 | Class II | Each | 2 | 4985.85 | 0.18 | 4225.2966 | 8450.5932 | 1521.1068 | 9971.7
55 | 400/220kV Dehgam S/S | [5 empty] | 18.34 | Constructing masonry Chamber 90X90X100 cm, inside with 75 class designation brick work in cement mortar 1:4 ( 1 cement :4 coarse sand ) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside ) with chained lid and RCC topslab 1:2:4 ( 1 cement :2 coarse sand :4 graded stone aggregate 20 mm nominal size )necessary excavation foundation concrete 1:5:10 ( 1 cement : 5 fine sand :10 graded stone aggregate 40 mm nominal size )and inside plastering with cement mortar 1:3 ( 1 cement :3 coarse sand ) 12 mm thick finished with a floating coat of neat cement complete as per standard design :
|  | 120002230 | 995424 |  | 18% |  | 18.34.1 | With F. P. S. bricks. Class desgnation 7.5 | Each | 10 | 18896.70 | 0.18 | 16014.1525 | 160141.5254 | 28825.4746 | 188967
56 | 400/220kV Dehgam S/S | [5 empty] | 18.59 | Providing and laying C. I. Double acting air valve of approved quality with bolts, nuts, rubber insertions etc. complete ( The tail pieces, tapers etc. if required, will be paid separately : )
A |  | 120002306 | 995424 |  | 18% |  | 18.59.1 | 50 mm dia. | Each | 2 | 5748.80 | 0.18 | 4871.8644 | 9743.7288 | 1753.8712 | 11497.6
B |  | 120002307 | 995424 |  | 18% |  | 18.59.2 | 80 mm dia. | Each | 2 | 6993.60 | 0.18 | 5926.7797 | 11853.5593 | 2133.6407 | 13987.2
57 | 400/220kV Dehgam S/S | [5 empty] | 18.68 | Providing and laying D. I. Specials of class K-12 suitable for push-on jointing as per IS:9523
|  | 120002329 | 995424 |  | 18% |  | 18.68.1 | Up to 600 mm dia. | quintal | 34 | 20009.70 | 0.18 | 16957.3729 | 576550.678 | 103779.122 | 680329.8
58 | 400/220kV Dehgam S/S | [5 empty] | 18.7 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket :
|  | 120002333 | 995424 |  | 18% |  | 18.70.1 | 100 mm dia pipes | joint | 52 | 119.45 | 0.18 | 101.2288 | 5263.8983 | 947.5017 | 6211.4
59 | 400/220kV Dehgam S/S | [5 empty] | 18.72 | Providing and laying Double S & S Centrifugal Cast ( spun ) / Ductile Iron Pipes confirming to IS : 8329
|  | 120002358 | 995424 |  | 18% |  | 18.72.1 | 100mm dia ductile Iron class K-9 pipes | meter | 200 | 1257.80 | 0.18 | 1065.9322 | 213186.4407 | 38373.5593 | 251560
60 | 400/220kV Dehgam S/S | [5 empty] | 19.1 | Providing and laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1 : 1 ( 1 cement : 1 fine sand ) including testing of joints etc. Complete :
|  | 120002625 | 995424 |  | 18% |  | 19.1.2 | 150 mm | meter | 230 | 695.80 | 0.18 | 589.661 | 135622.0339 | 24411.9661 | 160034
61 | 400/220kV Dehgam S/S | [5 empty] | 19.2 | Providing and laying cement concrete 1 : 5 : 10 ( 1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size ) all round S. W. pipes including bed concrete as per standard design :
|  | 120002630 | 995424 |  | 18% |  | 19.2.2 | 150 mm diameter S. W. pipe | metre | 230 | 1179.85 | 0.18 | 999.8729 | 229970.7627 | 41394.7373 | 271365.5
62 | 400/220kV Dehgam S/S | [5 empty] | 19.6 | Providing and laying non-pressure NP-2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 ( 1 cement : 2 fine sand) including testing of joints etc. complete.)
|  | 120002652 | 995424 |  | 18% |  | 19.6.1 | 100 mm dia R.C.C pipe | Metre | 100 | 507.05 | 0.18 | 429.7034 | 42970.339 | 7734.661 | 50705
63 | 400/220kV Dehgam S/S | [5 empty] | 19.7 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
[7 empty] | 19.7.1 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
|  | 120002665 | 995424 |  | 18% |  | 19.7.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 10 | 12770.55 | 0.18 | 10822.5 | 108225 | 19480.5 | 127705.5
64 | 400/220kV Dehgam S/S | [5 empty] | 19.8 | Extra for depth for manholes :
[7 empty] | 19.8.1 | Size 90x80 cm
|  | 120002671 | 995424 |  | 18% |  | 19.8.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Metre | 4.5 | 8825.40 | 0.18 | 7479.1525 | 33656.1864 | 6058.1136 | 39714.3
65 | 400/220kV Dehgam S/S | [5 empty] | 19.15 | Providing M.S. foot rests including fixing in manholes witg 20X20X10cm cement concrete blocks 1:3:6 ( 1 cement :3 coarse sand :6 graded stone aggregate 20 mm nominal size ) as per standard design
|  | 120002687 | 995424 |  | 18% |  | 19.15.1 | With 20X20 mm square bars | Each | 60 | 544.70 | 0.18 | 461.6102 | 27696.6102 | 4985.3898 | 32682
66 | 400/220kV Dehgam S/S | [5 empty] | 19.18 | Supplying and fixing C.I. cover without frame for manholes :
|  | 120002693 | 995424 |  | 18% |  | 19.18.2 | 500 mm diameter C.I. cover (medium duty) the weight of the cover to be not less than 58 kg | Each | 11 | 3441.20 | 0.18 | 2916.2712 | 32078.9831 | 5774.2169 | 37853.2
67 | 400/220kV Dehgam S/S | [5 empty] | 19.19 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality
[7 empty] | 19.19.2 | M.D.-10
|  | 120002698 | 995424 |  | 18% |  | 19.19.2.1 | Square shape 450 mm internal dimension | Each | 3 | 1386.55 | 0.18 | 1175.0424 | 3525.1271 | 634.5229 | 4159.65
68 | 400/220kV Dehgam S/S | [5 empty] | 19.21 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls , floor with cement concrete 1:2:4 mix (1 cement : 2 course sand: 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3( 1 cement : 3 coarse sand) finished with a floating coat of neat cement and making nessary channels for the drain etc. complete :
|  | 120002703 | 995424 |  | 18% |  | 19.21.1 | For pipes 100 to 250 mm diameter. | Each | 20 | 810.45 | 0.18 | 686.822 | 13736.4407 | 2472.5593 | 16209
69 | 400/220kV Dehgam S/S | [5 empty] | 19.32 | Making soak pit 2.5 M diameter 3.0 M deep with 45 X45 cm dry brick honey comb shaft with bricks of class designation 75 and S.W. drain pipe 100 mm diameter, 1.8 M long complete as per standard design.
|  | 120002731 | 995424 |  | 18% |  | 19.32.1 | With F.P.S. bricks | Each | 3 | 26861.90 | 0.18 | 22764.322 | 68292.9661 | 12292.7339 | 80585.7
70 | 400/220kV Dehgam S/S | [5 empty] | 19.35 | Providing and laying non-pressure NP-3 class R.C.C. pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 ( 1 cement : 2 fine sand) including testing of joints etc. complete.)
A |  | 120002735 | 995424 |  | 18% |  | 19.35.1 | 450 mm dia. R.C.C. pipe | Metre | 85 | 2676.55 | 0.18 | 2268.2627 | 192802.3305 | 34704.4195 | 227506.75
B |  | 120002736 | 995424 |  | 18% |  | 19.35.2 | 600 mm dia. R.C.C. pipe | Metre | 15 | 3401.25 | 0.18 | 2882.4153 | 43236.2288 | 7782.5212 | 51018.75
0%
71 | 400/220kV Dehgam S/S | 120002792 | 995476 |  | 18% |  | 21.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | Kg | 65.38 | 539.85 | 0.18 | 457.5 | 29911.35 | 5384.043 | 35295.393
[7 empty] | 21.1.1 | For fixed portion
[7 empty] | 21.1.1.3 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron)
72 | 400/220kV Dehgam S/S | 120002795 | 995476 |  | 18% |  | 21.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | Kg | 77.82 | 643.45 | 0.18 | 545.2966 | 42434.9822 | 7638.2968 | 50073.279
[7 empty] | 21.1.2.3 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron)
73 | 400/220kV Dehgam S/S | 120002798 | 995476 |  | 18% |  | 21.3 | Providing and fixing glazing in aluminium door, window,ventilator,shutter and partitions etc. with EPDM rubber/neoprene gasket etc. complete as per the architectual drawings and the directions of Engineer in charge(Cost of aluminium snap beading shall be paid in basic item) | SqM | 10.1 | 1176.8 | 0.18 | 997.2881 | 10072.6102 | 1813.0698 | 11885.68
[7 empty] | 21.3.1 | With float glass panes of 4.0 mm thickness
74 | 400/220kV Dehgam S/S | 120002807 | 995476 |  | 18% |  | 21.8 | Filling the gap in between aluminium frame and adjacent RCC/Brick/Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in Charge complete. | Metre | 40 | 96.75 | 0.18 | 81.9915 | 3279.661 | 590.339 | 3870
[7 empty] | 21.8.1 | Up to 5mm depth and 5mm width
75 | 400/220kV Dehgam S/S | [5 empty] | 21.11 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineerin-charge complete.
|  | 120002819 | 995476 |  | 18% |  | 21.11.2 | 255 X 19 mm | Each | 16 | 387 | 0.18 | 327.9661 | 5247.4576 | 944.5424 | 6192
76 | 400/220kV Dehgam S/S | [5 empty] | 22.3 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of:
[7 empty] | (i) | Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface
[7 empty] | (ii) | IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water roofing compound in recommended proportion including rounding off junction of vertical and horizontal surface.
[7 empty] | (iii) | IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area.
|  | 120002831 | 995453 |  | 18% |  | (iv) | IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm). | Sqm | 573.32 | 769.6 | 0.18 | 652.2034 | 373921.2475 | 67305.8245 | 441227.072
77 | 400/220kV Dehgam S/S | [5 empty] | 22.7 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:
[7 empty] | (a) | Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment.
[7 empty] | (b) | Laying brick bats with mortar using broken bricks/brick bats 25 mm to 1 15 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.
[7 empty] | (c ) | After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge.
[7 empty] | (d) | Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep.
[7 empty] | (e ) | The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
[7 empty] | 22.7.1 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm.
|  | 120002837 | 995453 |  | 18% |  |  | Top of Pump Room and Lumber Room | Sqm | 24 | 1684.6 | 0.18 | 1427.6271 | 34263.0508 | 6167.3492 | 40430.4
[13 empty] | Total of Schedule Items as per DSR'23 | 16712895.897 | 3008321.2615 | 19721217.1585
[13 empty] | Add percentage (%) above/below +/- on DSR 2023 Rates (to be quoted by contractor) |  | 0%
[13 empty] | Add Amount above/below +/- on the amount for DSR Items as per quoted percentage | 0 | 0
[13 empty] | Total of Schedule Items Part 3A | 16712895.897
[13 empty] | Total Tax |  | 3008321.2615
Date: | [10 empty] | Name:
Place: | [10 empty] | Designation:

## Sch-3B2 Road Drain (NS-Civil)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ VADODARA
BILL OF QUANTITIES FOR Construction of Road, Drain & Culvert, UGT, Water supply and sewrage system at 400/220 kV Dehgam Substation
Name of Package:Construction of Roads, Drains and Culverts, UGT, water supply & Sewerage system at 400/220 kV Dehgam Substation.
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To:
Name : | [9 empty] | Contract Services
Address : | [9 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Installation Charges- Sch-3B2 -Non Schedule Items for Construction of Road, Drain & Culvert, UGT, Water supply and sewrage system at 400/220 kV Dehgam Substation
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) |  |  | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 |  | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 400/220kV Dehgam S/S | 995435 |  | 18% |  |  | NS-1 Supplying and filling of moorum in subgrade/ embankment formation in layers not exceeding 20 cm in depth, breaking clods, watering, rolling each deposited layer with power road roller of min. 8 tonne in embankment for roads, flood banks, marginal banks and guide banks and compaction under optimum moisture condition to give atleast 95% of maximum dry density. The operation shall include all leads and lifts, royalty etc. (Measurement shall be based on compacted volume)Note: The tests specified for compaction as per FQP shall deemed to be included in this items. | Cum | 705 |  | 0 | 0
2 | 400/220kV Dehgam S/S | 995421 |  | 18% |  |  | NS-2 Providing and fixing polythene sheet of 125 micron for RCC slab and as directed by Engineer-in-charge. | SqM | 1375 |  | 0 | 0
3 | 400/220kV Dehgam S/S | 995456 |  | 18% |  |  | NS-3 Half brick masonry with clay flyash F.P .S. (non modular) brick of class designation 7.5, in foundation, plinth and superstructure above plinth upto floor V level. (Cement mortar 1 : 4 (1 cement : 4 coarse sand) | Sqm | 52.5 |  | 0 | 0
4 | 400/220kV Dehgam S/S | 995421 |  | 18% |  |  | NS-4 Providing, laying, spreading and compacting stone aggregate of specified sizes to WBM specifications in uniform thickness, hand picking, rolling with 3 wheeled road / vibratory roller 8-10 tonne capacity in stages to proper grade and camber, applying and brooming requisite type of screening / binding material to fill up interstices of coarse aggregate, watering and compacting to the required density . (The rate includes the cost of all labour, material, machinery, T&P, incidentals required for completion of all works as per CPWD specifications.) | Cum | 705 |  | 0 | 0
5 | 400/220kV Dehgam S/S | 995411 |  | 18% |  |  | NS-5 Providing and fixing Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4 mm wide aperture in Aluminium Windows all complete and inclusive of all costs as per directions and instructions of Engineer-in-Charge | SqM | 11.22 |  | 0 | 0
[10 empty] | Total for Non-Schedule Items (Schedule IIIB) | 0 | 0
[5 empty] | -- |  |  |  | Printed Name : |  | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. | [8 empty] | Designation : |  | 0
Date : | 0
Place : | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
--
Date :
Place :

## Sch-3C1 (Sch-Electrical)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
BILL OF QUANTITIES FOR Construction of Residential Quarters, Guest House and Community Center including parking shed, concrete roads, Drains and Culverts, water supply & Sewerage system at Itarsi S/s under O&M Add CAP in tariff block 2019-24.
BILL OF QUANTITY FOR: Construction of Community Center at 400/220kV Dehgam S/S Sub-Station.
Name of Package: Construction of Roads, Drains and Culverts, UGT, water supply & Sewerage system at 400/220kV Dehgam Sub-Station.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Name : | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Installation Charges- Sch 3C1: Schedule Electrical Items for Construction of Community Center at 400/220kV Dehgam Sub-Station.
WESTERN REGION - II, VADODARA
COST ESTIMATE FOR INTERNAL ELECTRIFICATION WORKS OF 400/220kV Dehgam S/S
Sl. No. | Activity Header / Substation Name | DSR (E&M0 2022 Item No. | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | DESCRIPTION OF ITEMS | UNIT | Total Quantity | Rate (Rs.) | Amount (Rs.) | Deduction of GST factor considered in DSR | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST @ 18% | Total Erection Charges incl. GST
(Service Accounting Codes)
HEAD-1 SERVICE
SUB HEAD -I: WIRING
1 | 400/220kV Dehgam S/S | 1.10.3 | 995461 |  | 18% | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. ( Group C) | Point | 2 | 1467 | 2934 | 0.1405 | 1286.2779 | 2572.5559 | 463.0601 | 3035.616
2 | 400/220kV Dehgam S/S | 1.10.2 | 995461 |  | 18% | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. ( Group B) | Point | 6 | 1182 | 7092 | 0.1405 | 1036.3875 | 6218.3253 | 1119.2986 | 7337.6238
3 | 400/220kV Dehgam S/S | 1.11 | 995461 |  | 18% | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface I recessed medium class PVC conduit, 2 way piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | Point | 2 | 1562 | 3124 | 0.1405 | 1369.5747 | 2739.1495 | 493.0469 | 3232.1964
4 | 400/220kV Dehgam S/S | 1.25 | 995461 |  | 18% | Supplying and fixing two module stepped type electronic fanregulator on the existing modular plate switch box includingconnections but excluding modular plate etc. as required. | Each | 2 | 369 | 738 | 0.1405 | 323.5423 | 647.0846 | 116.4752 | 763.5598
5 | 400/220kV Dehgam S/S | 1.31 | 995461 |  | 18% | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | Each | 2 | 477 | 954 | 0.1405 | 418.2376 | 836.4752 | 150.5655 | 987.0408
6 | 400/220kV Dehgam S/S | 1.32 | 995461 |  | 18% | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | Each | 2 | 586 | 1172 | 0.1405 | 513.8097 | 1027.6195 | 184.9715 | 1212.591
7 | 400/220kV Dehgam S/S | 1.57 | 995461 |  | 18% | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | Each | 2 | 727 | 1454 | 0.1405 | 637.4397 | 1274.8794 | 229.4783 | 1504.3577
SUB HEAD -III: SUB MAIN
| 400/220kV Dehgam S/S | 1.14 | 995461 |  |  | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
11 | 400/220kV Dehgam S/S | 1.14.1 | 995461 |  | 18% | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Meter | 20 | 233 | 4660 | 0.1405 | 204.2964 | 4085.9272 | 735.4669 | 4821.3941
12 | 400/220kV Dehgam S/S | 1.14.2 | 995461 |  | 18% | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | Meter | 20 | 275 | 5500 | 0.1405 | 241.1223 | 4822.4463 | 868.0403 | 5690.4866
13 | 400/220kV Dehgam S/S | 1.14.3 | 995461 |  | 18% | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | Meter | 20 | 334 | 6680 | 0.1405 | 292.854 | 5857.0802 | 1054.2744 | 6911.3547
14 | 400/220kV Dehgam S/S | 1.14.9 | 995461 |  | 18% | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | Meter | 10 | 754 | 7540 | 0.1405 | 661.1135 | 6611.1355 | 1190.0044 | 7801.1399
15 | 400/220kV Dehgam S/S | 1.14.4 | 995461 |  | 18% | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | Meter | 10 | 439 | 4390 | 0.1405 | 384.9189 | 3849.189 | 692.854 | 4542.043
SUB HEAD -IV: MCB'S AND MAIN DISTRIBUTION BOARDS
| 400/220kV Dehgam S/S | 2.3 | 998731 |  |  | Supplying and fixing following way, single pole and neutral,sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
17 | 400/220kV Dehgam S/S | 2.3.4 | 998731 |  | 18% | 16 way, Double door | Each | 2 | 3141 | 6282 | 0.1405 | 2754.0552 | 5508.1105 | 991.4599 | 6499.5704
| 400/220kV Dehgam S/S | 2.1 | 998736 |  |  | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
19 | 400/220kV Dehgam S/S | 2.10.1 | 998736 |  | 18% | Single pole 6/10 Amp | Each | 2 | 256 | 512 | 0.1405 | 224.463 | 448.9259 | 80.8067 | 529.7326
20 | 400/220kV Dehgam S/S | 2.10.1 | 998736 |  | 18% | Single pole 16/20 Amp | Each | 2 | 256 | 512 | 0.1405 | 224.463 | 448.9259 | 80.8067 | 529.7326
21 | 400/220kV Dehgam S/S | 2.10.3 | 998736 |  | 18% | Double pole 25 Amp | Each | 2 | 656 | 1312 | 0.1405 | 575.1863 | 1150.3726 | 207.0671 | 1357.4397
| 400/220kV Dehgam S/S | 2.14 | 998736 |  |  | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
22 | 400/220kV Dehgam S/S | 2.14.2 | 998736 |  | 18% | 40 A | Each | 1 | 2642 | 2642 | 0.1405 | 2316.5278 | 2316.5278 | 416.975 | 2733.5028
| 400/220kV Dehgam S/S |  |  |  |  | SUB HEAD -VII: EARTHING AND LIGHTNING PROTECTION
26 | 400/220kV Dehgam S/S | 5.4 | 998739 |  | 18% | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2. 7 metre lone etc. with charcoal/ coke and salt as required | Each | 2 | 7472 | 14944 | 0.1405 | 6551.5125 | 13103.025 | 2358.5445 | 15461.5695
27 | 400/220kV Dehgam S/S | 5.11 | 998739 |  | 18% | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-fillinq etc. as required. | Meter | 10 | 706 | 7060 | 0.1405 | 619.0267 | 6190.2674 | 1114.2481 | 7304.5156
[6 empty] | Total Schedule Item | [6 empty] | 69708.0228 | 12547.4441 | 82255.4669
[6 empty] | Add percentage (%) above/below +/- on DSR 2022Rates (to be quoted by contractor) | [7 empty] | 0%
[6 empty] | Add Amount above/below +/- on the amount for DSR 22 Items as per quoted percentage | [6 empty] | 0 | 0
[6 empty] | Total of Schedule Items Part IIIA | [6 empty] | 69708.0228
[6 empty] | Total Tax | [7 empty] | 12547.4441

## Sch-3D2 Road Drain (NS-Elec)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ VADODARA
BILL OF QUANTITIES FOR Construction of Road, Drain & Culvert, UGT, Water supply and sewrage system at 400/220kV Dehgam Substation
Name of Package: Construction of Roads, Drains and Culverts, UGT, water supply & Sewerage system at 400/220kV Dehgam Sub-Station.
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To:
Name : | [9 empty] | Contract Services
Address : | [9 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) |  | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7 | 8 | 9 | 10=8x9 | 11
1 | 400/220kV Dehgam S/S | 995421 |  | 18% |  | NS-1 A SUBMERSIBLE PUMP, PANEL AND OTHER ACCESSORIES A.1 (a)Supply, supervison, erection, testing & comissioning of Grundfos make Vertical multistage Pumpset (suitable for underground sump -ve suction 2 meter) with Cast iron motor body, delivery casing of Cast Iron, Bronze impeller, stainless steel shaft and Mechanical seal for leakage free operation , pump having Regid coupling and pivot with high efficient squirrel cage induction motor suitable to operate from 300V to 440 volts, three phase, 50 cycles A.C, 2900 RPM, supply copper winding with waterproof insulation and high precision strength, not to be affected by clear water and suitable Grundfos make bearings with pump bolts & nuts etc. of capacity 9.86 M3/Hr from underground Sump, suitable for suction size of 40 inch dia and delivery pipe of size 40 inch dia. (with suitable couplers to be provided) along without suitable Sluice valve (valve into customer scope) as per direction of engg-in-charge with minimum / maximum capacity of discharging around minimum 6 Cu.mtr. / hour having 12 stages design and CER/CARBON mechanical seal at a discharge head of 100 metres maximum efficiency of the pump 67.4% and to be erected with necessary Sution pipe line from pump suction to water lift from sump pipe into customer scope only due to -ve suction on 2 meter & to be fitted inside the sump in all respect similar to Grundfos make model no. CR 10-12 A-FJ-A-V-HQQV (Capacity of 4KW (or More) (or) equivalent make (conforming to equivalent respective IS / BIS / Other standards) and inter connecting required size cable (4C * 4Sq.mm flexible copper submersible ISI approved cable) from DOL starter panel to the motor as per site condition, as per technical specification & as per direction of engg-in-charge along with other required accessories required for the works. | Set | 2 |  | 0 | 0
2 | 400/220kV Dehgam S/S | 995421 |  | 18% |  | NS-2 A SUBMERSIBLE PUMP, PANEL AND OTHER ACCESSORIES A.1. b) D.O.L. Motor control outdoor free standing type panel of double door type made from CRCA 16SWG sheet of factory built panel with the provision of suitable dia. holes for incoming and outgoing cables and G.I. Angle of size 50*50*6mm of length 1.4 m welded on the back side of the panel and to be grouted with suitable PCC concrete foundation for fixing on the ground suitable for upto 10 HP PUMP with incoming of TP fuse units of 32A rating capacity, D.O.L starter (comprising of Overload relay and contactor), Single phasing preventer, Inbuilt with the panel of approved make Ammeter, Voltmeter, Indication lamps, Auto / Manual selector switch, Off / Reset button with suitable size terminal connectors for incoming and outgoing cable connection (Panel should be approved factory make of Saravana Switchgears/ S.J. Electricals, Bangalore / L&T make / Gelco (or) as approved by engg-in-charge) | No. | 2 |  | 0 | 0
3 | 400/220kV Dehgam S/S | 995421 |  | 18% |  | NS-3 A SUBMERSIBLE PUMP, PANEL AND OTHER ACCESSORIES A.1.c) Dry Running protection / Pump guard of Minilec make Complete set (Pump shall be of ISI approved make Grundfos make model no. CR 10-12 A-FJ-A-V-HQQV (Capacity of 4KW (or More) (or) equivalent make (conforming to equivalent respective IS / BIS / Other standards) and as approved by engineer -in-charge).(Respective Test certificate and warranty certificate to be submitted) | No. | 2 |  | 0 | 0
4 | 400/220kV Dehgam S/S | 995421 |  | 18% |  | NS-4 A.2 Supply, supervison, erection, testing & comissioning of Grundfos make Vertical multistage Pumpset (suitable for underground sump -ve suction 2 meter) with Cast iron motor body, delivery casing of Cast Iron, Bronze impeller, stainless steel shaft and Mechanical seal for leakage free operation , pump having Regid coupling and pivot with high efficient squirrel cage induction motor suitable to operate from 300V to 440 volts, three phase, 50 cycles A.C, 2900 RPM, supply copper winding with waterproof insulation and high precision strength, not to be affected by clear water and suitable Grundfos make bearings with pump bolts & nuts etc. of capacity 9.86 M3/Hr from underground Sump, suitable for suction size of 40 inch dia and delivery pipe of size 40 inch dia. (with suitable couplers to be provided) along without suitable Sluice valve (valve into customer scope) as per direction of engg-in-charge with minimum / maximum capacity of discharging around minimum 6 Cu.mtr. / hour having 12 stages design and CER/CARBON mechanical seal at a discharge head of 100 metres maximum efficiency of the pump 67.4% in all respect similar to Grundfos make model no. CR 10-12 A-FJ-A-V-HQQV (Capacity of 4KW (or More) (or) equivalent make (conforming to equivalent respective IS / BIS / Other standards) as per technical specification & as per direction of engg-in-charge along with other required accessories required for the works. Complete set (SPARE - STANDBY) (Pump shall be of ISI approved make Grundfos make model no. CR 10-12 A-FJ-A-V-HQQV (Capacity of 4KW (or More) (or) equivalent make (conforming to equivalent respective IS / BIS / Other standards) and as approved by engineer -in-charge).(Respective Test certificate and warranty certificate to be submitted) | set | 2 |  | 0 | 0
5 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-5 A.3 Supplying, Installation, testing and commissioning of ISI approved CRI / GELCO Water Level Controller (for 3-phase / 1 - phase Motor Submersible pump) to be installed in the existing control panel and interlocking to be made for controlling water supply from existing borewells BH-1& 2 to underground Sump and Non-Rusting Maintenance free Magnetic Sensor as required for and as per direction of Engineer-in-charge for completion of the work (Note - Interconnection of cabling through Twin Core(Double sheathed) with single sheathed wire for sensor and interconnection of the pump starter to the sensor and associated works is extra as per item no. B.2) Complete set | Set | 4 |  | 0 | 0
6 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-6 B DISTRIBUTION BOARD, POINT WIRING, CONTROL CABLES, LIGHT FIXTURES, CEILING FAN & EARTHING SYSTEM B.1 Supply, fixing and commissioning of totally enclosed power Distribution Board (COSMOS DB) complete in all respect with Incomer of 1no 63A, TP MCB along with required terminal connectors for termination of incoming power cable and Outgoing of 3 nos. Of 32A, TP MCB and 3 nos.of 16A SP MCB similar to type DU18N of L&T (Hager) make or equivalent make complete with all respect like busbars, interconnection of required size power cable as required from the Power DB to the DOL starter panel as per site condition, direction of engg-in-charge (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) | Set | 2 |  | 0 | 0
7 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-7 B.2 Supply, laying, installation, testing and wiring of PVC armoured cable of 2 pair annealed tinned solid copper conductor of 0.51mm dia. PVC insulated and PVC sheathed twisted into pairs , pairs laid up, manilex taped having double sheathed protection to the wire for interconnection of the submersible pump starter to the sensor situated in the underground Sump and other associated works etc. as required as per site condition. (Note :- Cable to be laid all along the buried pipe line with proper protection beneath the ground) | Metre | 400 |  | 0 | 0
8 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-8 B.3 Supply and installation towards Point wiring for light / ceiling fan points with 1.5 mm sq mm FR type PVC insulated Copper wire (for phase, nutral) in recessed conduit from switch board to any where in the circuit as per layout of pump house including supply of 20mm dia. rigid pvc medium gauge conduit with necessary tees, bends, junction/inspection / wire pull out boxes and fixing with U clamps in wall or ceiling in approved manner including supply of suitable size concealed metal box, cover plate, 10A Modular switch of ISI approved Anchor make cat. no. 21011 or equivalent make), Lamp holder ( Anchor make cat. no. 30103 or equivalent make), Approved ISI make make Crompton/Philips/Bajaj Retrofit CFL lamp of 15W) and other accessories as required complete in all respect, as per technical specification and direction of engg-in-charge | set | 8 |  | 0 | 0
9 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-9 B.4 Supply and installation towards Power point wiring for 6 pin 6/16 A Power socket with switch 2x4 sq. mm + 1 x 2.5 sq. mm FR type PVC flexible copper cable in recessed PVC conduit from Power DB up to the 16A power socket point any where in the pump house as per layout of sump room including supply of 25mm dia. rigid pvc medium gauge conduit with necessary tees, bends, junction boxes and fixing with U clamps in wall or ceiling in an approved manner including supply of concealed 6 module metal box along with cover plate, 6 pin, 6/16 A Power socket combined with safety shutter, indicator ( Anchor cat. no. 30828 or equivalent make). (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) and other accessories as required complete in all respect, as per technical specification and direction of engg-in-charge | set | 2 |  | 0 | 0
10 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-10 B.5 Supply and installation towards sub circuit wiring from DB to the switch board with 2*2.5 Sq.mm + 1*1.5Sq.mm FR type PVC flexible copper cable in recessed 20mm dia. Conduit as per layout of sump room / pump house room including supply of 20mm dia. Rigid medium gauge PVC conduit with necessary tees, bends, inspection boxes and fixing with u clamps in wall or ceiling in an approved manner complete in all respect (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) and other accessories as required complete in all respect, as per technical specification and direction of engg-in-charge | Metre | 20 |  | 0 | 0
11 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-11 B.6 Supplying, erecting, testing and commissioning of high speed 48" (1200mm sweep) double ball bearing ceiling fan with electronic regular with condenser A.C. 230V, 50 cycles with canopy, down rod upto 300mm length with rubber bushing, bolts & nuts in the provided fan hook box of required size complete erected and marking the Sr.no. and date of erection of approved recommended IVY/SST/RBY of crompton (or) Usha (or) Khaitan (or) Orient (or) GEC Alstom make | set | 2 |  | 0 | 0
12 | 400/220kV Dehgam S/S | 995461 |  | 18% |  | NS-13 B.5 Supply and installation towards sub circuit wiring from DB to the switch board with 2*2.5 Sq.mm + 1*1.5Sq.mm FR type PVC flexible copper cable in recessed 20mm dia. Conduit as per layout of sump room / pump house room including supply of 20mm dia. Rigid medium gauge PVC conduit with necessary tees, bends, inspection boxes and fixing with u clamps in wall or ceiling in an approved manner complete in all respect (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) and other accessories as required complete in all respect, as per technical specification and direction of engg-in-charge | set | 2 |  | 0 | 0
[9 empty] | Total for Non-Schedule Items (Schedule IIId) | 0 | 0
Printed Name :
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. | [7 empty] | Designation :
Date :
Place :

## Sch5 taxes
Schedule-2
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a | Total GST on Supply & Installation Services (indentified in Schedule-3A2) which are not included in the Installationas per the provision of the Bidding Documents, as applicable |  | 3008321.2615
b | Total GST on Supply & Installation Services (indentified in Schedule-3B2) which are not included in the Installationas per the provision of the Bidding Documents, as applicable |  | 0
C | Total GST on Supply & Installation Services (indentified in Schedule-3C1) which are not included in the Installationas per the provision of the Bidding Documents, as applicable |  | 12547.4441
d | Total GST on Supply & Installation Services (indentified in Schedule-3D2) which are not included in the Installationas per the provision of the Bidding Documents, as applicable |  | 0
2 | GRAND TOTAL [a+b+c+d] |  | 3020868.7056
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch6 Summary
Schedule-6
Grand Summary for Construction of Roads, Drains and Culverts, UGT, water supply & Sewerage system at 400/220kV Dehgam Sub-Station.
To:
Name | #REF! | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR)
Service/Installation Charges
A | TOTAL SCHEDULE NO.-3A
1 | Supply & Installation Charges- Schedule Civil Items for Construction of Road Drain water supplu UGT and Sewarge at 400/220 kV Dehgam S/s |  | 16712895.897
B | TOTAL SCHEDULE NO.-3B
1 | Installation Charges- Non-Schedule Civil Items for Construction of Road Drain water Supply UGT and sewarge at 400/220 kV Dehgam S/s |  | 0
C | TOTAL SCHEDULE NO.-3C
1 | Supply & Installation Charges- Schedule Electrical Items for Construction of Road Drain water Supply UGT and sewarge at 400/220 kV Dehgam S/s |  | 69708.0228
D | TOTAL SCHEDULE NO.-3D
1 | Supply & Installation Charges- Non Schedule Electrical Items for Construction of Road drain water supply UGT,Sewrage at 400/220 kV Dehgam S/s |  | 0
| Total of Service/Installation Charge (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 16782603.9198
| Total GST against Service/Installation Charge (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 3020868.7056
| Grand Total |  | 19803472.6254
Date : |  | Printed Name :
Place : |  | Designation :