Technical Specification

- The work shall be carried out as per POWERGRID/ CPWD specification and as directed by the Engineer-In charge.

- The contractor or his authorized representative must be present at the site during execution of the work BOQ.

- Payment will be made as per work executed and contractor will have no right to claim complete BOQ.

- All labour, T&P material etc. will be provided by the contractor on their own risk & Cost. POWERGRID shall not entertain any claim whatsoever in this regard.

- The contractors must follow labour laws, safety rules and other statutory requirement, and for the same he will be fully responsible to bear any claim at their own risk & cost. POWERGRID will not entertain any claim whatsoever in this regard.

- Contractor will take all safety measures and provide personal protective devices to his workers required for the work.

- All rubbish/unserviceable material shall be disposed by the contractor as directed by Engineer-in-charge.

- Contractor shall keep Power Grid indemnified against all claims, costs, damages and charges arising out of personal injury or death of contractor's employees caused by any reason. In event of any claim Contractor will be solely responsible to meet such claims and POWERGRID will not entertain any claim whatsoever in this regard.

- In case of any accident during the work, it will be Contractor's responsibility to lodge FIR at Police Station immediately with written information to POWERGRID and make available best treatment to the injured including lodging of insurance claim.

- Person engaged in rendering the above services will be contractor's employees and POWERGRID shall have no responsibility towards their employment or liabilities/responsibilities arising under all relevant acts and safety rules.

- The Contractor must ensure payment as per Latest minimum wages Act.

- In case the contractor fails to execute any work as per BOQ on POWERGRID instructions within reasonable time, POWERGRID may carry out the work with the risk & cost of contractor.

- Adequate insurance cover (Workman compensation policy) of the labours deployed by the contractor for subject work shall be taken by the contractor and the same shall be submitted to POWERGRID if applicable with project specific and in joint name.

- Water and electricity shall be provided by POWERGRID, if available at free of cost otherwise contractor shall arrange the same without any additional claim at his own cost.