## 400kV Mainpuri
पावरग्रिड कारपोरेशन ऑफ़ इंडिया लिमिटेड 400/220 के वी उपकेन्द्र मैनपुरी
विषय (BOQ for reference purpose only) : 400/220 के.वी. मैनपुरी उपकेन्द्र के आवासीय भवनों, नियंत्रण कक्ष, विश्राम शिविर तथा अन्य सिविल के कार्यों का द्वि-वार्षिक प्रचालन व् अनुरक्षण
Sl. No. | Activity no. | DSR 2023 Code | Item Description | Unit | Quantity (A)
1 | 120000349 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. 2.8.1 All kinds of soil | cum | 5
2 | 120000437 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 2
3 | 120000442 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 2
4 | 120000458 | 4.3.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :Columns, piers, abutments, pillars, posts and struts | sqm | 15
5 | 120000477 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | sqm | 7
6 | 120000488 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 2
7 | 120000543 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | KG | 150
8 | 120000601 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 5
9 | 120000616 | 6.12.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in cement mortar 1:4 (1 cement : 4 coarse sand) | Sqm | 5
10 | 120000739 | 8.2.2.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | Sqm | 3
11 | 120000741 | 8.3.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.Granite work | mtr | 10
12 | 120000757 | 9.1.2 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately)Sal wood | cum | 0.15
13 | 120000805 | 9.17.2 | providing and fixing flat pressed 3layer particle board medium density exterior grade(Grade1)or graded particle board as per IS:3087 MARKED ,TO (Frame,Backing ,or studding to paid seperately)complete as per direction of engineer in charge. 18mm thick | sqm | 10
14 | 120000813 | 9.21.3 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:25 mm thickincluding ISI marked Stainless Steel butt hinges with necessary screws | sqm | 10
15 | 120000814 | 9.22.1 | Extra for Providing and fixing flush doors with decorative veneering instead of non decorative ISI marked flush door shutters conforming to IS: 2202 (Part I):On one side only | Sqm | 5
16 | 120000815 | 9.23 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | sqm | 7
17 | 120000864 | 9.47.2 | Providing and fixing nickel plated M.S. pipe curtain rods with nickel plated brackets :25 mm dia (heavy type) | Mtr | 50
18 | 120000867 | 9.48.1 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | kg | 100
19 | 120000870 | 9.51.1 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With 2nd class teak wood beading 62X19 mm | Sqm | 50
20 | 120000871 | 9.51.2 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With 12 mm mild steel U beading | Sqm | 50
21 | 120000885 | 9.57.2 | Providing and fixing ISI marked oxidised M.S. pressed butt hinges with necessary screws etc. complete.: 100x58x1.90 mm | Each | 15
22 | 120000886 | 9.57.3 | Providing and fixing ISI marked oxidised M.S. pressed butt hinges with necessary screws etc. complete.: 75x47x1.70 mm | Each | 15
23 | 120000957 | 9.84 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete | Each | 5
24 | 120000987 | 9.96.1 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :300x16 mm | Each | 10
25 | 120000988 | 9.96.2 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :250x16 mm | Each | 10
26 | 120000989 | 9.97.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :300 x10mm | Each | 10
27 | 120000990 | 9.97.2 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :250x10mm | Each | 15
28 | 120000992 | 9.97.4 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150 x 10mm | Each | 15
29 | 120000996 | 9.100.1 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125mm | Each | 20
30 | 120000998 | 9.100.3 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 75mm | Each | 10
31 | 120001000 | 9.101.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.Twin rubber stopper | Each | 20
32 | 120001002 | 9.103. | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete | Each | 5
33 | 120001019 | 9.114.1 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.Triple strip vertical type | Each | 20
34 | 120001023 | 9.117.1 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- charge Extruded section profile size 48x40 mm | Mtr | 30
35 | 120001025 | 9.118.1 | Providing and fixing to existing door frames.24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats.The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | Sqm | 10
36 | 120001037 | 9.127.2 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.: 1 mm Thick | sqm | 8
37 | 120001115 | 10.1. | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | KG | 50
38 | 120001170 | 11.3.1 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | Sqm | 20
39 | 120001216 | 11.20.1 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Light shade pigment using white cement | sqm | 10
40 | 120001217 | 11.20.2 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand).Medium shade pigment using 50% white cement 50% Grey cement | sqm | 10
41 | 120001231 | 11.26.1 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :11.26.1 25 mm thick | sqm | 5
42 | 120001232 | 11.27 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | sqm | 5
43 | 120001246 | 11.37 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete | sqm | 10
44 | 120001251 | 11.41.2 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. vetrified tile 600x600 | sqm | 20
45 | 120001282 | 12.1.3 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.0.63 mm thick with zinc coating not less than 275 gm/ m² | sqm | 5
46 | 120001290 | 12.4.2 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete.0.63 mm thick with zinc coating not less than 275 gm/m² | MTR | 5
47 | 120001351 | 12.41.2 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diamete | mtr | 50
|  | 12.42. | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
48 | 120001353 | 12.42.1.2 | Coupler: 110 mm | Each | 10
49 | 120001357 | 12.42.3.2 | Single tee with door: 110mm | Each | 15
50 | 120001359 | 12.42.4.2 | Single tee without door: 110mm | Each | 10
51 | 120001361 | 12.42.5.2 | Bend 87.5° : 110mm | Each | 10
52 | 120001365 | 12.43.2 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. : 110mm | Each | 25
53 | 120001373 | 12.47 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified.2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | Sqm | 10
54 | 120001406 | 13.4.2 | 12 mm cement plaster of mix 1:6 (1 cement:6 coarse sand ) | sqm | 50
55 | 120001411 | 13.7.1 | 12 mm cement plaster finished with a floating coat of neat cement of mix :1:3 (1 cement: 3 fine sand) | Sqm | 60
56 | 120001412 | 13.7.2 | 12 mm cement plaster finished with a floating coat of neat cement of mix :1:4 (1 cement: 4 fine sand) | sqm | 50
57 | 120001423 | 13.16.1 | 6 mm cement plaster of mix :13.16.1 1:3 (1 cement : 3 fine sand) | sqm | 50
58 | 120001428 | 13.21 | Extra for providing and mixing water proofing material in cement of plaster work in proportion recommended by the manufacturers. | Per bag of 50 kg cement used in the mix | 25
59 | 120001437 | 13.26 | providing and laying 2mm thick plaster of paris putty over plaster to prepare the surface even and smooth complete | sqm | 25
60 | 120001511 | 13.80. | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | sqm | 100
61 | 120001624 | 13.81.1 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade: Old work (one or more coats) | sqm | 500
62 | 120001613 | 13.82.1 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour... One coat | sqm | 500
63 | 120001600 | 13.91 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | sqm | 500
64 | 120001614 | 13.99.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : 13.99.1 One or more coats on old work | sqm | 250
65 | 120001615 | 13.100.1 | Painting with aluminium paint of approved brand and manufacture to give an even shade: 13.100.1 One or more coats on old work | sqm | 50
66 | 120001619 | 13.104.1 | Polishing on wood work with ready made wax polish of approved brand and manufacture : 13.104.1 Old work | sqm | 50
67 | 120001626 | 13.109.2 | Finishing walls with water proofing cement paint of required shade :Old work (one or more coats @ 2.20 kg/10 sqm) complete | sqm | 100
68 | 120003510 | 13.110.2 | Finishing walls with textured Exterior paint of required shade on Old work (one or more coats applied @ 1.82 ltr/10 sqm) | sqm | 200
69 | 120001630 | 13.111.2 | Finishing walls with Acrylic Smooth exterior paint of required shade :13.111.2 Old work (One or more coat applied @ 0.90 ltr/10 sqm). | sqm | 750
70 | 120001524 | 14.1.2 | Repair to plaster of thickness 12 mm to 20 mm including patches of area 2.5 sqm area and under including ,cutting the patch improper shape racking out joints and preparing and plastering the surface of the walls complete including disposal of rubbish: with cement mortar 1;4(1 cement ,4 coarse sand | sqm | 50
71 | 120001530 | 14.5.1 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty:14.5.1 Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | sqm | 8
72 | 120001532 | 14.6.1 | Renewing glass panes, with wooden fillets wherever necessary: 14.6.1 Float glass panes of nominal thickness 5 mm (weight not less than 10kg/sqm) | sqm | 8
73 | 120001534 | 14.7.1 | Renewing glass panes and refixing existing wooden fillets: 14.7.1 Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm | sqm | 8
74 | 120001537 | 14.8.2 | Supplying and fixing new wooden fillets wherever necessary: 14.8.2 Hollock wood fillets | mtr | 30
75 | 120001538 | 14.9. | Renewal of old putty of glass panes (length) | mtr | 50
76 | 120001539 | 14.10. | Refixing old glass panes with putty and nails | sqm | 5
77 | 120001540 | 14.11. | Fixing old glass panes with wooden fillets (excluding cost of fillets) | sqm | 5
78 | 120001641 | 15.2.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | cum | 2
79 | 120001642 | 15.2.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.15.2.2 Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | cum | 2
80 | 120001650 | 15.7.4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.15.7.4 In cement mortar | cum | 3
81 | 120001660 | 15.12.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : 15.12.1 Of area 3 sq. metres and belo | Each | 5
82 | 120001677 | 15.23.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. 15.23.1 For thickness of tiles 10 mm to 25 mm | sqm | 25
83 | 120001727 | 15.56. | 15.56 Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | sqm | 50
84 | 120001888 | 17.7.3 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | each | 25
85 | 170001215 | 17.16A | wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour... One coat | each | 10
86 | 120001916 | 17.18.1 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. 10 litre capacity - White | each | 10
87 | 120001920 | 17.20.1 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : White solid plastic seat with lid | each | 10
88 | 120001923 | 17.22 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | each | 10
89 | 120003124 | 17.22A | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | each | 24
90 | 120003125 | 17.22B | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge.(a) 15 mm nominal dia | each | 6
91 | 120001936 | 17.28.2.1 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete semi rigit pvc waste pipe 32mm | each | 5
92 | 120001938 | 17.28.2.2. | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings completeFlexiable PVC Waste Pipe 40mm | Each | 5
93 | 120001941 | 17.31 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 20
94 | 120001946 | 17.33 | Providing and fixing 600*120*5 mm glass shelf with edges round of supported on anodised aluminium angle frame with C.P brass brackets and guard rail complete fixed with 40 mm long screws,rawl plugs etc.,complete | each | 20
95 | 120002102 | 18.7.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall: 15 mm nominal outer dia Pipes | metre | 40
96 | 120002103 | 18.7.2 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall: 20 mm nominal outer dia Pipes | metre | 60
97 | 120002104 | 18.7.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall: 18.7.3: 25 mm nominal dia Pipes | Mtr | 75
98 | 120002108 | 18.8.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc:.15 mm nominal outer dia Pipes | metre | 20
99 | 120002109 | 18.8.2 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc.: 20 mm nominal dia Pipes | Mtr | 25
100 | 120002110 | 18.8.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc: 25 mm nominal outer dia Pipes | metre | 30
101 | 120002145 | 18.17.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :18.17.1: 25 mm nominal bore | each | 20
102 | 170001881 | 18.17.1A | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :18.17.1A: 20 mm nominal bore | each | 20
103 | 120002152 | 18.18.2 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20mm - nominal bore | each | 20
104 | 120002153 | 18.18.3 | 25 mm nominal bore | Each | 25
105 | 120002171 | 18.21.2.1 | Providing and fixing unplasticised PVC connection pipe with brass unions : 45cm length,15 mm nominal bore. | Each | 40
106 | 120002173 | 18.22.1 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet :100 mm diameter | Each | 20
|  | 18.47 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required :
107 | 120002278 | 18.47.1 | 15 mm nominal bore | Each | 7
108 | 120002279 | 18.47.2 | 20 mm nominal bore | Each | 7
109 | 120002280 | 18.47.3 | 25 mm nominal bore | Each | 7
110 | 120002286 | 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | Per Ltr | 7500
111 | 120002790 | 21.1.1.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : 21.1.1 For fixed portion 21.1.1.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | kg | 25
112 | 120002793 | 21.1.2.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :21.1.2 For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | kg | 25
113 | 120002796 | 21.2.1 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. 21.2.1 Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | Sqm | 15
114 | 120002798 | 21.3.1 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): 21.3.1 With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | Sqm | 8
115 | 120002819 | 21.13 | 21.13 Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | Each | 2
116 |  | NSR | Execution of skilled nature of misc. type of work complete with tools and tackles etc. as per site requirement on S.O.S. basis through
|  | Minimum wage - Analysis attached in Annex_I | Skilled category Manpower -Plumber*
|  |  | Skilled category Manpower - Carpentor | Mandays | 200
|  |  | Skilled category Manpower -Mason |  | 200
|  |  | Skilled category Manpower -Electrician |  | 200
|  |  | Skilled category Manpower -Welder |  | 24
* It will be mandatory to ensure prevailing minimum wage and other satatutory requirement such as PF ESI, Bonus etc for the manpower deployed.