| Clarification - 4 dated: 24/08/2022 to Bidding Document for Transmission line package TL01 for construction of 220 kV D/C (Twin Moose) Transmission Line from 120 MW Rangit IV HEP to New Melli Pooling Station (POWERGRID) & associated Bays at New Melli GIS S/S associated with consultancy services to JPCL (a fully owned subsidiary of NHPC). Specification No - 5002002309/CONSULTANCY GIVEN/DOM/A04-CC CS -5 |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Reference Document | Query asked by the bidders | POWERGRID reply |
|  | Clause no / Page no |  |  |
| 1 |  | We understand that the pile foundation work need to be done for transmission line requires soil investigation. kindly share the soil investigation report available for the said site location. | As per Clause 1.2, Section IA, TS, Geotechnical Investigation (including special foundation locations viz. pile/well foundation locations) is in the scope of bidder. BOQ item for Soil Investigation for River Crossing Location has been added in the BPS. Refer Amendment no. 5 in this regard. |
| 2 |  | In the “Name of bidder’ sheet in first envelop, there is no option available for filling the number of JV Partners and details of other partner even after selecting the type of bidder as a JV (joint venture). Due to this error all the linked attachment sheets shows “#Ref!” error. | Please refer ERRATA – 1 |