| Clarification - 5 dated: 29/08/2022 to Bidding Document for Transmission line package TL01 for construction of 220 kV D/C (Twin Moose) Transmission Line from 120 MW Rangit IV HEP to New Melli Pooling Station (POWERGRID) & associated Bays at New Melli GIS S/S associated with consultancy services to JPCL (a fully owned subsidiary of NHPC). Specification No - 5002002309/CONSULTANCY GIVEN/DOM/A04-CC CS -5 |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Reference Document | Bidder's Requirement | POWERGRID reply |
|  | Clause no / Page no |  |  |
| 1 | Point No. 14 Clause 20 Type Test (Page 43 of 79) of Section GIS Rev. 5A for Reactor current switching test For Reactive Current switching capability as per Clause 6.4.1 | Please note that since the sub-station has only line bays and reactors are not available in the project, we understand that the reactor current switching test is not mandatory as per IEC. Request to confirm non-applicability of the reactor switching type test for this project. | For Reactor current switching test, Please refer clause (B-8) of Specific requirements CC/ENGG/SPEC/SECPROJECT/SPECIFIC REQUIREMENT Rev 07), refer Sl. No. 1 of Amendment - 6. |
| 2 | Fist envelope and bid form | In the “Name of bidder’ sheet in first envelop, there is no option available for filling the number of JV Partners and details of other partner even after selecting the type of bidder as a JV (joint venture). Due to this error all the linked attachment sheets shows “#Ref!” error. Due to this we can’t take printout of auto generated integrity pact (Attachment – 14 IP) and couldn’t attest on notary stamp paper. You are requested to please upload the corrected excel file of “fist envelope and bid form”. | Please refer Errata-1. |
| 3 | Price Schedule | There is error in date of submission year, the selection year is only upto 2021. Pls amend and uploaded revised. | Please use revised Price Schedule provided in Amendment – 5. |