| Sl. No. | Clause Reference | Existing Provision | Amended Provision |
| --- | --- | --- | --- |
| 1) | Vol- A Price schedule 1,2 & 3 (New Melli substation) | New Item added in BPS | Sl. No.; Material Code; Item Description; Unit; Qty. Included in BPS Schedule 1 & 2; 1000030433; COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALL REQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS, POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC., AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FOR AUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICAL SPECIFICATION.; Set; 1. Included in BPS Schedule 3; 100002500; Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patch cords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware and Software for Augmentation of Visual Monitoring System as per technical specification.; Set; 1. |
| 2) | Vol-B - Technical Specification - Section Project Annexure-I | Drawings added in Annexure-I | Following drawings are added in Annexure-I - Electrical Plan Layout & Section for extension of 220kV New Melli GIS substation - Earthmat layout of 220kV GIS substation at New Melli - Plan, elevation, section of GIS Hall Building at New Melli - Cable trench layout plan - Standard 220KV Wave Trap Support structure |
| 3 | Price Schedule | Existing file: Price_Schedule Rev_01 | Stands replaced with: Price_Schedule Rev_02 |