## Basic (hidden)
Package Name: | Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
Spec no. | Specification No: CC/NT/OPGW/DOM/A00/22/00579

## Cover
ORIGINAL
Price Schedules | Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”, |  | NTAMC
Specification No: CC/NT/OPGW/DOM/A00/22/00579
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3, Sch-4a, Sch-4b, Sch-5, Sch-7 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder from the pull down menu. Do not leave this cell blank.
| ● | Fill up names and address of the Sole Bidder.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4a (Training Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4b (Maintenance Charges during and after Defect Liability Period) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  | Sole Bidder | 1
|  |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 0
1
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner
Address of other Partner
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 31
Place
Click for Sch-1

## Sch-1
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [13 empty] | Schedule - 1 |  |  |  |  | Direct Total | 0 | Sole Bidder | `
[19 empty] | BO Total | #REF! | 0
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To:
#REF! | [11 empty] | Contracts Services, 3rd Floor
Name : | [11 empty] | Power Grid Corporation of India Ltd., | [8 empty] | #REF!
Address : | [11 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted | [19 empty] | Direct
[14 empty] | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘ 6 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST Tax as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14= 12 x 13 | 15
I | Fiber Optic Cabling Supply & Erection | [18 empty] | Direct
1 | 7000020282 | 10 | OPGW BoQ Supply(Mains) | 1000030940 | 85447090 |  | 18% |  | 24 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 646 |  | Included | 0 | 0 | 0 | 0 | 0
2 | 7000020282 | 20 | OPGW BoQ Supply(Mains) | 1000020444 | 82057000 |  | 18% |  | Suspension clamp assembly for 24 fibre OPGW | EA | 1180 |  | Included | 0 | 0 | 0 | 0 | 0
3 | 7000020282 | 30 | OPGW BoQ Supply(Mains) | 1000033144 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 6 |  | Included | 0 | 0 | 0 | 0 | 0
4 | 7000020282 | 40 | OPGW BoQ Supply(Mains) | 1000031039 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 111 |  | Included | 0 | 0 | 0 | 0 | 0
5 | 7000020282 | 50 | OPGW BoQ Supply(Mains) | 1000033146 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 24 FIBEROPGW | SET | 208 |  | Included | 0 | 0 | 0 | 0 | 0
6 | 7000020282 | 60 | OPGW BoQ Supply(Mains) | 1000031041 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 24F OPGW INCLUDINGALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 50 |  | Included | 0 | 0 | 0 | 0 | 0
7 | 7000020282 | 70 | OPGW BoQ Supply(Mains) | 1000022417 | 82057000 |  | 18% |  | Vibration Damper for 24 fibre OPGW | EA | 6208 |  | Included | 0 | 0 | 0 | 0 | 0
8 | 7000020282 | 80 | OPGW BoQ Supply(Mains) | 1000010817 | 82057000 |  | 18% |  | Down Lead clamp Assembly for 24 fibre OPGW | EA | 5557 |  | Included | 0 | 0 | 0 | 0 | 0
9 | 7000020282 | 90 | OPGW BoQ Supply(Mains) | 1000014198 | 85353090 |  | 18% |  | Joint Box for 24 fibre OPGW | EA | 167 |  | Included | 0 | 0 | 0 | 0 | 0
10 | 7000020282 | 100 | OPGW BoQ Supply(Mains) | 1000030941 | 85447090 |  | 18% |  | 48 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 2 |  | Included | 0 | 0 | 0 | 0 | 0
11 | 7000020282 | 110 | OPGW BoQ Supply(Mains) | 1000020445 | 82057000 |  | 18% |  | Suspension clamp assembly for 48 fibre OPGW | EA | 3 |  | Included | 0 | 0 | 0 | 0 | 0
12 | 7000020282 | 120 | OPGW BoQ Supply(Mains) | 1000033145 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DEAD END FOR 48 FIBER OPGW | SET | 2 |  | Included | 0 | 0 | 0 | 0 | 0
13 | 7000020282 | 130 | OPGW BoQ Supply(Mains) | 1000031040 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY FOR 48F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
14 | 7000020282 | 140 | OPGW BoQ Supply(Mains) | 1000033147 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBEROPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
15 | 7000020282 | 150 | OPGW BoQ Supply(Mains) | 1000033143 | 82057000 |  | 18% |  | TENSION ASSEMBLY FOR JOINTING AT SUSPENSION TOWER FOR 48 FIBER OPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
16 | 7000020282 | 160 | OPGW BoQ Supply(Mains) | 1000022418 | 82057000 |  | 18% |  | Vibration Damper for 48 fibre OPGW | EA | 25 |  | Included | 0 | 0 | 0 | 0 | 0
17 | 7000020282 | 170 | OPGW BoQ Supply(Mains) | 1000010820 | 82057000 |  | 18% |  | Down Lead clamp Assembly for 48 fibre OPGW | EA | 133 |  | Included | 0 | 0 | 0 | 0 | 0
18 | 7000020282 | 180 | OPGW BoQ Supply(Mains) | 1000014201 | 85353090 |  | 18% |  | Joint Box for 48 fibre OPGW | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
19 | 7000020282 | 190 | OPGW BoQ Supply(Mains) | 1000023471 | 85372000 |  | 18% |  | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 6 |  | Included | 0 | 0 | 0 | 0 | 0
20 | 7000020282 | 200 | OPGW BoQ Supply(Mains) | 1000030942 | 85447090 |  | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 6 |  | Included | 0 | 0 | 0 | 0 | 0
21 | 7000020282 | 210 | OPGW BoQ Supply(Mains) | 1000013927 | 39269079 |  | 18% |  | Installation hardware set for above 24 Fibre, Fibre Optic ApproachCable | SET | 6 |  | Included | 0 | 0 | 0 | 0 | 0
22 | 7000020282 | 220 | OPGW BoQ Supply(Mains) | 1000030944 | 85447090 |  | 18% |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0
23 | 7000020282 | 230 | OPGW BoQ Supply(Mains) | 1000013926 | 82057000 |  | 18% |  | Installation hardware set for above 48 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
24 | 7000020282 | 240 | OPGW BoQ Mandatory Spares | 1000030940 | 85447090 |  | 18% |  | 24 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 23 |  | Included | 0 | 0 | 0 | 0 | 0
25 | 7000020282 | 250 | OPGW BoQ Mandatory Spares | 1000020444 | 82057000 |  | 18% |  | Suspension clamp assembly for 24 fibre OPGW | EA | 41 |  | Included | 0 | 0 | 0 | 0 | 0
26 | 7000020282 | 260 | OPGW BoQ Mandatory Spares | 1000033144 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
27 | 7000020282 | 270 | OPGW BoQ Mandatory Spares | 1000031039 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 6 |  | Included | 0 | 0 | 0 | 0 | 0
28 | 7000020282 | 280 | OPGW BoQ Mandatory Spares | 1000033146 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 24 FIBEROPGW | SET | 7 |  | Included | 0 | 0 | 0 | 0 | 0
29 | 7000020282 | 290 | OPGW BoQ Mandatory Spares | 1000031041 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 24F OPGW INCLUDINGALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 2 |  | Included | 0 | 0 | 0 | 0 | 0
30 | 7000020282 | 300 | OPGW BoQ Mandatory Spares | 1000022417 | 82057000 |  | 18% |  | Vibration Damper for 24 fibre OPGW | EA | 217 |  | Included | 0 | 0 | 0 | 0 | 0
31 | 7000020282 | 310 | OPGW BoQ Mandatory Spares | 1000010817 | 82057000 |  | 18% |  | Down Lead clamp Assembly for 24 fibre OPGW | EA | 194 |  | Included | 0 | 0 | 0 | 0 | 0
32 | 7000020282 | 320 | OPGW BoQ Mandatory Spares | 1000014198 | 85353090 |  | 18% |  | Joint Box for 24 fibre OPGW | EA | 6 |  | Included | 0 | 0 | 0 | 0 | 0
33 | 7000020282 | 330 | OPGW BoQ Mandatory Spares | 1000030941 | 85447090 |  | 18% |  | 48 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0
34 | 7000020282 | 340 | OPGW BoQ Mandatory Spares | 1000020445 | 82057000 |  | 18% |  | Suspension clamp assembly for 48 fibre OPGW | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
35 | 7000020282 | 350 | OPGW BoQ Mandatory Spares | 1000033145 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DEAD END FOR 48 FIBER OPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
36 | 7000020282 | 360 | OPGW BoQ Mandatory Spares | 1000031040 | 82057000 |  | 18% |  | TENSION FITTINGS ASSEMBLY FOR 48F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
37 | 7000020282 | 370 | OPGW BoQ Mandatory Spares | 1000033147 | 82057000 |  | 18% |  | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBEROPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
38 | 7000020282 | 380 | OPGW BoQ Mandatory Spares | 1000033143 | 82057000 |  | 18% |  | TENSION ASSEMBLY FOR JOINTING AT SUSPENSION TOWER FOR 48 FIBER OPGW | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
39 | 7000020282 | 390 | OPGW BoQ Mandatory Spares | 1000022418 | 82057000 |  | 18% |  | Vibration Damper for 48 fibre OPGW | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
40 | 7000020282 | 400 | OPGW BoQ Mandatory Spares | 1000010820 | 82057000 |  | 18% |  | Down Lead clamp Assembly for 48 fibre OPGW | EA | 5 |  | Included | 0 | 0 | 0 | 0 | 0
41 | 7000020282 | 410 | OPGW BoQ Mandatory Spares | 1000014201 | 85353090 |  | 18% |  | Joint Box for 48 fibre OPGW | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0
42 | 7000020282 | 420 | OPGW BoQ Mandatory Spares | 1000030942 | 85447090 |  | 18% |  | 24F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0
43 | 7000020282 | 430 | OPGW BoQ Mandatory Spares | 1000013927 | 39269079 |  | 18% |  | Installation hardware set for above 24 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
44 | 7000020282 | 440 | OPGW BoQ Mandatory Spares | 1000030944 | 85447090 |  | 18% |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0 | 0 | 0 | 0 | 0
45 | 7000020282 | 450 | OPGW BoQ Mandatory Spares | 1000013926 | 82057000 |  | 18% |  | Installation hardware set for above 48 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
II | Comm Equipment Supply & Erection | [18 empty] | Direct
46 | 7000020282 | 470 | BoQ of Communication Equipment (Supply) | 1000031367 | 85176260 |  | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 7 |  | Included | 0 | 0 | 0 | 0 | 0
47 | 7000020282 | 480 | BoQ of Communication Equipment (Supply) | 1000023721 | 85176260 |  | 18% |  | SFP S4.1 | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
48 | 7000020282 | 490 | BoQ of Communication Equipment (Supply) | 1000018706 | 85176990 |  | 18% |  | S16.1 SFP | EA | 28 |  | Included | 0 | 0 | 0 | 0 | 0
49 | 7000020282 | 600 | BoQ of Communication Equipment (Supply) | 1000014273 | 85176990 |  | 18% |  | L16.2 SFP | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
50 | 7000020282 | 500 | BoQ of Communication Equipment (Supply) | 1000019315 | 85176290 |  | 18% |  | Optical Line Interface card (to support minimum 150 kms) | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
51 | 7000020282 | 510 | BoQ of Communication Equipment (Supply) | 1000019316 | 85176290 |  | 18% |  | Optical Line Interface card To support minimum 200 km | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
52 | 7000020282 | 610 | BoQ of Communication Equipment (Supply) | 1000031405 | 85176290 |  | 18% |  | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
53 | 7000020282 | 520 | BoQ of Communication Equipment (Supply) | 1000031374 | 85176290 |  | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 14 |  | Included | 0 | 0 | 0 | 0 | 0
54 | 7000020282 | 530 | BoQ of Communication Equipment (Supply) | 1000031378 | 85176290 |  | 18% |  | TRIBUTARY INTERFACES-ETHERNET INTERFACES 10/100 MBPS WITH LAYER -2SWITCHING (MINIMUM 16 NOS.) | SET | 14 |  | Included | 0 | 0 | 0 | 0 | 0
55 | 7000020282 | 540 | BoQ of Communication Equipment (Supply) | 1000031381 | 85176290 |  | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 7 |  | Included | 0 | 0 | 0 | 0 | 0
56 | 7000020282 | 550 | BoQ of Communication Equipment (Supply) | 1000026228 | 85176290 |  | 18% |  | Equipment Cabinets For SDH | EA | 7 |  | Included | 0 | 0 | 0 | 0 | 0
57 | 7000020282 | 560 | BoQ of Communication Equipment (Supply) | 1000034998 | 85171890 |  | 18% |  | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 14 |  | Included | 0 | 0 | 0 | 0 | 0
58 | 7000020282 | 620 | BoQ of Communication Equipment (Supply) | 1000028495 | 84715000 |  | 18% |  | NMS- CRAFT TERMINAL-HARDWARE | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
59 | 7000020282 | 630 | BoQ of Communication Equipment (Supply) | 1000028265 | 85238020 |  | 18% |  | Software for Craft Terminal | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
60 | 7000020282 | 570 | BoQ of Communication Equipment (Supply) | 1000028456 | 85044010 |  | 18% |  | 48V DCPS - SMPS BASED 48V DC POWER SUPPLY (DCPS) SYSTEM OF 25 AMPRATING | SET | 6 |  | Included | 0 | 0 | 0 | 0 | 0
61 | 7000020282 | 580 | BoQ of Communication Equipment (Supply) | 1000028532 | 85072000 |  | 28% |  | VRLA Battery Bank for DCPS system of 300AH rating | EA | 6 |  | Included | 0 | 0 | 0 | 0 | 0
62 | 7000020282 | 590 | BoQ of Communication Equipment (Supply) | 1000031403 | 85437099 |  | 18% |  | REPEATER SHELTER SYSTEM INCLUDING ALL SHELTER ITEMS SUCH ASAIR-CONDITIONER, DG SETS, STATIC VOLTAGE STABLISER, DCPS & BATTERY ETC AS PER TECHNICAL SPECIFICATION OF PUF INSULATED PRE-COATED STEELSHELTER (INNER DIMENSION : 4340 X 2540 X 3000 MM & OUTER DIMENSION4500 X 2700 X 3160 MM) | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
63 | 7000020282 | 640 | BoQ of Communication Equipment (Supply) | 1000019317 | 85176290 |  | 18% |  | Optical Line Interface card To support minimum 175 km | EA | 4 |  | Included | 0 | 0 | 0 | 0 | 0
64 | 7000020282 | 650 | BoQ of Comm Equipment Mandatory Spares | 1000031369 | 85176260 |  | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
65 | 7000020282 | 660 | BoQ of Comm Equipment Mandatory Spares | 1000023721 | 85176260 |  | 18% |  | SFP S4.1 | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
66 | 7000020282 | 670 | BoQ of Comm Equipment Mandatory Spares | 1000018706 | 85176990 |  | 18% |  | S16.1 SFP | EA | 3 |  | Included | 0 | 0 | 0 | 0 | 0
67 | 7000020282 | 800 | BoQ of Comm Equipment Mandatory Spares | 1000019317 | 85176290 |  | 18% |  | Optical Line Interface card To support minimum 175 km | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
68 | 7000020282 | 680 | BoQ of Comm Equipment Mandatory Spares | 1000019315 | 85176290 |  | 18% |  | Optical Line Interface card (to support minimum 150 kms) | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
69 | 7000020282 | 690 | BoQ of Comm Equipment Mandatory Spares | 1000019316 | 85176290 |  | 18% |  | Optical Line Interface card To support minimum 200 km | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
70 | 7000020282 | 790 | BoQ of Comm Equipment Mandatory Spares | 1000031405 | 85176290 |  | 18% |  | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 1 |  | Included | 0 | 0 | 0 | 0 | 0
71 | 7000020282 | 700 | BoQ of Comm Equipment Mandatory Spares | 1000031374 | 85176290 |  | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | Included | 0 | 0 | 0 | 0 | 0
72 | 7000020282 | 710 | BoQ of Comm Equipment Mandatory Spares | 1000031378 | 85176290 |  | 18% |  | TRIBUTARY INTERFACES-ETHERNET INTERFACES 10/100 MBPS WITH LAYER -2SWITCHING (MINIMUM 16 NOS.) | SET | 2 |  | Included | 0 | 0 | 0 | 0 | 0
73 | 7000020282 | 720 | BoQ of Comm Equipment Mandatory Spares | 1000031381 | 85176290 |  | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
74 | 7000020282 | 730 | BoQ of Comm Equipment Mandatory Spares | 1000026228 | 85176290 |  | 18% |  | Equipment Cabinets For SDH | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0
75 | 7000020282 | 740 | BoQ of Comm Equipment Mandatory Spares | 1000034998 | 85171890 |  | 18% |  | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 2 |  | Included | 0 | 0 | 0 | 0 | 0
76 | 7000020282 | 750 | BoQ of Comm Equipment Mandatory Spares | 1000031398 | 85171890 |  | 18% |  | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 6 |  | Included | 0 | 0 | 0 | 0 | 0
77 | 7000020282 | 760 | BoQ of Comm Equipment Mandatory Spares | 1000031383 | 85362090 |  | 18% |  | MCCB/MCB-2P/ CONTACTOR/ TIMER/ RELAY OF EACH TYPE & RATING (ASAPPLICABLE) | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
78 | 7000020282 | 770 | BoQ of Comm Equipment Mandatory Spares | 1000019811 | 85362090 |  | 18% |  | Single Pole MCBs (for outgoing DC Feeders) for DCPS | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
79 | 7000020282 | 780 | BoQ of Comm Equipment Mandatory Spares | 1000028252 | 85177010 |  | 18% |  | Electronic Printed Circuit Board | SET | 1 |  | Included | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Ex-works Price | [5 empty] | 0 |  | 0 |  |  | 0
[7 empty] | Total Type Test charges as per Schedule-8 | [5 empty] | 0
[7 empty] | Total Ex-works Price including Type Test charges | [5 empty] | 0
[7 empty] | Total GST Tax as confirmed by Bidder | [5 empty] | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --
Place : | [10 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-2
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [8 empty] | Schedule - 2
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To:
Contracts Services, 3rd Floor
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Local Transportation, In-transit insurance, loading and unloading
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 4 | 5 | 6 | 7 | 8= 6 x 7
I | Fiber Optic Cabling Supply & Erection
1 | 7000020282 | 10 | OPGW BoQ Supply(Mains) | 1000030940 | 24 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 646 |  | Included | 0
2 | 7000020282 | 20 | OPGW BoQ Supply(Mains) | 1000020444 | Suspension clamp assembly for 24 fibre OPGW | EA | 1180 |  | Included | 0
3 | 7000020282 | 30 | OPGW BoQ Supply(Mains) | 1000033144 | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 6 |  | Included | 0
4 | 7000020282 | 40 | OPGW BoQ Supply(Mains) | 1000031039 | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 111 |  | Included | 0
5 | 7000020282 | 50 | OPGW BoQ Supply(Mains) | 1000033146 | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 24 FIBEROPGW | SET | 208 |  | Included | 0
6 | 7000020282 | 60 | OPGW BoQ Supply(Mains) | 1000031041 | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 24F OPGW INCLUDINGALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 50 |  | Included | 0
7 | 7000020282 | 70 | OPGW BoQ Supply(Mains) | 1000022417 | Vibration Damper for 24 fibre OPGW | EA | 6208 |  | Included | 0
8 | 7000020282 | 80 | OPGW BoQ Supply(Mains) | 1000010817 | Down Lead clamp Assembly for 24 fibre OPGW | EA | 5557 |  | Included | 0
9 | 7000020282 | 90 | OPGW BoQ Supply(Mains) | 1000014198 | Joint Box for 24 fibre OPGW | EA | 167 |  | Included | 0
10 | 7000020282 | 100 | OPGW BoQ Supply(Mains) | 1000030941 | 48 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 2 |  | Included | 0
11 | 7000020282 | 110 | OPGW BoQ Supply(Mains) | 1000020445 | Suspension clamp assembly for 48 fibre OPGW | EA | 3 |  | Included | 0
12 | 7000020282 | 120 | OPGW BoQ Supply(Mains) | 1000033145 | TENSION ASSEMBLY - DEAD END FOR 48 FIBER OPGW | SET | 2 |  | Included | 0
13 | 7000020282 | 130 | OPGW BoQ Supply(Mains) | 1000031040 | TENSION FITTINGS ASSEMBLY FOR 48F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 1 |  | Included | 0
14 | 7000020282 | 140 | OPGW BoQ Supply(Mains) | 1000033147 | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBEROPGW | SET | 1 |  | Included | 0
15 | 7000020282 | 150 | OPGW BoQ Supply(Mains) | 1000033143 | TENSION ASSEMBLY FOR JOINTING AT SUSPENSION TOWER FOR 48 FIBER OPGW | SET | 1 |  | Included | 0
16 | 7000020282 | 160 | OPGW BoQ Supply(Mains) | 1000022418 | Vibration Damper for 48 fibre OPGW | EA | 25 |  | Included | 0
17 | 7000020282 | 170 | OPGW BoQ Supply(Mains) | 1000010820 | Down Lead clamp Assembly for 48 fibre OPGW | EA | 133 |  | Included | 0
18 | 7000020282 | 180 | OPGW BoQ Supply(Mains) | 1000014201 | Joint Box for 48 fibre OPGW | EA | 4 |  | Included | 0
19 | 7000020282 | 190 | OPGW BoQ Supply(Mains) | 1000023471 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 6 |  | Included | 0
20 | 7000020282 | 200 | OPGW BoQ Supply(Mains) | 1000030942 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 6 |  | Included | 0
21 | 7000020282 | 210 | OPGW BoQ Supply(Mains) | 1000013927 | Installation hardware set for above 24 Fibre, Fibre Optic ApproachCable | SET | 6 |  | Included | 0
22 | 7000020282 | 220 | OPGW BoQ Supply(Mains) | 1000030944 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0
23 | 7000020282 | 230 | OPGW BoQ Supply(Mains) | 1000013926 | Installation hardware set for above 48 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0
24 | 7000020282 | 240 | OPGW BoQ Mandatory Spares | 1000030940 | 24 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 23 |  | Included | 0
25 | 7000020282 | 250 | OPGW BoQ Mandatory Spares | 1000020444 | Suspension clamp assembly for 24 fibre OPGW | EA | 41 |  | Included | 0
26 | 7000020282 | 260 | OPGW BoQ Mandatory Spares | 1000033144 | TENSION ASSEMBLY - DEAD END FOR 24 FIBER OPGW | SET | 1 |  | Included | 0
27 | 7000020282 | 270 | OPGW BoQ Mandatory Spares | 1000031039 | TENSION FITTINGS ASSEMBLY FOR 24F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 6 |  | Included | 0
28 | 7000020282 | 280 | OPGW BoQ Mandatory Spares | 1000033146 | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 24 FIBEROPGW | SET | 7 |  | Included | 0
29 | 7000020282 | 290 | OPGW BoQ Mandatory Spares | 1000031041 | TENSION FITTINGS ASSEMBLY ON SUSPENSION TOWER FOR 24F OPGW INCLUDINGALL ACCESSORIES AT JOINT BOX (SPLICING) LOCATION | SET | 2 |  | Included | 0
30 | 7000020282 | 300 | OPGW BoQ Mandatory Spares | 1000022417 | Vibration Damper for 24 fibre OPGW | EA | 217 |  | Included | 0
31 | 7000020282 | 310 | OPGW BoQ Mandatory Spares | 1000010817 | Down Lead clamp Assembly for 24 fibre OPGW | EA | 194 |  | Included | 0
32 | 7000020282 | 320 | OPGW BoQ Mandatory Spares | 1000014198 | Joint Box for 24 fibre OPGW | EA | 6 |  | Included | 0
33 | 7000020282 | 330 | OPGW BoQ Mandatory Spares | 1000030941 | 48 FIBRE (DWSM) OPGW FIBRE OPTIC CABLE | KM | 1 |  | Included | 0
34 | 7000020282 | 340 | OPGW BoQ Mandatory Spares | 1000020445 | Suspension clamp assembly for 48 fibre OPGW | EA | 1 |  | Included | 0
35 | 7000020282 | 350 | OPGW BoQ Mandatory Spares | 1000033145 | TENSION ASSEMBLY - DEAD END FOR 48 FIBER OPGW | SET | 1 |  | Included | 0
36 | 7000020282 | 360 | OPGW BoQ Mandatory Spares | 1000031040 | TENSION FITTINGS ASSEMBLY FOR 48F OPGW INCLUDING ALL ACCESSORIES FORJOINT BOX (SPLICING) LOCATION | SET | 1 |  | Included | 0
37 | 7000020282 | 370 | OPGW BoQ Mandatory Spares | 1000033147 | TENSION ASSEMBLY - DOUBLE TENSION PASS THROUGH ASSEMBLY FOR 48 FIBEROPGW | SET | 1 |  | Included | 0
38 | 7000020282 | 380 | OPGW BoQ Mandatory Spares | 1000033143 | TENSION ASSEMBLY FOR JOINTING AT SUSPENSION TOWER FOR 48 FIBER OPGW | SET | 1 |  | Included | 0
39 | 7000020282 | 390 | OPGW BoQ Mandatory Spares | 1000022418 | Vibration Damper for 48 fibre OPGW | EA | 1 |  | Included | 0
40 | 7000020282 | 400 | OPGW BoQ Mandatory Spares | 1000010820 | Down Lead clamp Assembly for 48 fibre OPGW | EA | 5 |  | Included | 0
41 | 7000020282 | 410 | OPGW BoQ Mandatory Spares | 1000014201 | Joint Box for 48 fibre OPGW | EA | 2 |  | Included | 0
42 | 7000020282 | 420 | OPGW BoQ Mandatory Spares | 1000030942 | 24F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0
43 | 7000020282 | 430 | OPGW BoQ Mandatory Spares | 1000013927 | Installation hardware set for above 24 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0
44 | 7000020282 | 440 | OPGW BoQ Mandatory Spares | 1000030944 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE INCLUDING ALL INSTALLATIONHARDWARE SET | KM | 1 |  | Included | 0
45 | 7000020282 | 450 | OPGW BoQ Mandatory Spares | 1000013926 | Installation hardware set for above 48 Fibre, Fibre Optic ApproachCable | SET | 1 |  | Included | 0
II | Comm Equipment Supply & Erection
46 | 7000020282 | 470 | BoQ of Communication Equipment (Supply) | 1000031367 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 7 |  | Included | 0
47 | 7000020282 | 480 | BoQ of Communication Equipment (Supply) | 1000023721 | SFP S4.1 | EA | 4 |  | Included | 0
48 | 7000020282 | 490 | BoQ of Communication Equipment (Supply) | 1000018706 | S16.1 SFP | EA | 28 |  | Included | 0
49 | 7000020282 | 600 | BoQ of Communication Equipment (Supply) | 1000014273 | L16.2 SFP | EA | 4 |  | Included | 0
50 | 7000020282 | 500 | BoQ of Communication Equipment (Supply) | 1000019315 | Optical Line Interface card (to support minimum 150 kms) | EA | 4 |  | Included | 0
51 | 7000020282 | 510 | BoQ of Communication Equipment (Supply) | 1000019316 | Optical Line Interface card To support minimum 200 km | EA | 4 |  | Included | 0
52 | 7000020282 | 610 | BoQ of Communication Equipment (Supply) | 1000031405 | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 4 |  | Included | 0
53 | 7000020282 | 520 | BoQ of Communication Equipment (Supply) | 1000031374 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 14 |  | Included | 0
54 | 7000020282 | 530 | BoQ of Communication Equipment (Supply) | 1000031378 | TRIBUTARY INTERFACES-ETHERNET INTERFACES 10/100 MBPS WITH LAYER -2SWITCHING (MINIMUM 16 NOS.) | SET | 14 |  | Included | 0
55 | 7000020282 | 540 | BoQ of Communication Equipment (Supply) | 1000031381 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 7 |  | Included | 0
56 | 7000020282 | 550 | BoQ of Communication Equipment (Supply) | 1000026228 | Equipment Cabinets For SDH | EA | 7 |  | Included | 0
57 | 7000020282 | 560 | BoQ of Communication Equipment (Supply) | 1000034998 | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 14 |  | Included | 0
58 | 7000020282 | 620 | BoQ of Communication Equipment (Supply) | 1000028495 | NMS- CRAFT TERMINAL-HARDWARE | EA | 1 |  | Included | 0
59 | 7000020282 | 630 | BoQ of Communication Equipment (Supply) | 1000028265 | Software for Craft Terminal | EA | 1 |  | Included | 0
60 | 7000020282 | 570 | BoQ of Communication Equipment (Supply) | 1000028456 | 48V DCPS - SMPS BASED 48V DC POWER SUPPLY (DCPS) SYSTEM OF 25 AMPRATING | SET | 6 |  | Included | 0
61 | 7000020282 | 580 | BoQ of Communication Equipment (Supply) | 1000028532 | VRLA Battery Bank for DCPS system of 300AH rating | EA | 6 |  | Included | 0
62 | 7000020282 | 590 | BoQ of Communication Equipment (Supply) | 1000031403 | REPEATER SHELTER SYSTEM INCLUDING ALL SHELTER ITEMS SUCH ASAIR-CONDITIONER, DG SETS, STATIC VOLTAGE STABLISER, DCPS & BATTERY ETC AS PER TECHNICAL SPECIFICATION OF PUF INSULATED PRE-COATED STEELSHELTER (INNER DIMENSION : 4340 X 2540 X 3000 MM & OUTER DIMENSION4500 X 2700 X 3160 MM) | SET | 1 |  | Included | 0
63 | 7000020282 | 640 | BoQ of Communication Equipment (Supply) | 1000019317 | Optical Line Interface card To support minimum 175 km | EA | 4 |  | Included | 0
64 | 7000020282 | 650 | BoQ of Comm Equipment Mandatory Spares | 1000031369 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | Included | 0
65 | 7000020282 | 660 | BoQ of Comm Equipment Mandatory Spares | 1000023721 | SFP S4.1 | EA | 1 |  | Included | 0
66 | 7000020282 | 670 | BoQ of Comm Equipment Mandatory Spares | 1000018706 | S16.1 SFP | EA | 3 |  | Included | 0
67 | 7000020282 | 800 | BoQ of Comm Equipment Mandatory Spares | 1000019317 | Optical Line Interface card To support minimum 175 km | EA | 1 |  | Included | 0
68 | 7000020282 | 680 | BoQ of Comm Equipment Mandatory Spares | 1000019315 | Optical Line Interface card (to support minimum 150 kms) | EA | 1 |  | Included | 0
69 | 7000020282 | 690 | BoQ of Comm Equipment Mandatory Spares | 1000019316 | Optical Line Interface card To support minimum 200 km | EA | 1 |  | Included | 0
70 | 7000020282 | 790 | BoQ of Comm Equipment Mandatory Spares | 1000031405 | OPTICAL INTERFACE CARD (TO SUPPORT MINIMUM 225 KMS) FOR STM-16 | EA | 1 |  | Included | 0
71 | 7000020282 | 700 | BoQ of Comm Equipment Mandatory Spares | 1000031374 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | Included | 0
72 | 7000020282 | 710 | BoQ of Comm Equipment Mandatory Spares | 1000031378 | TRIBUTARY INTERFACES-ETHERNET INTERFACES 10/100 MBPS WITH LAYER -2SWITCHING (MINIMUM 16 NOS.) | SET | 2 |  | Included | 0
73 | 7000020282 | 720 | BoQ of Comm Equipment Mandatory Spares | 1000031381 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | Included | 0
74 | 7000020282 | 730 | BoQ of Comm Equipment Mandatory Spares | 1000026228 | Equipment Cabinets For SDH | EA | 2 |  | Included | 0
75 | 7000020282 | 740 | BoQ of Comm Equipment Mandatory Spares | 1000034998 | VOIP TELEPHONE INSTRUMENT WITH ONE COMMON SWITCH (MIN. 8 PORT) | EA | 2 |  | Included | 0
76 | 7000020282 | 750 | BoQ of Comm Equipment Mandatory Spares | 1000031398 | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 6 |  | Included | 0
77 | 7000020282 | 760 | BoQ of Comm Equipment Mandatory Spares | 1000031383 | MCCB/MCB-2P/ CONTACTOR/ TIMER/ RELAY OF EACH TYPE & RATING (ASAPPLICABLE) | SET | 1 |  | Included | 0
78 | 7000020282 | 770 | BoQ of Comm Equipment Mandatory Spares | 1000019811 | Single Pole MCBs (for outgoing DC Feeders) for DCPS | SET | 1 |  | Included | 0
79 | 7000020282 | 780 | BoQ of Comm Equipment Mandatory Spares | 1000028252 | Electronic Printed Circuit Board | SET | 1 |  | Included | 0
[5 empty] | Total F&I Price |  |  |  | 0 | #REF!
# | Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date: | --
Place: | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sch-3
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [14 empty] | Schedule - 3
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”, | [19 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [19 empty] | AS per Percent |  | #REF!
[20 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To: | [7 empty] | As per Percent on Sch-3 |  | #REF!
[12 empty] | Contracts Services, 3rd Floor | [7 empty] | Total Discount |  | #REF!
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | "Saudamini", Plot No.-2
[12 empty] | Sector-29, | [7 empty] | Multipackage lum-sum |  | #REF!
Gurugram (Haryana) - 122001
Installation Charges : | [20 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17 |  |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
I | Fiber Optic Cabling Supply & Erection | [19 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
1 | 7000020282 | 460 | 30 | 50 | Install BoQ of OPGW | 170000356 | 998336 |  | 18% |  | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 6 |  | Included | 0 | 0 | 0 | 0
2 | 7000020282 | 460 | 30 | 60 | Install BoQ of OPGW | 170000265 | 998716 |  | 18% |  | Installation of Joint box above ground (Including Splicing & Testing) : 24 fibres | EA | 167 |  | Included | 0 | 0 | 0 | 0
3 | 7000020282 | 460 | 30 | 70 | Install BoQ of OPGW | 170000266 | 998716 |  | 18% |  | Installation of Joint box above ground (Including Splicing & Testing) : 48 fibres | EA | 4 |  | Included | 0 | 0 | 0 | 0
4 | 7000020282 | 460 | 30 | 80 | Install BoQ of OPGW | 100002882 | 998336 |  | 18% |  | Fibre Optic Approach cabling: Including installation hardware like ties/clips/cleats, conduits, ducts, supports, fittings,accessories etc.: 24 Fibre | KM | 6 |  | Included | 0 | 0 | 0 | 0
5 | 7000020282 | 460 | 30 | 90 | Install BoQ of OPGW | 170000370 | 995468 |  | 18% |  | Installation hardware set for 24 Fibre Fibre Optic Approach Cable | SET | 6 |  | Included | 0 | 0 | 0 | 0
6 | 7000020282 | 460 | 30 | 100 | Install BoQ of OPGW | 100002883 | 998336 |  | 18% |  | Fibre Optic Approach cabling: Including installation hardware like ties/clips/cleats, conduits, ducts, supports, fittings,accessories etc.: 48 Fibre | KM | 1 |  | Included | 0 | 0 | 0 | 0
7 | 7000020282 | 460 | 30 | 110 | Install BoQ of OPGW | 170000511 | 995468 |  | 18% |  | Installation Hardware set for 48 fibre, Fibre optic Approach cable | SET | 1 |  | Included | 0 | 0 | 0 | 0
8 | 7000020282 | 460 | 30 | 120 | Install BoQ of OPGW | 170000497 | 998336 |  | 18% |  | Installation of 24Fibre (DWSM) OPGW Cable alongwith associated Hardware fittings & vibration dampers in Live-line condition | KM | 615 |  | Included | 0 | 0 | 0 | 0
9 | 7000020282 | 460 | 30 | 130 | Install BoQ of OPGW | 170000351 | 998336 |  | 18% |  | 48F (DWSM) OPGW WITH HARDWARE FITTINGS INCLUDING VIBRATION DAMPER-(Live Line) | KM | 2 |  | Included | 0 | 0 | 0 | 0
10 | 7000020282 | 460 | 30 | 140 | Install BoQ of OPGW | 170000498 | 998336 |  | 18% |  | Installation of 24Fibre (DWSM) OPGW Cable alongwith associated Hardware fittings & vibration dampers in Off-line condition | KM | 1 |  | Included | 0 | 0 | 0 | 0
11 | 7000020282 | 460 | 30 | 150 | Install BoQ of OPGW | 170000352 | 998336 |  | 18% |  | 48 Fibre (DWSM) OPGW fibre optic cable (off line) | KM | 1 |  | Included | 0 | 0 | 0 | 0
II | Comm Equipment Supply & Erection | [19 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
12 | 7000020282 | 810 | 60 | 10 | Install BoQ of Comm Equip | 100002812 | 998734 |  | 18% |  | SDH Equipment (STM-16 MADM upto 5 MSP protected directions)-Base Equipment (Common cards, Cross Connect/control cards, optical basecards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equipedexcluding optical interface & Tributary cards | EA | 7 |  | Included | 0 | 0 | 0 | 0
13 | 7000020282 | 810 | 60 | 20 | Install BoQ of Comm Equip | 170000430 | 998734 |  | 18% |  | Optical Interface Cards/SFP# -S4.1 SDH Equipment -STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0
14 | 7000020282 | 810 | 60 | 30 | Install BoQ of Comm Equip | 170000433 | 998734 |  | 18% |  | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 28 |  | Included | 0 | 0 | 0 | 0
15 | 7000020282 | 810 | 60 | 40 | Install BoQ of Comm Equip | 170000435 | 998734 |  | 18% |  | Optical Interface Cards/SFP# -L16.2 for SDH Equipment-STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0
16 | 7000020282 | 810 | 60 | 50 | Install BoQ of Comm Equip | 170000374 | 998734 |  | 18% |  | Optical Interface Card (to support minimum 150 kms) for STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0
17 | 7000020282 | 810 | 60 | 60 | Install BoQ of Comm Equip | 170000437 | 998734 |  | 18% |  | Optical Line Interface Card (to support minimum 200 Kms) for STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0
18 | 7000020282 | 810 | 60 | 70 | Install BoQ of Comm Equip | 100002822 | 998734 |  | 18% |  | Optical Interface Card (to support minimum 225 kms) for STM-16 | EA | 4 |  | Included | 0 | 0 | 0 | 0
19 | 7000020282 | 810 | 60 | 80 | Install BoQ of Comm Equip | 100002825 | 998734 |  | 18% |  | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 14 |  | Included | 0 | 0 | 0 | 0
20 | 7000020282 | 810 | 60 | 90 | Install BoQ of Comm Equip | 100002828 | 998734 |  | 18% |  | Tributary interfaces-Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (Minimum 16 nos.) | SET | 14 |  | Included | 0 | 0 | 0 | 0
21 | 7000020282 | 810 | 60 | 100 | Install BoQ of Comm Equip | 100002829 | 998734 |  | 18% |  | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 7 |  | Included | 0 | 0 | 0 | 0
22 | 7000020282 | 810 | 60 | 110 | Install BoQ of Comm Equip | 170000375 | 998734 |  | 18% |  | Equipment Cabinets-For SDH Equipments | EA | 7 |  | Included | 0 | 0 | 0 | 0
23 | 7000020282 | 810 | 60 | 120 | Install BoQ of Comm Equip | 170000551 | 998336 |  | 18% |  | VOIP telephone instrument with one common switch (min. 8 port) | EA | 14 |  | Included | 0 | 0 | 0 | 0
24 | 7000020282 | 810 | 60 | 200 | Install BoQ of Comm Equip | 170000376 | 998734 |  | 18% |  | NMS-Craft Terminal-Hardware | EA | 1 |  | Included | 0 | 0 | 0 | 0
25 | 7000020282 | 810 | 60 | 210 | Install BoQ of Comm Equip | 170000377 | 998734 |  | 18% |  | NMS-Craft Terminal-Software | EA | 1 |  | Included | 0 | 0 | 0 | 0
26 | 7000020282 | 810 | 60 | 220 | Install BoQ of Comm Equip | 170000492 | 998336 |  | 18% |  | 25A SMPS based 48V DC Power Supply (DCPS) system | EA | 6 |  | Included | 0 | 0 | 0 | 0
27 | 7000020282 | 810 | 60 | 230 | Install BoQ of Comm Equip | 100000925 | 998736 |  | 18% |  | 48V, 300 Ah Battery | SET | 6 |  | Included | 0 | 0 | 0 | 0
28 | 7000020282 | 810 | 60 | 240 | Install BoQ of Comm Equip | 100002861 | 998734 |  | 18% |  | Repeater Shelter System including all shelter items such as Air-Conditioner, DG Sets, Static Voltage Stabliser, DCPS & Battery etcas per Technical Specification of PUF insulated pre-coated Steel Shelter (Inner dimension : 4340 X 2540 X 3000 mm & Outer dimension4500 X 2700 X 3160 mm) | SET | 1 |  | Included | 0 | 0 | 0 | 0
29 | 7000020282 | 810 | 60 | 250 | Install BoQ of Comm Equip | 100003449 | 998734 |  | 18% |  | Optical Interface Card (to support minimum 175 kms) for STM-16 | EA | 1 |  | Included | 0 | 0 | 0 | 0
[11 empty] | Total Installation Charges |  |  |  | 0 |  |  | #REF! | #REF!
[11 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0 |  |  | #REF!
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  | --
Place : | [11 empty] | Printed Name :
Designation :
Click for Sch-4

## Sch-4a
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [15 empty] | Schedule - 4a
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Training Charges for Training to be imparted
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Training Charges excluding GST | Total Training Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
I | Comm Equipment Supply & Erection
1 | 7000020282 | 830 | 80 | 10 | Training on Communication Equipment | 100002900 | 998399 |  | 18% |  | Training for communication Equipments | MND | 10 |  | Included | 0 | 0 | 0 | 0
[9 empty] | Total Training Charges | [5 empty] | 0 |  |  | 0 | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0 |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-4b
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [15 empty] | Schedule - 4b (Rev-01)
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Maintenance Charges during & after Defect Liability Period
(All Prices are in Indian Rupees.)
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Total Maintenance Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
I | Comm Equipment Supply & Erection
1 | 7000020282 | 820 | 70 | 10 | AMC of Communication Equipment | 100002903 | 998716 |  | 18% |  | Maintenance Charges for Communication system during warranty period | JHR | 1 |  | Included | 0 | 0 | 0
2 | 7000020282 | 820 | 70 | 20 | AMC of Communication Equipment | 100002904 | 998716 |  | 18% |  | Maintenance Charges for Communication system after warranty period | JHR | 6 |  | Included | 0 | 0 | 0
[9 empty] | Total Maintenance Charges during and after Defect Liabilty Period | [5 empty] | 0 |  |  | #REF!
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-5 Dis (hidden)
Specification No: 5002001865/OTHERS/DOM/A00-CC CS -1 |  |  |  | Schedule - 5
Package – I: Unified Network Management System (U-NMS) for Central Sector & State Sector Communication in Eastern Region (ER) under Establishment of State-of-the-Art Unified Centralized Network Management System (U-NMS) for ISTS and State Utility Communication Network in Eastern Region (ER).
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | 0
Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b)
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  |  | Schedule - 5
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON SERVICES |  |  |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b) |  | 0 |  | #REF! | #REF! | #REF! | #REF!
| GRAND TOTAL [1+2] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6(buy-back)
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [12 empty] | Schedule-6 {Buy Back Charges} |  |  | Schedule - 6 (buy-back)
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Buy-back Charges (Scrap value):
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Material Code | HSN Code | Whether HSN in column '8’ is confirmed. If not indicate applicable the HSN + | Rate of GST applicable ( in %) | Whether rate of GST in column ‘10’ is confirmed. If not indicate applicable rate of GST + | Item Description | Unit | Quantity | Unit Charges excluding GST | Total Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
1 | [6 empty] | 72044900 |  | 18% |  | Dismantled Scrap Earthwire along with its hardware accessories | KM | 613 |  | Included | 0 | 0 | 0
[9 empty] | Total Buy-back Charges (Excl. GST) | [5 empty] | 0 |  |  | #REF!
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
+ | Buyer (Bidder/Contractor) of the scrap material shall be liable to pay extra towards GST, TCS (Tax Collected at Source) as per Income Tax Act and other applicable taxes if any, as per actual, as per tax invoice raised by the employer.
+ | Scrap Value (excluding GST and other applicable taxes if any) shall be considered solely for bid evaluation purpose to arrive at the net evaluated price of the Bidder/Contractor.
+ | However, bidders shall not be allowed to change the Scrap value [as quoted by bidder in Schedule-6 {Buy Back Charges(Scrap value)} which after correction, if any, shall be indicated in the template calculation sheet provided during the e-Reverse Auction] during e-Reverse Auction.
| Note : | 1. Details of Earthwire and OPGW to be dismantled from existing transmission lines of various voltage levels are given in Appendix A of Technical Specification
2. Earth wire quantity on one peak is generally in the range of 101% of route length of the line.
Date : | -- | [11 empty] | Printed name
Place : | [12 empty] | Designation
Click for Sch-5

## Sch-7
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  | Schedule - 7
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4a | TOTAL SCHEDULE NO. 4a |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Liability Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 8 |  | Included
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
7 | TOTAL SCHEDULE NO. 6 |  | 0
Buy-back Charges (Scrap value)
8 | GRAND TOTAL [1+2+3+4+5-7] |  | 0
0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7 After Discount
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  | Schedule - 7 After Discount
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurugram (Haryana) - 122001
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4a | TOTAL SCHEDULE NO. 4a |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Liability Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 8 |  | Included
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
7 | TOTAL SCHEDULE NO. 6 |  | 0
Buy-back Charges (Scrap value)
8 | GRAND TOTAL [1+2+3+4+5-7] |  | 0
0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-8
Specification No: CC/NT/OPGW/DOM/A00/22/00579 | [11 empty] | Schedule 8
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”, | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To: | [5 empty] | As per Percent on Sch-7 |  | #REF!
[10 empty] | Contracts Services, 3rd Floor | [5 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | "Saudamini", Plot No.-2
[10 empty] | Sector-29, | [5 empty] | Multipackage Discount |  | #REF!
Gurugram (Haryana) - 122001
Type tests Charges:
SL. NO. | PR No | Line Item No | Code | HSN Code | Whether HSN in column ‘5’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘7’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) | Total GST as confirmed by Bidder | Revaluation of M column | Tax Calculation |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 = 10 x 11 | 14
1 | [11 empty] | Included | 0 | 0 | 0
2 | [11 empty] | Included | 0 | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | -- |  |  |  |  | Printed Name :
Place : | [8 empty] | Designation :
Note : |  |  |  | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Specification No: CC/NT/OPGW/DOM/A00/22/00579
Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”, | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
Bidder’s Name and Address (Sole Bidder) :
[8 empty] | 0 | 0
Name : | [8 empty] | 0
Address : | [8 empty] | 0
0
0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Click for Bid Form 2nd Envelope

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”,
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4a, Sch-4b & Sch-7] In Rs. |  |  |  | 0 | 0%
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4a, Sch-4b & Sch-7] In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : Ex-Works Price | 0%
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | 0%
|  | Schedule-3 : Erection Charges |  | In Rs. |  | 0 | 0% | Schedule-3 : Erection Charges | 0%
|  | Schedule-4a : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4a : Training Charges | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Rs. |  | 0 | 0% | Schedule-4b : Maintenance Charges | 0%
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-7 : Type Test Charges | 0%
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4a : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | -- | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No: CC/NT/OPGW/DOM/A00/22/00579 |  |  |  |  | Bid Form 2nd Envelope | Sole Bidder |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [8 empty] | 3 | rd |  | 3 | March
[9 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [8 empty] | 5 | th |  | 5 | May
Date : | -- | [7 empty] | 6 | th | #VALUE! | 6 | June
[9 empty] | 7 | th | #VALUE! | 7 | July
To: | [8 empty] | 8 | th | #VALUE! | 8 | August
Contracts Services, 3rd Floor | [8 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [8 empty] | 10 | th |  | 10 | October
"Saudamini", Plot No.-2 | [8 empty] | 11 | th |  | 11 | November
Sector-29, | [8 empty] | 12 | th |  | 12 | December
Gurugram (Haryana) - 122001 | [8 empty] | 13 | th
[9 empty] | 14 | th
Name of Contract : |  | Package - I: Communication System Package for connectivity of Kallam, Chatarpur & Vapi-II Substations in Western Region (613km) under “Supply and Installation of OPGW on existing main lines which are LILOed under various Transmission Schemes”, | [6 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [8 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [7 empty] | 18 | th
2 | Price Schedules | [7 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [7 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [5 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [5 empty] | 22 | th
| Schedule 3 |  | Installation Charges. | [5 empty] | 23 | th
| Schedule 4a |  | Training charges for training to be imparted. | [5 empty] | 24 | th
| Schedule 4b |  | Maintenance Charges during & after Defect Liability Period.
| Schedule 5 |  | Taxes and Duties not included in Schedule 1 | [5 empty] | 25 | th
| Schedule 6 |  | But-back charges (scrap value) | [5 empty] | 25 | th
| Schedule 7 |  | Grand Summary [Schedule 1to 6] | [5 empty] | 26 | th
| Schedule 8 |  | Break-up of Type Test Charges for Type Tests to be conducted (NOT APPLICABLE) | [5 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [7 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [7 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [7 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [7 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3, Charges for Training to be imparted specified in Schedule No. 4a and Maintenance Charges during & after Defect Laibility Period specified in Schedule No. 4b of the Price Schedule in this Second Envelope by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | -- |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page