| Sl. No. | # Tender Clause No. | # Tender clause description | # Bidder's Query | # RESPONSE |
| --- | --- | --- | --- | --- |
| Volume-II: Technical Specifications |  |  |  |  |
|  | Civil work | ICT-5 Maharani Bagh | Please provide following documents for further working of Civil Piling work 1. Pile Design load 2. Pile specification 3. Footing levels 4. Loading intensity of structures 5. Performance criteria (permissible post-construction settlement and seismic parameters) | Details of pile specifications shall be shared during detail engineering |