| Sl. no. | Clause No | Existing provision | Amended Provision |
| --- | --- | --- | --- |
| 1. | Bid Price Schedule 1 & 2. | 220kV Gwalior Line Bays S.No; Activity Description; Item Description; Material Code; Unit; Qty. 38; ILLUMINATION; Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting); 1000020262; EA; 1. 46; Mandatory Spares GIS; 220KV GIS- CABLE CONNECTION ENCLOSURE WITH MAIN CIRCUIT; 1000058295; SET; 1. | 220kV Gwalior Line Bays ITEMS AT S.NO. 38 & 46 DELETED |
| 2. | Bid Price Schedule 1 & 2. | Extn. of 765/400/220kV Indore S/S S.No; Activity Description; Item Description; Material Code; Unit; Qty. 24; ILLUMINATION; Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting); 1000020262; EA; 2. 38; Spare: GIS Equipments; 400KV GIS- 3150A SF6 TO AIR BUSHING COMPLETE IN ALL RESPECT; 1000058333; EA; 1. 40; Spare: GIS Equipments; 400KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITHOUT PIR WITHINTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETEIN ALL RESPECT; 1000058317; SET; 1. 60; Spare: GIS Equipments; 400kV GIS- Single phase of 3150Adisconnector switch including main circuit, enclosure, driving mechanism and support insulator etc., complete in all respect (Note 1- The contractor shall supply spare for disconnector switch to ensure one to one replacement of all disconnector switch supplied as main equipment without any requirement of modification in fittings at site to cover all different types of disconnector switch supplied. In case, quantity of supplied dis-connector switch types (for one to one replacement) are more than the quantity mentioned in BPS for spare, the contractor shall supply these additional types of disconnector switch without any additional price implication to POWERGRID and quantities of these additional type of disconnector switch are deem to be included in the quantities mentioned in BPS for spare disconnector. Note 2 - Incase, Dis-connector Switch (DS) & Earth Switch (ES) is provided in a same enclosure with common operating mechanism, then the module comprising of Dis-connector & Earth switch in single enclosure with common operating mechanism is to be provided under the head of spare Dis-connector only. Note3- In case, Dis-connector Switch (DS)&Earth Switch (ES) is provided in a same enclosure with separate operating mechanism, then the module comprising of Dis-connector & Earth switch in single enclosure with separate operating mechanism is to be provided under the head of spare Dis-connector only.); 1000058374; EA; 2. | Extn. of 765/400/220kV Indore S/S ITEMS AT S.NO. 24, 38, 40, & 60 DELETED |
| 3. | Bid Price Schedule 1 & 2. | 220kV Gwalior Line Bays | 220kV Gwalior Line Bays New Items. Activity Description; Item Description; Material Code; Unit; Qty. STEEL STRUCTURES; Fabrication, galvanising and supply of Std Pipe Structure - 220 kV WT including nuts, bolts, all type of washers, pack plates, step bolts and gusset plates excluding foundation bolts; 1000020191; EA; 4. |
| 4. | Bid Price Schedule 3. | 220Kv Gwalior Line Bays S.No; Activity Description; Item Description; Material Code; Unit; Qty. 45; Service: Power & Control cables breakup; 1.1kV grade 10Cx2.5 sqmm Control Cable; 100002920; KM; 2. 46; Service: Power & Control cables breakup; 1.1kV grade 14Cx2.5 sqmm Control Cable; 100002927; KM; 2. 47; Service: Power & Control cables breakup; 1.1kV grade 19Cx2.5 sqmm Control Cable; 100002930; KM; 2. 48; Service: Power & Control cables breakup; 1.1kV grade 27Cx2.5 sqmm Control Cable; 100002946; KM; 2. 49; Service: Power & Control cables breakup; 1.1kV grade 5Cx2.5 sqmm Control Cable; 100002994; KM; 2. 50; Service: Power & Control cables breakup; 1.1kV grade 2Cx2.5 sqmm Control Cable; 100002954; KM; 2. 51; Service: Power & Control cables breakup; 1.1kV grade 4Cx16 sqmm (PVC) Power Cable; 100002986; KM; 2. 34; Service: Illumination; Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting); 100001024; EA; 1. 31; Steel Structures; Erection of Pipe Structure - 220 kV 1 - PH BPI for WT including nuts, bolts, all type of washers, packplates, step bolts and gussetplates excluding foundation bolts; 100003521; SET; 12. | 220kV Gwalior Line Bays ITEMS AT S.NO. 31, 34, 45, 46, 47, 48, 49, 50 & 51 DELETED |
| 5. | Bid Price Schedule 3. | S.No; Activity Description; Item Description; Material Code; Unit; Qty. 13; Install. of illumination; Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting); 100001024. Extn. of 765/400/220kV Indore S/S | Extn. of 765/400/220kV Indore S/S ITEMS AT S.NO. 13 DELETED |
|  | Bid Price Schedule 3. | 220kV Gwalior Line Bays | 220kV Gwalior Line Bays New Items. Activity Description; Item Description; Material Code; Unit; Qty. STEEL STRUCTURES; Erection of Pipe Structure - 220 kV 1-Phase WT including nuts, bolts, all type of washers, packplates, step bolts and gusset plates excluding foundation bolts; 100001223; EA; 4. |
| 6. | Bid Price Schedule 1 & 2. | Extn. of 765/400/220kV Indore S/S | Extn. of 765/400/220kV Indore S/S New Items. Activity Description; Item Description; Material Code; Unit; Qty. Spare: GIS Equipments; 400kV GIS- 4000A SF6 to air bushing complete in all respect; 1000062658; EA; 1. Spare: GIS Equipments; 400kV GIS-One pole of 4000A Circuit Breaker without PIR with interrupter, main circuit, enclosure and operating mechanism complete in all respect; 1000062657; SET; 1. Spare: GIS Equipments; 400kV GIS- Single phase of 4000A disconnector switch including main circuit, enclosure, driving mechanism and support insulator etc., complete in all respect (Note 1- The contractor shall supply spare for disconnector switch to ensure one to one replacement of all disconnector switch supplied as main equipment without any requirement of modification in fittings at site to cover all different types of disconnector switch supplied. In case, quantity of supplied dis-connector switch types (for one to one replacement) are more than the quantity mentioned in BPS for spare, the contractor shall supply these additional types of disconnector switch without any additional price implication to POWERGRID and quantities of these additional type of disconnector switch are deem to be included in the quantities mentioned in BPS for spare disconnector. Note 2 - In case, Dis-connector Switch (DS) & Earth Switch (ES) is provided in a same enclosure with common operating mechanism, then the module comprising of Dis-connector & Earth switch in single enclosure with common operating mechanism is to be provided under the head of spare Dis-connector only. Note 3 - In case, Dis-connector Switch (DS) & Earth Switch (ES) is provided in a same enclosure with separate operating mechanism, then the module comprising of Dis-connector & Earth switch in single enclosure with separate operating mechanism is to be provided under the head of spare Dis-connector only.); 1000062656; EA; 2. |
| 7. | Annexure-VI of Section Project of Technical Specification |  | “Annexure-VI (GIS description)” is replaced with “Annexure-VI Rev-01 (GIS description)” |
| 8. | Clause No. 3.2, T of Section-Project, Rev. 00 | New Clause added | Clause No: 3.2 T. Augmentation of Visual Monitoring System (VMS) for area under present scope. Details of existing VMS shall be provided during detailed engineering. The contractor shall provide 2 nos Color IP camera with PAN, Tilt & Zoom facility suitably located in 220kV outdoor Switchyard & Integrate the same to existing Visual Monitoring System (VMS), under the present scope. The scope of contractor shall include all items, Accessories, Line interface units, Fibre patch cards, Power supply units, Junction boxes, cables, Fibre optic cables, Hardware and software etc., as applicable to the product design, to meet functional requirements. Compatibility enhancement of VMS system, if needed, shall be done by the contractor under present scope, without any additional cost Implication. |
| 9. | Bid Price schedule, Second Envelope | Based on above, the ‘Price_schedule’ excel stand revised as ‘Price_schedule-rev02’. Bidders are requested to consider the revised excel ‘Price_schedule-rev02’ for bid preparation/submission. It may be noted that while submitting the bid, Bidders are required to change the excel file name from ‘Price_schedule-rev02’ to ‘Price_schedule’. As per the provisions of the portal, it is mandatory to upload excel file with title ‘Price_schedule’ only. (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid and provisions under Sl. No. 41 in BDS, Section-III, Volume-I). |  |