| Sr. No | Clause No. | Clause Description | Bidder Queries | POWERGRID REPLY |
| --- | --- | --- | --- | --- |
|  | Sl.46/ Schedule-1/ 220KV Gwalior Line Bays/ Price Schedule rev-01 | Price Schedule rev-01 | 220KV GIS- CABLE CONNECTION ENCLOSURE WITH MAIN CIRCUIT. We understand that the above item is not applicable for this project. Kindly confirm our understanding | Please refer Amendment-V |
|  | Sl.45 to 51/Schedule-3/ 220KV Gwalior Line Bays/ Price Schedule rev-01 | Price Schedule rev-01 | The cables mentioned under the reference item numbers were not mentioned in the supply schedule. In Supply schedule cables were given in LS and the same description cables were also mentioned in installation as LS. So, request you to clear the ambiguity of cable quantities mentioned in the erection schedule. | Please refer Amendment-V |