## Basic
Bid Proposal Sheet-Price Part(BPS-Vol-IC)
:: COVER PAGE ::
Name of Package | Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station
NIT Ref.No.: | NESH/CSM/1500-1215
Document Code.: | NESH/CSM/1500-1215/BPS (VOL-IC)
Address of Purchaser/ Owner | Sr. General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone /Fax -0364- 2536406
E-mail: eersujit@powergrid.in

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or Association from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the Association other than the Lead Partner from drop down menu.
| ● | Fill up names and address of the Sole Bidder and /or Association.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
Schedules :
| ● | You are required to fill only the percentage of your quoted bid price above or below the estimated cost of the subject tender in the specified cell of Schedule-1 which includes only DSR Items and rate for the Non Scheduled Items.
| ● | Total amount shall get calculated automatically.
| ● | The total amount shall be exclusive of all taxes and duties.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Bidders Information
Package Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station |  |  | Sole Bidder | 1
Document Code: NESH/CSM/1500-1215/BPS (VOL-IC) |  |  | Association | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 0
1
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner | …….. …….. …….. …….. …….. ……..
Address of other Partner | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
Date |  | 31
Place
Click for Sch-1

## BPS-VOL-IC
पावर ग्रिड कार्पोरेशन ऑफ़ इंडिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
उत्तर पूर्वी क्षेत्र,/North Eastern Region,
ड़ोंगतिह, लोअर नोंग्रह/Dongtieh, Lower Nongrah,
लापालांग, शिलांग,मेघालय/Lapalang, Shillong ,Meghalaya
BID PROPOSAL SHEETS FOR PRICE PART (BPS: VOL-IC)
NIT Ref. No. NESH/CSM/1500-1215
Package Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station
(PRICE BID)
BID FORM FOR PRICE BID
Bidder's Name and Address:
Bid Proposal Reference: |  |  |  | Dated:
Person to be contacted:
Designation:
Telephone No.: |  |  | Fax:
To
Contract Services,
Power Grid Corporation of India Limited
Dongtieh, Lower Nongrah
Lapalang, Shillong-793 006 (Meghalaya)
Subject: | Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station
Document No. NESH/CSM/1500-1215/BPS (VOL-IC)
Dear Ladies and/or Gentlemen,
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station under the above-named package in full conformity with the said Bidding Documents for the sum of (Specify the currency and the amount in figures and words) …………. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents.
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules :
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
Schedule-I: | Bill of Quantities
Annexure-I to Schedule I | Summary Price Proposal.
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be perdomed under each item and we shall be deemed to have read the Technical Specification and other sections of the Bidding Documents and Drawings to ascertain the full scope of work included in each iitem while filling-in the rates and prices. We agree that the rate entered rates and prices shall be deemed to include for the full scope as aforesaid including overheads and profit.
2.3 | We declare that as specified in Clause 8.0 of SCC of the bIdding Documents, the contract price shall be FIRM and shall not be subjected to any price variation or price adjustment under any circumstances, whatsoever, during the execution and completion of the works.
2.4 | We understand that in price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between the amounts state in figure and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancies in the total bid price and that of the summation of Schedule price(Price indicated in a schedule indicating the total bid price shall be corrected to reflect the actual summation of the Schedule price.
2.5 | We declare that items left blank in the schedules will be deemed to have been included in other items. The Total for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the facilities and sections thereof in complete accordance with the contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second envelope is exclusive of GST but include other taxes, duties, levies and chrges as may be assessed on us/our Associate(applicable for Foreign Bidder), our sub-contractor/Sub-Vendor or their employees by all Municipal, state or National Govermanet authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are apayable by the employer under the contract, shall be reimburhsed by the employer on production of satisfactory documentary evidence by the contractot in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, inacse of award on us, you shall also bear and pay/reimburse to us, GST applicable on work contract by us to you, imposed on the work contract specified in Schedule No.1 of the Price Scheduel in this seccond envelope , by the India Laws.
3.3 | We confirm that we have also, registered/ we shall also gets registered in the GST Network with a GSTIN in all states where the project is located and the states from which we shall make our supply of Goods.
4 | #(For Joint Ventures) We, the partners of Joint Ventures submitting, this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the contract in accordance with the contract terms and conditions.
5 | We, hereby, declare that only the persons or firms insterested in this proposal as principles are named here and that no other persons of firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made wihtout any connection with any other person, firm or party likewise submitting a proposal is in all respect for and in good faith, without collusion of fraud.
Thanking you, we remain,
Yours faithfully,
Date:
Place: |  | (Signature)
|  | (Printed Name) |  | 0
Business Address: |  | (Designation)
(Common Seal)
Country of Incorporation:
(State or Province to be indicated)
Name of the Principal Officer:
Address of the Principal Officer:

## Schedule-I-DSR
Document Code No.:NESH/CSM/1500-1215/BPS (VOL-IC) | [10 empty] | Annexure-I to Schedule - 1 of BPS, Vol-IC
Name of Work: Construction of balance work of boundary wall, Security room and Gate at POWERGRID, Namsai Sub-Station
(SUMMARY OF PRICE PROPOSAL)
Bidder’s Name and Address
To:
Name : |  | 0 | [6 empty] | C&M Deptt.
Address : |  | 0 | [6 empty] | Power Grid Corporation of India Ltd.,
|  | 0 | [6 empty] | NERTS, Lower Nongrah, Lapalang
|  | 0 | [6 empty] | Shillong - 793006
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated the Percentage and Amount to the Total Estimated Cost as indicated in the “Bill of Quantity (BOQ) & Prices” covering the entire scope of works enclosed herewith as Schedule-1. Incase of discrepancy, the quoted percentage as per this Schedule shall prevail.
Sl. No. | DSR Item No | Description | Unit | Quantity | Rate (Rs.) | Quoted Unit Rate (Rs.) | Amount (Rs.) | SAC (Service Accounting Codes) | Whether SAC in column 8 is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column 10 is confirmed. If not indicate applicable rate of GST #
1 | 2 | 3 | 4 | 5 | 6 | 8 | 9 | 10 | 11 | 12 | 13
Part-A: Boundary Wall
1 | 5.2 | Reinforced cement cocrete works in walls (any thickness) including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts, ans struts etc upto floor five levelexcluding cost of centring, shuttering, finishing and reinforcement.
a | 5.2.2 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Cu.M. | 13.957 | 12185.68 | 12185.68 | 170075.54 | 995454 |  | 18% |  | 13.96
2 | 5.9 | Centring and shuttering including strutting, proping etc. and removal of form for :
c | 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sq.m. | 201.643 | 962.23 | 962.23 | 194026.94 | 995457 |  | 18% |  | 201.64
3 | 5.22 | Reinforcement for RCC work including straightening, cutting, bending, placing in position and binding all complete.
a | 5.22.6 | T.M.T Bars | Kg. | 555.77 | 107.26 | 107.26 | 59611.89 | 995454 |  | 18% |  | 555.77
4 | 6.4 | Brick work with bricks of class designation 75 in super structure above plinth upto floor V lvl….
a | 6.4.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cu.M. | 0.305 | 9916.42 | 9916.42 | 3024.51 | 995456 |  | 18% |  | 0.31
5 | 10.2 | Structural Steel work riveted, bolted or welded in built up sections, trusses & framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | Kg | 10036 | 133.94 | 133.94 | 1344221.84 | 995476 |  | 18% |  | 10036
6 | 13.2 | 15mm cement plaster on the rough side of single or half brick wall of mix :
a | 13.2.2 | a) 1:6 (1 cement : 6 fine sand) | Sq.m. | 103.849 | 388 | 388 | 40293.41 | 995472 |  | 18% |  | 103.85
7 | 13.1 | 12mm Cement Plaster of mix
a | 13.1.2 | 1:6 (1 cement : 6 fine sand) | Sq.m. | 1.42 | 337.39 | 337.39 | 479.09 | 995472 |  | 18% |  | 1.42
8 | 13.61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
a | 13.61.1 | Two or more coats on new work | Sq.m. | 3913 | 157.27 | 157.27 | 615397.51 | 995473 |  | 18% |  | 3913
9 | 13.91 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Sq.m. | 3913 | 24.95 | 24.95 | 97629.35 | 995473 |  | 18% |  | 3913
10 | 13.65 | Painting with black anti corrosive bitumastic paint of approved brand and manufacture to give an even shade.
a | 13.65.1 | Two or more coats on new work (grating) | Sq.m. | 45 | 137.71 | 137.71 | 6196.95 | 995473 |  | 18% |  | 45
11 | 13.44 | Finishing walls with water proofing cement paint of required shade.
a | 13.44.1 | New work (two or more coats applied @ 3.84 kg/10sqm) | Sq.m. | 3913 | 116.77 | 116.77 | 456921.01 | 995473 |  | 18%
12 | 16.53 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | m | 915 | 363.3 | 363.3 | 332419.5 | 995421 |  | 18%
PART - B: SECURITY ROOM & GATE
13 | 9.131 | Providing and fixing factory made Pre-laminated particle board flat pressed 3 layer or graded wood particle board with one side decorative finish and other side balancing lamination conforming to IS:12823 Grade 1 Type II, of approved design, and edges sealed with water resistant paint and lipped with aluminium U type edge beading all-round the shutter, including fixing with angle cleat, grip strip, cadmium plated steel screws including fixing of aluminium hinges 100x63x4 mm etc complete as per drawing and direction of Engineer-in-charge ( Cost of U beading and hinges will be paid separately.)
a | 9.131.1 | 25mm thick | Sq.m. | 3.5 | 1865.29 | 1865.29 | 6528.52 | 995476 |  | 18%
14 | 9.132 | Providing and fixingaluminium U beading of required size to pre-laminated/flush door shutter including fixing etc. complete as per direction of Engineer-in-charge | Kg | 10 | 634.47 | 634.47 | 6344.7 | 995476 |  | 18%
15 | 9.95 | P/F ISI marked aluminium butt hinges ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete :
a | 9.95.4 | 100x63x4 mm | each | 22 | 116.77 | 116.77 | 2568.94 | 995476 |  | 18%
16 | 9.96 | P/F aluminium sliding door bolts ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete
a | 9.96.1 | 300x16 mm | each | 2 | 311.43 | 311.43 | 622.86 | 995476 |  | 18%
17 | 9.97 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete
a | 9.97.2 | 250x10 mm | each | 4 | 124.91 | 124.91 | 499.64 | 995476 |  | 18%
b | 9.97.4 | 150x10 mm | each | 12 | 90.39 | 90.39 | 1084.68 | 995476 |  | 18%
18 | 9.1 | P/F aluminium handles ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete
a | 9.100.1 | 125 mm | each | 4 | 71.85 | 71.85 | 287.4 | 995476 |  | 18%
b | 9.100.2 | 100 mm | each | 12 | 63.71 | 63.71 | 764.52 | 995476 |  | 18%
19 | 9.101 | Providing & fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete
a | 9.101.1 | Single rubber stopper | Each | 2 | 42.47 | 42.47 | 84.94 | 995476 |  | 18%
20 | 9.102 | Providing & fixing aluminium casement stays ISI marked anodised (anodic coating not less then grade AC 10 as per IS : 1868 ) transparent or dyed to required color or shade with necessary screws etc. complete | Each | 7 | 77.23 | 77.23 | 540.61 | 995476 |  | 18%
21 | 10.17 | Providing and fixing M.S. fan clamp type I of 16mm dia M.S. bar bent to shape with hooked ends in RCC slabs during laying including painting the exposed portion of loop, all as per standard design complete. | each | 1 | 222.48 | 222.48 | 222.48 | 995476 |  | 18%
22 | 10.2 | Structural Steel work riveted, bolted or welded in built up sections, trusses & framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | Kg | 1300 | 133.94 | 133.94 | 174122 | 995476 |  | 18%
23 | 21.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubalar sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasterners including necessary filling of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminium sections shall be smooth, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/panelling, CP brass/stainless steel screws, all complete as per drawing and direction of Engineer-in-charge ( Glazing & panelling to be paid for separately ) :
a | 21.1.1 | For fixed portion
| 21.1.1.3 | Polyester powder coated aluminium(minimum thickness of Polyester powder coating 50micron) | Kg | 52 | 567.94 | 567.94 | 29532.88 | 995476 |  | 18%
b | 21.1.2 | For shutters of doors, windows & ventilators including providing & fixing hinges/pivots and making provision for fixing of fittings wherever required including the cost of PVC/neoprene gasket required ( Fittings shall be paid for separately )
| 21.1.2.3 | Polyester powder coated aluminium(minimum thickness of Polyester powder coating 50micron) | Kg | 12 | 686.03 | 686.03 | 8232.36 | 995476 |  | 18%
24 | 21.3 | Providing & fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/neoprene gasket etc. complete as per drawings and direction of Engineer-in-charge ( Cost of aluminium snap beading shall be paid in basic item )
a | 21.3.2 | With float glass panes of 5.50mm thickness | sqm | 6 | 1585.93 | 1585.93 | 9515.58 | 995476 |  | 18%
25 | 11.26 | Kota stone slab flooring over 20mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including and polishing complete with base of cement mortar 1:4 ( 1 cement 4 coarse sand )
a | 11.26.1 | 25mm thick | Sq.m | 10 | 2041.83 | 2041.83 | 20418.3 | 995474 |  | 18%
26 | 11.27 | Kota stone slabs 25mm thk in risers of steps, skirting dado and pillars laid on 12mm (average) thk cement mortar 1:3 ( 1 cement 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slab including and polishing complete | Sq.m | 2 | 2438.98 | 2438.98 | 4877.96 | 995474 |  | 18%
34 | 11.37 | Providing & laying Ceramic floor glazed tiles 300x300mm ( thickness to be specified by the manufacturer ) of 1st quality conforming to IS: 15622 of approved make in colors such as Ivory, grey, fume, red brown, laid on 20mm thk cement mortar 1:4 ( 1 cement 4 coarse sand ) including pointing the joints with white cement and matching pigment etc. complete | Sq.m. | 2 | 1119.38 | 1119.38 | 2238.76 | 995474 |  | 18%
27 | 8.31 | Providing & laying Ceramic glazed wall tiles conforming to IS: 15622 ( thickness to be specified by the manufacturer ) of approved make in all colors shades except burgundy, bottle green, black of any size as approved by Engineer-in-charge in skirting, risers of steps and dados over 12 mm thk bed of cement mortar 1:3 ( 1 cement 3 coarse sand ) and jointing with grey cement slurry @ 3.3kg/sqm including pointing in white cement mixed with pigment of matching shade complete. | sq.m | 6 | 1272.34 | 1272.34 | 7634.04 | 995474 |  | 18%
28 | 11.3 | Cement concrete flooring 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate ) finished with floating coat of neat cement including cement slurry, but excluding the cost of nosing of steps etc. complete.
a | 11.3.1 | 40mm thk | sqm | 7 | 652.05 | 652.05 | 4564.35 | 995474 |  | 18%
29 | 13.37 | White washing with lime to give an even shade :
a | 13.37.1 | New work (three or more coats) | sqm | 16 | 38.82 | 38.82 | 621.12 | 995473 |  | 18%
30 | 31.41 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade :
a | 13.41.1 | New work ( two or more coats) over & including priming coat with cement primer | sq.m | 50 | 194.48 | 194.48 | 9724 | 995473 |  | 18%
31 | 13.44 | Finishing walls with water proofing cement paint of required shade :
a | 13.44.1 | New work (Two or more coats applied @ 3.84kg/10 sqm) | Sq.m. | 95 | 116.77 | 116.77 | 11093.15 | 995473 |  | 18%
32 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 ( 1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with fine sand including finishing the top smooth. | Sq.m. | 7.5 | 815.55 | 815.55 | 6116.63 | 995454 |  | 18%
33 | 22.7 | Providing & laying integral based water proofing treatment including preparation of surface as required for treatment of roofs,balconies, terraces etc consisting of following operations:
a) Applying a slurry coat of neat cement using 2.75kg/sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the sirface before treatment.
b) Laying brickbats with mortar using broken bricks/brick bats 25mm to 115mm size with 50% of cement mortar 1:5 ( 1 cement 5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20mm thk layer of cement mortar of mix 1:5 ( 1 cement 5 coarse sand ) admixed with water proofing compound conforming to IS: 2645 and approved by Engineer-in-charge to required slope and treating similiarly the adjoining walls upto 300mm height including rounding of junctions of walls & slabs.
c) After 2 days of proper curing applying a 2nd coat of cement slurry using 2.75kg/sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge
d) Finishing the surface with 20mm thk jointless cement mortar of mix 1:4 ( 1 cement 4 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-chargeincluding laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300mm square 3mm deep
e) The whole terrace so finished shall be flooded with water for a minimum period of 2 weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-charge:
| 22.7.1 | With average thickness of 120mm and minimum thickness at khurra as 65mm | Sq.m. | 25 | 1822.1 | 1822.1 | 45552.5 | 995453 |  | 18%
34 | 12.21 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10mm and down) including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design
a | 12.21.1 | In 75x75mm deep chase. | metre | 19 | 311.31 | 311.31 | 5914.89 | 995453 |  | 18%
35 | 12.22 | Making khurras 45x45 cm with average minimum thick ness of 5cm cement concrete 1:2:4 (1cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) over PVC sheet 1m x 1m x 400 micron finished with 12mm cement plaster 1:3 (1 cement : 3 corase sand) and a coat of neat cement rounding the edges and making and finishing outlet complete. | each | 1 | 318.97 | 318.97 | 318.97 | 995453 |  | 18%
36 | 12.41 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS: 13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10mm gap for thermal expansion (i) Single socketed pipes
a | 12.41.2 | 110 mm diameter | metre | 5 | 382.5 | 382.5 | 1912.5 | 995453 |  | 18%
37 | 12.42 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS: 13592 Type A including jointing with seal ring conforming to IS: 5382 leaving 10mm gap for thermal expansion
a | 12.42.3.2 | Single tee with door 110x110x110 mm | each | 1 | 245.81 | 245.81 | 245.81 | 995453 |  | 18%
b | 12.42.5.2 | 110mm bend | each | 1 | 157.93 | 157.93 | 157.93 | 995453 |  | 18%
c | 12.42.6.2 | 110mm shoe | each | 1 | 138.73 | 138.73 | 138.73 | 995453 |  | 18%
38 | 12.43 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with MS screws of required length including cutting brickwork & fixing in cement mortar 1:4 ( 1 cement 4 coarse sand ) and making good the wall etc. complete.
a | 12.43.2 | 110mm | each | 8 | 370.29 | 370.29 | 2962.32 | 995453 |  | 18%
39 | 17.1 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, Parryware/Hindware/Seabird/Orient (Coral) with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.
a | 17.1.1 | White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests | each | 1 | 6916.97 | 6916.97 | 6916.97 | 995478 |  | 18%
40 | 17.7 | Providing and fixing wash basin with C.I./M.S. brackets, 15 mm C.P. brass pillar taps, Kingston/Gem/Techno/Parko, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require :
a | 17.7.4 | White Viteous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap | each | 1 | 2009.52 | 2009.52 | 2009.52 | 995478 |  | 18%
41 | 17.28 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
a | 17.28.1 | Semi rigid pipe
| 17.28.1.1 | 32 mm dia | each | 1 | 108.82 | 108.82 | 108.82 | 995478 |  | 18%
42 | 17.29 | Providing and fixing 100mm sand cast Iron grating for gully, floor or Nahani trap. | each | 1 | 54.14 | 54.14 | 54.14 | 995478 |  | 18%
43 | 17.35 | Providing and fixing soil, waste and vent pipes
a | 17.35.1 | 100 mm dia
| 17.35.1.2 | Centrifugally cast (Spun) iron socketed pipe as per IS: 3989 | Mtrs. | 5 | 1289.03 | 1289.03 | 6445.15 | 995478 |  | 18%
b | 17.35.2 | 75 mm dia
| 17.35.2.2 | Centrifugally cast (Spun) iron socketed pipe as per IS: 3989 | Mtrs. | 2 | 1246.8 | 1246.8 | 2493.6 | 995478 |  | 18%
44 | 17.31 | Providing and fixing 600x450 mm beveled mirror of superior glass (of approved quality ) complete with 6mm thick hard board ground fixed to wooden cleats with CP brass screws and washers complete . | each | 1 | 1688.34 | 1688.34 | 1688.34 | 995478 |  | 18%
45 | 18.1 | Providing and fixing GI pipes complete with GI fitting and clamps, including cutting and making good the walls etc. (Internal work)
a | 18.10.2 | 20mm dia nominal bore | M | 5 | 446.69 | 446.69 | 2233.45 | 995478 |  | 18%
b | 18.10.3 | 25mm dia nominal bore | M | 10 | 587.69 | 587.69 | 5876.9 | 995478 |  | 18%
46 | 18.11 | Concealed pipe including painting with anti-corrosive bitumastic paint, cutting chases and making good the wall
a | 18.11.1 | 15 mm nominal bore | Meter | 10 | 580.51 | 580.51 | 5805.1 | 995424 |  | 18%
b | 18.11.2 | 20 mm nominal bore | Meter | 5 | 647.39 | 647.39 | 3236.95 | 995424 |  | 18%
47 | 18.16 | Providing and fixing brass stop cock of approved quality.
a | 18.16.2 | 20 mm nominal bore | Each | 2 | 392.37 | 392.37 | 784.74 | 995424 |  | 18%
48 | 18.15 | Providing & Fixing brass bib cock of approved quality
a | 18.15.1 | 15mm nominal bore | each | 2 | 363.53 | 363.53 | 727.06 | 995424 |  | 18%
49 | 19.33 | Constructing soakpit 1.20 x 1.20 x 1.20m filled with brickbats including S.W. drain pipe 100mm diameter and 1.20m long complete as per standard design | each | 1 | 3517.74 | 3517.74 | 3517.74 | 995424 |  | 18%
50 | 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked indicating the BIS License No. with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | per litre | 500 | 11.61 | 11.61 | 5805 | 995424 |  | 18%
ELECTRICAL
51 | 1.1 WGSTLPT | Point wiring in steel conduit,with piano type switch :
Wiring for light point/fan point/exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc as required.
a | 1.1.1 | Group A | Point | 8 | 1221 | 1221 | 9768 | 995461 |  | 18%
52 | 1.2 WGSTLPTTC | Twin control point wiring in steel conduit, with piano type switch :
|  | Wiring for twin control light point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with 2 way piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc as required. | Point | 2 | 1835 | 1835 | 3670 | 995461 |  | 18%
53 | 1.5 WGSTLPP2 | Power plug wiring in steel conduit ( 2x4 sq.mm ) Wiring for light/power plug with 2x4 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, alongwith 1 no 4 sq.mm FR PVC insulated copper conductor single core cable for loop earthing as required. | Meter | 2 | 433 | 433 | 866 | 995461 |  | 18%
54 | 1.7 WGSTLSB | Circuit/submain wiring in steel conduit : Wiring for circuit/sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required
a | 1.7.1 | 2x1.5 sq.mm + 1x 1.5 sq.mm earth wire | metre | 25 | 327 | 327 | 8175 | 995461 |  | 18%
b | 1.7.3 | 2x4 sq.mm + 1x4 sq.mm earth wire | metre | 12 | 428 | 428 | 5136 | 995461 |  | 18%
55 | 1.20 STLCON | S/F steel conduit : Supplying & fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required .
a | 1.20.1 | 20mm | metre | 20 | 223 | 223 | 4460 | 995461 |  | 18%
b | 1.20.2 | 25mm | metre | 12 | 256 | 256 | 3072 | 995461 |  | 18%
56 | 1.18 TLWGEC | Telephone wiring in existing conduit:
Supplying and drawing following pair,0.5 sqmm FR PVC insulated copper conductor ,unarmoured telephone cable in the existing surface/recessed steel/PVC conduit.
| 1.18.1.2 | 2 pair | Metre | 10 | 38 | 38 | 380 | 995461 |  | 18%
57 | 1.22 | S/F metal boxes:
| MB | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required.
| 1.22.1 | 75 mm x75 mm x 60 mm deep | Each | 2 | 178 | 178 | 356 | 995461 |  | 18%
58 | 1.23 | S/F piano type switch/socket:
| PTSWEB | Supplying and fixing following piano type switch/socket on the existing switch box/cover including connections etc.as required.
| 1.23.6 | Telephone socket outlet | Each | 1 | 109 | 109 | 109 | 995461 |  | 18%
59 | 1.29 | S/F light plug point piano type accessories:
| LPACCPT | Supplying and fixing metal box of 150 mm. x 75 mm. x 60 mm. deep (nominal size) on surface or in recess with suitable size phenolic laminated sheet cover in the front including providing and fixing 3 pin 5/6 amps socket outlet and 5/6 amps piano type switch connections, painting etc. as required. | Each | 1 | 358 | 358 | 358 | 995461 |  | 18%
60 | 1.3 | S/F power plug point piano type accessories:
| PPACCPT | Supplying and fixing metal box of 180 mm. x 100 mm. x 60 mm. deep (nominal size) on surface or in recess with suitable size phenolic laminated sheet cover in the front including providing and fixing 6 PIN 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch,connections, painting etc. as required | Each | 1 | 488 | 488 | 488 | 995461 |  | 18%
61 | 1.41 | ITC fluorescent fitting directly on surface::
| ITCFFSUR | Installation testing and commissioning of prewired, fluorescent fittings /compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/wall, including connections with 1.5 sq. mmFR PVC insulated, copper conductor single core cable and earthing etc. as required. | EACH | 6 | 206 | 206 | 1236 | 995461 |  | 18%
62 | 1.45 ITCCFFC | ITC Ceiling Fan with cover on fan box :Installation, testing and commissioning of ceiling fan including wiring the down rod of standard length (upto 30 cm) with 1.5 sq mm FR PVC insulated copper conductor, single core cable including providing and fixing phenolic laminated sheet cover on the fan box etc. as required | EACH | 1 | 339 | 339 | 339 | 995461 |  | 18%
63 | 1.50.1 | ITC exhaust fan upto 450 mm sweep
| ITCEF450 | Installation of exhaust Fan upto 450 mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required. | EACH | 1 | 450 | 450 | 450 | 995461 |  | 18%
64 | 1.52 | Fixing louvers/shutter for exhaust fan:
| LOUSHEF | Extra for fixing the louvers/shutters complete with frame for a exhaust fan of all sizes. | EACH | 1 | 207 | 207 | 207 | 995461 |  | 18%
65 | 1.5 | Carriage of Fan
66 | 1.51 | Numbering of fan/fitting
| NUMFANFT | Numbering of exhaust fan/flourescent fittings as required. | EACH | 8 | 57 | 57 | 456 | 995461 |  | 18%
67 | 2.41 | S/F prewired SP MCB DB :
68 | NS | Supplying and fixing following way, single pole and neutral, prewired sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with loose wire box, terminal blocks, duly prewired with suitable size FR PVC insulated copper conductor upto terminal blocks, tinned copper busbar, neutral link, earth bar, din bar, detachable gland plate, inter connections, phosphatized and powder painted including earthing etc. as required.( But without MCB/RCCB/Isolator)
|  | 2+8 way Double door | EACH | 1 | 1789 | 1789 | 1789 | 995461 |  | 18%
69 | 2.10 | S/F 'B' Series SP MCB:
| MCBB | Supplying and fixing 5 amps to 32 amps rating, 240 volts,'B' series, miniature circuit breaker suitable for lighting and other loads of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required
| 2.10.1 | Single pole and neutral | EACH | 4 | 256 | 256 | 1024 | 998736 |  | 18%
70 | 2.13 MCBTPIS | S/F TP MCB Isolator :Supplying and fixing following rating four pole 415 volts isolator in the existing MCBDB complete with connections, testing and commissioning etc. as required
| 2.13.1 | 40 Amps | EACH | 1 | 970 | 970 | 970 | 998736 |  | 18%
EARTHING
71 | 5.2 | GI Earth Pipe Electrode with salt/charcoal:
| EARPIPCHAR | Earthing with GI earth Pipe 4.5 m long, 40 mm dia including accessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc.with charcoal and salt as required. | SET | 1 | 6855 | 6855 | 6855 | 998739 |  | 18%
72 | 5.9 | S/L 25mm x5 mm GI earth strip in ground:
| EARGI25X5 | Supplying and laying 25mm x5 mm GI strip 0.50 metre below ground as strip earth elctrode including soldering etc.as required | Metre | 5 | 144 | 144 | 720 | 998739 |  | 18%
73 | 5.15 | P/F 25 mm x 5 mm GI earth strip in surface/recess:
| EARGISTSUR | Providing and fixing 25 x 5 mm G.I. strip on surfaceor in recess for connection etc.as required | Meter | 5 | 244 | 244 | 1220 | 998739 |  | 18%
74 | 5.18 | P/F 6 SWG GI loop earthing wire in surface/ recess:
| EARGIWARSUR | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | Meter | 30 | 42 | 42 | 1260 | 998739 |  | 18%
75 | 4.2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, shuttering and finishing:sunken floor etc., up to floor five level, excluding the cost of centering,parapets, coping, bed blocks, anchor blocks, plain window sills, fillets,buttresses, string or lacing courses,
| 4.2.3 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 10.465 | 11216.76 | 11216.76 | 117383.39 | 995454 |  | 18%
|  | Quoted Percentage (in Figure) |  |  |  |  | 0%
|  | Total Read Out Price (Rs.): Part-A |  |  |  |  | 3904192.48
NOTE:The above cost is exclusive of GST. GST will be paid extra as applicable corresponding to the HSN/SAC code.

## Schedule-II-Non DSR
Document Code No.:NESH/CSM/1500-1143/BPS (VOL-IC) | [9 empty] | Annexure-I to Schedule - 1 of BPS, Vol-IC
Name of Work: Construction of RRM wall on the valley side of Gantry-1 (under crossing) of 132kV Khandong-Khliehriat-1 at NEEPCO substation Khandong, Dima Hasao, Assam
NON-SCHEDULED Items
Bidder’s Name and Address (Sole Bidder) :
To:
Sr.GM
Name : | 0 | [6 empty] | C&M Deptt.
Address : | 0 | [6 empty] | Power Grid Corporation of India Ltd.,
| 0 | [6 empty] | NERTS, Lower Nongrah, Lapalang
| 0 | [6 empty] | Shillong - 793006
S N | Item Ref. No. | Description | Unit | Quantity | Rate (in figures) | Amount in Rs. (In Figure) | SAC (Service Accounting Codes) | Whether SAC in column ‘….’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘---’ is confirmed. If not indicate applicable rate of GST #
PART B: ELECTRICAL PORTION (Supply of Other Items)
76 | NS | Supplying of ceiling fan(USHA/GEC/CROMPTON make) with blades, down rod etc. as required complete
|  | 1200 mm sweep | EACH | 1 |  | 0 | 995461 |  | 18%
77 | NS | Supplying including fitting and fixing Exhaust fan in the existing hole on wall of following sweeps and making necessary connections etc. as required complete of make Bajaj/CGL/GEC or equivalent.
|  | Domestic type , 300 mm sweep | EACH | 1 |  | 0 | 995461 |  | 18%
78 | NS | Supply of bulk head fitting BJBE 19 of BAJAJ make or equivalent complete with all accessories including 9 W CFL lamp as required | Each | 2 |  | 0 | 995461 |  | 18%
79 | NS | Supply of surface mounted aesthetic electronic pre-wired luminaires for wall/ceiling mounting of make Bajaj cat no. BJIR 140 or equivalent with 1no. TL'D' 40 W flourescent tube. (FL) | Each | 4 |  | 0 | 995461 |  | 18%
| Total Quoted Price in figure for Non-Scheduled Items (Part-B) |  |  | 0
#NOTE: The quoted price must be exclusive of GST. GST will be paid extra as applicable corresponding to the SAC Code.

## Summary
Document Code No.:NESH/CSM/1500-1143/BPS (VOL-IC) |  |  |  | Annexure-I to Schedule - 1 of BPS, Vol-IC |  | Direct Total | #REF! | Sole Bidder | `
[6 empty] | BO Total | #VALUE! | 0
Name of Work: Construction of RRM wall on the valley side of Gantry-1 (under crossing) of 132kV Khandong-Khliehriat-1 at NEEPCO substation Khandong, Dima Hasao, Assam
(SUMMARY OF PRICE PROPOSAL)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
C&M Deptt.
Name : | 0 |  | Power Grid Corporation of India Ltd., |  |  |  |  | &
Address : | 0 |  | NERTS, Lower Nongrah, Lapalang
| 0 |  | Shillong - 793006
0
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated the percentage and amount to the Total Estimated Cost as indicated in the “Bill of Quantity (BOQ) & Prices” covering the entire scope of works enclosed herewith as Schedule-1 AND Schedule-II. In case of discrepancy, the quoted percentage in words as per this Schedule shall prevail. | [6 empty] | Direct
SI. No. | Item Description |  |  | Amount
Amount (in Rs)
I | TOTAL QUOTED PRICE AS CALCUALTED BY THE SYSTEM (IN FIGURE) Part A (Scheduled Items) |  |  | 3904192.48
II | TOTAL QUOTED PRICE AS CALCUALTED BY THE SYSTEM (IN FIGURE) Part B (Non-Scheduled Items) |  |  | 0
III | TOTAL QUOTED PRICE EXCLUSIVE OF GST (III=I+II) (IN FIGURE) |  |  | 3904192.48
Note : * | While quoting their Percentage component the bidder shall exclude applicable GST. GST shall however be indicated in Schedule-1 (Part-A and Part-B). GST shall be paid extra as applicbale correspnding to the SAC Codes indicated in Schedule-1.
Date: |  | Printed Name :
Place: |  | Designation :