## BOQ
BOQ Item details for Construction of Converter transformer spare Oil Cooler Banks foundation at Alipurduar ±800 KV HVDC Station. at Alipurduar ±800 KV HVDC Station.
Sl. no | DSR21 item no. | Description of item | Unit | Qty. | Unit Price | Amount
1 | 2.28.1 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead upto 50 m and lift up to 1.5 m. All kinds of soil | Sqm | 240 | RATE AND AMOUNT SHALL BE QUOTED ONLINE ON PRANIT PORTAL ONLY.
2 | 2.6.1 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width aswell as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by EIC. All kinds of soil | Cum | 690.6859
| 2.26.1 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | Cum | 398.8468
3 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 448.0596
4 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Cum | 11.8272
5 | 5.33 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
| 5.33.1.1 | Concrete of M25 grade with minimum cement content of 330 kg /cum | Cum | 183.5254
| 5.35 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 15
6 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 24
7 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for
| 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | Sqm | 61.6054
| 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 118.8
8 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level : 5.22.6 Thermo-Mechanically Treated bars of grade Fe-500D or more. | Kg | 12764.8268
9 | SOR -June 23 | Fixing of foundation bolts M24 including nuts, checknut and washers | Nos | 96
10 | SOR -June 23 | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers not exceeding 250mm thickness including ramming, watering, compacting etc.(DSR Item No.16.3,16.4,16.3.8) | cum | 50.8637
GRAND TOTAL AMOUNT

## MS (hidden)
Name of Work :- Revised Quantity Calculation for Construction of Converter transformer spare Oil Cooler Banks foundation at Alipurduar ±800 KV HVDC Station.
Sl.No. | Description of Item | Unit | No | Length | Breadth | Height | Qnty
1 | Surface dressing | Sqm
| Proposed Converter transformer spare Oil Cooler Banks |  | 1 | 20 | 12 |  | 240
|  | TOTAL |  |  |  |  | 240
2 | Excavation | Cum
| upto lift 1.5 |  | 1 | 17.604 | 11.052 | 3.55 | 690.6859
|  | TOTAL |  |  |  |  | 690.6859
| Extra for additional lift beyond 1.5 |  | 1 | 17.604 | 11.052 | 2.05 | 398.8468
|  | TOTAL |  |  |  |  | 398.8468
3 | Backfilling | Cum | 1 | 17.604 | 11.052 | 3.55 | 690.6859
| less stone boulder portion |  | 1 | 16.704 | 10.152 | 0.3 | -50.8737
| less concrete portion |  | 1 | 16.254 | 9.702 | 0.075 | -11.8272
|  |  | 1 | 16.104 | 9.552 | 1 | -153.8254
|  |  | 12 | 1 | 1 | 2.175 | -26.1
|  | TOTAL |  |  |  |  | 448.0596
4 | PCC - 1:4:8 | Cum
| OC and OC1 f/n- Spare cooler Bank |  | 1 | 16.254 | 9.702 | 0.075 | 11.8272
|  | TOTAL |  |  |  |  | 11.8272
5 | RCC - Grade M-25 | Cum
| Spare cooler Bank(20nos) f/n raft |  | 1 | 16.104 | 9.552 | 1 | 153.8254
| column |  | 12 | 1 | 1 | 2.475 | 29.7
|  | TOTAL |  |  |  |  | 183.5254
6 | PCC- 1:2:4 | Cum
| proposed cooler bank area |  | 1 | 20 | 12 | 0.1 | 24
|  | TOTAL |  |  |  |  | 24
7 | Centering and Shuttering | Sqm
| Spare Cooler Bank(20nos) f/n raft |  | 2 | 25.956 |  | 0.075 | 3.8934
|  |  | 2 | 25.656 |  | 1 | 51.312
| proposed cooler bank |  | 2 | 32 |  | 0.1 | 6.4
|  | TOTAL |  |  |  |  | 61.6054
| Column |  | 48 | 1 |  | 2.475 | 118.8
|  | TOTAL |  |  |  |  | 118.8
8 | Reinforcement | Kg
| Spare cooler Bank f/n |  | 12 | 4 | 3.975 | 6.32 | 1205.856
| coloumn |  | 12 | 12 | 3.975 | 3.86 | 2209.464
|  |  | 12 | 20 | 3.84 | 0.395 | 364.032
|  |  | 12 | 40 | 2 | 0.395 | 379.2
|  |  | 12 | 40 | 1.044 | 0.395 | 197.9424
| Raft Top |  | 41 | 10.45 | 1 | 2.47 | 1058.2715
|  |  | 41 | 10.45 | 1 | 1.58 | 676.951
|  |  | 24 | 17 | 1 | 2.47 | 1007.76
|  |  | 24 | 17 | 1 | 1.58 | 644.64
| Binder |  | 5 | 51.5 | 1 | 0.89 | 229.175
| Bottom |  | 84 | 10.45 | 1 | 2.47 | 2168.166
|  |  | 48 | 17 | 1 | 2.47 | 2015.52
12156.9779
| Lumpsum for lap, chair etc. 5 % to be as per actual | [5 empty] | 607.8489
|  | TOTAL |  |  |  |  | 12764.8268
9 | Fixing of foundation bolts M24 including nuts, checknut and washers | nos | 12 | 8 |  |  | 96
|  | TOTAL |  |  |  |  | 96
10 | Supplying, filling and compacting stone boulders mixed with sand under foundations etc in layers not exceeding 250mm thickness including ramming, watering, compacting etc.(DSR Item No.16.3,16.4,16.3.8) | cum | 1 | 16.704 | 10.15 | 0.3 | 50.8637
|  | TOTAL |  |  |  |  | 50.8637