## BG_Generation
Attachment -29
“Nagda Solar PV Power Plant Package SP01” associated with Nagda Solar Power Project (Declaration on the Annual Generation in MU)
Dear Sir,
We hereby furnish the following details of annual generation in MU:
Annual Quoted Generation in MU
Sl No | Description |  | Bidder’s Input | Remarks
1 | Yearly Generation in MU at Metering Point corresponding to reference DC:AC ratio of 1.50 (Reference Generation 1) (if applicable) |  |  | This two data i.e. Reference Generation 1 and Reference Generation 2 are required for calculation of BG amount
2 | Yearly Generation in MU at Metering Point corresponding to reference DC:AC ratio of 1.55 (if applicable) (Reference Generation 2)
3 | Actual DC:AC ratio selected by bidder for the project (Total MWp/Total MWac)
4 | Yearly Generation in MU(G) at Metering Point corresponding to actual DC:AC ratio selected by bidder | (in figures) # |  | The guaranteed generation to be quoted by bidder here. This Quoted Annual Generation in MU (G) shall be used for arriving at the total quoted price per MU.
(in words) #
# The figure to be filled for all the applicable column. Notes:
(i) For annual generation quoted above reference value considering DC-AC ratio of 1.50, bidder has to submit additional BG equivalent to the energy charges as explained in Appendix-3 of Chapter 1-A (Part-A) of Technical Specifications. For this, bidder has to submit the annual generation in MU corresponding to DC: AC ratio of 1.50 and 1.55 as reference, and quoted annual generation shall be at actual DC: AC ratio selected by bidder.
BG Calculation: Case-1: Quoted generation is at DC-AC ratio greater than 1.5 and within 1.55 BG value = 0.25 x Number of units quoted above Reference Generation1 x N (in INR)
Case-2: Quoted generation is at DC-AC ratio greater than 1.55 BG value = {0.25 x (Reference Generation2 - Reference Generation1) x N} + {(Actual Generation Quoted – Reference Generation2) x N} (in INR)
Note: N is NPV of value of R for 25 years considering the discount factor.
We confirm that:
1) The aforesaid details shall be as per specification. Monthly Generation shall be submitted separately. The quoted Generation at Sl No 4 of above table shall be demonstrated during PG test as outlined in Chapter D-6 of Technical Specifications. 2) Quoted Annual Generation shall be fixed during entire bidding process including Reverse Auction (RA), if applicable, for the respective bidder. 3) In case of any discrepancy between figures and words, quoted annual generation indicated in words shall prevail.
(Signature)……………………………………………… (Printed Name)…………………………………………. (Designation)…………………………………………… (Common Seal)…………………………………………