## Queries
Pre-Bid Query
“Solar PV Power Plant SP01 at Nagda associated with Establishment of Solar PV Power Plant at Nagda”
SPECIFICATION NO.: CC/NT/W-MISC/DOM/A02/23/01366/Rfx-5002002681
Sl. No | Clause No./ Drg.No. | Description as per Tender Specification | Query | Employer's reply
1 | Table-B (A sample calculation for the Solar Plant for Total Short fall in Energy for Design life) of PART-B CHAPTER-D: GENERAL SYSTEMS, D-6, PERFORMANCE GUARANTEE (PG) TEST of Technical Specification, Part-B (Chapter-D: General Systems) Rev-0 | Yearly loss of revenue and applicable LD (INR) ΔGY x 1000 x R Applicable LD for complete life of plant in INR = 351.53 x 1000 x R x N | With reference to the subject tender, we would like to inform that bidder is very keen to participate in the tender. We would like to inform you that we are in the process of reviewing the amendment & clarification issued on 26.04.2023. As per Appendix-4 of technical specification, it is informed that LD per unit (kWh) shortfall during PG Test=N. Bidder raised the query regarding the value of factor “N” and it is stated that “ as per S.no 40 of clarification no.1 that N is NPV of value of R for 25 years considering the discount factor [N= INR 38.97]”. In this regard, as per D-6, PG Test of Technical Specification, in the sample calculation Applicable LD for complete life of plant in INR is mentioned as 351.53(Assumed shortfall) x 1000 x R x N. We would like to inform you that Factor “N” which is mentioned as Rs. 38.97 includes the factor “R” already. Hence sample calculation of LD for shortfall in PG test need to be changed as “as 351.53(Assumed shortfall) x 1000 x N” . The same methodology is being followed by NTPC also which is consultant in this tender. Further, various documents like local content certificate, certificate from Domestic manufacturers, Affidavit and certificate from Iron & Steel manufacturers is required which takes considerable time. Also, we are awaiting price offers after issuance of amendment/clarifications from our sub-vendors/suppliers/sub-contractors. Hence, in view of above, we kindly M/s. PESL to extend the due date of bid submission by atleast 7 days and also inform the basis of Rs. 38.97 and what tariff has been considered for value of “N”. Further, amendment in regard to sample calculation for PG Test shortfall is required. | Bidder to refer Amendment No-2. The Date of Bid submission have been extended up to 11.05.2023, 11:00 hrs