## Instruction
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Construction of "Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I) ".
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## Basic
Name of Package : | Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Package No : | 5002005443
Specification No. : | WR2/NT/W-AIS/DOM/G01/26/07699
Completion Period | 14 Months

## Name of Bidder
Name of Package :
Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-1 Supply
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Schedule-I PLANT AND EQUIPMENT (INCLUDING MANDATORY SPARES PARTS) TO BE SUPPLIED, INCLUDING TYPE TEST CHARGES FOR TEST TO BE CONDUCTED | [8 empty] | Sama - savli road, vadodara-390008
Sl. No. | Activity Description | Material Code | HSN/SAC code | Rate of GST applicable ( in %)
[5 empty] | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Ex Works Charges excluding GST | Total Ex Works Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 245kV, 50kA AIS EQUIPMENT | 1000001683 | 85352912 | 18% |  | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 2 |  | 0 | 0
2 | 245kV, 50kA AIS EQUIPMENT | 1000001684 | 85359090 | 18% |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | 0 | 0
3 | 245kV, 50kA AIS EQUIPMENT | 1000001688 | 85353090 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 2 |  | 0 | 0
4 | 245kV, 50kA AIS EQUIPMENT | 1000001689 | 85353090 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 2 |  | 0 | 0
5 | 245kV, 50kA AIS EQUIPMENT | 1000032777 | 85353090 | 18% |  | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 4 |  | 0 | 0
6 | 245kV, 50kA AIS EQUIPMENT | 1000020417 | 85354010 | 18% |  | 216kV Surge Arrester (1-phase) | EA | 6 |  | 0 | 0
7 | 245kV, 50kA AIS EQUIPMENT | 1000001695 | 85462040 | 18% |  | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 20 |  | 0 | 0
8 | 245kV, 50kA AIS EQUIPMENT | 1000001694 | 85462040 | 18% |  | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
9 | 245kV, 50kA AIS EQUIPMENT | 1000001772 | 85359090 | 18% |  | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 6 |  | 0 | 0
10 | Erection Hardware for 220 kV DMT Scheme | 1000011261 | 72169990 | 18% |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Line Bay as per technical specification | SET | 2 |  | 0 | 0
11 | Erection Hardware for 220 kV DMT Scheme | 1000011268 | 72169990 | 18% |  | Erection Hardware for 220kV layout (Single Main Scheme)-Bus work (twobay) as per technical specification | SET | 1 |  | 0 | 0
12 | CRP for 220kV Bays with SAS | 1000055443 | 85371000 | 18% |  | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 2 |  | 0 | 0
13 | CRP for 220kV Bays with SAS | 1000001167 | 85371000 | 18% |  | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0 | 0
14 | CRP for 220kV Bays with SAS | 1000001330 | 85371000 | 18% |  | 220kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
15 | CRP for 220kV Bays with SAS | 1000026235 | 85371000 | 18% |  | Line Current Differential Relay | SET | 2 |  | 0 | 0
16 | SAS-AUG | 1000001333 | 85371000 | 18% |  | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 2 |  | 0 | 0
17 | PLCC Equipment | 1000001568 | 85176210 | 18% |  | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 4 |  | 0 | 0
18 | PLCC Equipment | 1000010014 | 85176210 | 18% |  | Coupling device for PLCC | SET | 2 |  | 0 | 0
19 | PLCC Equipment | 1000000046 | 85176210 | 18% |  | Carrier Equipment Analog type (for Speech+Data & Speech+Protection) | EA | 2 |  | 0 | 0
20 | PLCC Equipment | 1000017887 | 85176210 | 18% |  | Analog Protection Coupler for PLCC | EA | 2 |  | 0 | 0
21 | PLCC Equipment | 1000010638 | 85176210 | 18% |  | Digital Protection Coupler | EA | 2 |  | 0 | 0
22 | PLCC Equipment | 1000036908 | 85446020 | 18% |  | HF CABLE 75 OHMS FOR PLCC | KM | 2 |  | 0 | 0
23 | PLCC Equipment | 1000002134 | 85176210 | 18% |  | 4wire telephone equipment | EA | 2 |  | 0 | 0
24 | POWER & CONTROL CABLE | 1000000443 | 85446020 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
25 | POWER & CONTROL CABLE | 1000000442 | 85446020 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
26 | ILLUMINATION SYSTEM | 1000038387 | 94051090 | 18% |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 5 |  | 0 | 0
27 | ILLUMINATION SYSTEM | 1000038325 | 94059900 | 18% |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 5 |  | 0 | 0
28 | ILLUMINATION SYSTEM | 1000014548 | 94059900 | 18% |  | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | 0 | 0
29 | ILLUMINATION SYSTEM | 1000013795 | 94059900 | 18% |  | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0 | 0
30 | Mandatory Spare LOT | 1000025935 | 85389000 | 18% |  | Spare-245kV Circuit Breaker | SET | 1 |  | 0 | 0
31 | Mandatory Spare LOT | 1000025936 | 85353090 | 18% |  | Spare-245kV Isolator | SET | 1 |  | 0 | 0
32 | Mandatory Spare LOT | 1000019912 | 85371000 | 18% |  | Relay & protection Panels (with automation) | LS | 1 |  | 0 | 0
33 | Mandatory Spare LOT | 1000019927 | 85389000 | 18% |  | Spares-Substation Automation System | LS | 1 |  | 0 | 0
34 | Mandatory Spare LOT | 1000025932 | 85462040 | 18% |  | Spare-245kV BPI | SET | 1 |  | 0 | 0
35 | Mandatory Spare LOT | 1000025933 | 85389000 | 18% |  | Spare-245kV CT | SET | 1 |  | 0 | 0
36 | Mandatory Spare LOT | 1000025934 | 85359090 | 18% |  | Spare-245kV CVT | SET | 1 |  | 0 | 0
37 | Mandatory Spare LOT | 1000025930 | 85354010 | 18% |  | Spare-216kV Surge Arrester | SET | 1 |  | 0 | 0
38 | EARTHMAT | 1000032055 | 72159090 | 18% |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 0.6 |  | 0 | 0
39 | AIR CONDITIONING AND VENTILATION SYSTEM | 1000006284 | 84151090 | 18% |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
40 | FIRE FIGHTING SYSTEM | 1000012018 | 85311020 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0 | 0
41 | LT SWITCHGEAR | 1000001145 | 85371000 | 18% |  | 220V DCDB (Extn.) | SET | 2 |  | 0 | 0
42 | LT SWITCHGEAR | 1000004304 | 85371000 | 18% |  | 415V ACDB (Extn.) | SET | 2 |  | 0 | 0
43 | Telecom equipment_Shujalpur Ext-supply | 1000031367 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0 | 0
44 | Telecom equipment_Shujalpur Ext-supply | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 4 |  | 0 | 0
45 | Telecom equipment_Shujalpur Ext-supply | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0 | 0
46 | Telecom equipment_Shujalpur Ext-supply | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
47 | Telecom equipment_Shujalpur Ext-supply | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0 | 0
48 | Telecom equipment_Shujalpur Ext-supply | 1000026228 | 85176290 | 18% |  | Equipment Cabinets For SDH | EA | 1 |  | 0 | 0
49 | Telecom equipment_Shujalpur Ext-supply | 1000037546 | 85447090 | 18% |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0 | 0
50 | Telecom equipment_Shujalpur Ext-supply | 1000023471 | 85372000 | 18% |  | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0 | 0
51 | Telecom equipment_Shujalpur Ext-spare | 1000031369 | 85176260 | 18% |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0 | 0
52 | Telecom equipment_Shujalpur Ext-spare | 1000018706 | 85176990 | 18% |  | S16.1 SFP | EA | 1 |  | 0 | 0
53 | Telecom equipment_Shujalpur Ext-spare | 1000031374 | 85176290 | 18% |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0 | 0
54 | Telecom equipment_Shujalpur Ext-spare | 1000031381 | 85176290 | 18% |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
55 | Telecom equipment_Shujalpur Ext-spare | 1000034950 | 85176990 | 18% |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0 | 0
56 | Telecom equipment_Shujalpur Ext-spare | 1000031398 | 85171890 | 18% |  | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0 | 0
57 | Telecom equipment_Shujalpur Ext-spare | 1000037546 | 85447090 | 18% |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.035 |  | 0 | 0
58 | Supply of Steel Structures | 1000015954 | 73082011 | 18% |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 37 |  | 0 | 0
59 | Supply of Steel Structures | 1000011713 | 73082011 | 18% |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 2 |  | 0 | 0
60 | Supply of Steel Structures | 1000012373 | 73082011 | 18% |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 4 |  | 0 | 0
61 | VMS-Aug | 1000030433 | 85287390 | 18% |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0 | 0
[7 empty] | Total of Ex Works Price |  |  | 0 | 0

## 3B Non- schedule (hidden)
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction work of CABLE TRENCH SECTION 3-3 WORK AT MPPTCL S/S INDORE
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | #REF! |  |  | To:
Name: | [8 empty] | Contract Services
Address: | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Non-Schedule 3B
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Erection Charges (Excluding GST) | Total Erection Charges (Excluding GST) | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Non - Schedule Civil Items
1 | Indore Substation | 995428 |  | 18% |  | NS-1 Providing & fixing polythene sheet of 125 micron before casting of pcc work and as directed by engineer in charge (For casting of cable trench cover slab) | sqm | 88.5 |  | 0 | 0
2 | Indore Substation | 995424 |  | 18% |  | NS-2 Providing , laying & fixing PVC pipe of 160 mm nominal dia Pipes | mtr | 124.5 |  | 0 | 0
1 | Indore Substation | 995428 |  | 18% |  | NS-3 Removing, cleaning and washing of existing stone and respreading of stones in switching excluding PCC | sqm | 285.83 |  | 0 | 0
2 | Indore Substation | 995428 |  | 18% |  | NS-4 Antiweed Treatment | sqm | 285.83 |  | 0 | 0
3 | Indore Substation | 995433 |  | 18% |  | NS-5 Supplying, filling & compacting CNS materials as per specification under floor, foundation, roads, cable trench etc. | CUM | 100 |  | 0 | 0
4 | Indore Substation | 995424 |  | 18% |  | NS-6 RCC Culverts and cable trench crossings including supplying and laying hume pipe 250 mm dia of grade (NP 3) Excluding Concrete. | Rm | 14.5 |  | 0 | 0
[7 empty] | Total of Schedule Part 3B |  |  | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [6 empty] | Printed Name :
Place : | [6 empty] | Designation :

## Sch-2 F&I
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Name : |  |  |  | Contract Services
Address : |  |  |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Adjacent to Riya-Revati Resort,
Sama-Savli Road, Vadodara-390024
Schedule 2 Local Transportation, In-transit insurance, loading and unloading
Sl. No. | Item Description | Unit | Quantity | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 5 | 6
1 | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 2 |  | 0
2 | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | 0
3 | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 2 |  | 0
4 | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 2 |  | 0
5 | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 4 |  | 0
6 | 216kV Surge Arrester (1-phase) | EA | 6 |  | 0
7 | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 20 |  | 0
8 | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0
9 | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 6 |  | 0
10 | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Line Bay as per technical specification | SET | 2 |  | 0
11 | Erection Hardware for 220kV layout (Single Main Scheme)-Bus work (twobay) as per technical specification | SET | 1 |  | 0
12 | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 2 |  | 0
13 | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0
14 | 220kV Line Protection Panel (with Automation) | EA | 2 |  | 0
15 | Line Current Differential Relay | SET | 2 |  | 0
16 | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 2 |  | 0
17 | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 4 |  | 0
18 | Coupling device for PLCC | SET | 2 |  | 0
19 | Carrier Equipment Analog type (for Speech+Data & Speech+Protection) | EA | 2 |  | 0
20 | Analog Protection Coupler for PLCC | EA | 2 |  | 0
21 | Digital Protection Coupler | EA | 2 |  | 0
22 | HF CABLE 75 OHMS FOR PLCC | KM | 2 |  | 0
23 | 4wire telephone equipment | EA | 2 |  | 0
24 | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
25 | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
26 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 5 |  | 0
27 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 5 |  | 0
28 | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | 0
29 | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0
30 | Spare-245kV Circuit Breaker | SET | 1 |  | 0
31 | Spare-245kV Isolator | SET | 1 |  | 0
32 | Relay & protection Panels (with automation) | LS | 1 |  | 0
33 | Spares-Substation Automation System | LS | 1 |  | 0
34 | Spare-245kV BPI | SET | 1 |  | 0
35 | Spare-245kV CT | SET | 1 |  | 0
36 | Spare-245kV CVT | SET | 1 |  | 0
37 | Spare-216kV Surge Arrester | SET | 1 |  | 0
38 | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 0.6 |  | 0
39 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0
40 | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0
41 | 220V DCDB (Extn.) | SET | 2 |  | 0
42 | 415V ACDB (Extn.) | SET | 2 |  | 0
43 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0
44 | S16.1 SFP | EA | 4 |  | 0
45 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0
46 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
47 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0
48 | Equipment Cabinets For SDH | EA | 1 |  | 0
49 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0
50 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0
51 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0
52 | S16.1 SFP | EA | 1 |  | 0
53 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0
54 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
55 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0
56 | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0
57 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.035 |  | 0
58 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 37 |  | 0
59 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 2 |  | 0
60 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 4 |  | 0
61 | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0
| Total of F&I Chrges |  |  |  | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :

## Sch-3 Installation
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Schedule 3 Installation Services
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
#REF! | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
S. NO. | Activity Description | Service Code | (Service Accounting Codes) | Rate of GST applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Installation Charges | Unit | Quantity | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 245kV, 50kA AIS EQUIPMENT | 100003634 | 998736 | 18% |  | 245 kV 1600A, 50KA Circuit Breakers (3-Phase) with support structure | EA | 2 |  | 0 | 0
2 | 245kV, 50kA AIS EQUIPMENT | 100001989 | 998736 | 18% |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | 0 | 0
3 | 245kV, 50kA AIS EQUIPMENT | 100002014 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 2 |  | 0 | 0
4 | 245kV, 50kA AIS EQUIPMENT | 100002013 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 2 |  | 0 | 0
5 | 245kV, 50kA AIS EQUIPMENT | 100002016 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 4 |  | 0 | 0
6 | 245kV, 50kA AIS EQUIPMENT | 100000484 | 998736 | 18% |  | 216kV Surge Arrester (1-phase) | EA | 6 |  | 0 | 0
7 | 245kV, 50kA AIS EQUIPMENT | 100001907 | 998736 | 18% |  | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 20 |  | 0 | 0
8 | 245kV, 50kA AIS EQUIPMENT | 100000448 | 998736 | 18% |  | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 6 |  | 0 | 0
9 | 245kV, 50kA AIS EQUIPMENT | 100000884 | 998734 | 18% |  | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 12 |  | 0 | 0
10 | Erection Hardware for 220 kV DMT Type Scheme | 100000485 | 998731 | 18% |  | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Line Bay as per specification | SET | 2 |  | 0 | 0
11 | Erection Hardware for 220 kV DMT Type Scheme | 100000504 | 998731 | 18% |  | Erection Hardware for 220kV layout (Single Main Scheme as per SLD)-Bus work (two bay) as per specification | SET | 1 |  | 0 | 0
12 | CRP for 220kV Bays with SAS | 100016778 | 998736 | 18% |  | 220kV Circuit Breaker Relay Panel (with Automation) | EA | 2 |  | 0 | 0
13 | CRP for 220kV Bays with SAS | 100000743 | 998736 | 18% |  | Augmentation of existing 220kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | 0 | 0
14 | CRP for 220kV Bays with SAS | 100000738 | 998736 | 18% |  | 220kV Line Protection Panel (with Automation) | EA | 2 |  | 0 | 0
15 | CRP for 220kV Bays with SAS | 100002605 | 998736 | 18% |  | Line Current Differential Relay | SET | 2 |  | 0 | 0
16 | SAS-AUG | 100002070 | 998736 | 18% |  | Augmentation of Substation automation System for 220kV bay as per Technical Specification | EA | 2 |  | 0 | 0
17 | PLCC Equipment | 100002048 | 998734 | 18% |  | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 4 |  | 0 | 0
18 | PLCC Equipment | 100000886 | 998734 | 18% |  | Coupling device for PLCC | EA | 2 |  | 0 | 0
19 | PLCC Equipment | 100000888 | 998734 | 18% |  | Carrier Equipment Analog type (for Speech+Data & Speech+Protection) | EA | 2 |  | 0 | 0
20 | PLCC Equipment | 100000890 | 998734 | 18% |  | Protection Coupler (Analog) | EA | 2 |  | 0 | 0
21 | PLCC Equipment | 100000891 | 998734 | 18% |  | Digital Protection Coupler | EA | 2 |  | 0 | 0
22 | PLCC Equipment | 100003517 | 998734 | 18% |  | HF CABLE FOR PLCC-75 OHM (KM) | KM | 2 |  | 0 | 0
23 | PLCC Equipment | 100003435 | 998734 | 18% |  | 4-WIRE TELEPHONE | EA | 2 |  | 0 | 0
24 | POWER AND CONTROL CABLE | 100002181 | 998736 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
25 | POWER AND CONTROL CABLE | 100002182 | 998736 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
26 | ILLUMINATION SYSTEM | 100004926 | 998731 | 18% |  | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 5 |  | 0 | 0
27 | ILLUMINATION SYSTEM | 100004852 | 998731 | 18% |  | Lighting Fixture LED Luminaires type FL-1 as per tech. specifications | EA | 5 |  | 0 | 0
28 | ILLUMINATION SYSTEM | 100001022 | 998731 | 18% |  | Lighting Panel type ACP-3 as per technical specification | EA | 1 |  | 0 | 0
29 | ILLUMINATION SYSTEM | 100001116 | 998739 | 18% |  | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | 0 | 0
30 | EARTHMAT | 100003103 | 998731 | 18% |  | 40 mm MS rod for Main Earthmat | KM | 0.6 |  | 0 | 0
31 | AIR CONDITIONING AND VENTILATION SYSTEM | 100001882 | 995463 | 18% |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
32 | FIRE FIGHTING SYSTEM | 100002062 | 995461 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | 0 | 0
33 | LT SWITCHGEAR | 100000896 | 998736 | 18% |  | 415V ACDB (Extn.) | SET | 2 |  | 0 | 0
34 | LT SWITCHGEAR | 100000903 | 998736 | 18% |  | 220V DCDB (Extn.) | SET | 2 |  | 0 | 0
35 | Telecom equipment_Shujalpur Ext-service | 100002812 | 998734 | 18% |  | SDH Equipment (STM-16 MADM upto 5 MSP protected directions)-Base Equipment (Common cards, Cross Connect/control cards, optical basecards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equipedexcluding optical interface & Tributary cards | EA | 1 |  | 0 | 0
36 | Telecom equipment_Shujalpur Ext-service | 170000433 | 998734 | 18% |  | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 4 |  | 0 | 0
37 | Telecom equipment_Shujalpur Ext-service | 100002825 | 998734 | 18% |  | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 2 |  | 0 | 0
38 | Telecom equipment_Shujalpur Ext-service | 100002829 | 998734 | 18% |  | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 1 |  | 0 | 0
39 | Telecom equipment_Shujalpur Ext-service | 170000550 | 998336 | 18% |  | Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | EA | 2 |  | 0 | 0
40 | Telecom equipment_Shujalpur Ext-service | 170000375 | 998734 | 18% |  | Equipment Cabinets-For SDH Equipments | EA | 1 |  | 0 | 0
41 | Telecom equipment_Shujalpur Ext-service | 170004395 | 998336 | 18% |  | Fibre Optic Approach cabling: Including installation hardware like GI pipe, elbow, conduits, accessories etc.: 48 Fibre | KM | 1 |  | 0 | 0
42 | Telecom equipment_Shujalpur Ext-service | 170000356 | 998336 | 18% |  | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 1 |  | 0 | 0
43 | Civil Works | 100004518 | 995433 | 18% |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 1657 |  | 0 | 0
44 | Civil Works | 100001325 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 47 |  | 0 | 0
45 | Civil Works | 100001326 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 35 |  | 0 | 0
46 | Civil Works | 100004748 | 995454 | 18% |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) including a layer of cement slurry of mix1:6 (1 cement : 6 fine sand) shall be laid uniformly over cement concrete layer. The cement consumption for cement slurry shall notbe less than 150 kg per 100 sq.m. | M3 | 166 |  | 0 | 0
47 | Civil Works | 100001327 | 995454 | 18% |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 277 |  | 0 | 0
48 | Civil Works | 100001329 | 995454 | 18% |  | Steel Reinforcement | MT | 22 |  | 0 | 0
49 | Civil Works | 100001714 | 995428 | 18% |  | Stone spreading in switchyard excluding PCC | M2 | 910 |  | 0 | 0
50 | Civil Works | 100001713 | 995424 | 18% |  | Antiweed treatment | M2 | 2210 |  | 0 | 0
51 | Civil Works | 100001712 | 995428 | 18% |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 1300 |  | 0 | 0
52 | Civil Works | 100002583 | 995432 | 18% |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 50 |  | 0 | 0
53 | Civil Works | 100002911 | 995432 | 18% |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 2800 |  | 0 | 0
54 | Civil Works | 100001720 | 995428 | 18% |  | Supplying, filling and compacting CNS material as per specification under floors, foundations, roads, cable trenches, drains etc inlayers not exceeding 200 mm thickness | M3 | 350 |  | 0 | 0
55 | Civil Works | 100001721 | 995428 | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 350 |  | 0 | 0
56 | Civil Works | 100016667 | 995451 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrete and reinforcement steel Section2A-2A | M | 30 |  | 0 | 0
57 | Civil Works | 100001478 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 40 |  | 0 | 0
58 | Civil Works | 100001479 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 30 |  | 0 | 0
59 | Civil Works | 100001480 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 40 |  | 0 | 0
60 | Civil Works | 100004507 | 995421 | 18% |  | 3.75m wide Cement Concrete road with PCC shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS.However, reinforcement steel and all type concrete shall be paid separately under relevant items | M2 | 188 |  | 0 | 0
61 | Civil Works | 100003295 | 995429 | 18% |  | Dismantling of RCC in foundation including disposal of debris and reinforcement bars of dismantled RCC works within substationboundaries as per direction of enginner incahrge | M3 | 50 |  | 0 | 0
62 | Civil Works | 100001447 | 995429 | 18% |  | Dismantling of existing fencing | M | 50 |  | 0 | 0
63 | Civil Works | 100020960 | 995461 | 18% |  | RCC culvert crossings including supplying and laying hume pipe 250mm dia of grade (NP-3) excluding concrete as per specification. | M | 10 |  | 0 | 0
64 | Civil Works | 100008611 | 995477 | 18% |  | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M | 50 |  | 0 | 0
65 | Civil Works | 100001409 | 995462 | 18% |  | Supplying and erecting dewatering pumps-5 HP | EA | 1 |  | 0 | 0
66 | Civil Works | 100003437 | 995454 | 18% |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30 |  | 0 | 0
67 | Civil Works | 100039289 | 998335 | 18% |  | Preparation of design and all types ofdrawings for 765 kV or 400 kV or 220 kVtowers. | EA | 3 |  | 0 | 0
68 | Civil Works | 100039290 | 998335 | 18% |  | Preparation of design and all types ofdrawings for 765 kV or 400 kV or 220 kVbeams. | EA | 1 |  | 0 | 0
69 | Erection of Structure Items | 100001210 | 995455 | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 37 |  | 0 | 0
70 | Erection of Structure Items | 100001680 | 995455 | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 2 |  | 0 | 0
71 | Erection of Structure Items | 100001681 | 995455 | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 4 |  | 0 | 0
72 | VMS-Aug | 100002500 | 998731 | 18% |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | 0 | 0
[6 empty] | Total of Installation charges |  |  |  | 0 | 0
Printed Name :
Designation :

## Sch 5 Taxes
Schedule 5 Taxes and Duties not included in Schedule 1 to 3
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
#REF!
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply (indentified in Schedule-1) |  | 0
b. | Total GST on Installation Services (indentified in Schedule-2) |  | 0
2 | GRAND TOTAL [1 a] |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch 6 summary
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 2 Nos. 220kV Line Bays at Shujalpur (PG) Substation Under Western Region Bay Scheme -I (WRBS-I)
Schedule-6
Schedule 6 Grand Summary
#REF! |  | To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Supply - (Sch-1) (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0 | 14780245
2 | Service/Installation/Erection Charges- (Sch-3) (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
3 | Total GST on Goods (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement ) |  | 0
4 | Total GST on Service/Installation/Erection (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement ) |  | 0
5 | Total F&I Charges (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : |  | Printed Name :
Place : |  | Designation :