## Basic
ENVELOPE-2: Price_Schedule Part (Bid Proposal Sheet).
:: COVER PAGE ::
Name of Package | Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
NIT Ref. No.: | NESH/CSM/1500-1437
Address of Purchaser/ Owner | General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone/Fax -0364- 2536406; Mobile:8837372383
email: solankidas@powergrid.in ¦ s.k.saikia@powergrid.in

## Cover (hidden)
General guidelines for filling up the Attachments
: Attachments : | Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B). |  | Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
| 1 | Fill up only green shaded cells in the relevent attachments.
| 2 | Attachments 3(QR), Attach QR, 4, 4(A), 4(B), 5, 5(A), 6, 8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 19, 20,21 and Bid Form for 1st Envelope are included here.
| 3 | Attachment 1 Bid Security : To be submitted as per proforma provided in the bidding document.
| 4 | Attachment 2 Power of Attorney : No specific format is provided by POWERGRID. Bidder may use their own format.
| 5 | Attachment 8 Manufacturer’s Authorisation Form : Format for Manufacturer’s Authorisation Form is annexed Seperetely herewith this Volume
| 6 | Attachment 14 Integrity Pact : To be submitted as per the proforma Annexed separately herewith this volume.
| 7 | Attachment 18 Safety Pact : To be submitted as per ITB Clause 9.3(s) and as per the proforma Annexed separately herewith this volume.
| 8 | Attachment 19 Declaration of Key Managerial Person and Power of Attorney holder: Format is annexed Seperetely herewith this Volume
| 9 | Attachment 20 Affidavit of Self certification regarding Minimum Local Content in line with PPP-MII order and MoP Order December 2018: Format is annexed Seperetely herewith this Volume
| 10 | Attachment 21 Declaration regarding events encountered pursuant to ITB Clause 2.1: Format is annexed Seperetely herewith this Volume
| 11 | Attachment 22 Format for Affidavit of Self certification regarding Local Content in line with PPP-MII order and DoT order, if applicable, to be provided on a non-judicial stamp paper of Rs. 100/-.
| 12 | Attachment Format of ‘Authorization certificate issued by Domestic Manufacturer for selling Domestically Manufactured Iron & Steel Products’
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click for Detailed General Instructions
Click for Detailed General Instructions

## Instructions
Supply, Delivery, F&I, dismantling, installation & commissioning of Control and Relay Panel and its associated Cables as per TS for Upgradation of POWERGRID Feeders that has served > 25 Years Feeders at other SEBs - NERTS under ADD CAP 2024-29 block.
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
| Specification No.:NESH/CSM/1500-1180 | [9 empty] | Sole Bidder | 1
[11 empty] | JV (Joint Venture) | 2 or More
Enter following details of the bidder
FALSE
| Specify type of Bidder [Select from drop down menu] |  | Sole Bidder |  |  | 1 | Sole Bidder | 1 | 2 |  | 0
|  |  | 1 |  |  |  | JV (Joint Venture) | 2 or More
Micro and Small Enterprise (MSE)
| Name of Sole Bidder |  | Name
| Address of Sole Bidder | Principal place of business | Add1
Add2
[6 empty] | FALSE |  |  |  | .
| Name of other Partner |  | 1
Address of other Partner
Name of other Partner - 2 (more, if any)
Name of other Partner - 2
Address of other Partner - 2
Name of other Partner - 2 (more, if any)
Address of other Partner - 2 (more, if any)
| MSE Bidder ? |  |  |  |  | TRUE
| Enter the name of Registration Authority. |  | Udyam Registered Bidder
| Whether Medium/Small/Micro |  | Micro
Udyam Registeration No.:
Type of Enterprise
Major Activity
Social Category of Enterpreneur
| Gender |  | Male
Contact Person
Email-ID_1
Email-ID_2
Mobile No.
| Printed Name |  | Printed Name
| Designation |  | Desig
| Date : |  | 11 | Jan | 2025 |  | 31
| Place : |  | Place
11 Jan 2025
YES
Click for Bid Form 2nd Envelope

## Bid Form 2nd Envelope
#REF! |  |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | 11/Jan/2025 | [9 empty] | 6 | th | 11 | 6 | June
[11 empty] | 7 | th | 1 | 7 | July
To: | [10 empty] | 8 | th | January | 8 | August
General Manager (C&M) | [10 empty] | 9 | th | 2025 | 9 | September
Power Grid Corporation of India Limited | [10 empty] | 10 | th |  | 10 | October
North Eastern Region | [10 empty] | 11 | th |  | 11 | November
Dongtieh, Lower Nongrah, Lapalang | [10 empty] | 12 | th |  | 12 | December
Shillong – 793 006 (Meghalaya). | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B). | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B). under the above-named package in full conformity with the said Bidding Documents for the sum of (Specify the currency and the amount in figures and words) …………. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | #REF! | #REF! | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [7 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [7 empty] | 22 | th
| Schedule IA |  | Supply portion |  |  | Sole Bidder |  |  |  |  | 23 | th
| Schedule IB |  | Freight & Insurance
| Schedule 4 |  | Training charges for training to be imparted [NOT APPLICABLE] | [7 empty] | 24 | th
| Schedule IC |  | Erection Portion | [7 empty] | 25 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted [NOT APPLICABLE] | [7 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 7.0.0, SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | #REF!
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Dated this 11th day of January 2025
Thanking you, we remain,
Yours faithfully,
|  |  |  | For and on behalf of | Name
Signature :
Date : | 11/Jan/2025 |  |  | Printed Name :
Place : | Place |  |  | Designation :
Common Seal :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Sch-IA
#REF! | [11 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[18 empty] | BO Total | #REF! | #REF!
Name of Package:Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [8 empty] | To,
General Manager (C&M)
Name : | Name | [8 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [8 empty] | North Eastern Region
| Add2 | [8 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
SUPPLY PORTION | [18 empty] | Direct
[11 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Sub Station Name | Equipment Head | Element Name | Equipment Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
PART I : Conversion of existing 420 kV, 1x63 MVAr fixed line reactor at Bongaigaon (POWERGRID) end in each circuit of Bongaigaon (POWERGRID) – Borngar(ISTS) 400 kV D/c line formed after LILO of both circuits of existing Bongaigaon (POWERGRID) –Balipara (POWERGRID) 400kV D/c (Quad) line atBornagar (ISTS) to Switchable Line Reactor
1 | 85389000 |  | 18% |  | 420kV, 40kA AIS EQUIPMENT | cables | R.C Nagar-1 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | Included
2 | 72169990 |  | 18% |  | Erection Hardware for 420 kV D Type S/Y | cables | R.C Nagar-1 | Erection Hardware for 400kV D type layout- Switchable Line Reactors including NGR bypass arrangement as per technical specification | SET | 2 |  | Included
3 | 85371000 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Circuit Breaker Relay Panel without Auto Reclose (withAutomation) | EA | 2 |  | Included
4 | 85371000 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Reactor Protection Panel (with Automation) | EA | 2 |  | Included
5 | 85371000 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | Augmentation of Substation automation System for 400kV Switchable LineReactor Bay as per Technical Specification | EA | 2 |  | Included
6 | 73181900 |  | 18% |  | FOUNDATION BOLT | cables | R.C Nagar-1 | Fabrication, galvanising and supply of 28mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 24 |  | Included
7 | 73269099 |  | 18% |  | BMK | cables | R.C Nagar-2 | 400 KV Bay Marshilling Kiosk | EA | 1 |  | Included
8 | 85446020 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 10 |  | Included
9 | 85446020 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 14CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 3 |  | Included
10 | 85446020 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 19CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 2 |  | Included
11 | 85446020 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 27CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
12 | 85446020 |  | 18% |  | Power Cable | cables | R.C Nagar-2 | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
13 | 85446020 |  | 18% |  | Power Cable | cables | R.C Nagar-1 | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
14 | 84151090 |  | 28% |  | SPR | cables | R.C Nagar-1 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
15 | 85311020 |  | 18% |  | SPR | cables | R.C Nagar-2 | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included
16 | 94059900 |  | 18% |  | SPR | cables | R.C Nagar-2 | Illumination System for switchyard panel room of 6 m length | No | 1 |  | Included
17 | 84241000 |  | 18% |  | SPR | CRP | R.C Nagar-1 | PORTABLE FIRE EXTINGUISHER-CO2 TYPE 4.5 KG | No | 1 |  | Included
18 | 85371000 |  | 18% |  | Mandatory Spare | CRP | R.C Nagar-1 | Reactor Differential Relay | EA | 1 |  | Included
19 | 85371000 |  | 18% |  | Mandatory Spare | CRP | R.C Nagar-2 | Numerical Reactor Backup Impedance Relay | EA | 1 |  | Included
20 | 85389000 |  | 18% |  | Mandatory Spare | CRP | R.C Nagar-2 | Bay Control Unit (IED) Of Each Type | EA | 1 |  | Included
[8 empty] | Total Amount (Part-I) |  |  |  | 0
Part II : Implementation of NGR Bypass Scheme
1 | 85352911 |  | 18% |  | CB | Cables | Khleheriat#2 | 145kV, 1250A, 31.5kA Circuit Breaker (1-phase) with support structure | No. | 2 |  | Included
2 | 85462040 |  | 18% |  | BPI | Cables | Khleheriat#2 | 145kV , 1 phase Bus Post Insulators | Set | 2 |  | Included
3 | 73045930 |  | 18% |  | Structure BPI | Cables | Khleheriat#2 | Structure for 1-phase BPI (excluding wave trap) | No. | 2 |  | Included
4 | 85446020 |  | 18% |  | Cable | Cables | Khleheriat#2 | 1.1KV GRADE 14CX2.5 SQMM (PVC) CONTROL CABLE | KM | 1 |  | Included
5 | 85389000 |  | 18% |  | Mandatory Spare | Cables | Khleheriat#2 | Trip Coil for 145kV CB | No. | 1 |  | Included
6 | 85389000 |  | 18% |  | Mandatory Spare | Cables | Khleheriat#2 | Closing Coil 145kV CB | No. | 1 |  | Included
7 | 85389000 |  | 18% |  | Mandatory Spare | Cables | Kopili#2 | Terminal Pads - 145kV CB | No. | 1 |  | Included
8 | 85352911 |  | 18% |  | Mandatory Spare | Cables | Kopili#2 | 145kV, 1250A, 31.5kA Circuit Breaker (1-phase) including MOM box without support structure | No | 1 |  | Included
[8 empty] | Total Amount (Part-II) |  |  |  | 0
Total Bid Price for the Schedule-IA | [11 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [9 empty] | Printed Name : | Printed Name
Place : | Place | [9 empty] | Designation : | Desig

## Sch-IB
#REF! | [7 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[14 empty] | BO Total | #REF! | #REF!
Name of Package:Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) |  |  |  |  | To,
General Manager (C&M)
Name : | [5 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | [5 empty] | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Feright and Insurance | [14 empty] | Direct
[7 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | Sub Station Name | Equipment Head | Element Name | Item Description | Unit | Qty. | F&I Rate (Rs) (inclusive of GST) | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
PART I : Conversion of existing 420 kV, 1x63 MVAr fixed line reactor at Bongaigaon (POWERGRID) end in each circuit of Bongaigaon (POWERGRID) – Borngar(ISTS) 400 kV D/c line formed after LILO of both circuits of existing Bongaigaon (POWERGRID) –Balipara (POWERGRID) 400kV D/c (Quad) line atBornagar (ISTS) to Switchable Line Reactor
1 | 420kV, 40kA AIS EQUIPMENT | cables | R.C Nagar-1 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | Included
2 | Erection Hardware for 420 kV D Type S/Y | cables | R.C Nagar-1 | Erection Hardware for 400kV D type layout- Switchable Line Reactors including NGR bypass arrangement as per technical specification | SET | 2 |  | Included
3 | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Circuit Breaker Relay Panel without Auto Reclose (withAutomation) | EA | 2 |  | Included
4 | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Reactor Protection Panel (with Automation) | EA | 2 |  | Included
5 | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | Augmentation of Substation automation System for 400kV Switchable LineReactor Bay as per Technical Specification | EA | 2 |  | Included
6 | FOUNDATION BOLT | cables | R.C Nagar-1 | Fabrication, galvanising and supply of 28mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 24 |  | Included
7 | BMK | cables | R.C Nagar-2 | 400 KV Bay Marshilling Kiosk | EA | 1 |  | Included
8 | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 10 |  | Included
9 | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 14CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 3 |  | Included
10 | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 19CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 2 |  | Included
11 | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 27CX2.5 SQMM CONTROL CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
12 | Power Cable | cables | R.C Nagar-2 | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
13 | Power Cable | cables | R.C Nagar-1 | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE alongwith lugs, glands, straight joints, accessories etc | KM | 1 |  | Included
14 | SPR | cables | R.C Nagar-1 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
15 | SPR | cables | R.C Nagar-2 | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included
16 | SPR | cables | R.C Nagar-2 | Illumination System for switchyard panel room of 6 m length | No | 1 |  | Included
17 | SPR | CRP | R.C Nagar-1 | PORTABLE FIRE EXTINGUISHER-CO2 TYPE 4.5 KG | No | 1 |  | Included
18 | Mandatory Spare | CRP | R.C Nagar-1 | Reactor Differential Relay | EA | 1 |  | Included
19 | Mandatory Spare | CRP | R.C Nagar-2 | Numerical Reactor Backup Impedance Relay | EA | 1 |  | Included
20 | Mandatory Spare | CRP | R.C Nagar-2 | Bay Control Unit (IED) Of Each Type | EA | 1 |  | Included
|  |  |  | Total Amount (Part I) |  |  |  | 0
Part II : Implementation of NGR Bypass Scheme
1 | CB | Cables | Khleheriat#2 | 145kV, 1250A, 31.5kA Circuit Breaker (1-phase) with support structure | No. | 2 |  | Included
2 | BPI | Cables | Khleheriat#2 | 145kV , 1 phase Bus Post Insulators | Set | 2 |  | Included
3 | Structure BPI | Cables | Khleheriat#2 | Structure for 1-phase BPI (excluding wave trap) | No. | 2 |  | Included
4 | Cable | Cables | Khleheriat#2 | 1.1KV GRADE 14CX2.5 SQMM (PVC) CONTROL CABLE | KM | 1 |  | Included
5 | Mandatory Spare | Cables | Khleheriat#2 | Trip Coil for 145kV CB | No. | 1 |  | Included
6 | Mandatory Spare | Cables | Khleheriat#2 | Closing Coil 145kV CB | No. | 1 |  | Included
7 | Mandatory Spare | Cables | Kopili#2 | Terminal Pads - 145kV CB | No. | 1 |  | Included
8 | Mandatory Spare | Cables | Kopili#2 | 145kV, 1250A, 31.5kA Circuit Breaker (1-phase) including MOM box without support structure | No | 1 |  | Included
|  |  |  | Total Amount (Part II) |  |  |  | 0
Total Bid Price for the Schedule-IB | [7 empty] | 0 |  |  |  |  | #REF!
Note : | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
#
Date : | [6 empty] | Printed Name : | Printed Name
Place : | [6 empty] | Designation : | Desig

## Sch-IC
#REF! | [11 empty] | Schedule-IB to BPS (Vol-IC) | Schedule - 1 |  |  |  |  | Direct Total | #REF! | #REF! | `
[18 empty] | BO Total | #REF! | #REF!
Name of Package:Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address:( Sole Bidder) | [8 empty] | To,
General Manager (C&M)
Name : | Name | [8 empty] | Power Grid Corporation of India Limited | [9 empty] | #REF!
Address : | Add1 | [8 empty] | North Eastern Region
| Add2 | [8 empty] | Dongtieh, Lower Nongrah, Lapalang
Shillong – 793 006 (Meghalaya).
Erection Portion | [18 empty] | Direct
[11 empty] | All Prices are in Indian Rupees. |  | All Prices are in Indian Rupees. | [5 empty] | Bought-Out
SI. No. | HSN/SAC Code | Whether SAC in column ‘B’ is confirmed. If not, indicate applicable "SAC code # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘D is confirmed. If not indicate applicable rate of GST# (in %) | Sub Station Name | Equipment Head | Element Name | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct or Bought out)^ | GST, Tax as confirmed by Bidder | Total Value | Applicable GST Rate | GST on item
1 | 2 | 5B | 5C | 5D |  |  |  | 6 | 7 | 8 | 9 | 10 = (8X9) | 11 | 11
PART I : Conversion of existing 420 kV, 1x63 MVAr fixed line reactor at Bongaigaon (POWERGRID) end in each circuit of Bongaigaon (POWERGRID) – Borngar(ISTS) 400 kV D/c line formed after LILO of both circuits of existing Bongaigaon (POWERGRID) –Balipara (POWERGRID) 400kV D/c (Quad) line atBornagar (ISTS) to Switchable Line Reactor
1 | 998736 |  | 18% |  | AIS EQUIPMENT | cables | R.C Nagar-1 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | EA | 2 |  | Included
2 | 998736 |  | 18% |  | ECT of Circuit Breaker | cables | R.C Nagar-1 | 420kV , 3150A, 50kA Circuit Breakers (3-Phase) with support structure without closing resistor | EA | 2 |  | Included
3 | 998731 |  | 18% |  | Erection Hardware for 420 kV D Type S/Y | cables | R.C Nagar-1 | Erection Hardware for 400kV D type layout- Switchable Line Reactors including NGR bypass arrangement as per technical specification | SET | 2 |  | Included
4 | 998736 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Circuit Breaker Relay Panel without Auto Reclose (withAutomation) | EA | 2 |  | Included
5 | 998736 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | 400kV Reactor Protection Panel (with Automation) | EA | 2 |  | Included
6 | 998736 |  | 18% |  | CRP for 420kV Bays with SAS | cables | R.C Nagar-1 | Augmentation of Substation automation System for 400kV Switchable LineReactor Bay as per Technical Specification | EA | 2 |  | Included
7 | 995454 |  | 18% |  | FOUNDATION BOLT | cables | R.C Nagar-2 | Fabrication, galvanising and supply of 28mm dia foundation boltsincluding nuts, checknuts, washers and packplates. | EA | 24 |  | Included
8 | 998739 |  | 18% |  | BMK | cables | R.C Nagar-2 | 400 KV Bay Marshilling Kiosk | EA | 1 |  | Included
9 | 998736 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 10 |  | Included
10 | 998736 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 14CX2.5 SQMM CONTROL CABLE | KM | 3 |  | Included
11 | 998736 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 19CX2.5 SQMM CONTROL CABLE | KM | 2 |  | Included
12 | 998736 |  | 18% |  | Control Cable | cables | R.C Nagar-2 | 1.1KV GRADE 27CX2.5 SQMM CONTROL CABLE | KM | 1 |  | Included
13 | 998736 |  | 18% |  | Power Cable | cables | R.C Nagar-1 | 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 1 |  | Included
14 | 998736 |  | 18% |  | Power Cable | cables | R.C Nagar-1 | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1 |  | Included
15 | 995429 |  | 18% |  | CIVIL WORK | cables | R.C Nagar-2 | Dismantling of 400kV BPI | EA | 6 |  | Included
16 | 995431 |  | 18% |  | CIVIL WORK | cables | R.C Nagar-2 | Dismantling of Lattice/Pipe Support Structure for 400kV BPI (1-Phase) | EA | 6 |  | Included
17 | 998336 |  | 18% |  | CIVIL WORK | CRP | R.C Nagar-1 | Demolishing RCC work including stacking of steel bars and disposal of unserviceable material | M3 | 12 |  | Included
18 | 995433 |  | 18% |  | CIVIL WORK |  |  | Excavation in all types of soil and rock including backfilling disposal etc. for all leads and lifts | M3 | 280 |  | Included
19 | 995454 |  | 18% |  | CIVIL WORK |  |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 15 |  | Included
20 | 995454 |  | 18% |  | CIVIL WORK |  |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 30 |  | Included
21 | 995454 |  | 18% |  | CIVIL WORK |  |  | Steel Reinforcement | MT | 5.71 |  | Included
22 | 995424 |  | 18% |  | CIVIL WORK |  |  | Antiweed treatment | M2 | 400 |  | Included
23 | 995428 |  | 18% |  | CIVIL WORK |  |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 400 |  | Included
24 | 995454 |  | 18% |  | CIVIL WORK |  |  | Providing and laying of Reinforced Cement Concrete mix (1:1:5:3) including Pre cast,shuttering,grouting of pockets,underpinning but excluding steel reinforcement | M3 | 80 |  | Included
25 | 995455 |  | 18% |  | CIVIL WORK |  |  | Erection of 28mm dia foundation bolts including nuts, checknuts, washers and packplates | EA | 24 |  | Included
26 | 995455 |  | 18% |  | CIVIL WORK |  |  | Misc. Structural steel including rails, embedments, edge protection angles, grating etc. but excluding reinforcement. | MT | 4.8 |  | Included
27 | 995414 |  | 18% |  | CIVIL WORK |  |  | 400kV Panel Room- Civil works. All civil works as per drawing and speciifcation complete, including-brickwork, finishing (externla & internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid seperately as per BPS. | Sqm | 33.66 |  | Included
28 | 995462 |  | 18% |  | CIVIL WORK |  |  | Supplying & laying hume pipe of grade (NP-3) excluding reinforcement and concrete as per drawing-600mm dia | RM | 6 |  | Included
29 | 995428 |  | 18% |  | CIVIL WORK |  |  | Stone spreading in switchyard excluding PCC | sqm | 100 |  | Included
30 | 995463 |  | 18% |  | CIVIL WORK | CRP | R.C Nagar-1 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
31 | 995461 |  | 18% |  | CIVIL WORK | CRP | R.C Nagar-2 | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included
32 | 998739 |  | 18% |  | CIVIL WORK | CRP | R.C Nagar-2 | Illumination System for switchyard panel room of 6 m length | No | 1 |  | Included
[8 empty] | Total Amount (Part-I) |  |  |  | 0
Part II : Implementation of NGR Bypass Scheme
1 | 998736 |  | 18% |  | 145kV CB | Cables | Khleheriat#2 | 145kV, 1250A, 31.5kA Circuit Breaker (1-phase) with support structure | No | 2 |  | Included
2 | 998734 |  | 18% |  | 145kV BPI | Cables | Khleheriat#2 | 145kV , 1 phase Bus Post Insulators | No | 2 |  | Included
3 | 995455 |  | 18% |  | 145kV BPI Support Structure | Cables | Khleheriat#2 | Erection of Std. 132kV Support Structure 1-Phase BPI including nuts, bolts all type of washers packplates, step bolts and gussed plates excluding foundations bolts. | No. | 2 |  | Included
4 | 998736 |  | 18% |  | Cable | Cables | Khleheriat#2 | 1.1KV GRADE 14CX2.5 SQMM (PVC) CONTROL CABLE | KM | 1 |  | Included
5 | 998336 |  | 18% |  | CIVIL WORK | Cables | Khleheriat#2 | Demolishing RCC work including stacking steel bars and disposal of unserviceable material. | Cum | 3.248 |  | Included
6 | 995433 |  | 18% |  | CIVIL WORK | Cables | Khleheriat#2 | Excavation in all types of soil and rock including backfilling disposal etc. for all leads and lifts | Cum | 17.814 |  | Included
7 | 995454 |  | 18% |  | CIVIL WORK | Cables | Kopili#2 | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | Cum | 0.868 |  | Included
8 | 995454 |  | 18% |  | CIVIL WORK | Cables | Kopili#2 | Providing and laying of Reinforced Cement Concrete 1:1.5:3 including pre cast, shuttering, Grouting of pockets & underpinning but excluding steel reinforcement | Cum | 4.826 |  | Included
9 | 995454 |  | 18% |  | CIVIL WORK | Cables | Kopili#2 | Foundation bolts including nuts, checknut and washers for lattice and pipe structures-only erection for CB: 24 MM DIA | No | 8 |  | Included
10 | 995454 |  | 18% |  | CIVIL WORK | Cables | Kopili#2 | Foundation bolts including nuts, checknut and washers for lattice and pipe structures-only erection for BPI:24 MM DIA | No | 8 |  | Included
11 | 995454 |  | 18% |  | CIVIL WORK | Cables | Kopili#2 | Steel Reinforcement | MT | 0.248 |  | Included
[8 empty] | Total Amount (Part-II) |  |  |  | 0
Total Bid Price for the Schedule-IC | [11 empty] | 0 |  |  |  |  | #REF!
Note : | Specify amount of GST on the transaction between the Contractor and the Employer. GST Shall be applicable at extra as applicable.
# | # In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder. In case the bidder doesnot quote for any of the BOQ line item then the unit rate against that item shall be considered included in other quoted unit rate. If there is any discrepancy in the total quoted price indicated in this sheet of Price_Schedule and elsewhere in the E-tender portal, then the prices indicated in this sheet of Price_Schedule shall prevail for the purpose of bid evaluation and further action.
Date : | 11/Jan/2025 | [9 empty] | Printed Name : | Printed Name
Place : | Place | [9 empty] | Designation : | Desig

## Sch-3
#REF! |  |  | Summary to BPS-Vol-IC
Package: Implementation of NGR bypass scheme of 420kV, 63MVAr Fixed line reactor of each 400kV D/C Bongaigaon-Balipara-III & IV line into switchable line reactor at POWERGRID, 400kV Bongaigaon Substation under Expansion Scheme- XXV Part-B (NERES-XXV Part-B).
(GRAND SUMMARY)
Bidder’s Name and Address:( Sole Bidder) |  | To,
Name : | Name |  | General Manager (C&M)
Address : | Add1 |  | Power Grid Corporation of India Limited
| Add2 |  | North Eastern Region
Dongtieh, Lower Nongrah, Lapalang
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. IA
| Supply |  | 0
2 | TOTAL SCHEDULE NO. IB
| Freight & Insurance |  | 0
3 | TOTAL SCHEDULE NO. IC
| Erection Charges |  | 0
5 | TOTAL SCHEDULE NO. 5 |  | #REF!
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | NOT APPLICABLE
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3] |  | 0
Date : | 1900-01-10 | Printed Name : | Printed Name
Place : | Place | Designation : | Desig