| Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| Volume-II; Technical Specifications (Doc. Code No. DC- 4120-16857, April 2021) |  |  |  |  |
| 1. | Volume II, Section I, Clause 3, Sl. No. C 4 | ……………………. i); Sag for ruling span at designed maximum temperature & no wind condition (m); ≤12.864. ii); Sag for ruling span at minimum temp (2.5 deg C) and no wind condition (m); ≥9.65. ………………………….. | We also request you to kindly arrange an amendment in respect of Sag under: Condition -I Wind pressure 48 kg/m2 Sag requirement at 2.5 deg & nil wind condition minimum 9.67 M Sag requirement at designed opt & nil wind condition maximum HYPERLINK "mailto:13.26M@75" 13.26M@75 deg sag of acsr moose conductor | Provisions of the bidding document remain unchanged. |