| Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| Volume-I; Conditions of Contract (Doc. Code No. DC- 4120-16856, April 2021) |  |  |  |  |
| 1. | Volume-I, Section-III, BDS, ITB 2.1 & ITB 9.3 (c) | Supplementing ITB clause 2.1 with the following: Bid can be submitted by only such manufacturers who do not meet the following Technical experience on their own: “The Bidder should have manufactured, tested and supplied at least one hundred (100) km of High temperature low sag (HTLS) conductor of same technology as that of the conductor being offered in this package having minimum thirty seven (37) number of strands or 200 sq. mm. aluminum cross section area in last Seven (7) years as on the originally scheduled date of bid opening i.e. 10.05.2021 and the same should have been in satisfactory operation$ for a period of at least one (1) year as on the originally scheduled date of bid opening”. $ Satisfactory operation means Certificate issued by the Employer certifying the operation without any adverse remark. ……………………………. Supplementing ITB clause 9.3 (c) with the following: Bid can be submitted by only such manufacturers who do not meet the following Technical experience on their own: “The Bidder should have manufactured, tested and supplied at least one hundred (100) km of High temperature low sag (HTLS) conductor of same technology as that of the conductor being offered in this package having minimum thirty seven (37) number of strands or 200 sq. mm. aluminum cross section area in last Seven (7) years as on the originally scheduled date of bid opening i.e. 10.05.2021 and the same should have been in satisfactory operation$ for a period of at least one (1) year as on the originally scheduled date of bid opening”. $ Satisfactory operation means Certificate issued by the Employer certifying the operation without any adverse remark. Bidders have to submit an Undertaking in this regard in Attachment-28 of the Bid Forms. | ………………………………………………………. Hence we therefore request you to kindly amend the supplementing ITB clause 2.1 & 9.3 (c) in the BDS. As under: “The Bidder should have manufactured, tested and supplied at least one hundred (100) km of High temperature low sag (HTLS) conductor of same technology as that of the conductor being offered in this package having minimum thirty seven (37) number of strands or 200 sq. mm. aluminum cross section area in last Seven (7) years as on the originally scheduled date of bid opening i.e. 10.05.2021 and the same should have been in satisfactory operation$ for a period of at least one (1) year as on the originally scheduled date of bid opening”. $ Satisfactory operation means Certificate issued by the Employer certifying the operation without any adverse remark. | Provisions of the bidding document remain unchanged. |
| 2. |  |  | With reference to the pre-bid discussion & as highlighted, as per BDS, ITB Clause 2.1 Bid Can be submitted by only such manufacturers who do not meet the following Technical experience on their own: “The Bidder should have manufactured, tested and supplied at least one hundred (100) km of High temperature low sag (HTLS) conductor of same technology as that of the conductor being offered in this package having minimum thirty seven (37) number of strands or 200 sq. mm. aluminum cross section area in last Seven (7) years as on the originally scheduled date of bid opening i.e. 10.05.2021 and the same should have been in satisfactory operation$ for a period of at least one (1) year as on the originally scheduled date of bid opening”. With the above, it can be inferred, that any bidder who has supplied 100Km of HTLS (same technology) but not meeting one-year satisfactory operation experience is also eligible to bid. As explained during the discussion, here we would like to draw your kind attention that the basic concept of any vendor development program is to develop more new vendors. Such bidders who have already supplied would anyways be ahead and would be completing one year operation experience early & therefore should not be allowed to participate. Hence, we therefore request you to kindly amend the para suitably. | Provisions of the bidding document remain unchanged. |