| # Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| # Volume-I; Conditions of Contract (Doc. Code No. DC-3071-15727, Nov 2020) |  |  |  |  |
|  | # ITB Clause ITB 9.3(i), ITB, Section –II | # (i) Attachment 8: Manufacturer’s Authorisation Form Scanned copy of above documents shall be uploaded (refer para 15.4 below) | Kindly accept that the Manufacture's Authorisation Forms from individual Manufacturer's OEM's can be submitted during detailed engineering after the award. | # The provisions of the Bidding Documents are amply clear. |
|  | # ITB Clause ITB 9.3(w), BDS, Section –III | # (w) Attachment 22: Certificate from statutory auditor or cost auditor of the company (in the case of companies) or from a practicing cost accountant or practicing chartered accountant (in respect of suppliers other than companies) giving the percentage of Local Content, in line with PPP-MII Order and MoP Order, if applicable (submission of Hard Copy in ‘Original’) to be submitted on the letter head of the auditor/ cost accountant/chartered accountant. # In line with the PPP-MII Order and MoP Order, the bidder shall submit certificate from statutory auditor or cost auditor of the company (in the case of companies) or from a practicing cost accountant or practicing chartered accountant (in respect of suppliers other than companies) giving the percentage of Local Content, if applicable, on the letter head of the auditor/chartered accountant. # Further, auditor’s/ accountant’s certificates (as the case may be) submitted by the Bidder may be may be verified randomly by the committee constituted as per PPP-MII Order and MoP order. In case of false documents / misrepresentation of the facts, requisite action against such Bidder will be taken based on the recommendation of the Committee and in line with provisions of the Integrity pact. # Bidder may note that the other directions of Nodal Ministry as identified under PPP-MII Order shall also be suitably considered in regard to verification/action of the certificate. | # Request for acceptance of self declaration on local content requirements instead of certification from statutory auditor/ cost auditor or practicing cost accountant or practicing chartered accountant of the company as all the equipments under the scope of contract shall be supplied upon receipt of Powergrid approval or from within Powergrid pre-approved vendor list. | # The provisions of the Bidding Documents are amply clear. |
|  | # GCC Clause 22.2, GCC, Section –IV | Unless otherwise specified in SCC, the Defect Liability Period shall be twelve (12) months from the date of Taking Over /Completion of Facilities (or any part thereof). If during the Defect Liability Period any defect should be found in the design, engineering, materials and workmanship of the Plant and Equipment supplied or of the work executed by the Contractor, the Contractor shall promptly, in consultation and agreement with the Employer regarding appropriate remedying of the defects, and at its cost, repair, replace or otherwise make good (as the Contractor shall, at its discretion, determine) such defect as well as any damage to the Facilities caused by such defect. The Contractor shall not be responsible for the repair, replacement or making good of any defect or of any damage to the Facilities arising out of or resulting from any of the following causes: (a) improper operation or maintenance of the Facilities by the Employer (b) operation of the Facilities outside specifications provided in the Contract (c) Normal wear and tear. | The period for Defect Liability period in the said clause is mentioned from "Taking Over / Completion of Facilities." It may so happen that contractor has completed all the required facilities as per the contract and the Client / Owner may not be able to take over the project for whatsoever reason for which contractor is not responsible. Hence, the same shall be repalced as "from Taking over / Completion of facilities, whichever is earlier". Request you to kindly incorporate the above and kindly ammend the clause as suitable. | # The provisions of the Bidding Documents are amply clear and shall remain unaltered. |
|  | # GCC Clause 22.8.1, SCC, Section –V | Upon correction of the defects in the (145kV/220KV/245kV/400kV class) Current Transformer / Circuit Breaker by repair/replacement, such repair/ replacement shall have the Defect Liability Period of the said (145kV/220KV/245kV/400kV class) Current Transformer/ Circuit Breaker extended by a period of 2 years from the time of such repair/replacement of the said (145kV/220KV/245kV/400kV class) Current Transformer/ Circuit Breaker to rectify the defect, or up to the expiry of period mentioned in GCC Sub-Clause 22.2, whichever is later. | The said clause states that "Upon correction of the defects in the (132kV/220KV class) Current Transformer/ Capacitive Voltage Transformer/ Circuit Breaker by repair/replacement, such repair/replacement shall have the Defect Liability Period of the said (132kV/220KV class) Current Transformer/ Capacitive Voltage Transformer/ Circuit Breaker extended by a period of 2 years from the time of such repair/replacement of the said (132kV/220KV class) Current Transformer/ Capacitive Voltage Transformer/ Circuit Breaker to rectify the defect, or up to the expiry of period mentioned in GCC Sub-Clause 22.2, whichever is later." The defect liability for 220 kV & 132 kV Circuit Breakers and Instrument transformers is 60 Months. If the defect is encountered in the said equipments in the last year or few months before the completion of defect liability, than the defect liability period has to be extended for a period of another two years which is not viable. In view of the above, request you to kindly delete the said clause. | # The provisions of the Bidding Documents are amply clear and shall remain unaltered. |
|  | # GCC Clause 30.1(a), GCC & SCC, Section –IV &V | (a) Marine Cargo Policy/Transit Insurance Policy: (I)(i) Marine Cargo policy for imported equipment The Contractor shall take the Marine Cargo Policy for Plant and Equipment including Mandatory Spares to be supplied from abroad wherein export/import including inland transit is involved for the movement of the Plant and Equipment including mandatory Spares. The policy shall cover movement of Plant and Equipment including mandatory Spares from the manufacturer‟s works to the project‟s warehouse at final destination site. The policy shall cover all risk for loss or damage that may occur during transit of Plant and Equipment including mandatory Spares from the Contractor/sub-Contractor‟s works or stores until arrival at project‟s warehouse/ store at final destination. Institute Cargo Clause (ICC) „A‟ along with war & Strike Riots & Civil Commotion (SRCC) cover shall be taken. (I)(ii)Transit Insurance Policy for indigenous equipment Similarly, Transit Insurance Policy shall be taken wherein only inland transit is involved for the movement of Plant and Equipment including mandatory Spares supplied from within India. The policy shall cover movement of Plant and Equipment including mandatory Spares from the manufacturer’s works to the project’s warehouse at final destination site. Inland Transit Clause (ITC) ‘A’ along with Strike Riots & Civil Commotion (SRCC) extension cover shall be taken. (II) If during the execution of Contract, the Employer requests the Contractor to take any other add-on cover(s)/ supplementary cover(s) in aforesaid insurance, in such a case, the Contractor shall promptly take such add-on cover(s)/ supplementary cover(s) and the charges towards such premium for such add-on cover(s)/ supplementary cover(s) shall be reimbursed to the Contractor on submission documentary evidence of payment to the Insurance company. Therefore, charges towards premium for such add-on cover(s)/ supplementary cover(s) are not included in the Contract Price. (III) The Contractor shall take the policy in the joint names of Employer and the Contractor. The policy shall indicate the Employer as the beneficiary. However, if the Contractor is having an open policy for its line of business, it should obtain an endorsement of the open cover policy from the insurance company indicating that the dispatches against this Contract are duly covered under its open policy and include the name of the Employer as jointly Insured in the endorsements to the open policy. | The referred clause states that if the contractor is having an open policy, the contractor has to obtain an endorsement for open policy from the Insurance company indicating that the dispatched against the said contract are duly covered under open policy and include the name of the Employer as jointly insured in the same. As per our understanding the above referred clause is applicable only for Marine Cargo Policy / Transit Insurance Policy. | # The provisions of the Bidding Documents are amply clear. |
|  |  |  | We would like to bring to your notice that M/s Bajaj Electricals (M/s BEL) have taken common umbrella policy for all the ongoing projects covering all the Insurances required as per the contract. Any new projects awarded to M/s BEL can be included in the same common policy with add-on premium. We, M/s BEL would like to cover the said project in our common policy incase M/s BEL is awarded the project. The necessary endorsement certificate shall be also be provided to PGCIL on award. Request you to kindly allow us to utilise the common policy of M/s BEL covering all the insurances required under the said contract which will enable us to submit the cost competitive proposal to PGCIL which in turn will help you to bag orders for same. | # The provisions of the Bidding Documents are amply clear. |
|  | # Clause 1.1 (D), Supply Portion & 1.4(C), Apendix-1, Service portion, Sample Form and Procedures | - Supply Portion ……………… D Final Payment Balance 10% (ten percent) of the Ex-works price component of Main Equipment shall be paid as per the following: a) 5% (Five percent) on Successful completion of erection, testing and commissioning of individual bays. b) 5% (Five percent) on proof of submission of required number of reproducibles, O&M Manuals, approved drawings, data sheets, test report, pamphlets and manuals of mandatory spares, maintenance & testing equipment and on successful completion of erection, testing and commissioning of Substation and issuance of Taking Over Certificate. 1.4 Supply of Services Portion: ………………….. C. Final Payment Final 10% payment shall be made as follow: a) 5% (five percent) of the Installation price component shall be paid on Successful completion of erection, testing and commissioning of individual bay. b) balance 5% (five percent) of the Installation price component shall be paid on Successful completion of erection, testing and commissioning of Substation and issuance of Taking Over Certificate. | As per the terms of payment mentioned in the tender document, the Final 10% shall be paid on following. 5% on Successful completion of erection, testing and commissioning of individual bays & 5% on successful completion of erection, testing and commissioning of Substation and issuance of Taking Over Certificate (TOC). We understand that last 5% payment shall be released on successfull completion of Erection, Testing and Commissioning and issuance of TOC each substation wise present under the scope. Please Confirm. | # The provisions of the Bidding Documents are amply clear. |