Brief Scope of work, Not necessarily limited to the following:

The scope of the package covers design, engineering, manufacturing, fabrication, assembly, testing, insurance, loading, transportation, unloading and delivery at site, supply, field trial and demonstration, training, and commissioning at site of Portable Containerized High Voltage Test Setup for testing of Gas Insulated Switchgear of voltage class up to 765kV AC as per relevant IEC standards.

The High voltage test setup shall be of type utilizing Resonant Test System.

The High Voltage Test Setup shall be containerized in weatherproof containers and portable for frequent transportation.

The High Voltage Test Setup shall be capable of carrying out test in a charged switchyard of voltage up to 765 kV AC.