| Sl. No. | Clause ref. | Existing provision | Amended provision |
| --- | --- | --- | --- |
| 1.0 | S. No A.5 of Specific Requirement Rev 10 & Clause No. 9.2 of Section GTR rev 15 | The reports for all type tests as per technical specification shall be furnished by the Contractor along with equipment / material drawings. However, type test reports of similar equipments/ material already accepted in POWERGRID shall be applicable for all projects with similar requirement. The type tests conducted earlier should have either been conducted in accredited laboratory (accredited based on ISO / IEC Guide 25 / 17025 or EN 45001 by the national accreditation body of the country where laboratory is located) or witnessed by POWERGRID/representative authorized by POWERGRID/representative of Utility /representative of accredited test lab/ representative of The National Accreditation Board for Certification Bodies ( NABCB) certified agency shall also be acceptable. Unless otherwise specified elsewhere, the type test reports submitted shall be of the tests conducted within the years specified below from the date of NOA. In case the test reports are of the test conducted earlier than the years specified below from the date of NOA, the contractor shall repeat these test(s) at no extra cost to the Employer The reports for all type tests as per technical specification shall repeat these test(s) at no extra cost to the Employer:- S. No.; Name of Equipment; Validity of type test( in years ). 1; Power Transformer; 5. 2; LT Transformer; 5. 3; Shunt Reactor; 5. 4; OLTC; 10. 5; Bushing of Power Transformers/Reactors; 7. 6; Fittings and accessories for Power transformers & Reactors; 10. 7; Circuit Breaker; 10. 8; Isolator; 10. 9; Lighting Arrester; 10. 10; Wave Trap; 10. 11; Instrument transformer; 10. 12; GIS & Hybrid GIS; 15. 13; LT Switchgear; 10. 14; Cable and associated accessories; 10. 15; Relays; 7. 16; Capacitors; 10. 17; Battery and Battery charger; 10. 18; Conductor & Earth wire; 10. 19; Insulators ( Porcelain/Glass); 10. 20; Composite Insulators; 5. 21; PLCC; 5. Note For all other equipment’s validity of type test shall be 10 years from date of NOA Further, in the event of any discrepancy in the test reports i.e. any test report not acceptable due to any design/manufacturing changes or due to non-compliance with the requirement stipulated in the Technical Specification or any/all type tests not carried out, same shall be carried out without any additional cost implication to the Employer. The Contractor shall intimate the Employer the detailed program about the type tests atleast two (2) weeks in advance in case of domestic supplies & six (6) weeks in advance in case of foreign supplies. | The reports for all type tests as per technical specification shall be furnished by the Contractor along with equipment / material drawings. However, type test reports of similar equipments/ material already accepted in POWERGRID shall be applicable for all projects with similar requirement. The type tests conducted earlier should have either been conducted in accredited laboratory (accredited based on ISO / IEC Guide 25 / 17025 or EN 45001 by the national accreditation body of the country where laboratory is located) or witnessed by POWERGRID/representative authorized by POWERGRID/representative of Utility /representative of accredited test lab/ representative of The National Accreditation Board for Certification Bodies (NABCB) certified agency shall also be acceptable. Unless otherwise specified elsewhere, the type test reports submitted shall be of the tests conducted within the years specified below from the originally scheduled last date of bid submission (Soft Copy). In case the test reports are of the test conducted earlier than the years specified below from the originally scheduled last date of bid submission (Soft Copy)., the contractor shall repeat these test(s) at no extra cost to the Employer: - S. No.; Name of Equipment; Validity of type test( in years ). 1; Power Transformer; 10. 2; LT Transformer; 10. 3; Shunt Reactor/Series Reactor /Neutral Grounding Reactor; 10. 4; OLTC; 10. 5; Bushing of Power Transformers/Reactors; 10. 6; Fittings and accessories for Power transformers & Reactors; 10. 7; Circuit Breaker; 15. 8; Isolator; 15. 9; Lighting Arrester; 15. 10; Wave Trap; 15. 11; Instrument transformer; 15. 12; GIS & Hybrid GIS; 15. 13; LT Switchgear; 10. 14; Cable and associated accessories; 10. 15; Relays/BCU/Process Interface units /Standalone Merging unit; 10. 16; Capacitors; 10. 17; Battery and Battery charger; 10. 18; Conductor & Earth wire; 10. 19; Insulators (Porcelain/Glass); 10. 20; Composite Insulators; 10. 21; PLCC; 10. Note:- - For all other equipment’s validity of type test shall be 10 years from the originally scheduled last date of bid submission (Soft Copy). - Equipment shall be supplied from the same manufacturing work, where from the sample unit was manufactured and successfully type tested as per relevant standard. Further, where offered equipment is based on the design of technology transfer of Parent organization / Joint Venture (JV), type test reports of Parent organization / Joint Venture (JV) shall also be acceptable for the initial period of 03 years from the date of establishment manufacturing facility for offered equipment provided that the design, material, and manufacturing process of the offered equipment are identical to those of the type‑tested sample of the original facility. In such cases, while submitting the Type Test Reports, the Original Equipment Manufacturer (OEM), shall furnish an undertaking with it declaring that there is - No change in the Design, - No change in the material, - No change in manufacturing process, and - No amendment/revision in the relevant standard as regard to type test conditions, since the type test - In case of own manufacturing plant at different location within India, the type test of the original manufacturing works shall also be acceptable for the equipment manufactured and supplied from the different location subject to the following conditions: - The relevant standard does not bar the same, - The equipment being manufactured at different locations shall be identical in design, drawings, specifications, ratings to that of the type tested sample in the original facility (where it was manufactured and successfully type tested), - The equipment being manufactured at different locations shall be identical in material & critical components, manufacturing process/ practices, and quality control to that of the type tested sample in the original facility (where it was manufactured and successfully type tested), - Also, while submitting the Type Test Reports, the Original Equipment Manufacturer (OEM), shall furnish an undertaking for above conditions (i), (ii) and (iii). Further, in the event of any discrepancy in the test reports i.e. any test report not acceptable due to any design/manufacturing changes or due to non-compliance with the requirement stipulated in the Technical Specification or any/all type tests not carried out, same shall be carried out without any additional cost implication to the Employer. The Contractor shall intimate the Employer the detailed program about the type tests atleast two (2) weeks in advance in case of domestic supplies & six (6) weeks in advance in case of foreign supplies. |