| S. No. | Volume/Section Clause No. | Description | Clarification requested | POWERGRID’s Clarification |
| --- | --- | --- | --- | --- |
|  | Price Schedule (Sch-1, V 400/220kV Pavagda extn) | Bid Price Schedule-1 for: V) 400/220kV Pavagda extn | The sum of the items mentioned in (Sch-1, V 400/220kV Pavagda extn) does not reflect in the total ex-works price. Kindly verify and provide an updated price schedule for the same. | Refer Amendment II |
|  | Volume I- 11_Section-VI Sample Forms and Procedures (SFP) Appendix 2 – Price Adjustment CL 1.2 | The Ex-Works Price Components for following equipment/ materials and other items not specifically mentioned at para 2 below shall remain firm and no price adjustment shall be applicable for the price components of these items. Installation Hardware, Control and Relay Panels, PLCC Equipment, Wave Traps, Bus Post Insulators, Fire Protection Systems, Illumination System, L.T. Switchgear, IPS Aluminium Tube, Spares etc. | Pls confirm regarding GIS. | Refer Amendment II |