765kV AIS Substation Extension Package - SS129 including 220kV GIS: a) Augmentation of 1x 1500MVA ICT (3rd) at Jhatikara substation (Bamnoli/Dwarka section) under transmission system for evacuation of POWER from REZ in Rajasthan Phase-III, Part-J”. b) Extn. of 400(AIS)/220(GIS) kV Rajgarh Substation under augmentation of transformation capacity at 400/220kV Rajgarh S/S in MP by 400/220kV, 1x500MVA ICT (3rd). c) Extn. of 400kV KPS- 2 (GIS) under Interconnection of RE developer’s DTL at bay no. 416 of KPS-2 (400kV Bus Section-I). d) Extn. of 400/220kV Pavagada (Tumkur) S/S under augmentation of transformation capacity by 2x500MVA (7th & 8th), 400/220kV ICTs at Tumkur (Pavagada) 400/220kV Pooling Station. Spec. No.: CC/NT/W-AIS/DOM/A02/24/07542

Qualification Criteria Qualification of bidder will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by the Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm or a Joint Venture of two or more firms (Specific requirements for Joint Ventures are given under Para 1.3 below). The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) Bidder’s works / manufacturing facilities visit; (iii) manufacturing capacity, details of works executed, works in hand, anticipated in future & the balance capacity available for the present scope of work; (iv) Details of plant and machinery, manufacturing & testing facilities, manpower and financial resources; (v) Details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) Banker’s feedback; etc. - Experience 1.1 TECHNICAL EXPERIENCE 1.1.1 Bidder must have erected, tested and commissioned as a prime contractor* under a single contract, at least two (2) nos. AIS^ Circuit Breaker equipped bays of 345 kV or above voltage level in one Substation or switchyard during the last seven (7) years and these bays must be in satisfactory operation# as on the originally scheduled last date of bid submission (soft copy) i.e. 25/06/2024. Note (*) : In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. ^ AIS means Air Insulated Substation # Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. In case bidder is a holding company, the technical experience referred to in clause 1.1.1 above shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.1.1 above shall be of that subsidiary company only (i.e. excluding its holding company). - FINANCIAL POSITION: a) Net Worth for last 3 financial years should be positive. b) Minimum Average Annual Turnover *(MAAT) for best three years i.e 36 months out of last five financial years of the bidder should be Rs. 1267.99 million. * Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/ other income”. c) Bidder shall have liquid assets (L.A.) or/and evidence of access to or availability of credit facilities of not less than Rs. 211.33 million. Note 1:- In case bidder is a holding company, the financial position criteria referred to in clause 1.2 above shall be of that holding company only (i.e excluding its subsidiary/ group companies). In case bidder is a subsidiary of a holding company, financial position criteria referred to in clause 1.2 above shall be of that subsidiary company only (i.e excluding its holding company). Note 2:- Relaxation for Start-Ups^^/ MSEs Start-Ups^^/ MSEs, meeting the specified requirements at Para 1.2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 1.2 (b) & 1.2 (c) above in Financial Position. ^^ Start-Ups as defined by DIPP, applicable as on the Originally scheduled last date of bid submission (soft copy) 1.3 JOINT VENTURE FIRMS 1.3.1 In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, joint venture must comply the following minimum criteria: - All the partners of the JV shall meet individually the Financial Position criteria given at 1.2 (a) above. - The lead partner shall meet, not less than 40% of the Financial Position criteria given at para 1.2 (b) & (c) above and 100% of the Technical Experience criteria given at 1.1 above. - Each of the other partner (s) individually - shall meet not less than 25% of the Financial Position criteria given at 1.2 (b) & (c) above. b) must have erected, tested and commissioned as a prime contractor* under a single contract, at least one (1) no. AIS^ Circuit Breaker equipped bay of 345kV or above voltage level in one substation or switchyard during last seven (7) years and this bay must be in satisfactory operation# as on the originally scheduled last date of bid submission mentioned above. - The joint Venture must satisfy collectively the Criteria of clause 1.2(b) & (c) above for which purpose the relevant figure of average annual turnover and liquid assets / credit facilities for each of the partners of the JV shall be added together to arrive at Joint Venture total capacity. Note (*): In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. # Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark.

1.4   The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above.

*** End of Annexure-A (BDS) ***