| Sl. No. | Clause Ref. No. | Existing provision | Amended as |
| --- | --- | --- | --- |
|  | Schedule I & II of Vol-III of Bidding Documents Bid Price Schedule (BPS) SS EXTN FOR 1x500 MVA ICT at Rajgarh | S. No; Material Code; Description; Unit; Qty. III; SS EXTN FOR 1x500 MVA ICT at Rajgarh. 11; 1000001838; 245 kV, 3000A, 50kA, SF6 GIS Bus barmodule as per Section-Project,Technical specification; SET; 02. | S. No; Material Code; Description; Unit; Qty. III; SS EXTN FOR 1x500 MVA ICT at Rajgarh. 11; 1000001838; 245 kV, 3000A, 50kA, SF6 GIS Bus barmodule as per Section-Project,Technical specification; EA; 00. 1000032784; 245 kV,3000A, 50kA SF6 GIS bus bar module extension as per section-project, technical specification; SET; 02. |
|  | Schedule III of Vol-III of Bidding Documents Bid Price Schedule (BPS) SS EXTN FOR 1x500 MVA ICT at Rajgarh | S. No; Service Code; Description; Unit; Qty. III; SS EXTN FOR 1x500 MVA ICT at Rajgarh. 11; 100000400; 245 kV, 3000A, 50kA, 3 single phase(isolated), SF6 gas insulated, metalenclosed bus bars to interconnect eachof Circuit Breaker bay module completewith voltage transformer, disconnectorswith grounding switch, local controlcubicle, SF6 gas monitoring system forthe complete bus; SET; 02. | S. No; Service Code; Description; Unit; Qty. III; SS EXTN FOR 1x500 MVA ICT at Rajgarh. 11; 100000400; 245 kV, 3000A, 50kA, 3 single phase(isolated), SF6 gas insulated, metalenclosed bus bars to interconnect eachof Circuit Breaker bay module completewith voltage transformer, disconnectorswith grounding switch, local controlcubicle, SF6 gas monitoring system forthe complete bus; SET; 00. 100003578; 245 kV,3000 A, 50 kA SF6 GIS Bus bar module Extension as per Section-Project, Technical specification; SET; 02. |

Note:

The existing file “Price_schedule_rev1” enclosed in Vol-III of Bidding Documents stands replaced by file “Price_schedule_rev2" attached herewith.

Bidders are requested to consider the revised excel ‘Price_schedule_rev2’ for bid preparation/submission. (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid).