| Sr. No. | Clause No. | Clause Description/ Provision in Bidding documents | Clarification requested | POWERGRID’s Clarification |
| --- | --- | --- | --- | --- |
| Volume-II (TECHNICAL SPECIFICATIONS) |  |  |  |  |
| 1. | - | Auto Transformer rating mentioned in bidding documents as: BPS & Section Project : 200MVA,220/132/33kV 3-Ph Auto Transformer TS Section, Transformer, Rev 13: 200MVA,220/132kV 3-Ph Auto Transformer | This is in reference to above, it is to inform that in BOQ rating mentioned as 200 MVA, 220/132 KV/33 KV, while in technical specification mentioned as 220/132 KV | Please refer Sl no -1 of Amendment-I dated 02/06/2023. |