## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package
2 | Specification No.
3 | Package Code
4 | Item Description | ACSR ZEBRA Conductor
5 | Quantity in km. | 6615
6 | Type Tests | Tests to be conducted | Nos of tests

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704
1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 & Discount.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | The price quoted in respect of all items shall be excluding GST applicable on transaction between the Employer and the Contractor
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to Proceed

## Names of Bidder
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 | Manufacturer | 1
| Authorized Dealer/ Sub-dealer of Manufacturer | 2
Enter following details of the bidder | Authorized Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Name of Manufacturer
Address
Printed Name
Designation
PhoneNo/ Mobile No.
e-mail ID
Date
Place
Click for
Sch-1

## Sch-1
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
(SCHEDULE OF RATES AND PRICES : - Scheduled Items ) PART A
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item No. DSR 21 | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART A: Schedule items
1 | 18.12 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.
| 18.12.3 | 25 mm dia nominal bore | metre | 1300 |  | 0
| 18.12.4 | 32 mm dia nominal bore | metre | 620 |  | 0
| 18.12.6 | 50 mm dia nominal bore | metre | 705 |  | 0
2 | 18.17 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : |  |  |  | 0
| 18.17.1 | 25 mm nominal bore | each | 60 |  | 0
| 18.17.2 | 32 mm nominal bore. | each | 3 |  | 0
| 18.17.4 | 50 mm nominal bore | each | 3 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total for PART-A-Schedule items (Excluding GST) : |  |  |  | 0 | #REF!
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2

## Sch-2
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 | [5 empty] | Schedule - 2
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
SCHEDULE OF RATES AND PRICES : PART-B- Non Scheduled Items
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
Non-schedule items
1 | NS-01 | Providing and fixing G.I. Nozzel (1 Inch) as per direction of Engineer - in - charge. | each | 60 |  | 0
|  | Total (PART-B) - Non Scheduled Items (Excluding GST) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-3

## (Part-III) Sch-1 (hidden)
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-A- SCHEDULED ITEMS AS PER DSR-2014)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | ITEM NO. | Item Description | Unit | Qty. | Rate | Amount
1 |  | 2 | 4 | 5 | 6 | 7 = 5 x 6
PART-III Construction of SEWERAGE SYSTEM for Residential Qtr
PART-A - (SCHEDULE ITEMS AS PER DSR - 2016)
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cu.m. | 60
2 | 2.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
| 2.10.1.2 | Pipes, cables etc. exceeding 80mm dia but not exceeding 300mm dia. | Metre | 1000
3 | 2.11 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | Metre | 50
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu. M | 20
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cu. M | 50
6 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | Sq.m. | 80
7 | 17.35 | Providing and fixing soil, waste and vent pipes :
| 17.35.1 | 100 mm dia
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | metre | 10
8 | 18.27 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
| 18.27.3 | 150 mm dia pipe | metre | 50
9 | 18.28 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
| 18.28.3 | 150 mm diameter pipe | each | 20
10 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
| 19.1.2 | 150mm diameter | Metre | 1000
11 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
| 19.2.2 | 150 mm diameter S.W. pipe | Metre | 1000
12 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
| 19.6.4 | 300 mm dia RCC pipes. | metre | 30
13 | 19.15 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design :
| 19.15.1 | With 20x20 mm square bar | Each | 30
Sum of Items as per DSR-2016
|  | Percentage quoted above (+) / below(-) DSR-2016 |  |  |  | 0
|  | Total for PART-III (PART-A) -(Schedule Items) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2(Part-I)

## (Part-III) Sch-2 (hidden)
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 | [5 empty] | Schedule - 2
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-B- NON SCHEDULED ITEMS)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-II Construction of SEWERAGE SYSTEM for Residential Qtr
PART-B | NON-SCHEDULE ITEMS
1 | NS-1 | Construction brick masonary manholes in cement mortar 1:4 - 1 cement : 4 coarse sand- R.C.C. top slab with 1:2:4 mix -1 cement : 2 coarse sand : 4 approved graded stone aggregate 20mm nominal size- foundation concrete 1:4:8 mix -1 cement : 4 coarse sand :8 graded stone aggregate 40mm nominal size) inside plastring 12mm thick with cement morter 1:3(1 cement:3 Coarse sand) finished with a floating coat of neat cement and making channel in cementconcrete 1:2:4 (1 cement:2 coarse sand:graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design of CPWD.
Inside size 90X80 cm and 45cm deep including C.I. Cover with frame (light duly) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 Kg (weight of cover 23 Kg and and weight of frame 15 Kg)
| a | With Fly Ash Bricks | Each | 40
2 | NS-2 | Extra for depth for manholes
Size 90 x 80cm
|  | With Fly Ash Bricks of average compressive strength of 50 Kg/cm2 | Meter | 35
Total PART-III ( PART-B) - (Non-Schedule Items)
Printed Name :
Date : |  |  |  |  | Designation :
Place :
Click for
Sch-3(Part-I)

## Sch-3
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 |  |  |  |  | Schedule - 3
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.” | [8 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES : PART-C- ELECTRICAL ITEMS) | [8 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address |  |  |  | To: |  |  |  |  | As per Percent on Sch-3
Bidder as |  |  |  | Contract & Material |  |  |  |  | Multipackage lum-sum
Name : |  |  |  | Power Grid Corporation of India Ltd., |  |  |  |  | Multipackage on Percent
Address : |  |  |  | Western Region -I Headquarters |  |  |  |  | Total Discount
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item Description | Unit | Qty. | Rate | Amount
| 2 | 4 | 5 | 6 | 7 = 5 x 6
NOT APPLICABLE
Included
0
| Total (PART-C) - Excl GST |  |  |  | 0 | 0.18 | #REF! | #REF!
Date : | 0 |  |  |  | Printed Name : | 0
Place : | 0 |  |  |  | Designation : | 0

## Sch-4
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 |  |  | Schedule - 5
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description
1 | PART-A- Scheduled items |  | 0
2 | PART-B- Non Scheduled Items |  | 0
3 | PART-C- Electrical Items |  | 0
| Total of PART-A + PART-B+ PART-C |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discout

## Sch-5 After Discount
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 |  |  | Schedule - 5 After Discount
“Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
(GRAND SUMMARY - AFTER DISCOUNT)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description |  | Total Price (INR) | Total Discount | 0%
1 | PART-A- Supply |  | 0 | 0 | 0
2 | PART-B- Scheduled items |  | 0 | 0 | 0
| PART-B- Non Scheduled Items |  | 0
0
0
0
0
0
0
0
0
0
2 | PART-C- Electrical Items |  | 0 | 0 | 0
| Total of PART-A + PART-B + PART-C |  | 0
| GRAND TOTAL after Discount |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discount

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract & Material
Power Grid Corporation of India Ltd.,
Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Subject : |  | “Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.”
1) All the discounts mentioned below shall be applied separately.
2) Please verify Schedule-5 (after Discount) after filling this letter of discount.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdules of all the Parts i.e. (PART-A + Part-B+PART-C) In Rs. |  |  | 0 | 0%
AND
| 2 | Discount on percent basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdulesof all the Parts i.e. (PART-A + Part-B+PART-C) In Percent (%) |  |  |  | 0%
| 1) Discount is Optional. 2) Bidder may fill any of the above two Indicated Discounts or both the Discounts. 3) Discount(s) offered at Sl. No. 1 to 2 will automatically simultaneously get accounted for in all the Schedules of all the Parts.. | [5 empty] | 0%
| 5 | We hereby offer Multi-package discount as given below:
[5 empty] | #REF! | 0%
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Note:
1) All the discounts mentioned above shall be applied separately.
2) Please verify Schedule-5 after filling the above letter of discount.
Yours faithfully,
For and on behalf of
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No.: WR-1/C&M/PS/I-3026A/2024/Rfx-5005009704 |  |  |  |  | Bid Form 2nd Envelope | 0 |  |  |  |  | 1 | st |  | 1 | January
[6 empty] | #REF! |  |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | [10 empty] | 6 | th | #VALUE! | 6 | June
[11 empty] | 7 | th | #VALUE! | 7 | July
To: | [10 empty] | 8 | th | #VALUE! | 8 | August
Contract & Material | [10 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [10 empty] | 10 | th |  | 10 | October
Western Region -I Headquarters | [10 empty] | 11 | th |  | 11 | November
Sampriti Nagar, Nari Ring Road | [10 empty] | 12 | th |  | 12 | December
PO: Uppalwadi, Nagpur (MS) -440026 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | “Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.” | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of “Providing and Laying of Water supply System for irrigation of Horticulture works at 765kV Kotra PS Raigarh.” under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rupees only) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of | under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rupees only) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Sch-1 |  | PART-A-SCHEDULED ITEM | [7 empty] | 21 | st
| Sch-2 |  | PART-B-NON-SCHEDULED ITEM - NA
| Sch-3 |  | PART-C- ELECTRICAL ITEMS - NA
| Sch-4 |  | GRAND SUMMARY
| Sch-5 After Discount |  | GRAND SUMMARY after DISCOUNT
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 9, Section–II: SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be FIRM during the execution of Contract and not subject to any Price Adjustment . | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## N-W (hidden)
0
0
0
0
0
Rupees only
0 | zero |  | only
0 | zero | hundred
0 | zero | thousand
0 | zero | lakh
0 | zero | crore | Rupees
0 | zero
1 | one
2 | two
3 | three
4 | four
5 | five
6 | six
7 | seven
8 | eight
9 | nine
10 | ten
11 | eleven
12 | twelve
13 | thirteen
14 | fourteen
15 | fifteen
16 | sixteen
17 | seventeen
18 | eighteen
19 | nineteen
20 | twenty
21 | twenty one
22 | twenty two
23 | twenty three
24 | twenty four
25 | twenty five
26 | twenty six
27 | twenty seven
28 | twenty eight
29 | twenty nine
30 | thirty
31 | thirty one
32 | thirty two
33 | thirty three
34 | thirty four
35 | thirty five
36 | thirty six
37 | thirty seven
38 | thirty eight
39 | thirty nine
40 | forty
41 | forty one
42 | forty two
43 | forty three
44 | forty four
45 | forty five
46 | forty six
47 | forty seven
48 | forty eight
49 | forty nine
50 | fifty
51 | fifty one
52 | fifty two
53 | fifty three
54 | fifty four
55 | fifty five
56 | fifty six
57 | fifty seven
58 | fifty eight
59 | fifty nine
60 | sixty
61 | sixty one
62 | sixty two
63 | sixty three
64 | sixty four
65 | sixty five
66 | sixty six
67 | sixty seven
68 | sixty eight
69 | sixty nine
70 | seventy
71 | seventy one
72 | seventy two
73 | seventy three
74 | seventy four
75 | seventy five
76 | seventy six
77 | seventy seven
78 | seventy eight
79 | seventy nine
80 | eighty
81 | eighty one
82 | eighty two
83 | eighty three
84 | eighty four
85 | eighty five
86 | eighty six
87 | eighty seven
88 | eighty eight
89 | eighty nine
90 | ninety
91 | ninety one
92 | ninety two
93 | ninety three
94 | ninety four
95 | ninety five
96 | ninety six
97 | ninety seven
98 | ninety eight
99 | ninety nine