Amendment No–01 to the bidding documents for GIS Substation Extension Package SS107 for (i) Extension of 400/220kV Rajgarh Substation (POWERGRID) under Transmission system for providing connectivity to M/s VEH Jayin Renewables Pvt. Ltd., (ii) Extension of 765/400kV Pune, Shikrapur Substation (POWERGRID) under Western Region Expansion Scheme–XXXI (WRES-XXXI) and (iii) Extension of 132/66kV Gangtok SS under Eastern Region Expansion Schemes- ERES-XXX & ERESXXXIII;

Spec. No: CC/NT/W-GIS/DOM/A04/23/00296

| Volume-II: Technical Specifications |  |  |  |
| --- | --- | --- | --- |
| S N | Clause No. | Existing Clause | Amendment |
| 1 | Specific Requirement (Annexure II), clause B Section GIS Rev 5A, point no.1 | Under Specific Requirement (Annexure II), clause B Section GIS Rev 5A, point no.1 "GIS of all voltage levels above 52kV class envisaged under a single package, shall be supplied from one GIS manufacturer who shall be responsible for design, manufacturing, erection, testing and commissioning of complete GIS switchyard under the Contract and any other responsibilities stipulated in the contract with respect to GIS portion" | "GIS of all voltage levels above 52kV class & up to 420 KV class, envisaged under a single package, shall be supplied from one GIS manufacturer who shall be responsible for design, manufacturing, erection, testing and commissioning of complete GIS switchyard (up to 420 KV class), under the Contract and any other responsibilities stipulated in the contract with respect to GIS portion". However, GIB & SF6 to Air Bushing, including associated Mandatory spares, of 800 KV voltage class, envisaged under this package, can be supplied from other GIS manufacturer, complying the technical qualification requirement of a 765kV GIS Manufacturer attached as ANNEXURE-765(GIS). |