| Sl. No. | # Volume/ Section/ Description | # Clauses | # Bidder’s Query | # POWERGRID Reply |
| --- | --- | --- | --- | --- |
| Volume-I: Condition of Contracts |  |  |  |  |
|  | Annexure A BDS, | …………………. Route-4 1.4 In case, the bidder is not a GIS manufacturer, he shall also be considered provided: - The bidder must have erected and commissioned at least two (02) nos. GIS circuit breaker bays of 345kV or above voltage class in one (01) new GIS substation or switchyard during last seven (07) years and these bays must be in satisfactory operation# for at least two (02) years as on the originally scheduled date of bid opening mentioned above. - The GIS must be offered from Indian manufacturer, who meets the requirement mentioned at Route-1 or Route-2 or Route-3 above. - A legally enforceable undertaking (jointly with the GIS Manufacturer) (as per enclosed format in Section-VI, Volume-I of bidding document) to guarantee quality, timely supply, performance and warranty obligations as specified for the equipment(s) is submitted along with the bid stating that GIS Manufacturer shall furnish performance guarantee for an amount of two (2) % of the total contract price. This performance guarantee shall be in addition to the Contract Performance security to be submitted by the Bidder. | Please note, as per BDS Annexure A, Bidders who are eligible through Route 4, can submit JDUs of GIS OEM who are eligible upto 345kV or above 345kV. Please confirm that for this bid GIS manufacturer upto 345kV or above voltage QR is acceptable. Please Confirm the same. | Provisions of the Bidding Documents are amply clear. |
| Volume-II: Technical Specifications |  |  |  |  |
|  | Specific Requirement ( Annexure II), clause B Section GIS Rev 5A, point no.1 | Under Specific Requirement (Annexure II), clause B Section GIS Rev 5A, point no.1 "GIS of all voltage levels above 52kV class envisaged under a single package, shall be supplied from one GIS manufacturer who shall be responsible for design, manufacturing, erection, testing and commissioning of complete GIS switchyard under the Contract and any other responsibilities stipulated in the contract with respect to GIS portion" | Since the supply of actual GIS module is limited to 400/220/132 and 66kV for this specific tender, we understand that the supply of GIS of all voltage level is restricted to 400kV for this specific tender. For 765kV shown in the GIS schedule in this tender does not include scope of supply of any GIS module as same scope include only 765kV GIB and Air bushing. As such we understand that this specific clause under specific requirement calls for supply of all GIS equipment upto 400kV only from single source. We also appreciate your contention of this tender calling for QR upto 345kV GIS, since otherwise limiting to 765kV it will restrict competition between very limited OEM only meeting your GIS QR. Please Confirm the same as above. | Refer Amendment-1 |