## BRP SS
IED Details of 220/132KV Birpara Sub-station
Station Name | Bay Name | Relay Description | Model | Make | Whether 61850 compliant | Relay Sl No.
220/132 KV Birpara S/S | 220KV SIDE BIRPARA-ICT-1 | O/CRELAY | MICOM-P643 | AREVA | Yes | 33183521/03/15
| 220KV SIDE BIRPARA-ICT-1 | DIFRELAY | MICOM-P643 | AREVA | Yes
| 220KV SIDE BIRPARA-ICT-1 | REF | MICOM-P643 | AREVA | Yes | 33183515/03/15
| 220KV SIDE BIRPARA-ICT-1 | O/Flux RELAY | MICOM-P643 | AREVA | Yes
| 220KV SIDE BIRPARA-ICT-1 | O/L RELAY | MICOM-P643 | AREVA | Yes
| 220KV SIDE BIRPARA-ICT 1 | LBB | MICOM P-442 | AREVA | Yes | 33181983/01/15
| 220KV SIDE BIRPARA-ICT-2 | O/CRELAY | 7SJ600 | SIEMENS | Yes | BF1208062768
| 220KV SIDE BIRPARA-ICT-2 | DIFFERENTIAL RELAY | 7UT61 | SIEMENS | Yes | BF1208063125
| 220KV SIDE BIRPARA-ICT-2 | REF | 7SJ600 | SIEMENS | Yes | BF1208062770
| 220KV SIDE BIRPARA-ICT-2 | O/Flux RELAY | 7UT61 | SIEMENS | Yes | BF1208063125
| 220KV SIDE BIRPARA-ICT-2 | O/L RELAY | 7SJ600 | SIEMENS | Yes | BF1208062770
| 220KV SIDE BIRPARA-ICT-2 | LBB | 7VK61 | SIEMENS | Yes | BF1208063139
| 220KV NEWSILIGURI 2 202 | DIST_RELAY | REL670 | ABB | Yes | I1329060
| 220KV NEWSILIGURI 1 203 | DIST_RELAY | REL670 | ABB | Yes | I1329072
| 220KV Chukha-1 206 | DIST_RELAY | REL670 | ABB | Yes | I1329068
| 220KV Chukha-2 205 | DIST_RELAY | REL670 | ABB | Yes | I1329069
| 220KV ALIPURDUAR-2 207 | DIST_RELAY | REL670 | ABB | Yes | I1329073
| 220KV ALIPURDUAR-1 208 | DIST_RELAY | REL670 | ABB | Yes | I1329067
| 220KV Malbase 209 | DIST_RELAY | REL670 | ABB | Yes | I1329062
| 132KV WBSETCL-1 102 | DIST_RELAY | 7SA52 | SIEMENS | Yes | BF1706502623
| 132KV WBSETCL-2 103 | DIST_RELAY | 7SA52 | SIEMENS | Yes | BF1706502622
| 132KV WBSETCL-1 102 | BACK_OC_EF_RELAY | 7SJ8031 | SIEMENS | Yes | BF1706502792
| 132KV WBSETCL-2 103 | BACK_OC_EF_RELAY | 7SJ8031 | SIEMENS | Yes | BF1706502791
| 132KV BIRPARA-ICT-2 101 | LBB | 7SS5251 | SIEMENS | Yes | BF1706503909
| 132KV WBSETCL-1 102 | LBB | 7SS5251 | SIEMENS | Yes | BF1706503908
| 132KV WBSETCL-2 103 | LBB | 7SS5251 | SIEMENS | Yes | BF1706503904
| 132KV BUSCOUPLER 104 | LBB | 7SS5251 | SIEMENS | Yes | BF1706503911
| 132KV BIRPARA-ICT-1 105 | LBB | 7SS5251 | SIEMENS | Yes | BF1706503910