## RELAY DETAILS
(M)Sr | Ext Equipment No | Date valid from | (M)Equipment category | (M)Description | Long Description | Station Name | Bay Name | Bay no | Relay Description | Weight of object | Unit of weight | Size/dimension | Inventory number | Start-up Date(DD.MM.YYYY) | Shift Note Type | Shift Report Type | Acquisition Value | Currency Key | Acquisition date | Manufacturer of asset | Country of manufacture | Manufacturer model number | Year of construction(YYYY) | Month of construction(MM) | Manufacturer part number | Make | Whether 61850 complint | Manufacturer serial number | 1310 | Location of maintenance object | Plant section | ABC indicator | Sort field | Main Asset Number | Asset Subnumber | Cost Center | Work Breakdown Structure Element | Planner Group | Main work center for maintenance ta | Plant associated with main work cen | Catalog Profile
1 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT | 220/132 kV,Purnea S/s | 132 KV Purnea(PG)-Kishanganj(BSPTCL) | 101 | BAY CONTROL UNIT |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1602001178 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
2 |  |  | S | MAIN PROT RELAY(21) | MAIN PROT RELAY(21) |  |  |  | DISTANCRE PROT RELAY(21) |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SA5221-5AB90-OQB0/GG |  |  |  | Siemens | YES | BF1602506878 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
3 |  |  | S | DIR E/F,O/C RELAY-67/67N | DIR E/F,O/C RELAY-67/67N |  |  |  | DIR E/F,O/C RELAY-67/67N |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SJ8031-5EB90-1FCO/DD |  |  |  | Siemens | YES | BF1602507995 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
4 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502035 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
5 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV Purnea(PG)-Purnea(BSPTCL) #3 | 102 | BAY CONTROL UNIT |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1602001186 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
6 |  |  | S | DIFF PROT RELAY(87L) | DIFF PROT RELAY(87L) |  |  |  | DIFF PROT RELAY(87L) |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SD5221-5AB99-OEJO/GG |  |  |  | Siemens | YES | BF1602516672 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
7 |  |  | S | DIR E/F,O/C RELAY-67/67N | DIR E/F,O/C RELAY-67/67N |  |  |  | DIR E/F,O/C RELAY-67/67N |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SJ8031-5EB90-1FCO/DD |  |  |  | Siemens | YES | BF1602507996 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
8 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502027 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
9 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV BUS COUPLER | 103 | BAY CONTROL UNIT |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1602001190 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
10 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502031 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
12 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV ICT # 2 | 104 | BAY CONTROL UNIT |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1905008546 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
13 |  |  | S | BB-87 | BB-87 |  |  |  | BB |  |  |  |  | 20.01.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502032 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
14 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV Purnea(PG)-Purnea(BSPTCL) #1 | 105 | BAY CONTROL UNIT |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1905008542 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
15 |  |  | S | DIFF PROT RELAY(87L) | DIFF PROT RELAY(87L) |  |  |  | DIFF PROT RELAY(87L) |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SD5221-5AB99-OEJO/GG |  |  |  | Siemens | YES | BF1602516677 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
16 |  |  | S | DIR E/F,O/C RELAY-67/67N | DIR E/F,O/C RELAY-67/67N |  |  |  | DIR E/F,O/C RELAY-67/67N |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SJ8031-5EB90-1FCO/DD |  |  |  | Siemens | YES | BF1602507994 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
17 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502029 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
18 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV Purnea(PG)-Purnea(BSPTCL) #2 | 106 | BAY CONTROL UNIT |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1602001182 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
19 |  |  | S | DIFF PROT RELAY(87L) | DIFF PROT RELAY(87L) |  |  |  | DIFF PROT RELAY(87L) |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SD5221-5AB99-OEJO/GG |  |  |  | Siemens | YES | BF1602516673 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
20 |  |  | S | DIR E/F,O/C RELAY-67/67N | DIR E/F,O/C RELAY-67/67N |  |  |  | DIR E/F,O/C RELAY-67/67N |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SJ8031-5EB90-1FCO/DD |  |  |  | Siemens | YES | BF1602501993 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
21 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502030 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
22 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV ICT #3 | 107 | BAY CONTROL UNIT |  |  |  |  | 10.03.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 6MD86 |  |  |  | Siemens | YES | BM1602001166 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
23 |  |  | S | DIR E/F,O/C RELAY-67/67N | OC/EF |  |  |  | DIR E/F,O/C RELAY-67/67N |  |  |  |  | 10.03.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SJ8042-5EB90-1FCO/DD |  |  |  | Siemens | YES | BF1710507847 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
24 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 10.03.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502033 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
25 |  |  | S | BAY CONTROL UNIT | BAY CONTROL UNIT |  | 132 KV ICT #1 | 108 | BAY CONTROL UNIT |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | SIPROTEC_6MD86 |  |  |  | Siemens | YES | BM17066005759 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
26 |  |  | S | 87BB | 87BB |  |  |  | BB |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7SS5251-5FA01-0AA1/GG |  |  |  | Siemens | YES | BF1602502028 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
[7 empty] | 132 KV BUS BAR |  | MASTER CONTROL UNIT |  |  |  |  | 23.02.2018 | SN | ZPM_SR |  |  |  | SIEMENS | GERMANY | 7S5220-6AB92-BA0/LL |  |  |  | Siemens | YES | BF1602502036 | 1310 | [8 empty] | MPE | M_PURNIA | 1310
[7 empty] | 220 KV SIDE ICT #1 | 205 | DIFF PROT RELAY(87) | [12 empty] | P64392AD6M0060M |  |  |  | Alstom | YES | 143706V
[9 empty] | RESTRICTED EARTH FAULT | [12 empty] | P64392AA6M0060M |  |  |  | Alstom | YES | 143707V
[9 empty] | BACK UP IMP | [12 empty] | P44291AB6M07203 |  |  |  | Alstom | YES | 731507X
[7 empty] | 220 KV SIDE ICT #2 | 203 | DIFF PROT RELAY(87) | [12 empty] | P64392AD6M0060M |  |  |  | Alstom | YES | 143705V
[9 empty] | RESTRICTED EARTH FAULT | [12 empty] | P64392AA6M0060M |  |  |  | Alstom | YES | 143708V
[9 empty] | BACK UP IMP | [12 empty] | P44291AB6M07203 |  |  |  | Alstom | YES | 731506X
[7 empty] | 220KV SIDE ICT #3 | 207 | DIFF PROT RELAY(87) | [12 empty] | P64331AD6M0040K |  |  |  | Alstom | YES | 639182U
[9 empty] | RESTRICTED EARTH FAULT | [12 empty] | P14191AN6M0610P |  |  |  | Alstom | YES | 798820X
[9 empty] | BACK UP IMP | [12 empty] | P44291AB6M0720M |  |  |  | Alstom | YES | 731505X
[9 empty] | DIR E/F,O/C RELAY-67/67N | [12 empty] | P14191AN6M0610P |  |  |  | Alstom | YES | 798811X
[7 empty] | 220 KV PURNEA(PG)-DALKOLA #1 | 202 | AUTO RECLOSE | [12 empty] | P44291AB6M0710M |  |  |  | Alstom | YES | 4631589X
[8 empty] | 202 | DISTANCE PROTN M1 | [12 empty] | P442218B3M0600J |  |  |  | Alstom | NO | 140409320807001
[8 empty] | 202 | DISTANCE PROTN M2 | [12 empty] | REL-670 |  |  |  | ABB | YES | I1252067
[7 empty] | 220 KV NEW PURNEA-PURNEA #1 | 208 | DIFF PROT RELAY(M1) | [12 empty] | RED-670 |  |  |  | ABB | YES | I1326007
[7 empty] | 220 KV NEW PURNEA-PURNEA #2 | 209 | DIFF PROT RELAY(M1) | [12 empty] | RED-670 |  |  |  | ABB | YES | I1326008
[7 empty] | 220 KV PURNEA(PG)-DALKOLA #2 | 201 | DISTANCE PROTN M2 | [12 empty] | REL-670 |  |  |  | ABB | YES | I1252069
[8 empty] | 201 | AUTO RECLOSE | [12 empty] | P44291AB6M0710M |  |  |  | Alstom | YES | 631587X
[8 empty] | 201 | DISTANCE PROTN M1 | [12 empty] | P442218B3M0600J |  |  |  | Alstom | NO | 140409320807002