| Sr. No. | Ref. Clause No. | Existing RFP Clause/Provision | Bidder's Query/Comment | Reply from POWERGRID |
| --- | --- | --- | --- | --- |
| 1 | Tech Specifications 2. Survey Method 2.1 Aerial LiDAR Survey Point b. ii. | b. Ground Control Survey to be undertaken as follows. ii. Survey of India /any other agencies Benchmarks to be located during the above reconnaissance survey. The entire horizontal and vertical control shall be linked to the approved stable Benchmarks for conversion of LiDAR data to MSL. | We request you to accept connecting all the Ground Control Points (GCP’s) to Survey of India (SoI) CORS Network by the Vendor. https://www.surveyofindia.gov.in/pages/continuously-operating-reference-stations-cors- Kindly consider and confirm. | As per the Survey of India’s Network Map of Continuously Operating Reference Stations (CORS), it is observed that CORS network is not available in certain stretches of line. Hence, provision of technical specification is to be followed. For this bidder may use Survey of India/any other agencies Benchmarks viz. SOI’s CORS Network wherever available, as mentioned in technical specification to establish the horizontal and vertical control points. |
| 2 | Tech Specifications 2. Survey Method 2.1 Aerial LiDAR Survey Point b. iii | iii. Master Control Network comprising interconnected triangles (with baseline of about 25 km) to be established for overall horizontal control with approx. 25 km baseline length throughout the alignment. Secondary Control Network comprising of interconnected triangles weaved with Master control network (with base line of 3-5 KM) to be established with a baseline length of approx. 3-5 km throughout the alignment. Target LiDAR points to be established at an interval of approx. 5 km within the final alignment. To densify Horizontal Control Network, the GNSS triangulation method or radial method may be adopted and processing of data for network adjustment should be done . | Upon using the Survey of India CORS network, the Master Control Network shall be sufficient for achieving the desired accuracy. The requirement of Secondary Control Network comprising of interconnected triangles weaved with Master control network (with base line of 3-5 KM) may not be necessary, which would affect the overall time and cost of the project. Kindly confirm. | As per the Survey of India’s Network Map of Continuously Operating Reference Stations (CORS), it is observed that CORS network is not available in certain stretches of line. Hence, provision of technical specification is to be followed. For this bidder may use Survey of India/any other agencies Benchmarks viz. SOI’s CORS Network wherever available, as mentioned in technical specification, to establish the master & secondary control network. |
| 3 | Tech Specifications 2. Survey Method 2.1 Aerial LiDAR Survey Point b. iv | iv. Establishment of vertical control referenced to MSL, Permanent Benchmarks to be undertaken by double tertiary leveling along the entire route by connecting target points. | If we shall use the Survey of India (SoI) CORS Network, the requirement of carrying out double tertiary levelling may not be required. The double tertiary levelling in this challenging terrain will be a time consuming exercise and will affect the overall project duration. Kindly confirm. | As per the Survey of India’s Network Map of Continuously Operating Reference Stations (CORS), it is observed that CORS network is not available in certain stretches of line. Hence, provision of technical specification is to be followed. For this bidder may use Survey of India/any other agencies Benchmarks viz. SOI’s CORS Network wherever available, as mentioned in technical specification. |
| 4 | Section-III (BDS) BID DATA SHEETS (BDS) ITB 29. Sl. No. 49 | The Time for Completion Duration in months from the effective date of Contract – 05 Months | Considering the nature of work in an undulated high terrain condition, it will be difficult, to complete the work execution, as per the scope of work, within the given 5 months duration. Thus, we request you to kindly increase the timeline of the work completion, up to 8 months. We also request you, to kindly consider any delay occurred in the work progress, due to the circumstances, which is beyond the control of the agency, by extending the time for the work completion, without imposing any penalty charges/ LD. | Bidder to adhere to the completion time of 05 months as mentioned in bid document. |
| 5 | Section-III (BDS) BID DATA SHEETS (BDS) ITB 29. Sl. No. 49 | - | Increase in Project timeline at minimum 9 months | Bidder to adhere to the completion time of 05 months as mentioned in bid document. |
| 6 | Vol-II - Technical Specifications Section-II Clause-5.2.3 | Contractor shall make his own arrangements to establish the co-ordinate system required to position boreholes, tests pits and other field test locations as per the drawings/ sketches supplied by Employer. Contractor shall determine the reduced levels (RL’s) at these locations with respect to benchmarks used in the detailed survey. Two reference lines shall be established based on survey data/details. Contractor shall provide at site all required survey instruments to the satisfactions of the Employer so that the work can be carried out accurately according to specifications and drawings. Contractor shall arrange to collect the data regarding change of course of rivers, major natural streams and nalas, etc., encountered along the transmission line route from the best available sources and shall furnish complete hydrological details at the tower location including maximum velocity discharge, highest flood | There is a mention of hydraulic particulars of river, which shall be basically used for structures constructed on/across the river unlike our case. Request you to kindly confirm whether hydrological study is to be conducted. | The provision of technical specification is to be followed. |
| 7 | Vol-I Section-III ITB 24.1 (c) | Duration in months from the effective date of Contract - 05 (Five) Months | The AOI of the project lies in a highly undulated terrain and extreme weather conditions. Considering the inaccessibility of our AOI during the extreme weather conditions in those regions, which is likely to affect our project timeline, we request you to kindly consider the project duration as 5 months excluding the adverse weather period in between, if any, from the effective date of contract. | Bidder to adhere to the completion time of 05 months as mentioned in bid document. |
| 8 | 03 Section -III(BDS) ITB 24.1 (c) | Duration in months from the effective date of Contract (5 Months) | It is requested to keep the project duration at least 8 months as five months won’t be sufficient for this vast scope of work. It is requested to consider the period between March to October towards the 8 months for the area between Mandi and Phyang, as the favorable weather conditions, availability of roads , logistics for sustaining the ground teams and Aerial survey are feasible only during this period. | Bidder to adhere to the completion time of 05 months as mentioned in bid document. |
| 9 | 5. Geotechnical Investigations 5.2 Scope | The scope of work includes detail soil investigations and furnishing bore log data at various tower locations. The provisional quantities have been indicated in Bill Of Quantities. Detailed soil investigations shall be carried out at least at one location for every five-kilometer line stretch besides critical locations like railway crossing, river crossing etc. However, during actual execution of work, the quantities shall be decided by the Engineer - in - Charge, depending upon the soil strata and terrain. Based on the bore log data/ soil parameter/ soil investigation results, the Contractor shall recommend the type of foundations suitable for each location and the same shall be got approved by the Employer | In this type of high-altitude terrain especially after Mandi and Up to Phyang, it is well-high impossible to transport the Boring machine to tower locations as there is no road at most of the places. The geo-technical investigations must be restricted to locations only where roads exist. This is being recommended since the financial implications of making boreholes in this area are very high. In case it is not possible at this stage to estimate the quantity of boreholes, It is recommended that boreholes be paid as per the quantity in running meters actually dug onsite. In the terrain beyond Mandi, the soil strata comprise of hard rock where it is impossible to dig below 3 Ft. Hence these criteria should be amended as it is seen in the RFP that 7m/ 3m or more depths are envisaged. | The provision of technical specification is to be followed. |