| Sl. No. | Volume/ Section/ Description | Clauses | Bidder’s Query | POWERGRID Reply |
| --- | --- | --- | --- | --- |
| Volume-I; Conditions of Contract (Doc. Code No. DC-2919-15349, May 2019) |  |  |  |  |
|  | GCC Clause 1.1(e), Section-IV, Volume-I of Bidding Documents | “Completion” means that the Facilities (or a specific part thereof where specific parts are specified in the SCC) have been completed operationally and structurally and put in a tight and clean condition and that all works in respect of pre-commissioning of the Facilities (or a specific part thereof where specific parts are specified in the SCC) has been completed (wherever required, as per Technical Specifications) and Commissioning followed by Trail – Operation has been completed, as provided in GCC Sub-Clause 20.1 (Completion of Facilities) hereof. | Bidder requests for confirmation that completion will also be deemed to occur if the Facilities or any portion thereof is put to use by the Employer. | The provisions of bidding documents are amply clear. |
|  | GCC Clause 3.3, Section-IV, Volume-I of Bidding Documents | The supply of Mandatory Spare Parts, if any, shall be included in the Contract. Beside the aforesaid Mandatory Spares parts, the Contractor shall ensure the availability of spare parts required for the operation and maintenance of the Facilities to the Employer for a minimum period of 15 years from Completion of the Facilities. | Bidder requests for the reduction in period for which the availability of the spare parts for the maintenance of the facilities to the employer are to be guaranteed from 15 Years to 10 years. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 3.4, Section-IV, Volume-I of Bidding Documents | The Contractor shall guarantee that in the event of termination of production of spare parts by the Contractor or his Sub-Contractor: (i) The Contractor shall send advance notification to the Employer of the pending termination, with 2 (two) years time to permit the Employer to procure needed requirements, and (ii) Following such termination, the Contractor shall furnish at no cost to the Employer the blueprints, drawings and specification of the spare parts, if requested. | Bidder requests for the modification of said clause as suggested below: The Contractor shall guarantee that in the event of termination of production of spare parts by the Contractor or his Sub-Contractor: (i) The Contractor shall send advance notification to the Employer of the pending termination, with one (1) year 2 (two) years time to permit the Employer to procure needed requirements, and (ii) Following such termination, the Contractor shall furnish at no cost to the Employer the blueprints, drawings and specification of the functionally equivalent spare parts if requested. Such specification / documentation shall be utilized by the Employer only for the purpose of O & M & future procurement of functionally equivalent spares Specifications of the functionally equivalent spare parts shall be furnished by the Contractor to the extent that such documents are available to the Contractor. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 5.2, Section-IV, Volume-I of Bidding Documents | The Contractor confirms that it has entered into this Contract on the basis of a proper examination of the data relating to the Facilities (including any data as to boring tests) provided by the Employer, and on the basis of information that the Contractor could have obtained from a visual inspection of the Site (if access thereto was available) and of other data readily available to it relating to the Facilities as of the date twenty-eight (28) days prior to bid submission. The Contractor acknowledges that any failure to acquaint itself with all such data and information shall not relieve its responsibility for properly estimating the difficulty or cost of successfully performing the Facilities. | The Contractor requests Employer that incase of any unusual, or out of ordinary changes, as mentioned hereunder, shall be to the account of the Employer. The additional time and cost reasonably incurred by the Contractor in consequence thereof shall be added to the Contract Price : a) changes in the nature, environment, conditions b) any limitations or restrictions on road to be used by the contractor during the period of the Contract or access limitations to the Contractor c) any other reasons, which arise due to the local climatic/geographical conditions d) Local insurgencies, political disturbances resulting in disorder/disruptions which are not attributable to the Contractor and which are beyond the control of the Contractor | The provisions of the bidding documents are amply clear and shall remain unchanged. |
|  | GCC Clause 5.3, Section-IV, Volume-I of Bidding Documents | The Contractor shall acquire all other permits, approvals and/or licenses that are not the responsibility of the Employer under GCC Sub-Clause 6.3 hereof and that are necessary for the performance of the Contract. | Please modify the provision as below: The Contractor shall acquire all other permits, approvals and/or licenses that are not in the responsibility of the Employer Contractor and further described in Annexure to the Contract under GCC Sub-Clause 6.3 hereof and that are necessary for the performance of the Contract | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 6.3, Section-IV, Volume-I of Bidding Documents | The Employer shall acquire and pay for all permits, approvals and/or licenses from all local, state or national government authorities or public service undertakings in the country where the Site is located which such authorities or undertakings require the Employer to obtain them in the Employer's name, are necessary for the execution of the Contract (they include those required for the performance by both the Contractor and the Employer of their respective obligations under the Contract), including those specified in Appendix 6 (Scope of Works and Supply by the Employer) to the Contract Agreement. | kindly confirm that in case of delay by the employer in acquiring and providing permits, approvals and/or licenses required for the proper execution of the contract, including all requisite rights of way, as applicable, the employer shall pay reasonable cost incurred by the contractor along with suitable time extension. | Provisions of bidding documents are amply clear. If such situation arises, the same shall be dealt with as per the provisions of the Bidding Documents. |
|  | GCC Clause 9.2.1, Section-IV, Volume-I of Bidding Documents | The Contractor shall, within twenty-eight (28) days of the notification of contract award, provide a security in an amount equal to as follows: - 110% (one hundred ten percent) of the amount of Advance for Supply of Goods; and - 110% (one hundred ten percent) of the {amount of Advance} plus {amount of GST reimbursable on Advance as per the Proforma invoice} for Supply of Services. | The Contractor shall, within twenty-eight (28) days of the notification of contract award, provide a security in an amount equal to as follows: - 110% (one hundred ten percent) 100% (one hundred percent) of the amount of Advance for Supply of Goods; and - 110% (one hundred ten percent) 100% (one hundred percent) of the {amount of Advance} plus {amount of GST reimbursable on Advance as per the Proforma invoice} for Supply of Services. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 10.5, Section-IV, Volume-I of Bidding Documents | Employer would not bear any liability on account of any other taxes, duties, levies applicable locally. | Bidder understands that the BOCW shall be applicable in the Erection and Civil Works only. Please confirm | Provisions of bidding documents are amply clear. |
|  | GCC Clause 20.1.2.4, Section-IV, Volume-I of Bidding Documents | The Project Manager shall, within fourteen (14) days after receipt of the Contractor‟s notice under GCC Sub-Clause 20.1.2.3, notify the Contractor in writing of any defects and/or deficiencies. | Please modify the clause as below: The Project Manager shall, within fourteen (14) days after receipt of the Contractor‟s notice under GCC Sub-Clause 20.1.2.3, notify the Contractor in writing of any defects and/or deficiencies or advise the Contractor to proceed with the Commissioning of the Facilities or the relevant part thereof. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 22.2, Section-IV, Volume-I of Bidding Documents | ..... If during the Defect Liability Period any defect should be found in the design, engineering, materials and workmanship of the Plant and Equipment supplied or of the work executed by the Contractor, the Contractor shall promptly, in consultation and agreement with the Employer regarding appropriate remedying of the defects, and at its cost, repair, replace or otherwise make good (as the Contractor shall, at its discretion, determine ) such defect as well as any damage to the Facilities caused by such defect. | Kindly confirm that Contractor has the discretion to remedy the defect through repair, replacement or otherwise | The provisions of the bidding documents are amply clear and shall remain unchanged. |
|  | GCC Clause 22.8 Para 2, Section-IV, Volume-I of Bidding Documents | Upon correction of the defects in the Facilities or any part thereof by repair/replacement, such repair/replacement shall have the Defect Liability Period extended by a period mentioned in GCC Sub-Clause 22.2 from the time of such replacement/repair of the facilities or any part thereof. | Bidder requests for the modification of said clause as suggested below: Upon correction of the defects in the Facilities or any part thereof by repair/replacement, such repair/ replacement shall have the Defect Liability Period extended by a period mentioned in GCC Sub-Clause 22.2 from the time such replacement/repair of the facilities or any part thereof. However all such extension shall cease on 3 years from the end of defect liability period as mentioned in GCC 22.2. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 22.9, Section-IV, Volume-I of Bidding Documents | Except as provided in GCC Clauses 22 and 29, the Contractor shall be under no liability whatsoever and howsoever arising, and whether under the Contract or at law, in respect of defects in the Facilities or any part thereof, the Plant and Equipment, design or engineering or work executed that appear after Defect Liability Period except for the liability towards obligations that may survive in terms of the Contract after Defect Liability Period, except where such defects are the result of the gross negligence, fraud, criminal or willful action of the Contractor. | Bidder requests modification of said clause as suggested below: Except as provided in GCC Clauses 22 and 29, the Contractor shall be under no liability whatsoever and howsoever arising, and whether under the Contract or at law, including but not limited to implied warranties of merchantability and fitness for a particular purpose, or otherwise, in respect of defects in the Facilities or any part thereof, the Plant and Equipment, design or engineering or work executed that appear after Defect Liability Period except for the liability towards obligations that may survive in terms of the Contract after Defect Liability Period, except where such defects are the result of the gross negligence, fraud, criminal or willful action of the Contractor. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause Clause 30.1 (a) (I) (i), Section-IV, Volume-I of Bidding Documents | General | Kindly note that ‘War ‘risks can be covered only during sea transits. ‘War’ cannot be covered during inland transit. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause Clause 30.1 (a) (I) (ii), Section-IV, Volume-I of Bidding Documents | General | Kindly note that ‘War ‘risks can be covered only during sea transits. ‘War’ cannot be covered during inland transit. | Kindly refer SI. No. 20 of SCC, Volume-I of Bidding Documents. |
|  | GCC Clause Clause 30.2, Section-IV, Volume-I of Bidding Documents | The Employer shall be named as co-insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1, except for the Third Party Liability, Workmen Compensation Policy Insurances, and the Contractor‟s Subcontractors shall be named as co-insureds under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1 except for the Cargo Insurance During Transport, Workmen Compensation Policy Insurances. All insurer‟s rights of subrogation against such co-insureds for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The Employer shall be named as co-insured jointly insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1, except for the Third Party Liability, Workmen Compensation Policy Insurances, Automobile Liability Insurance, Contractor's Plant and Machinery (CPM) Insurances and the Contractor‟s Subcontractors shall be named as co-insureds jointly insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1 except for the Cargo Insurance During Transport, Automobile Liability Insurance, Workmen Compensation Policy Insurances and Contractor's Plant and Machinery (CPM) Insurances. All insurer‟s rights of subrogation against such co-insureds jointly insured for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 30.3, Section-IV, Volume-I of Bidding Documents | The Contractor shall, in accordance with the provisions of the corresponding Appendix – 3 (Insurance Requirements) to the Contract Agreement, deliver to the Employer certificates of insurance (or copies of the insurance policies) as evidence that the required policies are in full force and effect. The certificates shall provide that no less than twenty-one (21) days’ notice shall be given to the Employer by insurers prior to cancellation or material modification of a policy. | Bidder request for modification to the clause as below; The Contractor shall, in accordance with the provisions of the corresponding Appendix – 3 (Insurance Requirements) to the Contract Agreement, deliver to the Employer, certificates of insurance (or copies of the insurance policies) as evidence, that the required policies are in full force and effect. The certificates shall provide that no less than twenty-one (21) fourteen (14) days’ notice shall be given to the Employer by insurers and/or Contractor prior to cancellation or material modification of a policy. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 32.2, Section-IV, Volume-I of Bidding Documents | Neither party shall be considered to be in default or in breach of his obligations under the Contract to the extent that performance of such obligation is prevented by any circumstances of Force majeure, which arises after date of Notification of Award. | Bidder requests for confirmation that in case of a Force Majeure situation, the Contractor shall get cost relief/compensation in case any additional cost is incurred by him | The ‘Force Majeure’ circumstances shall be considered in accordance with the relevant provisions of the bidding documents. |
|  | GCC Clause 33.2.5, Section-IV, Volume-I of Bidding Documents | The Employer shall issue the Contractor with a Change Order pursuant to GCC Sub-Clause 33.2 by way of amendment to the Contract or in any other manner deemed appropriate. Even if the Employer and the Contractor cannot reach agreement on the price for the Change, an equitable adjustment to the Time for Completion, or any other matters related to the Change Proposal, the Employer may nevertheless instruct the Contractor to proceed with the Change by issue of a “Pending Agreement Change Order” (“Pending Agreement Amendment”). Upon receipt of a Pending Agreement Change Order, the Contractor shall immediately proceed with effecting the Changes covered by such Order. The parties shall thereafter attempt to reach agreement on the outstanding issues under the Change Proposal. | Bidder request for modification of the said clause as below: The Employer shall issue the Contractor with a Change Order pursuant to GCC Sub-Clause 33.2 by way of amendment to the Contract or in any other manner deemed appropriate by both Parties before the Contractor proceeds with effecting the Changes covered by such Order. Even if the Employer and the Contractor cannot reach agreement on the price for the Change, an equitable adjustment to the Time for Completion, or any other matters related to the Change Proposal, the Employer may nevertheless instruct the Contractor to proceed with the Change by issue of a “Pending Agreement Change Order” (“Pending Agreement Amendment”). Upon receipt of a Pending Agreement Change Order, the Contractor shall immediately proceed with effecting the Changes covered by such Order. The parties shall thereafter attempt to reach agreement on the outstanding issues under the Change Proposal. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 32.4, Section-IV, Volume-I of Bidding Documents | The party who has given such notice shall be excused from the performance or punctual performance of its obligations under the Contract for so long as the relevant event of Force Majeure continues and to the extent that such party’s performance is prevented, hindered or delayed. The Time for Completion shall be extended in accordance with GCC Clause 34. | Bidder request the addition to the existing clause as given below; In case of occurrence of a Force Majeure incident for more than 4 months, the Contractor at its discretion may, by giving further notice to the Project Manager, request for deletion of such part in accordance with GCC Clause 33 or, where it affects the whole of the Facilities, as termination of the Contract under GCC Sub-Clause 36.1. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 32.5, Section-IV, Volume-I of Bidding Documents | Addition of a new clause | In case there are Export/Import embargoes levied which limit the movement of shipments to the site from a country other than India ,the Contractor shall be unable to deliver the affected shipments to site. The Contractor therefore proposes for the addition of the following clause : Bidders” obligation to fulfill this agreement is subject to the provision that the fulfillment is not prevented by any impediments arising out of national and international foreign trade and customs requirements or any embargos [or other sanctions]." | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 33.2.2, Section-IV, Volume-I of Bidding Documents | '--------------- Set/Lot/Lumpsum shall be governed as per the requirement of the corresponding item description read in conjunction with relevant provisions of Technical Specifications and the Billing breakup referred to above shall be issued by the Employer based on Contractor’s request, if and as may be required during the currency of the Contract. | Bidder request for clarification of the said clause as below: For Lot Items, require frequent billing schedule amendments for smooth execution supplies are to be effected from different vendors located in different states. PGCIL to confirm that Contractor can request for billing schedule amendment any times during the execution of the contract and PGCIL will respond on the request within 4 weeks of its receipt. Please confirm | The provisions of bidding documents are amply clear. |
|  | GCC Clause 39, Section-IV, Volume-I of Bidding Documents | Arbitration ... 39.2 The arbitration shall be conducted by three arbitrators, one each to be nominated by the Contractor and the Employer and the third to be appointed by both the arbitrators in accordance with the Indian Arbitration Act. If either of the parties fails to appoint its arbitrator within sixty (60) days after receipt of a notice from the other party invoking the Arbitration clause, the arbitrator appointed by the party invoking the arbitration clause shall become the sole arbitrator to conduct the arbitration. | Since this is an international contract, bidder requests for the modification of said clause as given below: ... 39.2 The arbitration shall be conducted by three arbitrators, one each to be nominated by the Contractor and the Employer for confirmation by the ICC and the third to be appointed by both the arbitrators in accordance with the Indian Arbitration Act the Rules of Arbitration of the International Chamber of Commerce, Paris ("ICC"). If either of the parties fails to appoint its arbitrator within sixty (60) days after receipt of a notice from the other party invoking the Arbitration clause, the arbitrator appointed by the party invoking the arbitration clause shall become the sole arbitrator to conduct the arbitration. Should the two arbitrators fail to reach agreement on the third arbitrator within a thirty-day period, the ICC shall select and appoint the third arbitrator. | The provisions of the bidding documents are amply clear and shall remain unchanged. |
|  | GCC Clause 34.1, Section-IV, Volume-I of Bidding Documents | The Time(s) for Completion specified in the SCC shall be extended if the Contractor is delayed or impeded in the performance of any of its obligations under the Contract by reason of any of the following: (a) any Change in the Facilities as provided in GCC Clause 33 (b) any occurrence of Force Majeure as provided in GCC Clause 32 (c) any suspension order given by the Employer under GCC Clause 35 hereof or reduction in the rate of progress pursuant to GCC Sub-Clause 35.2 or (d) any changes in laws and regulations as provided in GCC Clause 31 or (e) any other matter specifically mentioned in the Contract by such period as shall be fair and reasonable in all the circumstances and as shall fairly reflect the delay or impediment sustained by the Contractor. | Bidder request for modification to the clause as below: The Time(s) for Completion specified in the SCC shall be extended if the Contractor is delayed or impeded in the performance of any of its obligations under the Contract by reason of any of the following: (a) any Change in the Facilities as provided in GCC Clause 33 (b) any occurrence of Force Majeure as provided in GCC Clause 32 (c) any suspension order given by the Employer under GCC Clause 35 hereof or reduction in the rate of progress pursuant to GCC Sub-Clause 35.2 or (d) any changes in laws and regulations as provided in GCC Clause 31 or (e) any other matter specifically mentioned in the Contract or (f) any default or breach of the Contract by the Employer, or any activity, act or omission of the Employer, or the Project Manager, or any other contractors employed by the Employer g) Any delay by the Employer in providing the facilities as per Appendix 4 & 6 of Contract forms (refer our Deviation in Attachment-5B). by such period as shall be fair and reasonable in all the circumstances and as shall fairly reflect the delay or impediment sustained by the Contractor. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 39, Section-IV, Volume-I of Bidding Documents | Arbitration ... 39.4 The language of the arbitration proceedings and that of the documents and communications between the parties shall be English. The arbitration shall be conducted in accordance with the provisions of the Indian Arbitration and Conciliation Act, 1996 or any statutory modification thereof. The venue of arbitration shall be New Delhi. | Since this is an international contract, Bidder requests for the modification of said clause as given below: ... 39.4 The language of the arbitration proceedings and that of the documents and communications between the parties shall be English. The arbitration shall be conducted in accordance with the provisions of the Indian Arbitration and Conciliation Act, 1996 or any statutory modification thereof the Rules of Arbitration of the ICC. The venue of arbitration shall be New Delhi. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 40, GCC, Volume-I of Bidding Documents | not existing | Bidder requests the addition of the following clause: If during the execution of the works on Site the Contractor encounters physical obstructions or conditions which could not reasonably have been foreseen by the Contractor at the latest date for bid submission, the Contractor shall be entitled to recover the additional Time for Completion and cost incurred in consequence. “Physical obstructions and conditions” means natural physical conditions and manmade and other physical constructions and pollutants, which the Contractor encounters at the Site, including subsurface and hydrological conditions. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 4.1 in SCC, Section-V, Volume-I of Bidding Documents | Replace Sub-Clause GCC 4.1 Time for Completion is the essence of Contract. The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. | Bidder request for modification as below; Replace Sub-Clause GCC 4.1 Time for Completion is the essence core of Contract. The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 9.3.1 in SCC, Section-V, Volume-I of Bidding Documents | Supplementing Sub-Clause GCC 9.3.1 The Performance Security for the due performance of the Contract in the amount equivalent to ten percent (10%) of the Contract Price, shall be provided by the Contractor as per the following: (i) Performance Security in the amount equivalent to ten percent (10%) of the Supply Contract Price (Ex-works) of (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker with a validity upto ninety (90) days beyond the Defect Liability Period for said equipment [refer GCC Sub-clause 22.2(i)]. (ii) Performance Security in the amount equivalent to ten percent (10%) of the balance of the Supply Contract Price for all equipment/materials other than those specified in (i) above, with a validity upto ninety (90) days beyond the Defect Liability Period, applicable for said equipment [refer GCC Sub-clause 22.2(iii)]. (iii) Performance Security in the amount equivalent to ten percent (10%) of the supply Contract Price (Ex-works) for 400kV Voltage class Series Reactor to be supplied by the bidder/manufacturer as per Form 20, Section –VI, Sample Forms and Procedures, with a validity upto ninety (90) days beyond the Defect Liability Period for said equipment [refer GCC Sub-clause 22.2(i)]. | Bidder request for modification as below; Supplementing Sub-Clause GCC 9.3.1 The Performance Security for the due performance of the Contract in the amount equivalent to five ten percent (10% 5%) of the Contract Price, shall be provided by the Contractor as per the following: (i) Performance Security in the amount equivalent to five ten percent (5% 10%) of the Supply Contract Price (Ex-works) of (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker with a validity upto ninety (90) days beyond the Defect Liability Period for said equipment [refer GCC Sub-clause 22.2(i)]. (ii) Performance Security in the amount equivalent to five ten percent (5% 10%) of the balance of the Supply Contract Price for all equipment/materials other than those specified in (i) above, with a validity upto ninety (90) days beyond the Defect Liability Period, applicable for said equipment [refer GCC Sub-clause 22.2(iii)]. (iii) Performance Security in the amount equivalent to five ten percent (5% 10%) of the supply Contract Price (Ex-works) for 400kV Voltage class Series Reactor to be supplied by the bidder/manufacturer as per Form 20, Section –VI, Sample Forms and Procedures, with a validity upto ninety (90) days beyond the Defect Liability Period for said equipment [refer GCC Sub-clause 22.2(i)]. | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 22.8 in SCC, Section-V, Volume-I of Bidding Documents | Upon correction of the defects in the (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker by repair/replacement, such repair/replacement shall have the Defect Liability Period of the said (400kV class) Series Reactor/ AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker extended by a period of 2 years from the time of such repair/replacement of the said (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker to rectify the defect, or up to the expiry of period mentioned in GCC Sub-Clause 22.2, whichever is later. | Upon correction of the defects in the (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker by repair/replacement, such repair/replacement shall have the Defect Liability Period of the said (400kV class) Series Reactor/ AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker extended by a period of 2 years from the time of such repair/replacement of the said (400kV class) Series Reactor /AIS Current Transformer/ AIS Capacitive Voltage Transformer / AIS Circuit Breaker to rectify the defect, or up to the expiry of period mentioned in GCC Sub-Clause 22.2, whichever is later. However all such extension shall cease on 3 years from the end of defect liability period as mentioned in GCC 22.2. | The provisions of bidding documents shall remain unchanged. |
|  | Section VI – Forms: Appendix 3: INSURANCE REQUIREMENTS Clause No. A) ( e ), Volume-I of Bidding Documents | The Employer shall be named as co-insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1, except for the Third Party Liability, Workmen Compensation Policy Insurances, and the Contractor’s Subcontractors shall be named as co-insureds under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1 except for the Cargo Insurance During Transport, Workmen Compensation Policy Insurances. All insurer’s rights of subrogation against such co-insureds for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The Employer shall be named as co-insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1, except for the Third Party Liability, Workmen Compensation Policy Insurances, Automobile Liability Insurance, and the Contractor’s Subcontractors shall be named as co-insureds under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 30.1 except for the Cargo Insurance During Transport, Workmen Compensation Policy Insurances, Automobile Liability Insurance. All insurer’s rights of subrogation against such co-insureds for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The provisions of bidding documents shall remain unchanged. |
|  | Section VI - Forms : Appendix 1: Terms and procedures of payment, Volume-I of Bidding Documents | Interest bearing advance. | Bidder request for interest free advance and interim advance. | The provisions of bidding documents shall remain unchanged. |
|  | Section VI - Forms: Form 18 Clause 4, Volume-I of Bidding Documents | THAT the Contractor shall ensure while executing works that they will deploy minimum 25% of their own experienced work force who are on the permanent roll of the company and balance 75% can be a suitable mixed with the hired gangs / local workers / casual workers if required. The above balance 75% work force should be provided with at least 10 days training by the construction agencies at sites and shall be issued with a certificate. | Bidder request for modification to the clause as below; THAT the Contractor shall ensure while executing works that they will deploy, suitable number, minimum 25% of their own experienced work force who are on the permanent roll of the company and balance 75% can be a suitable mixed with the hired gangs / local workers / casual workers if required. The above balance 75% work force should be provided with at least 10 days training by the construction agencies at sites and shall be issued with a certificate. | The provisions of bidding documents shall remain unchanged. |
|  | Section VI - Forms 6.PERFORMANCE SECURITY FORM, Volume-I of Bidding Documents | By this letter we, the undersigned, ………(insert name & address of the issuing bank) ………, a Bank (which expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the bank)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., ten percent (10%) of the Contract Price until ninety (90) days beyond the Defect Liability Period i.e., upto and inclusive of ……………. (dd/mm/yy). | Bidder request for modification as below; By this letter we, the undersigned, ………(insert name & address of the issuing bank) ………, a Bank (which expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the bank)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., 5 Percent (5%)ten percent (10%) of the Contract Price until ninety (90) days beyond the Defect Liability Period i.e., upto and inclusive of ……………. (dd/mm/yy). | The provisions of bidding documents shall remain unchanged. |
|  | Section VI – Form 6_A. PERFORMANCE SECURITY FORM, Volume-I of Bidding Documents | By this letter we, the undersigned, ………(insert name & address of the issuing bank) ………, a Bank (which expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the bank)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., ten percent (10%) of the Contract Price until 60 months i.e., upto and inclusive of ……………. (dd/mm/yy). | Bidder request for modification as below; By this letter we, the undersigned, ………(insert name & address of the issuing bank) ………, a Bank (which expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the bank)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., 5 per cente (5%) ten percent (10%) of the Contract Price until 60 months i.e., upto and inclusive of ……………. (dd/mm/yy). | The provisions of bidding documents shall remain unchanged. |
|  | Section VI - Form 20, Clause-3.0, Volume-I of Bidding Documents | As a security, the Manufacturer shall apart from the Contractor’s performance guarantee, furnish a Contract Performance Guarantee from its Bank in favour of the Employer in a form acceptable to the Employer. The value of such guarantee shall be equivalent to 10% of the cost of such equipment(s) as identified in the Contract awarded by the Employer to the Bidder/Contractor and it shall be part of guarantee towards the faithful performance/compliance of this Deed of Undertaking in terms of the Contract. The guarantee shall be unconditional, irrevocable and valid for the entire period of the Contract, namely till the end of the Defect Liability Period of Air Core Dry Type Reactor under the Contract. The Bank Guarantee amount shall be payable to the Employer on demand without any reservation or demur. | Requesting you to kindly exempt the requirement of additional Bank Guarantee against Joint Deed of Undertaking | The provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 22.2 in SCC, Section-V, Volume-I of Bidding Documents | …(iii) Twelve (12) months from the date of Taking Over/Completion of Facilities for all items other than those specified in (i) & (ii) above. | As per this clause we presume the defect liability period for TRV capacitor is 12 months. Please confirm. | Defect Liability period of TRV capacitor shall be same as of Series reactor i.e. 60 months. |
|  | GCC Clause 3.4 (ii), Section-IV, Volume-I of Bidding Documents Scope of facilities | Following such termination, the Contractor shall furnish at no cost to the Employer the blueprints, drawings and specification of the spare parts, if requested. | With respect to the requirement of sharing all drawing and technical information of spares – We can only share non-proprietary drawings. We can provide alternate source for the spares or provide the spares from another factory. | The provisions of the bidding documents are amply clear and shall remain unchanged. |
|  | GCC Clause 11.1 para 2, Section-IV, Volume-I of Bidding Documents | The Employer shall however be free to reproduce all drawings, documents and other material furnished to the Employer for the purpose of the Contract including, if required, for operation and maintenance. | Please make the suggested changes. "However, the Employer shall be obligated to use such drawings, documents and other material for the intended purpose only and shall indemnify and keep Contractor indemnified against any losses, claims, damages, penalty and compensation arising out of or in connection thereto. " | The provisions of the bidding documents are amply clear and shall remain unchanged. |
|  | GCC Clause 25.1 para 2, Section-IV, Volume-I of Bidding Documents | Such indemnity shall not cover any use of the Facilities or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, any infringement resulting from the use of the Facilities or any part thereof, or any products produced thereby in association or combination with any other equipment, plant or materials not supplied by the Contractor, pursuant to the Contract Agreement. | Please add the below clause as 25.1: Contractor shall have no obligation or liability with respect to any Claim based upon (a) Products or Services that have been modified, or revised, (b) failure of Employer to implement any update provided by Contractor that would have prevented the Claim, or (c) Products or Services made or performed to Employer ’s specifications. For avoidance of any doubt each party shall retain ownership of all confidential information and intellectual property it had prior to the contract. All rights in and to products not expressly granted to Employer are reserved by contractor. All new intellectual property conceived or created by contractor in the performance of this contract, whether alone or with any contribution from Employer, shall be owned exclusively by contractor. Employer agrees to deliver assignment documentation as necessary to achieve that result. | Provisions of bidding documents shall remain unchanged. |
|  | GCC Clause 37, Section-IV, Volume-I of Bidding Documents | Neither the Employer nor the Contractor shall, without the express prior written consent of the other party (which consent shall not be unreasonably withheld), assign to any third party the Contract or any part thereof, or any right, benefit, obligation or interest therein or thereunder. | Please add the following at the end of the Clause: Nothing herein shall affect the right of the Contractor to assign receivable under the Contract by way of factoring. | Provisions of bidding documents shall remain unchanged. |
|  | ----------- | -------- | Please note that in certain cases, the SAFETY PACT requirements are generic in nature, however there are specific requirements with respect to the same subject in the GCC/SCC. We understand that such specific requirements should prevail over the generic requirements. Please confirm. | In execution of Transmission Projects it is important that due cares are taken to avoid accidents and POWERGRID’s approach in this regard is proactive in nature. In line with this, the various provisions inter-alia including submission of Safety Pact and other clauses in GCC/SCC have been included in the Bidding Document. The strict compliance towards these provisions has to be adhered. Bidders attention is also drawn to Sl. No. 4 of Section-V of Safety Pact. |
|  | New Clause NUCLEAR USE | -------- | The Material/equipment/services sold by the Contractor are not intended for use in connection with any nuclear facility or activity, and the Employer warrants that it shall not use or permit other to use the material/equipment/services for such purpose, without advance written consent of Contractor. If in breach of this, any such use occurs, Contractor (and its parent, affiliate, suppliers and subcontracts) disclaims all liability for any nuclear or other damage, injury or contamination, and, in addition to any other rights of Contractor, Employer shall indemnify and hold Contractor (and its parent, affiliates and employees) harmless against all such liability. Consent of Contractor under this section to any nuclear use, if any, will be conditioned upon additional terms and conditions that Contractor determines acceptable for protection against nuclear liability. | The material/equipments supplied under the subject package shall be used for execution of Extension of 400kV Wardha Substation for Bus splitting through Series Reactor (Incl. Series Reactor) & other associated works and reorientation of Transmission lines near Wardha substation. |
|  | New Clause SAFETY | ------- | Contractor has no responsibility or liability for the pre-existing condition of Employer’s equipment or the Site. Prior to Contractor starting any work at Site, Employer will provide documentation that identifies the presence and condition of any Hazardous Materials existing in or about Employer’s equipment or the Site that Contractor may encounter while performing under this Contract. Employer shall disclose to Contractor industrial hygiene and environmental monitoring data regarding conditions that may affect Contractor’s work or personnel at the Site. Employer shall keep Contractor informed of changes in any such conditions. | Provisions of bidding documents shall remain unchanged. Further bidders attention is drawn inter-alia to GCC clause 5 & 6. |
|  | New Clause General Indemnity | -------- | Purchaser (as an “Indemnifying Party”) shall indemnify the Contractor (as an “Indemnified Party”) from and against claims brought by a third party, on account of personal injury or damage to the third party’s tangible property, to the extent caused by the negligence of the Indemnifying Party in connection with this Contract. In the event the injury or damage is caused by joint or concurrent negligence of Purchaser and Contractor, the loss or expense shall be borne by each party in proportion to its degree of negligence. For purposes of Contractor’s indemnity obligation, no part of the Products or Site is considered third party property. | The provisions of bidding documents inter-alia GCC Clause 29.0, Section-IV, GCC, Vol-I of the bidding documents are amply clear and shall remain unchanged. |