Section- 7

Maintenance Services

  - Introduction

This section defines the terms and conditions for maintenance services support during and after defect liability period for all the Equipment including Telecommunication Management Network (TMN), other Hardware & Software, etc being supplied under this contract.

  - Scope

The scope of work under maintenance services includes management & assisted operations, support services, preventive maintenance and breakdown/ curative maintenance including spare management, repair/ replacement of all the equipment/ modules/ cards and other hardware & software etc. being supplied under this Package.

The bidder shall quote for the charges for One (1) year of Defect Liability Period (warranty period) and five (5) years for AMC including manpower, spares and all installation material (Hardware & Software).

  - Duration of Maintenance Services

The maintenance services shall be carried out during Defect Liability Period and shall be continued for a minimum period of five (5) more years after the end of the defect liability period.

If acceptance has been given BATCH/ LOT wise, the DLP of each BATCH/ LOT will end at different time. Consequently, the date of start and date of AMC of such BATCH/ LOT will also differ.

In case of difference in end date of AMC period of first BATCH/ LOT and last BATCH/ LOT, contractor has to provide maintenance services of all BATCH/ LOT (including the BATCH/ LOT whose 5 years AMC is completed) at same rate and terms & conditions till the completion of AMC period of 5 years for last BATCH/ LOT, i.e. all the BATCH/ LOT shall be under AMC till the completion of AMC for five (5) years period of last BATCH/ LOT as depicted below:

The maintenance services can be further extended for two (2) more years after completion of the five (5) years period of the last LOT, on mutually acceptable terms and conditions.

  - Philosophy of Maintenance Services

The underlying philosophy of the maintenance services is to maintain the telecom operations running under all conditions with timely and prompt attendance to faults so as to maintain the availability of the backbone and access links as defined in clause 7.4.3 of this specification.

The Telecom Network may generally be operated by the Employer, with its main NOC (DC) at Katwarai Sarai, New Delhi or back up NOC (DR) at Bangalore. Other regional offices at Delhi, Mumbai, Kolkata or any other office in India can also be used for operations of Network, if required.

First level of network management and maintenance shall be carried out by the Employer. Once the problem(s) is escalated to the contractor’s maintenance engineers, they will perform all the maintenance activities so as to meet the performance parameters.  The maintenance services shall include but not limited to the following:

    - Management & Assisted Operations Support Services

- Contractor shall be responsible for supporting Operation and Maintenance of the telecom systems including TMN being supplied under this contract to ensure the network availability as per clause 7.4.3 of this specification during the contract.

- Contractor has to assign a Service Manager/coordinator, who shall be responsible for overall coordination among all the support engineers deployed (Shift or Day Operation as per BoQ) under this contract and shall also oversee all the technical issues. In case the Coordinator is not available for any reason, alternate competent person shall be arranged by the Contractor who shall act as single point of contact and solely responsible for all necessary coordination during his absence.

- Support functions shall primarily be implemented from the Employer’s Control Centres located at Katwaria Sarai (New Delhi), Bangalore, Mumbai, Kolkata, Maharani Bagh (New Delhi) and Guwahati/ Shillong and any other additional locations along the Employer’s Telecom Network as deemed necessary by Employer.

- There is scope for Manpower Support in BoQ for deployment during DLP & AMC. Contractor shall deploy qualified and well trained Engineers (Indian Citizens) with minimum three (3) years experience in the relevant field for 24x7 shift operations or Day Time Operations at Employer’s control centers located at Katwaria Sarai (New Delhi), Bangalore, Mumbai, Kolkata, Maharani Bagh (New Delhi), Guwahati/ Shillong or any other location identified by Employer in the following manner as per the BoQ;

  - ‘Manpower support at POWERGRID NOC/ Office’ in BoQ has been asked in the unit of ‘Month’, which means deployment of adequate nos of Engineer(s) to run the 24x7 Shift operation, for one (01) month such that at least one (01) of Engineer shall always be available round the clock during 24x7 Shift Operation. As four (04) no of Engineers are necessary to run 24x7 Shift Operation to ensure availability of at least one (01) Engineer round the clock, so one (01) Month of ‘24x7 Shift Operation’ is equal to deployment of four (04) Engineers for one (01) month.

The network control centre (DC) located at Katwaria Sarai (New Delhi) and/ or back-up center (DR) at RTCC, Bangalore may have 24x7 Shift operations, however contractor has to take prior approval from POWERGRID for the location(s) at which manpower to be deployed. It’s the responsibility of Contractor to provide a Desktop Terminal(s) to shift engineer(s) to extend their support. The Technical Specification of the Desktop Terminal shall be similar to the Desktop Terminals supplied/ to be supplier under TMN.

  - ‘Manpower support at POWERGRID NOC/ Office’ during ‘Day Time (9:00 to 18:00 Hrs)’ per Month (as per BoQ) means deployment of one (01) no of qualified Engineer at POWERGRID’s NOC/office during day time from 9:00 am to 6:00 pm on working days i.e. Monday through Saturday (excluding Sundays and maximum 12 days declared holidays) for one month. The Engineers deployed for such services must be available on call on 24x7 basis to attend to faults/ contingencies on holidays and after office hours in contingency. It’s the responsibility of Contractor to provide a Desktop Terminal(s) to such manpower. The Technical Specification of the Desktop Terminal shall be similar to the Desktop Terminals supplied/ to be supplier under TMN.

  - The Contractor shall submit escalation procedure/ personnel contact details for reporting problems till its resolution.

  - The Contractor’s manpower/ engineers shall be fully equipped with craft terminals loaded with latest versions of appropriate software applications and accessories. The Technical Specification of the Craft Terminal shall be similar to the Craft Terminals supplied/ to be supplier under TMN.

  - The Contractor shall keep a strict check on the attendance of their support/ maintenance engineers at Employer’s control centre to ensure their presence. The records shall be made available to the Employer on demand.

  - The Contractor shall make alternate arrangements when their support/ maintenance engineers fall sick or proceed on leave, except for short duration (less than or equal to three days) during emergencies. However, the absence of their Engineers at any of the locations shall not relieve the Contractor to meet the required performance parameters stipulated under these specifications.

  - The quantity of manpower envisaged under the BoQ is purely tentative and Employer is free to increase or decrease the quantity of manpower during DLP or AMC. However, Contractor shall suitably assess the resource requirement to meet the performance agreement as stipulated in the specifications and shall deploy additional resources, if needed.

  - Contractor shall submit CVs of the proposed maintenance engineers for deployment at network control centres, clearly stating their qualifications, experience and competency including courses successfully completed in the relevant fields separately to the Employer for review & approval, well before deployment. The Contractor is required to replace their engineers immediately whenever the same is requested by the Employer on the grounds of their performance and/ or behavior during execution of duties etc.

  - In case of any emergency situation arises in the City/ State/ Country and restrict regular transportation/movement of Engineers (Shift and Day operation), it is the sole responsibility of Contractor to make necessary arrangements to keep their presence at POWERGRID’s office and support the operations of critical Telecom Network. POWERGRID shall facilitate the contractor by providing the necessary documents.

- The support functions shall include but are not limited to the following:

  - Network Operations & Management Activities – Assistance in Operations and management of all supplied equipment covering all the hardware and software, Performance Management, Security Management, Configuration Management, Faults Management, Inventory Management and integrated operations of the network including TMN.

  - Handling of all the minor, major and critical problems of network, their repair and restoration.

  - Assist the Employer’s personnel in managing service orders, provisioning of the customer circuits, testing coordination etc.

  - Assistance in System Applications Administration.

  - Assistance in Database Administration.

  - Assistance in planning of the network's growth

  - Assistance in planning and stimulation of the network for protection scheme implementation.

  - Assistance in commissioning of the equipment for activation of services, including assistance in commissioning of the equipment at customer premises.

  - Submission of Performance and other network related reports to the Employer.

  - Transport Network related advice & consultancy Services

  - Operational training including On Job training to the Employer’s engineers/ officers

  - Technical assistance/support of the network including 24 x 7 remote assistance, On-line Assistance, On-site Support etc.

  - Network audit

  - Routine and planned maintenance activities of TMN system.

  - Audit of Network Synchronization

  - Monthly preventive maintenance activities from network operating centres with status reviews and reports.

  - Interface between Employer, Employers’ customers, Tier-2 support, Tier-3 support centers of the Original Equipment Manufacturer to resolve the issues.

  - All other functions & activities required to be undertaken for successful operations of the network and meeting the performance parameters as stipulated in clause 7.4.3 of this contract.

- The Contractor shall submit a detailed plan of Scope, schedule and formats for Preventive maintenance for Employer’s approval. The preventive maintenance shall be carried out as per recommendations of the original equipment manufacturers (OEMs).

- The contractor shall submit a detailed plan of Scope, schedule and formats for Planned/ Scheduled maintenance for Employer’s approval.

- The Contractor shall do the regular monitoring of network alarms on 24x7 basis and shall take prompt action upon noticing any defect/fault in the system and restore it back to normal with minimal delay. This shall include the organizing, coordinating and undertaking necessary site visits for repair/ replacement of faulty equipment/cards/modules etc. by the contractor’s engineers.

- The contractor shall arrange appropriate tester for testing of links, whenever the requirement arises and escalated by POWERGRID. The Tester has all necessary functions to test the services, as planned to be commissioned under this package.

- The Contractor shall supply and install the new Software Releases, Software Updates and/or Service Packs for TMN and latest versions of Embedded Software for the electronic cards/ equipment etc. as generally made available by the Contractor/ OEMs from time to time during the entire period of this maintenance services. In case any Software upgrade/update requires hardware upgrade then the same will implemented by the Contractor without any additional cost implication to POWERGRID.  The updates shall be installed only after they have been duly verified and tested in the lab against crashes. The installation of new releases shall not hamper the functioning of the operational network. The EMS/NMS software upgrade/update shall be verified by the Contractor in laboratory environment using Test server & applications instances, in coordination with respective OEM/Vendors within stipulated time approved by the employer. The updates/upgrades shall be deployed only after the same has been verified by Contractor. The updates shall be installed only after they have been duly verified and tested in the lab against crashes & vulnerabilities. Software Update & Upgrade defined as below:

- “Software Update” shall mean the program improvement and rectification which are provided by the Supplier in accordance with the Employer’s malfunction report against Specification of the related Software Release or by the Supplier initiatively. It will used to fix the bugs or provide the patches for the Software provided as per the Contract/functionalities.

- “Software Upgrade” shall mean the fundamental improvement which increases the function and/or enhances the capacity or performance on the basis of retaining the original designed purpose of the program provided by the Supplier as to the Software Release.

- Contractor shall upgrade the Operating System (OS) of all the Work Stations supplied under the package. In case, the OEM of OS discontinues support on the OS version of the Work Stations supplied to POWERGRID during the AMC period, contractor has to replace all such Work Stations with new Work Stations with latest Operating system. If there is no such situation of support discontinuation of Operating System arises during the contract, Contractor has to replace all Work Stations after five (5) years (from the date of delivery) with new ones with latest Hardware & Software.

- Contractor shall upgrade the Operating System (OS) of all the servers supplied under the package. In case, the OEM of OS discontinues support on the OS version of the Servers supplied to POWERGRID during the AMC period, contractor has to replace all such Servers with new Servers with latest Operating system. The applications running of over the serves shall also be upgraded/ updated such that it works without any issue in the new OS environment. If there is no such situation of support discontinuation of Server OS arises during the contract, Contractor has to replace all Servers with new ones with latest Hardware & Software, during the 4th year of AMC or as desired by POWERGRID.

- The contractor shall take prior permission of the Employer for remote access to any equipment from Contractor/ OEMs Support Centre to carry out fault analysis/ diagnostics for operations and management of the Employer’s transport network. The transport network equipment locations shall be accessible only from the designated Employer’s Control Centre location for remote access. Contractor has to follow the guidelines issued by DoT/ GoI strictly to take remote access of the network.

- The Contractor shall annually perform Network audit of the telecom network (Date/ time shall be finalized in consultation to Employer) and the report shall be submitted to the Employer within fifteen (15) days. The network audit shall include but are not limited to the following:

      - Performance audit

      - DCN Design Audit

      - Hardware Resource Utilization for Optimum utilization of the resources of the installed telecom equipment

      - Review of Remote Access Server & its logs as per prevailing DoT policy.

For performing above functions and to rectify the problems, Contractor’s experts shall undertake the site visits to various telecom locations, POP/ repeaters etc., if need be, to access and study the telecom network.

- Training Services

      - Contractor shall provide training for Employer’s personnel for at least Twenty (20) mandays per year also covering new and updated features in new Software releases of the supplied equipment at their own training facility.

      - The training shall be conducted by Contractors’ certified trainers attached to one of its training centre and ably supported by one (1) of support personnel handling Employers’ network.

      - The training shall be undertaken preferably before the new release is implemented in the network.

      - The training module shall cover both conceptual and hands on practical training.

      - The training shall be conducted either at Contractors’ training centre/ premises in India or POWERGRID’s premises as per mutual agreement. Such trainings can also be conducted through virtual mediums (VC) due to limitation/ restriction of travel, if agreed by POWERGRID.

      - Employer shall be responsible for all travel and lodging expenses of the trainees.

- The Contractor shall also ensure the availability of the round-the clock national/ international help desk services of Tier-2 & Tier-3 to resolve the problems, if need be.

- The Contractor shall extend all the cooperation to the Employer/ other maintenance contractors of the network in identifying & rectification of the faults in the shortest possible time.

- The Contractor shall extend all necessary support for any modification/ expansion of the network/system to be carried out by the Employer at no additional cost.

- Documentation & Reports

      - The Contractor shall submit the monthly, quarterly and consolidated annual Performance Reports indicating routine and specific jobs done to the concerned control centres. The reports shall also include the recommendations for improvement and strengthening of the operations and management process/procedures, constraints, if any.

      - The Contractor shall submit the consolidated monthly report of incident reports to the respective Engineer-in-Charge of the network control centre.  The report shall have two sections for each incident. (i) Faults which have not been resolved within the stipulated performance criteria limit and (ii) Faults which have been resolved within the stipulated performance criteria limits.

      - The incident report, shall be duly signed by representative of Contractor and Employer, shall contain the following information;

  - Fault details: Nature of fault, date & time of occurrence of the fault, time of reporting (either noticed by the Contractors’ maintenance engineer or verbal/written communication from Employer), date & time of access to the equipment at site and date & time of rectification of fault.

  - Details of contractor’s spares consumed, if any. Details of faulty item/card/module & replaced item/card/modules, source/ store/location it was sourced from etc.

  - Details related to analysis like identification of fault, method of rectification carried out and further course of action including repair of card etc.

  - Recommendations for eliminating the repeat of similar faults in future.

    - Spares Management

  - Contractor shall maintain its own inventory of requisite no. of all types of spares distributed across Strategic locations (to be decided in consultation with Employer) required for meeting the network availability requirements as stipulated in clause 7.4.3 of this specifications, otherwise penalty shall be imposed as per clause 7.4.4. Contractor has to share location wise list of spares along with Maintenance Philosophy and/ or TOC of final BATCH/ LOT.

  - Contractor shall submit a location wise list of spare items being maintained by them, indicating the total number of such items required to meet the performance criteria as stipulated in clause 7.4.3 under this specifications. However, minimum requirement list does not absolve the Contractor in meeting performance requirement under this maintenance services agreement due to non-availability of spares. Contractor shall on its own increase the spare items above the minimum list, if the situation demands so, to meet the performance parameters.

  - Contractor shall undertake appropriate planning for the storage of spares at strategic locations/ store depots along the Employer’s network to meet the performance criteria. It shall be the sole responsibility of the Contractor to ensure storage and logistics support for spares necessary for meeting the performance requirements. Contractor is advised to select storage locations (Region/ state vise), considering the tax liability arises during inter-state transportation of spares (during DLP and AMC). All such tax liabilities shall be borne by contractor. POWERGRID may allow storage of spares at its locations free of cost on request of contractor, subject to availability of space.  However, contractor is responsible for the insurance, movement, reconciliation and replenishment without any financial implication to POWERGRID.

  - Transportation of spares (during DLP and AMC) shall be the responsibility of contractor. Contractor has to take necessary & sufficient transit insurance for spares to safeguard the spare assets from any unfortunate incident during transportation. Any tax (including GST) levied on the transportation of spares shall be borne by contractor.

  - In extreme cases during failure, if the requisite replacement item (spare) is not available with the contractor, the contractor may be allowed to borrow the item (buffer) from Employer subject to its availability. However, the same shall be replenished by the Contractor within fifteen (15) days.

  - All repair management related activities shall be handled through the designated Repair Management Centre and/or Technical Assistance Centre.

  - Contractor shall submit spares reconciliation statement every quarter to the Employer.

    - Performance Requirement

  - Under this maintenance services, the Contractor is expected to meet certain performance criteria against which their services shall be measured and failure to meet the same will attract penalties. The Contractor will maintain his own maintenance spares and other adequate resources at strategic locations to meet the performance criteria. All other expenses of the field engineers, (i.e. accommodation, tours and travel, per diem etc.), inventory of spares and services shall be included in the bid price. The Contractor shall meet the following performance criteria under the maintenance services agreement of this contract:

- Link Availability for backbone links

  - The backbone link in Backbone Network is defined as the section/ link connecting two cities/ Sub-stations directly or via Repeater Shelters. Link availability is the percentage measure of the time that a particular telecom link is available to carry the traffic.

  - The quarterly average availability of a link shall be calculated link wise.

  - The quarterly average availability of the full network (Backbone links) shall be calculated as sum of availability of individual links in network over a period of one quarter divided by total no. of such backbone links in entire network.

  - Availability of Network = [ ⅀(Availability of Link No ‘Y’)]/ n

Where Y= 1 to n, ‘n’ is the total no of links in the entire network.

  - The contractor shall maintain the quarterly average availability of 99.99% of the network as per G.8113 & Y.1731

- Link Availability for Access links

All equipment which are not the part of backbone links shall be considered as access equipment. It is required that MTTR (mean time to repair) for each fault shall not exceed 4 hours, in traffic (partial or full) affecting cases. MTTR shall be calculated as total corrective maintenance time to restore traffic during failures/ errors for each instance of fault as reported by Employer.

- All faults that leads to system’s inability to perform data transmission, corruption of system data bases, DCN failure, trouble notification, loss of access to the system, performance as per required performance parameters or any other faults/ criticalities that affect the services, traffic, billing, operations & maintenance activities, management of the network etc. shall be handled with utmost urgency regardless of time of day or day of the week.

- The existence of protection paths or other network management sites shall neither be treated as restoration/ rectification of the fault by the Contractor nor shall it relieve the contractor to meet the performance parameters of this specifications.

- The Contractor shall maintain the log register in each network control centre, wherein, incident details along with corrective action details shall be filled by contractor’s engineer on daily basis. The incident reports shall be generated upon notice of any fault in the network, traffic/NMS affected, planned outage of equipment, facilities availed for testing, preventive maintenance, system expansion etc.

- Total restoration time shall be calculated as the time from notification of the fault from Employer to the Contractor’s maintenance engineer to the restoration of the links. This shall also include time taken for visit to site(s) etc. The time shall be calculated irrespective of timings like day/night, holiday etc

- Following points shall be excluded for calculation of outage/degradation of links;

  - Outage/degradation not attributable to equipment faults like fibre outage/degradation, DC power supply failure.

  - Time taken for testing of the link(s) on complaint of the customer. Link shall be considered okay only if the test is successful. In case of failure of testing, the outage shall be attributed to the Contractor.

  - Outage due to force majeure like floods, storms, curfew, imposition of emergency etc.

    - Penalty Clause

- Penalty for backbone links

In case the quarterly average availability for the backbone links fall short of stipulated criteria of 99.99% (as per clause 7.4.3.(a).[I], the Contractor shall be liable to the penalty for deficit in meeting the assured performance parameters as per following:

| % Quarterly Average availability | Penalty |
| --- | --- |
| ≥ 99.99% | No Penalty |
| <99.99% & ≥ 99.0% | Extension of maintenance services for 7 days at no additional cost to Employer |
| <99% & ≥ 98.0% | Extension of maintenance services for 14 days at no additional cost to Employer |
| <98% & ≥ 97.0% | Extension of maintenance services for 21 days at no additional cost to Employer |
| <97% & ≥ 96.0% | Extension of maintenance services for 30 days at no additional cost to Employer |
| <96 % | Extension of maintenance services for one quarter at no additional cost to Employer |

The above mentioned penalty period shall be further added to the extended maintenance services period, if the contractor fails to maintain the required availability during extended period.

- Penalty for Access links

      - Penalty shall be calculated separately for each of the incident of fault in access equipment. Any delay beyond the stipulated parameters as mentioned in clause 7.4.3.(a).[II] shall attract a penalty of Rs. 5000/- @ per hour for upto 4 hours and Rs. 10000/- @ per hour from the 5th hour, subject to maximum penalty of Rs. 500,000/- per incident per month.

      - Penalty for not deploying/ non-availability (absence/leaves without replacement for more than three days) of manpower resources at the indicated locations, whenever requested by POWERGRID, shall attract penalty of Rs. 10,000/- per day beyond 3 days, subject to maximum penalty of Rs. 100,000/- per month.

- Other Penalties

Unavailability of Desktop Terminal for the Shift Engineers or Day engineers shall attract a penalty of Rs. 3000/- @ per day per Desktop Terminal, subject to maximum penalty of Rs. 30000/- per month per Desktop Terminal or Craft Terminal

  - Repair and Return

It is the responsibility of Contractor to arrange repairing of the material supplied under the subject packer, if it goes faulty/ malfunction. All the material (Equipment as well as all other hardware) supplied under the contract shall be covered.

Contractor has to intimate the address and the contact detail of the concern person/ department at their repair center to Employer for shipping of faulty modules for repair.

- Once an equipment/module etc is being found malfunctioning (affecting traffic or may lead to outage) & declared faulty by Contractor’s Support team at NOC, it will be removed from the network.

- Contractor support team shall generate a docket no for the repair of the module, guide POWERGRID site engineer for shipping of the faulty module to Contractor’s/ OEM’s repair facility.

- POWERGRID shall send the faulty module to Contractor’s/ OEM’s repair center for repair with necessary documents.

- Contractor has to get it repaired & send it back to POWERGRID office (Respective RTCC/ POPs etc) after repair & testing within 60 days from the day it was received at repair center. So the Turn-around time (TAT) is 60 days for repair & return of all Hardware. Necessary documents shall be arranged by POWERGRID, wherever required.

- A status report on the Repair & Return shall be submitted on quarterly basis.

  - Other Responsibilities of the Contractor

- If any changes in the settings are warranted in the system for improving the system/ network performance, such changes may be initiated by the Contractor upon due intimation and approval of the Employer and such modifications shall be recorded in incident report register.

- The Contractor shall ensure proper insurance coverage to their employees working under this maintenance services agreement and the Employer shall not be responsible for any eventualities thereof. The Contractor shall also obtain all necessary insurances that are mandatory as per applicable local laws.

- Contractor may use third party (‘subcontractor’) support only to perform maintenance activities for the equipment procured from the third party. Contractors’ use of third party (‘subcontractor’) shall not relieve Contractor of its obligation under this contract.

  - Employers’ Responsibility

- The Employer shall provide to the Contractor, the complete access to the equipment and shall provide necessary assistance for access in case equipment is placed at third party locations.

- Employer shall inform (either verbally or written) to the Maintenance Engineers of Contractor for any faults/ problem(s) identified/ suspected and the time of such information shall be binding on the Contractor.

- Employers’ control centre engineers shall also extend cooperation to the Contractor in maintaining the system with minimum downtime and maximum availability. They shall be associated with all maintenance & trouble shooting works along with Contractor’s engineer(s), wherever feasible.

- In case of non-availability of trained Engineers at the faulty locations, Employer may also try to attend to the defects to the extent possible under the guidance of Contractors’ representatives but at the risk & cost of the contractor.

  - Planned Maintenance Activities

The process/procedure/ format of all planned maintenance activities shall be finalized in consultation with Employer and recorded on the approved formats. Following is the list of minimum planned/Scheduled maintenance activities to be carried out by the Contractor:

| Sl. No. | Activity | Description | Frequency |
| --- | --- | --- | --- |
| 1 | Network Audit | As defined in section 7.4.1 (m) | Once in a year |
| 2 | Embedded Software of the supported product- Audit | On regional basis | Once in a every six (6) month or after every major upgrade whichever is earlier. |
| 3 | Report on all software in Network, their version, date of previous update, Plan of next update, Major changes after update etc | Complete Network (Equipment, TMN, Tools etc) | Once in a year |
| 4 | Network Optimization & Re-Engineering | On complete Network | Quarterly |
| 5 | Network Synchronization Audit | Audit of Synchronization of Network elements | Annually |

The above list is the minimum list of schedules maintenance activities. The contractor shall submit the report of above activities to respective network control centres.

POWERGRID reserves the right to add/ delete any activity in the above list of increase/ decrease the frequency of activity(s) to improve the performance of Network as intended.

  - Routine maintenance activities

The process/procedure/ format for all Routine maintenance activities shall be finalized in consultation with Employer and recorded on the approved formats. The Contractor shall undertake the following routine maintenance activities on the network and submit the report as given below;

| Sl. No. | Activity | Description | Frequency |
| --- | --- | --- | --- |
| 1 | Network operations | On Regional Basis for all the regions | Daily |
| 2 | Fault rectification | On Regional Basis for all the regions | Daily |
| 3 | Site visit | To attend to faults/ other operations | Case to case basis |
| 4 | Span Loss Measurement | On regional basis for all Backbone links in respective regions | Monthly |
| 5 | Accessibility/ Reachability of External Amplifiers | Accessibility & Manageability of Amplifiers in the Network from NMS | Monthly |
| 6 | Traffic Matrix Audit | Report format shall be submitted and get it approved at first instance | Quarterly |
| 7 | TMN system/ data backup | Backup shall be taken at all RTCCs/ NTCC | Daily |
| 8 | Traffic grooming with OTN | On Regional Basis for all the regions | Quarterly |
| 9 | Network utilization reports | On Regional Basis for all the regions | Quarterly |
| 10 | Change Management Report | For recording the changes in EMS/NMS applications | Yearly |

The above list is the minimum list of routine maintenance activities. The contractor shall submit the report of above activities to respective network control centres.

POWERGRID reserves the right to add/ delete any activity in the above list of increase/ decrease the frequency of activity(s), to improve the performance of Network as intended.

  - Review meetings

- Review Meetings shall be held once every quarter of the year during the contract period to review the technical, operational, quality and any other aspects of the Services delivered through the contract.

- The review meetings shall be attending by the representative of both the Contractor and Employer. Formal notice for the meeting shall be issued at least 7 days in advance.

- The meeting agenda shall inter-alia include but not limited to the following;

  - Services and network related issues.

  - Status of spares

  - Status of Repair & Return

  - Issues related to unattended faults/ problems

  - Manpower issues

  - Operational issues

  - Network/ software upgradation issues.

- Whenever any major outage occurs in any part of the network, an emergency meeting may be called, if desired by the Employer. Outage related issues in the context of cause, correction and prevention shall be discussed in the meeting.

  - Payment for Maintenance Services support during and after defect liability period due to quantity variation

If there is change (Increase or decrease) in quantity of items during execution of the project as per specified quantity variation limit in the contract, the payment for maintenance services shall be done on pro-rata basis of the total supply price of final quantities.

For Example:

Let’s assume Total Supply price quoted by contractor is ‘X’ and Total AMC Price for 5 years is quoted as ‘Y’ in the bid.

The Final supply price after execution of project comes out to ‘Z’, them the AMC price for 5 years will be (Y/X)*Z.

Where ‘Z’ can be greater/ less than ‘X’.