## DRS
Volume II - Technical Specification for ‘Package A1: Augmentation of Telecom Backbone & Access Network’
Appendix D
Data Requirement Sheets
The following sets of Data Requirement Sheets are required to be filled up by the bidders to aid in the evaluation process. The response shall be brief and to the point and shall be supported by the printed product description and other literature. However, more parameters may be required to provided in DRS during detailed engineering.
D-1 | Data Requirement Sheets for DWDM & OTN
D-2 | Data Requirement Sheets for MPLS-TP
D-3 | Data Requirement Sheets for L2 Switch
D-4 | Data Requirement Sheets for Amplifiers
D-5 | Data Requirement Sheets for TMN
NOTE- DRS for each type of offered equipment shall be filled separately by the bidder & attached with the bid

## DWDM & OTN
DATA REQUIREMENTS SHEETS for DWDM SYSTEM
Manufacturer:
Model #:
SL. No. | Parameter: | Unit: | Particulars:
1 | General Requirement
| Minimum Channels Nx100G/ 200G or higher rate (Fill No of Channels suported for different Line rate) | Yes
| Band Range | THz
| Colorless, Directionless drop architecture | Yes/No
| Flexi-rate & Flexi-grid Support | Yes/No
| Alien Wavelength Support | Yes/No
| ASON | Yes/No
| Optical channel line side protection with in 50ms | Yes/No
| Optical channel client side protection with in50 ms | Yes/No
| Capacity: | Number
Max. Wavelength @100G to be supported for:
G.652 Fibre
G.653 Fibre
G.655 Fibre
Max. Wavelength @200G or above to be supported for:
G.652 Fibre
G.653 Fibre
G.655 Fibre
2 | Supporting other Bit Rates above 200G: | Yes/No
3 | TransPonder/Muxponder/Line Module 100G & 200G Line |  | For 100G | For 200G
Specify equipped Bit Rates:
| Spectral Characteristics (Maximum -20 dB spectral width) | nm
| Laser Class | M
| Data rate | Gb/s
| FEC % | %
| Input frequency tolerance | ppm
| Framing Baud Rate | G
Modulation format
Pulse shaping
Eye Pattern Mask
| Extinction ratio | dB
| Channel spacing | GHz
| Central Frequency Deviation | GHz
| FEC coding gain | dB
Modulator pre-chirp
| Wavelength range: | THz
| Wavelength locking time | s
| Absolute wavelength stability(over life & temperature) | °C
| Laser line width (unmodulated) | khz
| Side mode suppression ratio | dB
| Tx power | dB
| output power stability | dB
stimulated Brillouin scattering [SBS])
| Chromatic Dispersion tolerance | ps/nm
| PMD tolerance | ps
| Rx input power range | dBm
| Receiver reflectance at RS | dB
Pre-FEC BER
| BER / error floor (post-FEC) < 1e-15 | Yes/No
4 | Wavelength Selective Switch (WSS)
| Spectral range | nm
WSS Architecture
| Multi-carrier Superchannels | Yes/No
| Maximum number of channel in Superchannels | Yes/No
| Alien Wavelength Routing | Yes/No
Number of ports(input, outputs)
| Wavelength spacing (N x 6.25GHz) | GHz
Switching Technology
Maximum input power --Aggregate power --Single port --Single channel
| VOA Range (Step Up Value) | dB
Insertion loss (IL)
Extinction ratio
| Return loss | dB
Optical connector Type
5 | ASON/ GMPLS control plane for ROADM | Yes/No | Yes
| List the ITU-T ASON standards supported: |  | G.807,G.8080,G.7712,G.7713,G.7714,G.7715.G.7716,G.7718; RFC3945, RFC3946, RFC3471, RFC3472, RFC4202, RFC4203, RFC4204, RFC4208;
List the Protocols supported by GMPLS Control Plane:
| Signaling: RSVP-TE | Yes/No
| Routing: OSPF-TE | Yes/No
| LDP | Yes/No
| Neighbor Discovery: PPP derived | Yes/No
| E-NNI: OIF2.0 | Yes/No
| PCE | Yes/No
Constraint Based Routing :
| TE link disjoint | Yes/No
| Node disjoint | Yes/No
| Bandwidth | Yes/No
| Node exclude | Yes/No
| SRLG | Yes/No
| Link protection | Yes/No
ASON specifications
Maximum Number of NE Supported
Control channel
Supported service type
Supported SLA
| Hardware configuration requirements |  | Typical ROADM configuration
Rerouting mechanism
Rerouting trigger conditions
Resiliency Classes:
| support of optical line side protection (OCP) | Yes/No
List of Alarms for switching
6 | Protection Schemes supported (Optica Layer) | Yes/No
OCP
O-SNCP
O-MSP
OTS
O-MSPRING
Others (if any)
7 | Universal packet/ OTN switch matrix type for OTN Multi-service platform | Yes/No
Dimensions (H x W x D) (mm)
Number of Service Slots
Cross-connect Type
Cross-connect Capability
Rate per Channel (maximum)
Number of Switching Fabric Modules
Switching capacity to each interface card
If more than one Switching Fabric goes done which interface traffic will go down
8 | Number of ports supported for OTN Multi-service platform | Number
200G:
100G/ 100GE:
STM-64/ 10GE:
STM-16/ Gbe:
9 | ODUk Layer Traffic Protection | Yes/No
SNC/I (sub-network connection with inherent monitoring)
SNC/N (sub-network connection with non-intrusive monitoring)
SNC/S (sub-network connection with sub-layer monitoring)
HO/LO SNC protection
1+1 unidirectional SNC/N, SNC/I and SNC/S w/o APS protocol
1+1 bidirectional SNC/I and SNC/S w/ APS protocol
Dual Node and Dual Ring Interconnect
10 | ASON/ GMPLS control plane for OTN Multi-service platform | Yes/No
11 | Channel power monitor cards
Number & Type of front panel fiber connectors
| Minimum input power (per-channel) | dB
| Maximum input power (per-channel) | dB
| Maximum Insertion Loss | dB
12 | Amplifiers
Output power Range
Receive Maximum/Minimum power
Laser class
Wavelength range
Gain
Gain ripple
EDFA tilt for minimum gain ripple
Noise figure
Gain flatness
Multichannel Gain Variation
Multichannel Gain-change difference
Raman Amplifer safey precations and measure
13 | OPTICAL SUPERVISORY CHANNEL MODULE
| OSC transmitter wavelength (nm) | nm
| OSC transmitter output (dBm) | dBm
| OSC receiver sensitivity (dBm) | dBm
| Inserton loss of return path (dB) | dB
Network Management
14 | OPTICAL PROTECTION MODULE (OPM)
| Ports per Unit: | Yes/ No
2 Ports
4 Ports
Any Other?
| Power Measurement through TMN | Yes/ No
Input Port
Output Port
| Protection Switching, in case of: | Yes/ No
Loss of Signal
Loss of Frame
Signal Degradation(BER)
| Signal Threshold(BER) for degradation user configurable at | Yes/ No
Input Port
Output Port
Both
| All configuration/ edit remotely with TMN | Yes/ No
15 | MTBF (All Components offered in the Tender) | Hours
Unprotected:
1+1 APS Protected:
16 | MTTR
Unprotected:
1+1 APS Protected:
17 | Mode of operation: | Yes/No
Unidirectional
Bidirectional (single fibre operation)
18 | Built‑in Optical equalizer or Optical pre‑emphasis | Yes/No
19 | Can support other traffic types: | Yes/No
ATM up to 10 Gbps
Fast Ethernet
Giga Bit Ethernet upto 1.25 GBps
10G Ethernet LAN & WAN
100G Ethernet
Others (if any)
20 | Can support tributary colored optics bit rates (Mention the card Name)
| 100Gbps | Yes/No
40 Gbps
STM-64/10GE
STM-16
Specify also the tributary interface card details for each.
21 | Whether same transponder is suitable for different bit rates: | Yes/No
22 | Upgradability: | Yes/No
Without Changing line amplifier system.
23 | Specify span lengths with and without OA, Repeater for
a) 100G on G.652 and G.653 fibre
b) 200G on G.652 and G.653 Fiber
24 | The DWDM System with OTN multi-service platform based on single platform architecture functional model | Yes/ No
25 | System Parameters (Fill for all Types)
Source type:
| Launch power during safety power-down due to fibre break: | dBm
| Source rise time: | s
| Source estimated life span: | hours
| Low power alarm threshold: | dBm
field adjustable?
Remote Adjustable?
26 | Parameters as per G.692 (Fill for all Types) (please refer the DWDM diagram )
26.1 | Optical Interfaces at Points MPI-S and S’
| Optical transmit-side Crosstalk | dB
| Channel Output Power | dBm
| Total Launched Power-Max | dBm
| Channel OSNR | dB
| Maximum Channel Power Difference at Point MPI-S or Point S' | dB
26.2 | Optical Path
| Attenuation | dB
| Dispersion | ps/nm
| Maximum Discrete Reflectance | dB
| Minimum Return Loss | dB
26.3 | Optical Interfaces at Points MPI-R and R’ (please refer the DWDM diagram )
| Mean Channel input power | dBm
-Max
-Min
| Mean Total input power-Max | dBm
| Channel SNR | dB
| Optical Signal Crosstalk | dB
| Maximum Channel Power Difference at Point MPI-R or at Point R' | dB
26.4 | Individual Channel output ports
| Optical Crosstalk at individual channel output ports | dB
26.5 | Individual receiver inputs
| Receiver Sensitivity | dBm
| Receiver Overload | dBm
| Optical Path Penalty | dB
| Receiver Reflectance | dB
| Optical SNR | dB
| Minimum Receive Wavelength | nm
| Maximum Receive Wavelength | nm
SERVICE CHANNELS AND ORDERWIRE UNIT
27 | Engineering Orderwire (Fill for all type of Equipment)
| Omnibus calling available?Describe: | Yes/No
| Selected station calling available?Describe: | Yes/No
Signalling scheme Describe:
| DTMF supported | Yes/No
| Tx/Rx level | dBm
| Speech coding method & bit rate | Kbit/s
| Distortion: | S/Nq
Noise performance:
| OSC as per G.692 | Yes/No
| Are Service channel requirements specified in section 2.2.1.3 met? | Yes/No
28 | Data and Supervisory Channels (Fill for all type of Equipment) |  | EOSC
No of data channels:
Interfaces/Connectors:
| Data rates: | Mbit/s
29 | (Fill for all type of Tributaries)
| Tolerance in bit rate: | ppm
Line code:
No. of ports:
Type of connector
| Input jitter acceptance | ITU-T standard
| Maximum output jitter in the absence of i/p jitter | ITU-T standard
| Jitter transfer characteristic: | ITU-T standard
Equipment-level Protection
30 | PROTECTION SWITCHING
List the type of Protection Schemes supported by the Equipment
Discuss the proposed protection scheme
31 | Fill for all supported Protection Shemes
32 | Switching modes available | Yes/No
Auto?
Manual?
Remote/network management?
Switching priority:
Tx switchover & switchback criteria:
Rx switchover & switchback criteria:
Inbuilt Mux (if applicable) switchover & switchback criteria:
Switch option mode & status indicators:
Switching Time
| Nominal: | ms
| Maximum: | ms
33 | Alarms
List all alarms supported by Equipment:
34 | MECHANICAL AND ENVIRONMENTAL PARAMETERS
Number of Sub-Racks (including DC/DC converters, O/W muldem etc.) required for Unprotected Terminal:
1:1 Protected Terminal:
| Sub-Rack Dimensions (H*W*D): | mm
| Sub-Rack Weight: | Kg
Sub-Rack mounting options:
| Sub-Rack clearance requirements | m
Top * Bottom * Sides:
Front Access:
Rear Access:
Sub-Rack color and finish
Cabinet options available
| 19" ETSI? | Yes/No
| Slim rack? | Yes/No
| Others (specify)? | Yes/No
| Whether Truncated Cabinet Available? | Yes/No
Fill for all Cabinet Types Proposed
Protection Class (IP Class):
Rack Color and Finish:
Temperature range
| Guaranteed performance: | °C
Operation without damage:
Storage/ transport:
| Relative humidity | %
Minimum:
Maximum:
| Altitude | m
Installed:
Transport/storage:
Air flow in subrack (diagram required)
Describe Ventilation requirements:
Describe dustproofing provisions:
Electromagnetic compatibility (List standards & severity levels) (Submit Test Reports)
Noise Standards supported (Submit Test Reports )
Environmental standards supported (Submit Test Reports)
35 | POWER SUPPLY UNIT (DC/DC CONVERTER)
| Nominal supply voltage: | Vdc
| Power supply variation | Vdc
Guaranteed performance:
Operation without damage:
| Polarity: | ±
Whether 220 Vac mains operation capability inbuilt
| List derived DC voltages: | V dc
Module cut of power values
| Total power consumption (Fully equipped incl. service channels) | Watt
Unprotected terminal:
1+1 Protected terminal:
| 1+1 APS protection provided? | Yes/No
| MTBF of power supply unit: | Hours
| Ultimate power delivery capacity | Watt
Are the following protections provided?
| Overvoltage? | Yes/No
Undervoltage?
Overload?
Reverse polarity?
Other (specify)?
| Whether proposed equipment has distributed Power Supply? | Yes/No
| Provide AC & DC power supply requirement for each of the proposed equipment. | Watt
Provide Procedure to convert OLA and Repeaters to Add Drop Multiplexer
Power Distribution in Subrack by power module
| Expected life of Equipment | Years
36 | Alien Wavelength Requirement |  | (Data w.r.t. all different line rates)
| Mean launched power | dBm
| Transmitting optical power ﬂuctuation | dB
| Frequency range | THz
| Central wavelength shift (BOL) | GHz
| Central wavelength shift (EOL) | GHz
| Side mode suppression ratio | dB
37 | LIST the TX and RX power of All Pluggable offered in the solution

## MPLS-TP
DATA REQUIREMENTS SHEETS for MPLS-TP
Manufacturer:
Model #:
Equipment Type
(A) | Hardware Technical Specifications
1 | Dimension (mm)
2 | Weight (kg)
3 | Max. Power Supply (W)
4 | Voltage Range (V)
(B) | Board Technical Specifications
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Dimension (mm) | Typ. Power (W)
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
| Please mention all modules(Like Xconnect , Controller, FAN ,Power card etc.) | Weight (kg) | MTBF
1 | XXXX
2 | XXXX
3 | XXXX
4 | XXXX
(C ) | System Performance
(a) | Technical Specifications
MPLS Tunnel1:1 Switch Time
LAG Switch Time
Max. Number of Routing
Number of MPLSTunnel
Max. Number of MSP Group
Max. Number LAG Group
Max. Number LSP Protection Group
Max. Number Wrapping
Number PW
Number E-line
Number of E-LAN Service
Number of E-Tree Service
Static MAC Address
Accuracy of CAR/Shaping
Number of CAR
Number of Multicast
Number of PTP Interface
Number of Sync ETH Interface
(b) | Ethernet Functions
VLAN (IEEE 802.1Q)
Q-in-Q (IEEE 802.1ad)
9600 bytes jumbo frame
VLAN manipulation: stack/switch/strip
IGMP snooping (V1/V2/V3)
Flow control (IEEE 802.3x)
(c) | OAM
MPLS-TP OAM (G.8113.1/G.8113.2)
ITU-T Y.1731 End-to-end Performance Monitoring and AIS
802.3 Link OAM
802.1 CFM OAM
(d) | Network Protection
LSP 1:1 linear protection
LSP SNC protection
LSP ring protection
Single segment (SS) pseudowire 1:1 protection
Multi-segment (MS) pseudowire 1:1 protection
802.1AX Link Aggregation (UNI/NNI) with LACP
MSP 1+1/1:1
RSTP (IEEE 802.1Q)
Link Pass-Through (LPT)
(e) | Quality of Service and Traffic Management
L2 Classification: VLAN,PRI, MAC address, TPID
L3 Classification: IP address,DSCP, port number, TOS
Connection Admission Control (CAC)
Policing (CIR, CBS, EIR, and EBS; ColorBlind Mode and Color-Aware Mode)
Shaping
Congestion Avoidance: WRED
(D) | Interfaces(All Supported interfaces)
1 | xxxx
2 | xxxx
3 | xxxx
4 | xxxx
(E) | Environmental Condition | Temperature & Relative Humidity
1 | Transport and storage
2 | Operation for long term
3 | Operation for short term
(F) | Reliability Index & Security
1 | System Availability
2 | MTTR
3 | MTBF
4 | Secure Shell (SSHv2) support for remote login and file transfer
5 | SFTP (Secure File Transfer Protocol)
6 | Allows the administrator to define actions permitted for each user
7 | Auto-logout function to logout the idle session
(G) | TransPonder/Muxponder/Line Module 100G
1 | Specify equipped Bit Rates:
2 | Spectral Characteristics(Maximum -20 dB spectral width)
3 | Laser Class
4 | Data rate
5 | FEC %
6 | B2B
7 | Input frequency tolerance
8 | Framing Baud Rate
9 | Modulation format
10 | Pulse shaping
11 | Eye Pattern Mask
12 | Extinction ratio
13 | Channel spacing
14 | Central Frequency Deviation
15 | FEC coding gain
16 | Wavelength range:
17 | Wavelength locking time
18 | Absolute wavelength stability(over life & temperature)
19 | Laser line width (unmodulated)
20 | Side mode suppression ratio
21 | Tx power
22 | output power stability
23 | Chromatic Dispersion tolerance
24 | PMD tolerance
25 | Rx input power range
26 | Receiver reflectance at RS
27 | Pre-FEC BER
28 | BER / error floor (post-FEC) < 1e-15
(H) | 10G DWDM XFP/SFP+
1 | Bit Rate
2 | Frequency Range
3 | Frequency Spacing
4 | Frequency Stability
5 | Transmission Distance
6 | Connector Type
7 | Transmitter
8 | Laser Type
9 | Mean Output Power(Max)
10 | Mean Output Power(Min)
11 | Minimum Extinction ratio
12 | Eye Mask
13 | SBS Suppression
14 | Optical Path
15 | Dispersion(Max)
16 | Optocal retun Loss(Min)
17 | Discrete reflectance (Max)
18 | DGD(Max)
19 | Receiver
20 | Mean input power Load
21 | Reflectance of receiver
22 | Sensitivity path panelty
(I) | Grey Interface
1 | Application Code | 10G Interface Offered | GE Interface offered
2 | Fiber type
3 | Modulation
4 | Supported Distance Range [km]
5 | Laser Types
6 | Central Wavelength [nm]
7 | Max. Spectral Width [nm]
8 | Average Launch Power [dBm]
9 | Extinction Ratio [dB]
10 | Receiver Types
11 | Mini. Overload [dBm]
12 | Receiver Sensitivity @BOL [dBm]
13 | Receiver Sensitivity @EOL [dBm]
14 | Optical Path Penalty [dB]
15 | Max. Reflect. of receiver [dB]
16 | Digital Diagnostics Function
17 | ITU-T G.691 Mask Margin
(J) | E1 Interface
1 | Bit Rate
2 | Code
3 | Connector Type
4 | Symmetry
5 | Load Impendance
6 | Peak Voltage (Signal Transfer)
7 | Peak Voltage (No Signal)
8 | Return Loss
9 | Input jitter acceptance
10 | Maximum output jitter in the absence of i/p jitter
11 | Jitter transfer characteristic:
(K) | Mode of operation: | Yes/No
1 | Unidirectional
2 | Bidirectional (single fibre operation)
(L) | Amplifiers
1 | Output power Range
2 | Receive Maximum/Minimum power
3 | Laser class
4 | Wavelength range
5 | Gain
6 | Gain ripple
7 | EDFA tilt for minimum gain ripple
8 | Noise figure
9 | Gain flatness
10 | Multichannel Gain Variation
11 | Multichannel Gain-change difference
12 | Raman Amplifier safey precations and measure
13 | VOA range
14 | Amplifier management
15 | OPTICAL SUPERVISORY CHANNEL MODULE
15.1 | OSC transmitter wavelength (nm)
15.2 | OSC transmitter output (dBm)
15.3 | OSC receiver sensitivity (dBm)
15.4 | Insertion loss of return path (dB)
15.5 | Network Management
(M) | POWER SUPPLY UNIT
1 | Nominal supply voltage:
2 | Power supply variation
3 | Guaranteed performance:
4 | Operation without damage:
5 | Polarity:
6 | Whether 220 Vac mains operation capability inbuilt
7 | List derived DC voltages:
8 | Module cut of power values
9 | Total power consumption (Fully equipped incl. service channels)
10 | Unprotected terminal:
11 | 1+1 Protected terminal:
12 | 1+1 APS protection provided?
13 | MTBF of power supply unit:
14 | Ultimate power delivery capacity
15 | Are the following protections provided?
a | Overvoltage?
b | Undervoltage?
c | Overload?
d | Reverse polarity?
e | Other (specify)?
16 | Whether proposed equipment has distributed Power Supply?
17 | Provide AC & DC power supply requirement for each of the proposed equipment.
18 | Provide Procedure to convert OLA and Repeaters to Add Drop Multiplexer
19 | Power Distribution in Subrack by power module
20 | Expected life of Equipment
(N) | Specify Maximum span length with and without OA, Repeater for
a) 100G on G.652 and G.653 fibre
b) 10G on G.652 and G.653 Fiber
(O) | Certifications
1 | MEF CE 2.0 Compliant: E-Line, E-LAN,E-Tree, E-Access
2 | ETSI 300 019
3 | ETSI EN 300 386 V1.6.1/EN 55022(2010)
4 | EN 60950-1
5 | Others
(P) | Equipment-level Protection
1 | PROTECTION SWITCHING
List the type of Protection Schemes supported by the Equipment
Discuss the proposed protection scheme
2 | Switching modes available(For Modules) | Yes/No
Auto?
Manual?
Remote/network management?
Switching priority:
switchover & switchback criteria:
Switch option mode & status indicators:
Switching Time
| Nominal: | ms
| Maximum: | ms
(Q) | Alarms
List all alarms supported by Equipment:
Q) | MECHANICAL AND ENVIRONMENTAL PARAMETERS
Number of Sub-Racks (including DC/DC converters, O/W muldem etc.) required for Unprotected Terminal:
1:1 Protected Terminal:
Sub-Rack mounting options:
Sub-Rack clearance requirements
Top * Bottom * Sides:
Front Access:
Rear Access:
Sub-Rack color and finish
Cabinet options available
19" ETSI?
Slim rack?
Others (specify)?
Whether Truncated Cabinet Available?
Fill for all Cabinet Types Proposed
Protection Class (IP Class):
Rack Color and Finish:
Altitude Installed:
Air flow in subrack (diagram required)
Describe Ventilation requirements:
Describe dustproofing provisions:
Electromagnetic compatibility (List standards & severity levels) (Submit Test Reports)
Noise Standards supported (Submit Test Reports )
Environmental standards supported (Submit Test Reports)

## L2 Switch
DATA REQUIREMENTS SHEETS for L2 Switch
Manufacturer:
Model #:
Equipment Type
(A) | Hardware Technical Specifications
1 | Dimension (mm)
2 | Weight (kg)
3 | Max. Power Supply (W)
4 | Voltage Range (V)
(B) | Board Technical Specifications
Ports
1 | XXXX
2 | XXXX
(C ) | System Performance
Technical Specifications
a | Performance
1 | Switching capacity nonblocking
2 | Forwarding rate
3 | Jambo Frame
4 | Flash Memory
b | Layer L2
1 | MAC table size
2 | Number of VLANs
3 | Type of VLAN
4 | HOL blocking
c | Management
1 | Web user interface
2 | CLI interface
3 | SNMP
4 | SNMP MIBs
5 | Firmware upgrade
6 | Port mirroring
7 | Other management
d | Security
1 | IEEE 802.1X
2 | Access control
3 | Access security
e | Availability
1 | Link aggregation
2 | Storm control
3 | Spanning tree
4 | IGMP snooping
f | QoS
1 | Priority levels
2 | Scheduling
3 | Class of service
4 | Per flow QoS
5 | Rate limiting
6 | Standards
(D) | Grey Interface
1 | Application Code | GE Interface offered
2 | Fiber type
3 | Modulation
4 | Supported Distance Range [km]
5 | Laser Types
6 | Central Wavelength [nm]
7 | Max. Spectral Width [nm]
8 | Average Launch Power [dBm]
9 | Extinction Ratio [dB]
10 | Receiver Types
11 | Mini. Overload [dBm]
12 | Receiver Sensitivity @BOL [dBm]
13 | Receiver Sensitivity @EOL [dBm]
14 | Optical Path Penalty [dB]
15 | Max. Reflect. of receiver [dB]
16 | Digital Diagnostics Function
17 | ITU-T G.691 Mask Margin
(E) | Electrical Interface
1 | Transceiver form factor
2 | Transmission speed
3 | Connector type
4 | Applicable cable and maximum transmission distance
(F) | Environmental Condition | Temperature & Relative Humidity
1 | Transport and storage
2 | Operation for long term
3 | Operation for short term
(G) | Mode of operation: | Yes/No
1 | Unidirectional
2 | Bidirectional (single fibre operation)
(H) | POWER SUPPLY UNIT
1 | Nominal supply voltage:
2 | Power supply variation
3 | Guaranteed performance:
4 | Operation without damage:
5 | Polarity:
6 | Whether 220 Vac mains operation capability inbuilt
7 | List derived DC voltages:
8 | Module cut of power values
9 | Total power consumption (Fully equipped incl. service channels)
10 | Unprotected terminal:
11 | 1+1 Protected terminal:
12 | 1+1 APS protection provided?
13 | MTBF of power supply unit:
14 | Ultimate power delivery capacity
15 | Are the following protections provided?
a | Overvoltage?
b | Undervoltage?
c | Overload?
d | Reverse polarity?
e | Other (specify)?
16 | Whether proposed equipment has distributed Power Supply?
17 | Provide AC & DC power supply requirement for each of the proposed equipment.
18 | Provide Procedure to convert OLA and Repeaters to Add Drop Multiplexer
19 | Power Distribution in Subrack by power module
(I) | Certifications
1 | XXX
2 | XXXX
(J) | Equipment-level Protection
1 | PROTECTION SWITCHING
List the type of Protection Schemes supported by the Equipment
Discuss the proposed protection scheme
2 | Switching modes available(For Modules) | Yes/No
Auto?
Manual?
Remote/network management?
Switching priority:
switchover & switchback criteria:
Switch option mode & status indicators:
Switching Time
| Nominal: | ms
| Maximum: | ms
(K) | Alarms
List all alarms supported by Equipment:
(L) | MECHANICAL AND ENVIRONMENTAL PARAMETERS
Number of Sub-Racks (including DC/DC converters, O/W muldem etc.) required for Unprotected Terminal:
1:1 Protected Terminal:
Sub-Rack mounting options:
Sub-Rack clearance requirements
Top * Bottom * Sides:
Front Access:
Rear Access:
Sub-Rack color and finish
Cabinet options available
19" ETSI?
Slim rack?
Others (specify)?
Whether Truncated Cabinet Available?
Fill for all Cabinet Types Proposed
Protection Class (IP Class):
Rack Color and Finish:
Altitude Installed:
Air flow in subrack (diagram required)
Describe Ventilation requirements:
Describe dustproofing provisions:
Electromagnetic compatibility (List standards & severity levels) (Submit Test Reports)
Noise Standards supported (Submit Test Reports )
Environmental standards supported (Submit Test Reports)

## Amplifiers
DATA REQUIREMENT SHEETS FOR AMPLIFIER SOLUTIONS & OPTICAL AMPLIFIERS
Manufacturer: ______________________________
Part #: ______________________________
Amplifier Solution (100G) OTN
| Span Loss (dB) | Max. distance supported (Km) | Solution/ Descreption of modules
1 | 30 dB
2 | 35 dB
3 | 40 dB
4 | 50 dB
5 | Higher Losses
(Plz inform if higher losses & distance also supported)
Amplifier Solution (100G) MPLS-TP
| Span Loss (dB) | Max. distance supported (Km) | Solution/ Descreption of modules
1 | 30 dB
2 | 35 dB
3 | 40 dB
4 | 45 dB
5 | Higher Losses
(Plz inform if higher losses & distance also supported)
Amplifier Solution (10G)
| Span Loss (dB) | Max. distance supported (Km) | Solution/ Descreption of modules
1 | 30 dB
2 | 35 dB
3 | 40 dB
4 | 45 dB
5 | Higher Losses
(Plz inform if higher losses & distance also supported)
Amplifier Solution (1G)
| Span Loss (dB) | Max. distance supported (Km) | Solution/ Descreption of modules
1 | 58 dB
(Plz inform if higher losses & distance also supported)
GENERAL PARAMETERS
(Fill for All Type of Amplifiers requred for above solutions)
Sl. No | Parameter: | Units: | Particulars:
1 | Type of Amplifier:
2 | Source Power Supply requirements
Volts:
Current:
3 | Gain medium:
4 | Small Signal Gain:
5 | Connection loss to transmission fibre: | dB
6 | Insertion Loss: | dB
7 | System Noise Figure:
8 | Type of pump laser:
9 | Pumping Wavelength:
10 | Bit-Rate distance product:
11 | Type of optical coupler:
12 | Type of optical isolator:
13 | Operating optical bandwidth:
14 | Polarisation Gain Dependence:
15 | Can the same optical amplifier Operate at: | Yes/No
STM-1?
STM-4?
STM-16?
STM-64?
1 Gbps?
10 Gbps?
40 Gbps?
100 Gbps?
200 Gbps?
16 | Operating Bit Rates
Lower Limit:
Upper Limit:
17 | "F" Type interface? | Yes/No
(Add rows to fill details about all type of Amplifiers)
POWER AMPLIFIER, PRE AMPLIFIER, LINE AMPLIFIER (ALL PROPOSED TYPES)
18 | Optical Input:
Signal wavelength:
Signal input power (max):
Signal input power (min):
End of Life :
Spectral width (-20 dB from peak):
Connector type:
Pulse shape:
Optical Reflectance:
19 | Optical Output:
Signal output power (max):
Signal output power (min):
End of Life:
Connector type:
20 | List and describe Monitor, Control and Alarm Points:
21 | Describe Network Management Interface provisions:
22 | Complete Accessibility from TMN | Yes/No
Accessibility as a Modules/ Card of the main Equipment in NMS?
Accessibility as a Sub-Equipment in the NMS?
Input Power Measurement via NMS?
Output Power Measurement via NMS?
Unreachability Alarm in NMS?

## TMN
DATA REQUIREMENTS SHEETS for TMN
Manufacturer: _____________________________
Model Name & #:_____________________________
Seq | Parameter: | Unit | Details:
1 | Whether all types of offered equipment are manageable from single TMN on a seamless end-to-end basis.
DWDM
OTN
MPLS-TP
L2 Switch
Amplifiers
2 | Hardware Configuration at Main Control Centre, including details of Processors, LAN, Routers, Printers etc.
3 | Hardware Configuration at Back-up control centre including details of Processors, LAN, Routers, Printers etc
4 | Describe the flow of data from Network Element to the Main and Back-up control centre, providing details of all the network components in between.
Describe features of TMN including:
5 | Configuration Management
6 | Fault Management
7 | Performance Management
8 | Security Management
9 | Inventory Management
10 | Software Management
11 | Describe communication network required for TMN
12 | Whether Back-up control centre can function independently?
13 | Whether changes implemented by Main Control center automatically updated at Back-up Control centre and vice versa?
14 | Describe configuration of the Voice Network
Describe Remote Access Solution
1 | Solution Supports:
i | Record of key stroke during remote access period
ii | Record (Video) of screen display for remote access period
iii | Record of user access and activity logs.
2 | Storage of such logs/audit trail
i | Online for 01 Year
ii | Offline for 02 years