Qualifying Requirement (QR) for Name of the Package: CONTROL & PROTECTION SYSTEM UPGRADATION WITH SAS BASED CRP AT 400/220 KV MAITHON SS OF ER-II UNDER ADDCAP KHTPS 24-29. Tender Enquiry No.: ER-II/KOL/CS/ 1000057442/I-5346/RFX- 5002004886

QUALIFICATION CRITERIA: - General - Qualification of bidders will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience (para 2.0 below) and financial position (para 3.0 below) as demonstrated by Bidder’s responses in the document submitted during bidding. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. - POWERGRID, reserves the right to waive minor deviations to QR, provided they do not materially affect the capability of the bidder to perform the contract. The decision of POWERGRID in this regard shall be final & binding on bidders. - The Owner may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work visit; (iii) details of works executed , works in hand, anticipated in future & the balance capacity available for present scope of works; (iv) details of plant and machinery, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) banker’s feedback etc. - The bid can be submitted by an individual firm or a Joint Venture . Specific requirements for Joint Ventures are given under Para 4.0 below..

- TECHNICAL EXPERIENCE 2.1 Bidder must have erected, tested and commissioned as a prime contractor under a single contract, at least two (2) nos. AIS^ Circuit Breaker equipped bays of 220kV or above voltage level in one (1) substation or switchyard during last seven (7) years and these bays must be in satisfactory operation# as on the Originally scheduled last date of bid submission (soft copy) i.e. 12/12/2025 (date to be inserted by CS Deptt at the time of NIT). Note-1 :In case the bidder has executed the work under a contract that had been awarded on a Joint Venture wherein the bidder was one of the partners, the experience of the bidder shall be considered limited to the scope executed by the bidder as a partner under the said contract. Note-2 (#): Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. Note-3 (^) : AIS means Air Insulated Substation Note-4: In case the bidder is a holding company, the technical experience referred to in clause 2.1 shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case the bidder is a subsidiary of a holding company, the technical experience referred to in clause 2.1 shall be of that subsidiary company only (i.e. excluding its holding company).

- FINANCIAL POSITION - For the purpose of this particular bid, bidder must meet the following minimum criteria: - Net Worth for last 3 financial years should be positive. - Minimum Average Annual Turnover* (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualized should be not less than ₹ 22.58 Crore. * Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/other income”. - Bidder shall have Liquid Assets (LA) and/or evidence of access to or availability of credit facilities should not be less than ₹ 3.76 Crore. Note 1: -In case a bidder is a holding company, the Financial Position criteria referred to in clause 3.1 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case the bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 3.1 above shall be that of subsidiary company only (i.e. excluding its holding company). Note 2: - Relaxation for Start-Ups^^/ MSEs Start-Ups^^/ MSEs^, meeting the specified requirements at Para 3.1 (a) above in Financial Position and meeting the specified requirements at Para 2.0 (a) above in Technical Experience shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 3.1 (b) & 3.1 (c) above in Financial Position. ^^Start-Ups as defined by DPIIT, applicable as on the Originally scheduled last date of bid submission (soft copy) ^ MSE as defined in Public Procurement Policy for Micro and Small Enterprises (MSEs) Order, 2012 dated 23.03.2012 issued by Ministry of Micro, Small & Medium Enterprises and its subsequent Orders/Notifications issued by concerned Ministry. 4.0 JOINT VENTURE BIDS 4.1 In case a bid is submitted by a Joint Venture (JV) of two or more firms as partners, joint venture must comply with the following minimum criteria: i) All the partners of the JV shall meet individually the Financial Position criteria given at 3.1 (a) above. ii) The lead partner shall meet, not less than 40% of the Financial Position criteria given at para 3.1 (b) & (c) above and 100% of the Technical Experience criteria given at 2.0 above. iii) Each of the other partner (s) individually a) shall meet not less than 25% of the Financial Position criteria given at 3.1 (b) & (c) above and 100% of the Technical Experience criteria given at 2.0 above. iv) The joint Venture must satisfy collectively the Criteria of clause 3.0 (b) & (c) above for which purpose the relevant figure of average annual turnover and liquid assets / credit facilities for each of the partners of the JV shall be added together to arrive at Joint Venture total capacity. Note (*):In case of works executed under a contract that had been awarded on a Joint Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract. #Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark.

5.0 The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above.