| POWER GRID CORPORATION OF INDIA LTD. (A Government of India Enterprise) |  |  |
| --- | --- | --- |
| TECHNICAL SPECIFICATIONS FOR SURVEY & SOIL INVESTIGATION |  |  |
|  | VOLUME-II |  |
| (This document is meant for the exclusive purpose of bidding against this specification and shall not be transferred, reproduced or otherwise used for purposes other than that for which it is specifically issued). |  |  |

TECHNICAL SPECIFICATION

(VOLUME-II)

CONTENTS

| SECTION-I | SCOPE |
| --- | --- |
| SECTION-II | SURVEY |
| SECTION-III | SOIL INVESTIGATION |
| ANNEXURE-A | Input BoQ Format for Transmission Line |
| ANNEXURE-B | Format for Crossing Details |
| ANNEXURE-C | Format for Reporting Results of Survey of River Crossing Stretch of Transmission Line |
| ANNEXURE-D | Format for Tower Schedule |
| ANNEXURE-E | Format for Land Schedule Statement |
| ANNEXURE-F | Format for Forest Details & Tree Enumeration |
| APPENDIX-I | General Description of Tower |
| APPENDIX-II | Foundation Classification |
| APPENDIX-III | Feature Code |
| APPENDIX-IV | Documents related to Submission of forest proposal |

SECTION-I

SCOPE

TECHNICAL SPECIFICATIONS

SECTION-I

# SCOPE

# Revision History

| # Revision No. | # Date | # Clause Ref | # Description |
| --- | --- | --- | --- |
| # Rev-0 | # AUG’2024 |  | # First Release |

TECHNICAL SPECIFICATIONS

SECTION-I

# SCOPE

CONTENTS

| Clause No. | Description | Page No. |
| --- | --- | --- |
| 1.0 | Scope | 1 |
| 2.0 | Transmission towers & line data | 2 |

# TECHNICAL SPECIFICATIONS

# SECTION- I

SCOPE

  - Scope

  - The following transmission lines with scope defined in clause 1.2 below are included in the scope of the Contractor under various packages:

Package G : Route alignment & Detail survey (excl. land scheduling) activities for 765kV D/C Kurnool-V – Sagar TL (Line length 240 Kms) + 400kV D/C Sagar - Nagarjunasagar TL (Line length 25 Kms) - Total line length 265 Kms

Package H : Route alignment & Detail survey (excl. land scheduling) activities for 765kV D/C Kurnool-V - Shadnagar TL (Line length 240 Kms)

  - This Specification covers the following scope of works:

          - Detailed survey including route alignment, profiling, tower spotting, optimization of tower structure locations,

          - Contouring at hilly/ undulated locations (if covered under BPS)

          - Land Scheduling (if covered under BPS) including Village Identification, Boundary Demarcation, Cadastral Data Acquisition & Preparation, Cadastral Map Integration, Land Parcel and Ownership Identification on the Final route

          - Works related to preparation of Forest Clearance Proposal (if covered under BPS)

          - Land Scheduling (if covered under BPS) including Village Identification, Boundary Demarcation, Cadastral Data Acquisition & Preparation, Cadastral Map Integration, Land Parcel and Ownership Identification on the Final route

          - Geotechnical investigation including special river crossing foundation locations viz. pile foundation locations (whenever applicable & covered under BPS);

          - Contouring at hilly/ undulated locations (if covered under BPS)

          - Works related to preparation of Forest Clearance Proposal (if covered under BPS)

  - The envisaged number of locations for Soil Investigation are as follows-

BOQ is attached for Soil Investigation Package 9 & 10

  - Location Details and Terminal Points

Transmission system for Integration of Kurnool-V  REZ – Phase-I

    - The transmission line shall emanate from Kurnool-V substation/switchyard in the District/ State of Andhra Pradesh and terminate at Shadnagar substation in the District/ State of Telangana

The transmission lines are passing through Plain area.

    - The transmission line shall emanate from Kurnool-V substation/switchyard in the District/ State of Andhra Pradesh and terminate at Raichur substation in the District/ State of Karnataka

The transmission lines are passing through Plain area.

    - The transmission line shall emanate from Kurnool-V substation/switchyard in the District/ State of Andhra Pradesh and terminate at Sagar substation in the District/ State of Andhra Pradesh/Telangana

The transmission lines are passing through Plain area.

    - The transmission line shall emanate from Sagar substation/switchyard in the District/ State of Andhra Pradesh/Telanganaand terminate at NagarjunaSagar substation in the District/ State of Andhra Pradesh

The transmission lines are passing through Plain area.

- Transmission towers and Line data

  - General Description of the Tower: The typical classification of towers are enclosed in Appendix-I of Section-II of Technical specification.

  - Foundation Classification: The typical foundation classification of towers are enclosed in Appendix-II of Section-II of Technical specification.