## Basic Data (hidden)
Enter basic data here
[Fill up data only in the relevent open area]
1 | Name of Package
2 | Specification No.
3 | Package Code
4 | Item Description | ACSR ZEBRA Conductor
5 | Quantity in km. | 6615
6 | Type Tests | Tests to be conducted | Nos of tests

## Cover
General guidelines for filling up the Price Schedules, Discount Letter & Bid Form for 2nd Envelope
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734
1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 & Discount.
2 | All the cells in Sch-5 are auto filled, therefore no cell is required to be filled up there.
3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
4 | The price quoted in respect of all items shall be excluding GST applicable on transaction between the Employer and the Contractor
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to Proceed

## Names of Bidder
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 | Manufacturer | 1
| Authorized Dealer/ Sub-dealer of Manufacturer | 2
Enter following details of the bidder | Authorized Representative of Manufacturer
Specify type of Bidder [Select from drop down menu] | #REF!
Name of Bidder
Address
Mob No
E mail
Name of Manufacturer
Address
Printed Name
Designation
PhoneNo/ Mobile No.
e-mail ID
Date
Place
Click for
Sch-1

## Sch-1
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
(SCHEDULE OF RATES AND PRICES : - Scheduled Items ) PART A
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item No. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART - A - SCHEDULE ITEMS: As per DSR 2023
GROUP - EARTHWORK -
1 | 1.1 | Carriage of material by mechanical transport including loading, unloading and stacking ,within a lead of 1km.
| 1.1.2 | Earth | Cum | 275.5728 |  | 0
2 | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation |  |  |  | 0
| 2.6.1 | All kinds of soil. | Cu.m. | 296.6925 |  | 0
3 | 2.7 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. |  |  |  | 0
| 2.7.1 | Ordinary rock | Cu.m. | 49.8 |  | 0
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu.m. | 128.2783 |  | 0
5 | 2.26 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. |  |  |  | 0
| 2.26.1 | All kinds of Soil | Cu.m. | 49.8 |  | 0
6 | 2.34 | Supplying chemical emulsion in sealed containers including delivery as specified. |  |  |  | 0
| 2.34.1 | Chlorpyriphos - Lindane emulsifiable concentrate of 20% | Litres | 90.2882 |  | 0
7 | 2.35 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : |  |  |  | 0
| 2.35.2 | Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: |  |  |  | 0
| 2.35.2.1 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | meter | 38 |  | 0
8 | 2.35.3 | Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: |  |  |  | 0
| 2.35.3.1 | With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | Sq.m. | 154.7 |  | 0
GROUP - CONCRETE WORK - | [5 empty] | 0
9 | 4.1.8 | 1:4:8 (1 cement:4 coarse sand:8 graded stone aggregate:40mm nominal size) | Cu.m. | 16.7522 |  | 0
| 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for : |  |  |  | 0
| 4.3.1 | Foundations, footings, bases for columns . | Sq.m. | 12.015 |  | 0
GROUP - RCC WORK | [5 empty] | 0
10 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : |  |  |  | 0
| 5.1.2 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | Cu.m. | 38.2142 |  | 0
11 | 5.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up to floor five level excluding cost of centering, shuttering, finishing and reinforcement : |  |  |  | 0
| 5.2.2 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | Cu.m. | 10.1947 |  | 0
12 | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cu.m. | 20.3402 |  | 0
| 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for : |  |  |  | 0
13 | 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete. | Sq.m. | 10.62 |  | 0
14 | 5.9.5 | Lintels, beams, plinth beams, girders, bressumers & cantilevers | Sq.m. | 136.872 |  | 0
15 | 5.9.6 | Columns, pillars, piers abutments posts & struts | Sq.m. | 121.312 |  | 0
16 | 5.9.19 | Weather shade, chajjas, corbels etc. including edges. | Sq.m. | 39.204 |  | 0
17 | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  |  | 0
| 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | kilogram | 1465.5914 |  | 0
18 | 5.22A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. |  |  |  | 0
| 5.22A.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | kilogram | 4476.7354 |  | 0
19 | 5.30 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | meter | 30.15 |  | 0
20 | 6.34 | Brick work with non modular fly ash bricks conforming to IS:12894,class designation 10 average compressive strength in super structure above plinth level up to floor V level in : |  |  |  | 0
| 6.34.2 | Cement mortar 1:6 (1 cement : 6 Coarse sand) | cum | 79.074 |  | 0
21 | 6.45 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. |  |  |  | 0
| 6.45.2 | Cement mortar 1 : 4 (1 cement : 4 coarse sand) | sqm | 10 |  | 0
GROUP - MARBLE WORK - GRANITE WORK | [5 empty] | 0
20 | 8.2 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. |  |  |  | 0
| 8.2.2 | Granite of any colour and shade |  |  |  | 0
| 8.2.2.1 | Area of slab upto 0.50 Sq. m. | Sq.m. | 4.512 |  | 0
21 | 8.3 | Providing edge moulding to 18mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. |  |  |  | 0
| 8.3.1 | Marvel work | meter | 28.2 |  | 0
GROUP - WOOD WORK | [5 empty] | 0
0
22 | 9.7.7 | Float glass panes |  |  |  | 0
| 9.7.7.2 | 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | sqm | 66.165 |  | 0
23 | 9.23 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | sqm | 1.6096 |  | 0
24 | 9.46 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : |  |  |  | 0
| 9.46.3 | 25 mm dia | metre | 22.35 |  | 0
25 | 9.48 | Providing and fixing M.S grills of required pattern in frames of windows etc. with M.S flats, square or round bars etc. all complete. |  |  |  | 0
| 9.48.2 | Fixed to openings-wooden frames with rawl plugs screws etc. | Kg. | 373.804 |  | 0
| 9.147A | Providing and fixing factory made uPVC glazed/wire mesh windows /doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.7mm for Series R1 and R2 profiles and 2.1mm for Series R3 and R4 conforming to EN: 12608 in any shape colour and design duly reinforced with galvanized mild steel section made of required shape and size as per CPWD Specification, uPVC extruded glazing beads, interlocks and lnline sash adaptor (where ever required) of appropriate dimension, EPDM gasket hardwere, SS 304 grade fastners of minimum 8mm dia with countersunk head comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367: Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame sash & mullion (if required) shall be mitred cut and fusion welded mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforecement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. |  |  |  | 0
|  | Wire mesh/ Glazing of plain /toughed/laminated/double glass unit with/without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately |  |  |  | 0
|  | Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : |  |  |  | 0
|  | i) Sites with basic wind speed> 45m/s as per IS 875-Part 3 ii) Sites with structure height more than 20m for all wind speeds |  |  |  | 0
| 9.147.A4 | Three track three panels sliding window with two & one wire mesh panels with Aluminum channel for roller track, wool pile, nylon rollers with SS 304 body. |  |  |  | 0
26 | 9.147.A4.3 | Using R4 series with frame (115mm & above)x(45mm & above) & both glazed and fly screen sash (44mm & above)x(55mm & above) with zinc alloy (zamak) powder coated handle on every glazed panel along with multipoint locking system touch locks with hook . (Height above 1.8m) | sqm | 22.56 |  | 0
| 9.147.C2 | Fixed window / ventilator with mullion transom |  |  |  | 0
27 | 9.147.C2.2 | Using R2 series with frame (39mm & above)x(39mm & above) & mullion (39mm & above)x(60mm & above). (Height upto 1.2m) | sqm | 32.4 |  | 0
| 9.147.F2 | Casement door double panel with french (False) Mullion with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder zinc alloy (zamak) powder coated handels on both side . |  |  |  | 0
28 | 9.147.F2.1 | Using R3 series with frame (55mm & above)x(50mm & above) & sash (55mm & above)x(85mm & above) & French (False) mullion (55mm & above)x(60mm & above). (Height above 2.5m) | sqm | 11.205 |  | 0
0
0
29 | 10.16.1 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | KG | 2599.0163 |  | 0
0
30 | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | KG | 443.992 |  | 0
0
31 | 10.20 | Providing and fixing bolts including nuts and washers complete. | KG | 113.024 |  | 0
0
GROUP - FLOORING WORK | [5 empty] | 0
32 | 11.41 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption's less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. |  |  |  | 0
| 11.41.2 | Size of Tile 600x600 mm | Sq.m. | 93.688 |  | 0
GROUP - ROOFING WORK | [5 empty] | 0
33 | 12.41 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. |  |  |  | 0
| 12.41.2 | 110 mm diameter | Mtrs. | 75 |  | 0
| 12.42 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion |  |  |  | 0
34 | 12.42.5.2 | 110 mm bend | Each | 10 |  | 0
0
35 | 12.42.6.2 | 110 mm Shoe | Each | 10 |  | 0
| 12.43 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised- PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. |  |  |  | 0
36 | 12.43.2 | 110 MM PVC CLIPS | Each | 30 |  | 0
0
37 | 12.44 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | Each | 10 |  | 0
0
0
GROUP - FINISHING WORK | [5 empty] | 0
40 | 13.4 | 12 mm cement plaster of mix |  |  |  | 0
| 13.4.2 | 1:6 (1 cement - 6 coarse sand) | Sq.m. | 310.035 |  | 0
41 | 13.11 | 18mm cement plaster in two coats under layer 12mm thick cement plaster 1:5 (1Cement:5 Coarse sand) finished with top layer 6mm thick cement plaster 1:6 (1 Cement:6 Fine sand). | Sq.m. | 34.206 |  | 0
42 | 13.16 | 6mm cement plaster of mix. |  |  |  | 0
| 13.16.1 | 6mm cement plaster to ceiling of mix1:3 (1 Cement:3 Fine sand) | Sq.m. | 34.206 |  | 0
43 | 13.19 | Rough cast plaster upto 10 m height above ground level with a mixture of sand and gravel or crushed stone from 6 mm to 10 mm nominal size, dashed over and including the fresh plaster in two layers, under layer 12 mm cement plaster 1:4 (1 cement : 4 coarse sand) and top layer 10 mm cement plaster 1:3 (1 cement : 3 fine sand) mixed with 10% finely grounded hydrated lime by volume of cement. |  |  |  | 0
| 13.19.1 | Ordinary cement finish using ordinary cement | SQM | 339.735 |  | 0
44 | 13.21 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturers. | Per bag of 50 kg cement used in the mix | 50 |  | 0
45 | 13.47 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: |  |  |  | 0
| 13.47.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | Sq.m. | 718.187 |  | 0
47 | 13.50 | Applying priming coat: |  |  |  | 0
| 13.50.3 | With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/steel works | sqm | 132.56 |  | 0
48 | 13.61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : |  |  |  | 0
| 13.61.1 | Two or more coats on new work | Sq.m. | 132.56 |  | 0
49 | 13.80 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Sq.m. | 310.035 |  | 0
50 | 15.3 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | CUM | 2.249 |  | 0
51 | 15.7.4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | CUM | 5.3096 |  | 0
52 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | Sq.m. | 41 |  | 0
53 | 17.35 | Providing and fixing soil, waste and vent pipes: |  |  |  | 0
| 17.35.1 | 100 mm dia |  |  |  | 0
| 17.35.1.2 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | Mtrs. | 5 |  | 0
54 | 17.35.2 | 75 mm dia |  |  |  | 0
| 17.35.2.2 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | Mtrs. | 5 |  | 0
55 | 17.38 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  |  | 0
| 17.38.1 | 100 mm |  |  |  | 0
| 17.38.1.2 | Sand cast iron S&S as per IS - 3989 | Each | 2 |  | 0
56 | 17.38.2 | 75 mm |  |  |  | 0
| 17.38.2.2 | Sand cast iron S&S as per IS- 3989 | Each | 2 |  | 0
57 | 17.39 | Providing and fixing plain bend of required degree |  |  |  | 0
| 17.39.1 | 100 mm |  |  |  | 0
| 17.39.1.2 | Sand cast iron S&S as per IS : 3989 | Each | 2 |  | 0
58 | 17.39.2 | 75 mm |  |  |  | 0
| 17.39.2.2 | Sand cast iron S&S as per IS : 3989 | Each | 2 |  | 0
| 17.58 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : |  |  |  | 0
59 | 17.58.1 | 100 mm | Each | 2 |  | 0
60 | 17.58.2 | 75 mm | Each | 2 |  | 0
61 | 17.60 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  |  | 0
| 17.60.2 | 100 mm inlet and 75 mm outlet |  |  |  | 0
| 17.60.2.1 | Sand cast iron S&S as per IS - 3989 | Each | 2 |  | 0
| 17.65 | Painting sand cast iron/ centrifugally cast (spun) iron soil, waste vent pipes and fittings with two coats of synthetic enamel paint of any colour such as chocolate grey, or buff etc. over a coat of primer (of approved quality) for new work : |  |  |  | 0
62 | 17.65.1 | 100 mm diameter pipe | Meter | 5 |  | 0
63 | 17.65.2 | 75 mm diameter pipe | Meter | 5 |  | 0
SEWERAGE -DRAINAGE, | [5 empty] | 0
64 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : |  |  |  | 0
| 19.1.1 | 100 mm diameter | Meter | 10 |  | 0
65 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design: |  |  |  | 0
| 19.2.1 | 100 mm diam. S.W pipe | Meter | 10 |  | 0
66 | 19.4 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: |  |  |  | 0
| 19.4.3 | 180x150 mm size P type |  |  |  | 0
| 19.4.3.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 2 |  | 0
67 | 19.7 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : |  |  |  | 0
| 19.7.1 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : |  |  |  | 0
| 19.7.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 3 |  | 0
66 | 21.17 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | KG | 85.7353 |  | 0
0
| 26.19 | Providing at all heights, levels and locations Aluminium profile industrial troughed sheet of Alloy 31500/31000/40800, conforming to IS 1254, IS 737, IS 2676. The sheet shall be fixed using self drilling/self tapping SS screws of size 5.5x65 mm with EPDM seal complete upto required pitch in horizontal, vertical or curved surfaces i/c cutting to size and shape where required as per specifications, detail drawings and direction of Engineer-in-Charge. The rate shall be inclusive of all screws, seal, ridge, labour, scaffolding, machinery for fixing and approved sealent where required etc. but excluding the cost of purlins, rafters and trusses. |  |  |  | 0
| 26.19.2 | 0.91 mm thick, the profile detail width 1044/920 mm, cover width 1000/875 mm | sqm | 210 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[6 empty] | 0 | #REF!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total for PART-A-Schedule items (Excluding GST) : |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2

## Sch-2
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 | [5 empty] | Schedule - 2
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
SCHEDULE OF RATES AND PRICES : PART-B- Non Scheduled Items
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-B: Non Scheduled Items
|  | PART - B - NON SCHEDULE ITEMS |  |  |  | 0
1 | NS-1 | Providing and filling in foundation, plinth & floors with good quality murrum in layers of 20 mm each including watering , compaction and its transportation by mechanical / manual means with all lead and lifts etc complete.( Compacted volume of murrum shall be measured. ) | Cu.m. | 25.5 |  | 0
2 | NS-2 | Constructing brick masonary open surface drain with bricks of class designation 75 in cement mortar 1:4 ( 1 cement : 4 fine sand) including earth excavation, 10 cm thick bed concrete 1:5:10 ( 1cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and 25 mm thiick cement concrete 1:2:4 ( 1 cement : 2 coarse sand : 4 graded stone aggregate 12.5 mm nominal size) for filling haunches including 12 mm cement plaster 1:4 ( 1cement : 4 coarse sand) with a floating coat of neat cement inside the drain , its top and exposed side including disposal of surplus earth complete as per standar design : |  |  |  | 0
|  | 25 cm drain 30 cm average depth | metre | 25.5 |  | 0
3 | NS-3 | Masonry work with Fly Ash bricks of average compressive strength of 50 Kg/cm2 in foundation and plinth level in cement mortar 1:6 (1 cement :6coarse sand). | Cu.m. | 1.38 |  | 0
6 | NS-4 | Providing & fixing stainless steel jali (grating) with or without hole for waste pipe for floor/Nahani trap instead of SCI/CI grating as per trap item 100 mm dia weight not less than 100 gms. | each | 2 |  | 0
9 | NS-5 | Providing & fixing Hilti bar for rebaring |  |  |  | 0
| A | For 12 mm dia | Nos | 19 |  | 0
| B | For 16 mm dia | Nos | 44 |  | 0
10 | NS-6 | Providing & fixing of air cushing wooden sports flooring with kiln seasoned imported Canadian/ European Maple Teak wood surface board finished with minimum 21 mm thick, 50 to 110 mm width and in random length in tounge and groove shape. The egdes of the boards will have finger lock groove and the bottom side with air pass groove.The under frame made of commercial quality Fir/Spruce/Pine wood runners of minimum 70 mm x 45 mm size treated with anti termite solution and fixed on bottom side with 18 mm thick EPDM air cushioning pads by nails through the two wings @ min. 350 mm centre to centre.A vapour barrier of shall be placed on the existing floor before laying the under floor frame. The runners having air shall cushioning pads shall be placed on the vapour barrier in perfect level @ 350 c/c on one direction. An expansion gap if necessary shall be provided as per manufacture specification.After fixing of the floor will be machine sanded in uniform level and finished with imported non skid DIN certified Polyurethane lacquer. Rate is inclusive of all materials, labour, T&P, installation, transportation, taxes, 5 years warranty etc complete. Nothing extra shall be paid on this account. The make of flooring will be "Sundek" or of equivalent reputated make.(Note: Game line marking with Synthetic enamel paint of badminton court in suitable colour is included in this item, towards which no extra payment shall be done). Rest of the area of multi-purpose hall shall be laid with anti-skid vitrified tile. | sqm | 190 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total (PART-B) - Non Scheduled Items (Excluding GST) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-3

## (Part-III) Sch-1 (hidden)
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-A- SCHEDULED ITEMS AS PER DSR-2014)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | ITEM NO. | Item Description | Unit | Qty. | Rate | Amount
1 |  | 2 | 4 | 5 | 6 | 7 = 5 x 6
PART-III Construction of SEWERAGE SYSTEM for Residential Qtr
PART-A - (SCHEDULE ITEMS AS PER DSR - 2016)
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cu.m. | 60
2 | 2.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
| 2.10.1.2 | Pipes, cables etc. exceeding 80mm dia but not exceeding 300mm dia. | Metre | 1000
3 | 2.11 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | Metre | 50
4 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cu. M | 20
5 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | Cu. M | 50
6 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | Sq.m. | 80
7 | 17.35 | Providing and fixing soil, waste and vent pipes :
| 17.35.1 | 100 mm dia
| 17.35.1.1 | Sand cast iron S&S pipe as per IS: 1729 | metre | 10
8 | 18.27 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
| 18.27.3 | 150 mm dia pipe | metre | 50
9 | 18.28 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
| 18.28.3 | 150 mm diameter pipe | each | 20
10 | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
| 19.1.2 | 150mm diameter | Metre | 1000
11 | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
| 19.2.2 | 150 mm diameter S.W. pipe | Metre | 1000
12 | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
| 19.6.4 | 300 mm dia RCC pipes. | metre | 30
13 | 19.15 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design :
| 19.15.1 | With 20x20 mm square bar | Each | 30
Sum of Items as per DSR-2016
|  | Percentage quoted above (+) / below(-) DSR-2016 |  |  |  | 0
|  | Total for PART-III (PART-A) -(Schedule Items) |  |  |  | 0
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :
Click for
Sch-2(Part-I)

## (Part-III) Sch-2 (hidden)
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 | [5 empty] | Schedule - 2
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
(SCHEDULE OF RATES AND PRICES : PART-III (SEWERAGE SYSTEM), PART-B- NON SCHEDULED ITEMS)
Bidder’s Name and Address |  |  |  |  | To:
Bidder as |  |  |  |  | Contract & Material
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
SI. No. | Item no. | Item Description | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 x 6
PART-II Construction of SEWERAGE SYSTEM for Residential Qtr
PART-B | NON-SCHEDULE ITEMS
1 | NS-1 | Construction brick masonary manholes in cement mortar 1:4 - 1 cement : 4 coarse sand- R.C.C. top slab with 1:2:4 mix -1 cement : 2 coarse sand : 4 approved graded stone aggregate 20mm nominal size- foundation concrete 1:4:8 mix -1 cement : 4 coarse sand :8 graded stone aggregate 40mm nominal size) inside plastring 12mm thick with cement morter 1:3(1 cement:3 Coarse sand) finished with a floating coat of neat cement and making channel in cementconcrete 1:2:4 (1 cement:2 coarse sand:graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design of CPWD.
Inside size 90X80 cm and 45cm deep including C.I. Cover with frame (light duly) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 Kg (weight of cover 23 Kg and and weight of frame 15 Kg)
| a | With Fly Ash Bricks | Each | 40
2 | NS-2 | Extra for depth for manholes
Size 90 x 80cm
|  | With Fly Ash Bricks of average compressive strength of 50 Kg/cm2 | Meter | 35
Total PART-III ( PART-B) - (Non-Schedule Items)
Printed Name :
Date : |  |  |  |  | Designation :
Place :
Click for
Sch-3(Part-I)

## Sch-3
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 | [6 empty] | Schedule - 3
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION | [10 empty] | As per Lum-sum
(SCHEDULE OF RATES AND PRICES : PART-C- ELECTRICAL ITEMS) | [10 empty] | AS per Percent
As per lum-sum on Sch-3
Bidder’s Name and Address | [5 empty] | To: |  |  |  |  | As per Percent on Sch-3
Bidder as | [5 empty] | Contract & Material |  |  |  |  | Multipackage lum-sum
Name : | [5 empty] | Power Grid Corporation of India Ltd., |  |  |  |  | Multipackage on Percent
Address : | [5 empty] | Western Region -I Headquarters |  |  |  |  | Total Discount
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
All values are in Indian Rupees.
Item. No | Activity Number | Group | Description of Item | Unit | Qty. | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=6*7
|  | A | MAIN CIRCUIT WIRING: From MDB Panel / Meter Panel To SDBs (Ground Floor)
Supply, laying, installation towards main circuit wiring from Meter Panel / MDB to respective SDBs as per the drawing, interior layout, site conditions in concealed / recessed medium gauge PVC conduit (ISI approved) including supply of conduits and its accessories, FR type wires (ISI approved) and other required materials as per technical specification and as per direction of Engg-in-charge (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) complete for the following :-
|  | 1 | 4X6 sq.mm + 2 X 4 sq. mm(green) PVC insulated Copper Conductor Multistrand wire, Mains wiring For Meter panel as per the direction of engg-in-charge | Mtrs | 50 |  | 0
0
0
|  | B | SUB CIRCUIT WIRING - from SDBs to Switchboards ; 6A power sockets ; 16A & 25A Power sockets & Weather proof power sockets :- |  |  |  | 0
|  |  | Supply, laying, installation towards sub circuit wiring from SDBs(Ground floor ) to Switchboards; 6A; 16A & 25A Power sockets as per the drawing, interior layout, site condition in separate individual concealed / recessed medium gauge PVC conduit (ISI approved) including supply of conduits and its accessories, FR type wires (ISI approved) and other required materials as per technical specification and as per direction of Engg-in-charge (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) complete for the following :- |  |  |  | 0
0
|  | 1 | SDB to Switch Board to AC Switch Sockets Point and Power Points :- | Mtrs | 160 |  | 0
|  |  | Main with 2x4 Sq.mm and earth wire 2.5 sq.mm FR PVC Copper conductor Multistrand wires in PVC Conduit as per the technical specification. |  |  |  | 0
0
|  | 2 | SDB to Switchboards and Switchboard to Switchboard :- | Mtrs | 160 |  | 0
|  |  | Main with 2x 2.5 Sq.mm and earth wire 1.5 sq.mm FR PVC Copper conductor Multistrand wires in PVC Conduit as per the technical specification. |  |  |  | 0
0
|  | C | POINT WIRING :- (From switchboard to individual light points / street light point / ceiling fan point / Ex-fan points):- |  |  |  | 0
|  |  | Supply, laying and installation towards point wiring with 1.5sq.mm (for phase, neutral & earth ) 1100V PVC insulated copper conductor multistrand FR type wires (ISI approved) in recessed medium gauge PVC conduit (ISI approved) as per the drawing, interior layout, site condition including supply of conduit, associated conduit accessories, wires and other materials required as per technical specification and as per direction of engg-in-charge (Conduits to be laid in columns, beams, slabs before concreting in walls and before or after the walls are raised as required by structural restraint) complete for the following :- |  |  |  | 0
0
|  | 1 | From Switchboard to Light point / Ceiling fan / Exhaust fan / Bell Point / 6 A Switch Sockets :- | Mtrs | 170 |  | 0
|  |  | Main with 2x1.5 Sq.mm and earth wire 1.5 sq.mm FR PVC Copper conductor Multistrand wires in PVC Conduit as per the technical specification. |  |  |  | 0
|  | D | MODULAR SWITCHES, BOXES, COVER PLATES FOR LIGHT, CEILING FAN, BELL POINTS, BELL STATION, 6A SWITCH SOCKET & 15A POWER SOCKETS. |  |  |  | 0
|  |  | Supply, installation, testing and commissioning of wiring accessories of approved ISI/CE certified make modular range such as modular switches, switch socket outlets, power sockets, etc. for the following with suitable mounting plates & boxes (modular range) in the required configuration as per the specification, interior layout, drawing, site condition and as per direction of engg-in-charge |  |  |  | 0
0
|  | 1 | 10A single pole, 1way switch for light and for 6A power points of ISI mark approved make. | Nos. | 35 |  | 0
0
0
|  | 2 | 6A, Multipin 5/6 Socket of ISI mark approved make. | Nos. | 8 |  | 0
0
0
|  | 3 | 20 A , Single pole, 1 way switch of ISI mark approved make for with Indicator for Geysers and Heater. | Nos | 4 |  | 0
0
0
|  | 4 | Concealed type modular switch box with double mounting plate for 1/2 module of ISI mark approved make. | Nos. | 15 |  | 0
0
|  | 5 | Concealed type modular switch box with double mounting plate for 3 module of ISI mark approved make. | Nos. | 5 |  | 0
0
|  | 6 | Concealed type modular switch box with double mounting plate for 4 module of ISI mark approved make. | Nos. | 5 |  | 0
0
0
0
|  | 7 | Concealed type modular switch box with double mounting plate for 12 module of ISI mark approved make. | Nos. | 5 |  | 0
0
|  | H | Sub Distribution Board-SDB (Single phase distribution board with RCCB as Incomer & Single pole MCB as Outgoing ) :- |  |  |  | 0
|  |  | Supply, erecting, testing & commissioning of Single pole and neutral totally enclosed Distribution Board (Double door glazed type) RCCB / MCB for Power & lighting Sub distribution conforming to IS:8623 and IEC standard of IP42 flush mounted at location indicated in the drawing complete as required and made from 18 gauge sheet steel / C.R.C.A. with stove enamell paint/powder coated suitable for installation in recess of approved make complete with required busbar per phase , brass neutral link of required current carrying capacity, required capacity brass earth bar erected on angle iron frame complete. No fabricated DBs shall be allowed. Only DBs of specified make as per technical specification and as per direction of engg-in-charge shall be used. (horizontal / vertical busbar type) including lugging wiring connection etc. for the following :- |  |  |  | 0
0
|  | 1 | DP SDB (SUB DISTRIBUTION BOARD) with 2 Pole, 40 Amp Isolator as incomer-1 no., associated kits; and outgoings suitable for accommodating the following of 6A,10A & 20A, 1 pole MCBs, 10 KA short circuit rating capacity which is to be installed as per the direction of engg-in-charge. In the outgoing circuit in the phase segregated design with all accessories like bus bars, lugs, leads,FLUSH MOUNTED with double door complete, suitable size cable entry space for incoming / outgoing cables, CONCEALED IN WALLS/ erected on suitable angle iron frame of L&T (HAGER) Cat.no HSD16GN (or) other eqvnt. make as required as per technical specification (Note :- Rate for 2 pole, 40 Amp Isolator Incomer is included in the SP SDB above item & rate for outgoing 1 pole, MCB is extra payable as per item no. G.5) | Set | 1 |  | 0
0
0
0
0
|  | 2 | Supply, installation, testing & commissioning of 1 Pole MCBs Type-C of following rating,10KA Short circuit rating installed in the outgoing above SDBs as per single line / power schematic diagram. | Nos | 10 |  | 0
|  |  | 1P 6A to 32A, cat no.NC 106N/110N/116N/120N/132N make L&T (or) equivalent make |  |  |  | 0
0
|  | I | SUPPLY OF ENERGY SAVER LIGHT FITTINGS/FIXTURES, WEATHER PROOF STREET LIGHT FLOURESCENT FITTINGS; CEILING FAN; WALL MOUNTING FAN; EX-FAN AND ERECTION/ INSTALLATION WORKS :- |  |  |  | 0
0
0
|  | 1 | T5 light fitting suitable for 2 x 19W (Min) Energy Efficient LED Tube light | Nos | 4 |  | 0
0
0
|  | 2 | Supply and installation of 4000 (Min) Lumen output LED flood light fitting,class IP65 or above. Housing of pressure, die cast aluminium alloy and heat sink extruded aluminium with suitable bracket for erected on Celing / Wall/ Truss with required acessories to complete the work. Make should of Philips , Bajaj , CGL , Wipro or Equivalent make as per direction of Engg-in-charge. (Note :- Respective test certificate and warranty certificate to be submitted) | Nos | 10 |  | 0
0
|  | 3 | Supply and Installation of 4500 (Min) Lumen output LED street light fitting, class IP65 or above protection along with bracket for single fitting made from 40 mm dia B class G.I. pipe, 1.0 m in length and all required acessories to complete the work. Make should be Philips, Bajaj, CGL, Wipro or equ. as per direction of engg-in-charge. (note: Respective test certificate and warranty certificate to be submitted) | Nos | 5 |  | 0
0
|  | 4 | Supplying and erecting integrated LED Highbay Fitting 100W IP65 & IK08 class having die cast aluminium housing with polycarbonate diffuser with integrated optics, having system lumens output of Min. 15000 Lumens, min. efficacy of 145 lumen/W, CRI>70, CCT upto 6500K, THD<10%, p.f. >0.90, operating range of 140-240V, inbuilt surge protection of 4 kV, Life class of 50,000 Hrs. at L50B50 , including driver complete with 3 Year warranty as per specification | Nos | 4 |  | 0
|  | 5 | Providing and erecting air circulator 600 mm sweep oscillaiting type, wall mounting 1440 RPM without speed regulator, overheat protection unit, totally enclosed, flame proof motor suitable for 230/250 Volts single phase, 50 cycles A.C. supply, core lead wire and with moisture proof treatment to winding and with 'E' class insulation. | Nos | 10 |  | 0
|  | 6 | Supply, erection, testing and commissioning of Fresh air cum Exhaust fan of domestic heavy duty 250 Vac 50 Hz, 300 mm,TRANS AIR, 1400 RPM suitable for continuous duty in crowded kitchen rooms, toilets, lavoratories with double ball bearing with metallic body, blades,wire mesh, fan motor with moisture proof treatment and 'F' class insulation of approved make Crompton (or) Almonard (or) GEC (or) equivalent make including providing circular hole in brick wall of suitable size and providing necessary metal sheet CAWL to avoid bird entry. | Nos | 5 |  | 0
[6 empty] | 5439 | 0
[6 empty] | 1582 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total (PART-C) - Excl GST | [5 empty] | 0 | 0.18 | #REF! | #REF!
Date : | 0 | [5 empty] | Printed Name : | 0
Place : | 0 | [5 empty] | Designation : | 0
Click for
Sch-4

## Sch-4
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 |  |  | Schedule - 5
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
(GRAND SUMMARY)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description
1 | PART-A- Scheduled items |  | 0
2 | PART-B- Non Scheduled Items |  | 0
3 | PART-C- Electrical Items |  | 0
| Total of PART-A + PART-B |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discout

## Sch-5 After Discount
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 |  |  | Schedule - 5 After Discount
EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
(GRAND SUMMARY - AFTER DISCOUNT)
Bidder’s Name and Address |  |  | To:
Bidder as |  |  | Contract & Material
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Sl. No. | Description |  | Total Price (INR) | Total Discount | 0%
1 | PART-A- Supply |  | 0 | 0 | 0
2 | PART-B- Scheduled items |  | 0 | 0 | 0
| PART-B- Non Scheduled Items |  | 0
0
0
0
0
0
0
0
0
0
2 | PART-C- Electrical Items |  | 0 | 0 | 0
| Total of PART-A + PART-B + PART-C |  | 0 |  | 0
| GRAND TOTAL after Discount |  | 0
Date :
Place : |  | Printed Name :
Designation :
Click for Discount

## Discount
This letter of discount is optional. Bidder may / may not offer any discount.
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract & Material
Power Grid Corporation of India Ltd.,
Western Region -I Headquarters
Sampriti Nagar, Nari Ring Road
PO: Uppalwadi, Nagpur (MS) -440026
Subject : |  | EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION
1) All the discounts mentioned below shall be applied separately.
2) Please verify Schedule-5 (after Discount) after filling this letter of discount.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [5 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdules of all the Parts i.e. (PART-A + Part-B+PART-C) In Rs. |  |  | 0 | 0%
AND
| 2 | Discount on percent basis on total price quoted by us. [The discount shall be proportionately applicable on all the items of all the Schdulesof all the Parts i.e. (PART-A + Part-B+PART-C) In Percent (%) |  |  |  | 0%
| 1) Discount is Optional. 2) Bidder may fill any of the above two Indicated Discounts or both the Discounts. 3) Discount(s) offered at Sl. No. 1 to 2 will automatically simultaneously get accounted for in all the Schedules of all the Parts.. | [5 empty] | 0%
| 5 | We hereby offer Multi-package discount as given below:
[5 empty] | #REF! | 0%
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Note:
1) All the discounts mentioned above shall be applied separately.
2) Please verify Schedule-5 after filling the above letter of discount.
Yours faithfully,
For and on behalf of
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Bid Form 2nd Envelope
Specification No.: WR-I/RPC/VRL/NIT-82-VRL-I-485-2025/RFX-5002004734 |  |  |  |  | Bid Form 2nd Envelope | 0 |  |  |  |  | 1 | st |  | 1 | January
[6 empty] | #REF! |  |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [10 empty] | 3 | rd |  | 3 | March
[11 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [10 empty] | 5 | th |  | 5 | May
Date : | [10 empty] | 6 | th | #VALUE! | 6 | June
[11 empty] | 7 | th | #VALUE! | 7 | July
To: | [10 empty] | 8 | th | #VALUE! | 8 | August
Contract & Material | [10 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [10 empty] | 10 | th |  | 10 | October
Western Region -I Headquarters | [10 empty] | 11 | th |  | 11 | November
Sampriti Nagar, Nari Ring Road | [10 empty] | 12 | th |  | 12 | December
PO: Uppalwadi, Nagpur (MS) -440026 | [10 empty] | 13 | th
[11 empty] | 14 | th
Name of Contract : |  | EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [10 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of EXISTING COMMUNITY CENTER EXPANSION WORK AT 765/400 KV DHARAMJAIGARH SUBSTATION under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rupees only) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to execute the work of | under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rupees only) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [9 empty] | 18 | th
2 | Price Schedules | [9 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [9 empty] | 20 | th
| Sch-1 |  | PART-A-SCHEDULED ITEM | [7 empty] | 21 | st
| Sch-2 |  | PART-B-NA
| Sch-3 |  | PART-C-NA
| Sch-4 |  | GRAND SUMMARY
| Sch-5 After Discount |  | GRAND SUMMARY after DISCOUNT
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [9 empty] | 28 | th
2.3 | We declare that as specified in Clause 9, Section–II: SCC, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be FIRM during the execution of Contract and not subject to any Price Adjustment . | [9 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [9 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [9 empty] | 31 | st
3 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  |  |  | Printed Name :
Place : |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover Page

## N-W (hidden)
0
0
0
0
0
Rupees only
0 | zero |  | only
0 | zero | hundred
0 | zero | thousand
0 | zero | lakh
0 | zero | crore | Rupees
0 | zero
1 | one
2 | two
3 | three
4 | four
5 | five
6 | six
7 | seven
8 | eight
9 | nine
10 | ten
11 | eleven
12 | twelve
13 | thirteen
14 | fourteen
15 | fifteen
16 | sixteen
17 | seventeen
18 | eighteen
19 | nineteen
20 | twenty
21 | twenty one
22 | twenty two
23 | twenty three
24 | twenty four
25 | twenty five
26 | twenty six
27 | twenty seven
28 | twenty eight
29 | twenty nine
30 | thirty
31 | thirty one
32 | thirty two
33 | thirty three
34 | thirty four
35 | thirty five
36 | thirty six
37 | thirty seven
38 | thirty eight
39 | thirty nine
40 | forty
41 | forty one
42 | forty two
43 | forty three
44 | forty four
45 | forty five
46 | forty six
47 | forty seven
48 | forty eight
49 | forty nine
50 | fifty
51 | fifty one
52 | fifty two
53 | fifty three
54 | fifty four
55 | fifty five
56 | fifty six
57 | fifty seven
58 | fifty eight
59 | fifty nine
60 | sixty
61 | sixty one
62 | sixty two
63 | sixty three
64 | sixty four
65 | sixty five
66 | sixty six
67 | sixty seven
68 | sixty eight
69 | sixty nine
70 | seventy
71 | seventy one
72 | seventy two
73 | seventy three
74 | seventy four
75 | seventy five
76 | seventy six
77 | seventy seven
78 | seventy eight
79 | seventy nine
80 | eighty
81 | eighty one
82 | eighty two
83 | eighty three
84 | eighty four
85 | eighty five
86 | eighty six
87 | eighty seven
88 | eighty eight
89 | eighty nine
90 | ninety
91 | ninety one
92 | ninety two
93 | ninety three
94 | ninety four
95 | ninety five
96 | ninety six
97 | ninety seven
98 | ninety eight
99 | ninety nine