## Table 1 (hidden)
Tender: | Refurbishment of HVDC Control, Protection, SCADA, Valve Hall Equipment and Valve Cooling System for 2x500 MW Chandrapur HVDC Back to Back (BTB) Station under Add-Cap
Bidder: | Hitachi Energy India Limited
Title: | Set -1 of Commercial Deviations / Clarifications
Sl. No. | Bidding Document | Clause Reference No. | Clause Header | Deviation / Clarification | Provisions as per the bidding document | Detailed description of Deviations / Clarifications the bidder | Reason for Change
1 | Section - IV GENERAL CONDITIONS OF CONTRACT (GCC) | Section IV, GCC C 4.1, Section-IV, Vol-I | Definitions | Clarification | 4. Time for Commencement and Completion 4.1 The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. ................................ | We request to add the definition of "Commencement Date" "Commencement Date" means the date of fulfilment of all conditions stated below: (a) This Contract Agreement has been duly executed for and on behalf of the Employer and the Contractor. (b) The Employer has paid the Contractor the advance payment within 15 days of receipt of eqvt. advance bank guarantee (ABG) C contract performance bank guarantee (CPBG) from contractor. The Contractor shall submit the ABG C CPBG within 15 days from date of of NoA/LoA. Sub Clause 4.1 : The Contractor shall commence work on the Facilities from the Commencement Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement Time for completion shall be measured from Commencement Date.
2 | Section - IV GENERAL CONDITIONS OF CONTRACT (GCC) | Section IV, GCC 3.2 | Scope of Facilities | Clarification | The Contractor shall, unless specifically excluded in the Contract, perform all such work and/or supply all such items and materials not specifically mentioned in the Contract but that can be reasonably inferred from the Contract as being required for attaining Completion of the Facilities as if such work and/or items and materials were expressly mentioned in the Contract. | Please clarify if below modification to this Sub-clause is acceptable; 'The Contractor shall, unless specifically excluded in the Contract, perform all such work and/or supply all such items and materials not specifically as mentioned in the Contract but that can be reasonably inferred from the Contract in accordance with the technical specifications as being required for attaining Completion of the Facilities as if such work and/or items and materials were expressly mentioned in the Contract.
3 | Section - IV GENERAL CONDITIONS OF CONTRACT (GCC) | Section IV, SCC 5, GCC 3.3 | Scope of Facilities | Deviation | If so desired by the Employer, the Contractor shall submit the specifications, price and the terms and conditions relating to the supply thereof for such spares identified by the Employer with validity period of 6 months within 30 days of receipt of request from Employer for its consideration and placement of order. | Request to change the clause as below: If so desired by the Employer, the Contractor shall submit the specifications, price and the terms and conditions relating to the supply thereof for such spares identified by the Employer within the mutually agreed validity period of 6 months within 30 days of receipt of request from Employer for its consideration and placement of order.
4 | Section - V SPECIAL CONDITIONS OF CONTRACT (SCC) | Section V SCC 5, GCC 3.3 | Scope of Facilities | Deviation | The supply of Mandatory Spare Parts, if any, shall be included in the Contract. Beside the aforesaid Mandatory Spares parts, the Contractor shall ensure the availability functionally equivalent spare parts required for the operation and maintenance of the Facilities to the Employer for a minimum period of 15 years from Completion of the Facilities. | Request to change the clause as below: 'The supply of Mandatory Spare Parts, if any, shall be included in the Contract. Beside the aforesaid Mandatory Spares parts, the Contractor shall ensure the availability of functionally equivalent spare parts required for the operation and maintenance of the Facilities to the Employer for a minimum period of 15 years 10 years from Completion of the Facilities.
5 | Section - IV GENERAL CONDITIONS OF CONTRACT (GCC) | Section IV, SCC 6, GCC 3.4 | Scope of Facilities | Deviation | The Contractor shall guarantee that in the event of termination of production of spare parts by the Contractor or his Sub-Contractor: (i) The Contractor shall send advance notification to the Employer of the pending termination, with 2 (two) years time to permit the Employer to procure needed requirements, and (ii) Following such termination, the Contractor shall furnish at no cost to the Employer the relevant information/ documents and specification of the spare parts from third party, information/documents and specifications of the spare parts shall be furnished by the Contractor to the extent that such documents are available to the Contractor. | Kindly consider the time of advance notification of 6 months as the time period of 2 years may not be possible for advance notification especially under current technological trend.
6 | Section - IV GENERAL CONDITIONS OF CONTRACT (GCC) | Section IV, GCC 3.5 | Scope of Facilities | Deviation | In case the Contractor fails to supply the spares parts in accordance with the terms stipulated above, the Employer shall sanction the Contractor declaring them ineligible for a stated period of time for future projects. | Request for deletion of the clause.

## Clarification No-IV
Clarification No-IV dated 03.01.2025 to the bidding documents of Refurbishment of HVDC Control, Protection, SCADA, Valve Hall Equipment and Valve Cooling System for 2x500 MW Chandrapur HVDC Back to Back (BTB) Station under Add-Cap; Specification Number: CC/NT/W-HVDC/DOM/A00/24/12849
Sl. No. | Bidding Document | Clause Reference No. | Clause Header | Provisions as per the bidding document | Detailed description of Deviations / Clarifications the bidder | Employer's Response
1 | Section - VI, Vol-I of bidding document | Section - VI Forms and Proceedures | Terms and procedures of payment (Appendix-1) | 1.1 A1. Interest Bearing Advance (Optional*): Ten percent (10%) of the Ex-works price component of Main Equipment/Materials (including Thyristor Valves but excluding all Spares) shall be paid as an interest bearing initial advance after signing the Contract Agreement and on submission of: ..................................... (B.1) Fifteen percent (15%) of the Ex-works price component of Main Equipment/Materials (excluding Thyristor Valves and all Spares) of each item (as identified in the price schedule) shall be paid on submission of: ....................................... (B.2) Fifteen percent (15%)^^^ of the Ex-works price component of Main Equipment/Materials (excluding Thyristor Valves and all Spares) of each item (as identified in the price schedule) shall be paid on submission of: .................................... | (a) Ten percent (10%) of the Ex-works price shall be paid as an interest free initial advance. b) Fifteen percent (15%) of the Ex-works price shall be paid as interest free interim advance on submission of Engg Document & Advance Bank Guarantee for 110%. (c) Fifteen percent (15%) of the Ex-works price component shall be paid as interest free interim advance on submission of: (a) Start of Factory System Test (FST) & submission Advance Bank Guarantee for 110% | refer Amendmen No-IV | works and supplies as per TS
2 | Annexure Cyber Security – Non Disclosure Agreement – Rev 01 | 2(i) | Obligations of Receiving Party relating to Information Security | 2 (i) The Vendor agrees to sign an undertaking as per Annexure-A, for its commitment to ensure bug and malware-free software/ software patches/ embedded software/ firmware in systems such as PLC Cards/ Logic Cards/ other microprocessor based intelligent systems. The Vendor agrees to declare with each shipment, whether during initial supply stage or subsequent repairs, diagnostics or upgrades, that it shall be solely responsible for any Criminal and/ or Civil Liabilities arising from failures due to such malware/bug. | Please clarify if below modification to this Sub-clause is acceptable: The Vendor agrees to sign an undertaking as per Annexure-A, for its commitment to take reasonable efforts against ensure bug and malware-free software/ software patches/ embedded software/ firmware in systems such as PLC Cards/ Logic Cards/ other microprocessor based intelligent systems. The Vendor agrees to declare with each shipment, whether during initial supply stage or subsequent repairs, diagnostics or upgrades, that it shall be solely responsible for any Criminal and/ or Civil Liabilities arising from failures due to such malware/bug to the extent caused by the Vendor. | Requirements of TS has to be fulfilled | Requirements of TS has to be fulfilled
3 |  |  |  |  | Technical data for Main circuit parameters and Reactive power compensation report request Vide Hitachi letter Ref.PGCIL/HVDC/ 5002003898/202412-04 | Attached as Annexure-MCP-RPC Addl | Attached as Annexure-MCP-RPC Addl
4 | Chapter-11-Vol-II |  | 4.12.2 STUDIES BY THE CONTRACTOR | i) Main circuit calculation ii) Thermal Rating Study for Key Equipment iii) Studies for Reactive Power Compensation and Balance iv) Temporary Over voltage v) Studies on Overvoltage Protection and Insulation Co-ordination vi) Transient Current Requirement Study vii) PLC/RI Performance viii) Reliability and Availability predictions ix) Loss Study x) Sub-synchronous resonance / oscillation xi) Studies of DC Current Flowing through Windings of Converter Transformers xii) Load Flow and Stability Study xiii) Terminal faults, fault recovery, control coordination, commutation failure and its recovery etc. xiv) Filter rating verification study xv) Transient Recovery Voltage study for AC Breakers of HVDC Chandrapur xvi) Low order harmonic filter resonance study | GE Proposal is to remove those studies from the list which are not linked to the refurbished equipments replacement. Please confirm if below mentioned Proposal is acceptable by the owner. i) Main circuit calculation ii) Thermal Rating Study for Key Equipment iii) Studies for Reactive Power Compensation and Balance iv) Temporary Over voltage v) Studies on Overvoltage Protection and Insulation Co-ordination vi) Transient Current Requirement Study vii) PLC/RI Performance viii) Reliability and Availability predictions ix) Loss Study x) Sub-synchronous resonance / oscillation; xi) Studies of DC Current Flowing through Windings of Converter Transformers xii) Load Flow and Stability Study - New Load Flow is not required xiii) Terminal faults, fault recovery, control coordination, commutation failure and its recovery etc. xiv) Filter rating verification study xv) Transient Recovery Voltage study for AC Breakers of HVDC Chandrapur xvi) Low order harmonic filter resonance study | Scope of all the studies shall be such that limits of existing equipment are not crossed. In case, such limits are crossed, the same shall be informed to employer. Also, refer Amendment No-III.
5 | Section - IV, Vol-I of bidding document | Section - IV, GCC | GCC Cl. 25.3 (Patent Indemnity) | GCC 25.3 The Employer shall indemnify and hold harmless the Contractor and its employees, officers and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of whatsoever nature, including attorney’s fees and expenses, which the Contractor may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Employer. | The Contractor and/or Bidder will utilize the data or information provided by the Employer during the bidding stage for technical as well as for financial purposes. We kindly request that the same indemnification protection be extended to the Contractor and/or Bidder. This would ensure that the Contractor and/or Bidder is similarly covered in case of any intellectual property claims arising out of or in connection with the data or information provided by the Employer or on behalf of the Employer. We would kindly, therefore, like to propose an additional clause, as follows: "The Employer shall indemnify and hold harmless the Bidder and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of whatsoever nature, including attorney’s fees and expenses, which the Bidder may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right, registered or otherwise existing at the date of issuance of the bid, arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Employer." We believe that the addition of this clause will provide the necessary protection for the Contractor and/or Bidder during the bidding process, particularly with respect to any intellectual property risks related to the data provided by the Employer | The Employer shall provide existing design, data, drawing, specification, or other documents required for the preparation/submission of bid of the subject package. Further, the bidder shall use the provided data/information for the purpose of bidding of the subject package only and such data/ information provided by Employer shall not be used by the bidder for any other purpose except for the bidding purpose of the subject package. In regard to the above bidder undertakes not to use the data/information provided by Employer for any purpose other than the bidding of the subject package. The violation of the same shall be considered as transgression of Integrity Pact and the same shall be dealt accordingly.

## Table 3 (hidden)
Tender: | Refurbishment of HVDC Control, Protection, SCADA, Valve Hall Equipment and Valve Cooling System for 2x500 MW Chandrapur HVDC Back to Back (BTB) Station under Add-Cap
Title: | Set -1 of Commercial Deviations / Clarifications
Sl. No. | Bidding Document | Clause Reference No. | Clause Header | Deviation / Clarification | Provisions as per the bidding document | Detailed description of Deviations / Clarifications the bidder | Reason for Change
66 | SECTION - VI SAMPLE FORMS AND PROCEDURES (FORMS) | Section VI Sample Forms and Procedures, APPENDIX-3: INSURANCE REǪUIREMENTS (d).II | Workmen Compensation Policy: | Clarification | The policy may either be project specific covering all men of the Contractor and its Subcontractors. The policy shall be kept valid till the date of Operational Acceptance of the project. Alternatively, if the Contractor has an existing ‘Workmen Compensation Policy’ for all its employees including that of the Subcontractor(s), the Contractor must include the interest of the Employer for this specific Project in its existing ‘Workmen Compensation Policy’ | The policy may either be project specific covering all men of the Contractor and its Subcontractors. The policy shall be kept valid till the date of Operational Acceptance TOC of the project. Alternatively, if the Contractor has an existing ‘Workmen Compensation Policy’ for all its employees including that of the Subcontractor(s), the Contractor must include the interest of the Employer for this specific Project in its existing ‘Workmen
Compensation Policy’
67 | SECTION - VI SAMPLE FORMS AND PROCEDURES (FORMS) | Section VI Sample Forms and Procedures, APPENDIX-3: INSURANCE REǪUIREMENTS (d).III | Workmen Compensation Policy: | Clarification | Without relieving the Contractor of its obligations and responsibilities under this Contract, before commencing work the Contractor shall insure against liability for death of or injury to persons employed by the Contractor including liability by statute and at common law. The insurance cover shall be maintained until all work including remedial work is completed including the Defect Liability Period. The insurance shall be extended to indemnify the Principal for the Principal’s statutory liability to persons employed by the Contractor. | Without relieving the Contractor of its obligations and responsibilities under this Contract, before commencing work the Contractor shall insure against liability for death of or injury to persons employed by the Contractor including liability by statute and at common law. The insurance cover shall be maintained until all work including remedial work is completed including the Defect Liability Period. The insurance shall be extended to indemnify the Principal for the Principal's statutory liability to persons employed by the Contractor. The Contractor shall also ensure that each of its Subcontractors shall effect and maintain insurance on the same basis as the 'Workmen Compensation Policy' effected by the Contractor. | Contractor will maintain WC policy covering its employees and workers as per local ACT.
The Contractor shall also ensure that each of its Subcontractors shall effect and maintain insurance on the same basis as the 'Workmen Compensation Policy' effected by the Contractor.
68 | SECTION - VI SAMPLE FORMS AND PROCEDURES (FORMS) | Section VI Sample Forms and Procedures, APPENDIX-3: INSURANCE REǪUIREMENTS (e) | Contractor’s Plant and Machinery (CPM) Insurance | Clarification | Contractor’s Plant and Machinery (CPM) Insurance The Employer (including without limitation any consultant, servant, agent or employee of the Employer) shall not in any circumstances be liable to the Contractor for any loss of or damage to any of the Contractor’s Equipment or for any losses, liabilities, costs, claims, actions or demands which the Contractor may incur or which may be made against it as a result of or in connection with any such loss or damage. | Contractor’s Plant and Machinery (CPM) Insurance The Employer (including without limitation any consultant, servant, agent or employee of the Employer) shall not in any circumstances be liable to the Contractor for any loss of or damage to any of the Contractor’s Equipment or for any losses, liabilities, costs, claims, actions or demands which the Contractor may incur or which may be made against it as a result of or in connection with any such loss or damage.
69 | SECTION - VI SAMPLE FORMS AND PROCEDURES (FORMS) | Section VI Sample Forms and Procedures, APPENDIX-3: INSURANCE REǪUIREMENTS (e) | Contractor’s Plant and Machinery (CPM) Insurance | Clarification | The Employer shall be jointly insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 34.1, except for the Third Party Liability, Automobile Liability Insurance, Workmen Compensation Policy and Contractor's Plant and Machinery (CPM) Insurances, and the Contractor’s Subcontractors shall be jointly insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 34.1 except for the Cargo Insurance During Transport, Automobile Liability Insurance, Workmen Compensation Policy and Contractor's Plant and Machinery (CPM ) Insurances. All insurer’s rights of subrogation against such jointly insured for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The Employer shall be jointly named as additional insured under all insurance policies taken out by the Contractor pursuant to GCC Sub- Clause 34.1, except for the Third Party Liability, Automobile Liability Insurance, Workmen Compensation policy and Contractors Plant and Machinery (CPM) Insurances, and the Contractor’s Subcontractors shall be jointly named as additional insured under all insurance policies taken out by the Contractor pursuant to GCC Sub-Clause 34.1 except for the Cargo Insurance During Transport, Automobile Liability Insurance, Workmen Compensation Policy Insurances, and Contractors Plant and Machinery (CPM) insurances. All insurer’s rights of subrogation against such jointly insureds for losses or claims arising out of the performance of the Contract shall be waived under such policies. | The Employer and subcontractors shall be additional insured under the EAR insurance policy, for its interests under the Contract, in all of the relevant insurances.