## Clarification No-VII
Clarification No-VII dated 17.01.2025 to the bidding documents of Refurbishment of HVDC Control, Protection, SCADA, Valve Hall Equipment and Valve Cooling System for 2x500 MW Chandrapur HVDC Back to Back (BTB) Station under Add-Cap; Specification Number: CC/NT/W-HVDC/DOM/A00/24/12849
Sr. No. | Volume | Section | Clause No. | Existing Provision | Bidder's Query | POWERGRID's Reply
1 | Volume II Part-2 | Annexure - Cyber Security_Rev1 | Clause No. 2.0 |  | We request you to kindly share with us the following: 1) MoP order XXXX dt. YYYY and its relevant amendments. 2) Annexure XXX. 3) Indian Standards (XXX and YYYYY). | Please refer CEA (Cyber Security in Power Sector) Guidelines, 2021 for related MoP orders and Indian Standards.
2 | Volume II Part-2 | Annexure Cyber Security – Non Disclosure Agreement – Rev 01 | Clause No. 2(i) | The asynchronous data interface is required for communication between Remote Terminal Units (RTU) to be located at Chandrapur to Southern Regional Load Dispatch Centre (SRLDC), WRLDC (Western region load despatch centre and NLDC (National load despatch centre). | We request you to kindly share with us the following: 1) Annexure-A. | Please refer Amendment No-VII