## Clarification No-X
Clarification No-X dated 03.02.2025 to the bidding documents of Refurbishment of HVDC Control, Protection, SCADA, Valve Hall Equipment and Valve Cooling System for 2x500 MW Chandrapur HVDC Back to Back (BTB) Station under Add-Cap; Specification Number: CC/NT/W-HVDC/DOM/A00/24/12849
Sr. No. | Volume | Section | Clause No. | Existing Provision | QUERY DESCRIPTION | POWERGRID Reply
1 | Chapter-11- | Vol-II-Part-1:- | Clause No- 11.8 (d) | (d) In case average annual energy availability as described in Para (c) above, is found to be below 98% the system (under present scope) shall be rejected by employer. The system rejection shall be governed as per provision of contract. | As per Appendix-8(b) of the 'Forms & Procedures', relevant provisions of SCC / GCC in conjunction with the Technical Specification, shall govern in case of shortfall in performance gurantee.Hence we request you to suitably amend the existing 'Rejection Clause' so that it is aligned with the clause mentioned in Appendix- 8 (b). | Please refer Amendment-VIII